## BoQ1
Government eProcurement System Created By: ORATHY PERUMAL ELUMALAI Created Date/Time: 16-Feb-2021 01:38 PM Tender Title: ARMO of EM Installations at Tirupati Airport for the year 2020 21. SH Supply of Electrical and Ground Lighting Facility spares for EM Installations at Tirupati Airport Tender ID: 2021_AAI_66553_1
Tender Inviting Authority: The Asst.General Manager(Engg-E), AAI, Tirupati Airport.
NAME OF WORK: ARMO of E&M Installations at Tirupati Airport for the year 2020 -21. SUB HEAD: Supply of Electrical & Ground Lighting Facility Spares of E&M Installations at Tirupati Airport.
Contract No: AAI/TPT/ENGG(E)/M-08/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DEEPAKELECTRICALS(GSTN-33ALUPD3531C1ZI) |  | Bafna Electric Corp(GSTN-33AAAFB4879L1Z8) |  | electromach sales agencies(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 18w LED down lighter fitting suitable to work with 220-240V, 50 Hz AC, CCT of 5700K, of Minimum 100 Lm/W and THD of <10% from as required.(Model:BZSLO 18W WH PRO of make Bajaj or equivalent ) | 130.00 | Each |  | 1900.00 | 247000.00 | 675.00 | 87750.00 | 1350.00 | 175500.00 | 87750.00 | Bafna Electric Corp
2.00 | Supply of white light LED strip of 15W/Mtr of IP20, suitable to work with 220-250V, 50 Hz AC with relevant IS from as required. (Model : 75W PROFESSIONAL LED STRIP IP20 WH of make Bajaj or equivalent ) | 100.00 | Each |  | 1800.00 | 180000.00 | 225.00 | 22500.00 | 400.00 | 40000.00 | 22500.00 | Bafna Electric Corp
3.00 | Supply of 45w LED driver suitable for M/s Bajaj make LED fitting of Model No.BRTFG 45W LED I, suitable to work with 220-250V, 50 Hz AC with relevant IS as required.(Driver Model: BGD700655Y of make Bajaj or equivalent ) | 20.00 | Each |  | 1700.00 | 34000.00 | 1150.00 | 23000.00 | 550.00 | 11000.00 | 11000.00 | electromach sales agencies
4.00 | Supply of 80w LED driver suitable for M/s Philips make LED fitting of Model No.BY325P LED 100S to work with 220-250V, 50 Hz AC with relevant IS as required.(Driver Model: BGD362105Y of make Bajajs or equivalent ) | 10.00 | Each |  | 2100.00 | 21000.00 | 1500.00 | 15000.00 | 750.00 | 7500.00 | 7500.00 | electromach sales agencies
5.00 | Supply of 90w LED driver suitable for M/s Wipro make LED fitting of Model No. LR02-102-XXX-57-XX, suitable to work with 220-250V, 50 Hz AC with relevant IS as required. (Driver Model: LG56-086-002-1540 of make Wipro or equivalent) | 10.00 | Each |  | 2200.00 | 22000.00 | 2200.00 | 22000.00 | 750.00 | 7500.00 | 7500.00 | electromach sales agencies
6.00 | Supply of 120w LED driver suitable for M/s Wipro make LED fitting of Model No. LR02-132-XXX-57-XX, suitable to work with 220-250V, 50 Hz AC with relevant IS as required.(Model: LG56-048-002-2350 of make Wipro or equivalent ) | 15.00 | Each |  | 2200.00 | 33000.00 | 3375.00 | 50625.00 | 850.00 | 12750.00 | 12750.00 | electromach sales agencies
7.00 | Supply of LED drivers of Power rating 75W of IP20 for LED strip suitable to work with 220-250V, 50 Hz AC with relevant IS as required. (Model: 75W LED Strip Driver IP20 of make Bajaj or equivalent ). | 10.00 | Each |  | 1200.00 | 12000.00 | 1050.00 | 10500.00 | 800.00 | 8000.00 | 8000.00 | electromach sales agencies
8.00 | Supply of 6A 3pin Top suitable to work with 220-240V, 50 Hz AC with ISI marking from list of approved makes as required. (Make: Havells or equivalent from list of approved makes) | 10.00 | Each |  | 50.00 | 500.00 | 40.00 | 400.00 | 55.00 | 550.00 | 400.00 | Bafna Electric Corp
9.00 | Supply of 16A 3pin Top suitable to work with 220-240V, 50 Hz AC with ISI marking from list of approved makes as required. (Make: Havells or equivalent from list of approved makes) | 10.00 | Each |  | 70.00 | 700.00 | 54.00 | 540.00 | 75.00 | 750.00 | 540.00 | Bafna Electric Corp
10.00 | Supply of 3 Module PVC box suitable to work with 220-240V, 50 Hz AC with relevant IS from list of approved makes as required. (Make: Havells (Model: AHNXMIZX03) or equivalent from list of approved makes) | 50.00 | Each |  | 45.00 | 2250.00 | 30.00 | 1500.00 | 70.00 | 3500.00 | 1500.00 | Bafna Electric Corp
11.00 | Supply of 1 way 10Amp Modular switch suitable to work with 220-240V, 50 Hz AC with relevant IS from list of approved makes as required. (Make: Havells (Model: AHOSXXW101) or equivalent from list of approved makes) | 70.00 | Each |  | 40.00 | 2800.00 | 37.00 | 2590.00 | 45.00 | 3150.00 | 2590.00 | Bafna Electric Corp
12.00 | Supply of 1 way 16 Amp Modular switch suitable to work with 220-240V, 50 Hz AC with relevant IS from list of approved makes as required. (Make Havells (Model:AHOSXXW161 ) or equivalent from list of approved makes) | 50.00 | Each |  | 85.00 | 4250.00 | 80.00 | 4000.00 | 110.00 | 5500.00 | 4000.00 | Bafna Electric Corp
13.00 | Supply of 6A 3 pin Shuttered Socket suitable to work with 220-240V, 50 Hz AC with relevant IS from list of approved makes as required. (Model: AHOKPXW063 Make Havells or equivalent from list of approved makes) | 70.00 | Each |  | 90.00 | 6300.00 | 81.00 | 5670.00 | 100.00 | 7000.00 | 5670.00 | Bafna Electric Corp
14.00 | Supply of 6/16A 3 pin Shuttered Socket suitable to work with 220-240V, 50 Hz AC with relevant IS from list of approved makes as required. (Model:AHOKPXW163 Make Havells or equivalent from list of approved makes) | 50.00 | Each |  | 140.00 | 7000.00 | 146.00 | 7300.00 | 150.00 | 7500.00 | 7000.00 | DEEPAKELECTRICALS
15.00 | Supplly of 3 Module Front Plate with base frame suitable to work with 220-240V, 50Hz AC with relevant IS from list of approved makes as required. (Make: Havells Model: AHOPPCWV03 or its equivalent from list of approved makes) | 50.00 | Each |  | 65.00 | 3250.00 | 68.00 | 3400.00 | 75.00 | 3750.00 | 3250.00 | DEEPAKELECTRICALS
16.00 | Supply of 40A Double pole(phase and neutral) RCCB of 100mA sensitivity suitable for 220-240V, 50 Hz rating etc., of relevant IS from list of approved makes as required.(Model: DHRGCTDF100040 of Havells make or its equivalent from list of approved makes) | 10.00 | Each |  | 2200.00 | 22000.00 | 1425.00 | 14250.00 | 2100.00 | 21000.00 | 14250.00 | Bafna Electric Corp
17.00 | Supply of 63A Four pole MCB of C-series, 10KA capacity suitable for 220-240/415V, 50Hz rating etc., of relevant IS from list of approved makes as required.( Model: DHMGCFPF063 of Havells make or its equivalent from list of approved makes) | 8.00 | Each |  | 1800.00 | 14400.00 | 1385.00 | 11080.00 | 1500.00 | 12000.00 | 11080.00 | Bafna Electric Corp
18.00 | Supply of 1.5sq.mm FRLS PVC insulated multistrand copper conductor, single core cable of 1.1KV grade, confirming to IS 694 grade from list of approved makes as required | 450.00 | Mtr |  | 12.00 | 5400.00 | 12.00 | 5400.00 | 27.00 | 12150.00 | 5400.00 | DEEPAKELECTRICALS, Bafna Electric Corp
19.00 | Supply of 2.5sq.mm FRLSH PVC insulated multistrand copper conductor, single core cable of 1.1KV grade, confirming to IS 694 grade from list of approved makes as required | 270.00 | Mtr |  | 19.00 | 5130.00 | 20.00 | 5400.00 | 42.00 | 11340.00 | 5130.00 | DEEPAKELECTRICALS
20.00 | Supply of 4.0sq.mm FRLSH PVC insulated multistrand copper conductor, single core cable of 1.1KV grade, confirming to IS 694 grade from list of approved makes as required | 180.00 | Mtr |  | 25.00 | 4500.00 | 30.00 | 5400.00 | 75.00 | 13500.00 | 4500.00 | DEEPAKELECTRICALS
21.00 | Supply of 6.0sq.mm FRLSH PVC insulated multistrand copper conductor, single core cable of 1.1KV grade, confirming to IS 694 grade from list of approved makes as required | 90.00 | Mtr |  | 31.00 | 2790.00 | 44.00 | 3960.00 | 84.00 | 7560.00 | 2790.00 | DEEPAKELECTRICALS
22.00 | Supply of three core unarmoured cable of 1.5 sq.mm FR PVC insulated copper conductor of 1.1KV grade, confirming to IS 694 grade from list of approved makes as required. | 100.00 | Mtr |  | 60.00 | 6000.00 | 43.00 | 4300.00 | 90.00 | 9000.00 | 4300.00 | Bafna Electric Corp
23.00 | Supply of three core unarmoured cable of 2.5 sq.mm FR PVC insulated copper conductor of 1.1KV grade, confirming to IS 694 grade from list of approved makes as required. | 100.00 | Mtr |  | 75.00 | 7500.00 | 69.00 | 6900.00 | 140.00 | 14000.00 | 6900.00 | Bafna Electric Corp
24.00 | Supply of Four core unarmoured cable of 4.0 sq.mm FR PVC insulated copper conductor of 1.1KV grade, confirming to IS 694 grade from list of approved makes as required. | 100.00 | Mtr |  | 90.00 | 9000.00 | 140.00 | 14000.00 | 285.00 | 28500.00 | 9000.00 | DEEPAKELECTRICALS
25.00 | Supply of Flush Mount Dual load 360 degrees standalone sensor of M/s Schneider make, Model: SAE-UE-MS-CDBWE. | 10.00 | Each |  | 3500.00 | 35000.00 | 5300.00 | 53000.00 | 3600.00 | 36000.00 | 35000.00 | DEEPAKELECTRICALS
26.00 | Supply of UL listed Control Module of Model: FCM-1 Make Notifier by Honeywell. | 12.00 | Each |  | 1800.00 | 21600.00 | 4050.00 | 48600.00 | 3800.00 | 45600.00 | 21600.00 | DEEPAKELECTRICALS
27.00 | Supply of UL listed Monitor Module of Model: FMM-1 Make Notifier by Honeywell. | 12.00 | Each |  | 1800.00 | 21600.00 | 3500.00 | 42000.00 | 3400.00 | 40800.00 | 21600.00 | DEEPAKELECTRICALS
28.00 | Supply of UL listed Photo electric smoke detector, Model No FSP-851 Make Notifier by Honeywell. | 5.00 | Each |  | 1900.00 | 9500.00 | 3150.00 | 15750.00 | 3200.00 | 16000.00 | 9500.00 | DEEPAKELECTRICALS
29.00 | Supply of UL listed Heat detector, Model No FST-851R Make Notifier by Honeywell. | 10.00 | Each |  | 1900.00 | 19000.00 | 2800.00 | 28000.00 | 3200.00 | 32000.00 | 19000.00 | DEEPAKELECTRICALS
30.00 | Supply of UL listed Multi sensor smoke detector, Model No FAPT-851 Make Notifier by Honeywell. | 10.00 | Each |  | 1900.00 | 19000.00 | 3400.00 | 34000.00 | 3300.00 | 33000.00 | 19000.00 | DEEPAKELECTRICALS
31.00 | Supply of SMPS suitable for operation on 230+/-10% V, 50 Hz AC input supply capable of providing DC output i.e. 24V,1 to 2.2 A, 50 watts Model No ABL 2REM24020H by Schneider electric or its equivalent | 5.00 | Each |  | 650.00 | 3250.00 | 2500.00 | 12500.00 | 10000.00 | 50000.00 | 3250.00 | DEEPAKELECTRICALS
32.00 | Supply of air filter for Aspiration smoke detection VESDA panel, Model - FAAST-8100E make Notifier by Honeywell. | 15.00 | Each |  | 200.00 | 3000.00 | 7800.00 | 117000.00 | 8000.00 | 120000.00 | 3000.00 | DEEPAKELECTRICALS
33.00 | Supply of Actuator fan for Aspiration smoke detection VESDA panel, Model - FAAST-8100E make Notifier by Honeywell. | 6.00 | Each |  | 600.00 | 3600.00 | 5050.00 | 30300.00 | 2500.00 | 15000.00 | 3600.00 | DEEPAKELECTRICALS
34.00 | Supply of Manual Call points Model - NBG-12LX make Notifier by Honeywell. | 20.00 | Each |  | 2500.00 | 50000.00 | 5100.00 | 102000.00 | 5500.00 | 110000.00 | 50000.00 | DEEPAKELECTRICALS
35.00 | Supply of Push to talk type telephone (Talk back units) Model - FPJ+FHS make Notifier by Honeywell. | 10.00 | Each |  | 1500.00 | 15000.00 | 7575.00 | 75750.00 | 17000.00 | 170000.00 | 15000.00 | DEEPAKELECTRICALS
36.00 | Supply of Optical smoke detector Model - Part No 55000-316 APO by Series 65 | 30.00 | Each |  | 1200.00 | 36000.00 | 2240.00 | 67200.00 | 850.00 | 25500.00 | 25500.00 | electromach sales agencies
37.00 | Supply of Alluminium Lugs (tube terminal) of size 16 sq.mm round from list of approved makes as required.(Make Comet or equivalent from list of approved makes) | 15.00 | Each |  | 12.00 | 180.00 | 4.00 | 60.00 | 6.00 | 90.00 | 60.00 | Bafna Electric Corp
38.00 | Supply of Alluminium Lugs (tube terminal) of size 70 sq.mm round from list of approved makes as required.(Make Comet or equivalent from list of approved makes) | 15.00 | Each |  | 45.00 | 675.00 | 14.00 | 210.00 | 16.00 | 240.00 | 210.00 | Bafna Electric Corp
39.00 | Supply of Alluminium Lugs (tube terminal) of size 120 sq.mm round from list of approved makes as required.(Make Comet or equivalent from list of approved makes) | 15.00 | Each |  | 65.00 | 975.00 | 19.00 | 285.00 | 25.00 | 375.00 | 285.00 | Bafna Electric Corp
40.00 | Supply of Alluminium Lugs (tube terminal) of size 185 sq.mm round from list of approved makes as required.(Make Comet or equivalent from list of approved makes) | 15.00 | Each |  | 85.00 | 1275.00 | 30.00 | 450.00 | 50.00 | 750.00 | 450.00 | Bafna Electric Corp
41.00 | Supply of Alluminium Lugs (tube terminal) of size 300 sq.mm round from list of approved makes as required.(Make Comet or equivalent from list of approved makes) | 15.00 | Each |  | 122.00 | 1830.00 | 73.00 | 1095.00 | 100.00 | 1500.00 | 1095.00 | Bafna Electric Corp
42.00 | Supply of Copper Lugs (tube terminal) of size 6 sq.mm round from list of approved makes as required.(Make Comet or equivalent from list of approved makes) | 25.00 | Each |  | 12.00 | 300.00 | 6.00 | 150.00 | 9.00 | 225.00 | 150.00 | Bafna Electric Corp
43.00 | Supply of Copper Lugs (tube terminal) of size16 sq.mm round from list of approved makes as required.(Make Comet or equivalent from list of approved makes) | 20.00 | Each |  | 35.00 | 700.00 | 10.00 | 200.00 | 15.00 | 300.00 | 200.00 | Bafna Electric Corp
44.00 | Supply of 2.50 mfd, +5% Capacitors suitable for 230Volts, 50Hz AC supply of relevant IS as required for use in Ceiling / Wallmounted fan's. (Make:Havells or similar from list of approved makes). | 60.00 | Each |  | 55.00 | 3300.00 | 19.00 | 1140.00 | 100.00 | 6000.00 | 1140.00 | Bafna Electric Corp
45.00 | Supply of TPN, MCB 40A, C - Series, 10KA capacity suitable for 240 / 415V,50Hz rating etc., of relevant IS from list of approved makes as required. | 21.00 | Each |  | 1100.00 | 23100.00 | 1130.00 | 23730.00 | 1600.00 | 33600.00 | 23100.00 | DEEPAKELECTRICALS
46.00 | Supply of 9W LED lamp (B22), 6500K and BEE rating of not less than 3 star, efficacy of Minimum 100 Lm/W, suitable for single phase, 230 volts, 50 Hz complete as required. (Model:LED ADORE9 W B22 WW 3 STAR LAMP of make Havells or equivalent) | 50.00 | Each |  | 145.00 | 7250.00 | 79.00 | 3950.00 | 120.00 | 6000.00 | 3950.00 | Bafna Electric Corp
47.00 | Supply of 35 - 40W LED post-top luminaire new generation, post-top , energy saving, environmental friendly, long life aesthetically designed with symmetrical light distribution, spun aluminium landscape luminaire with high power LEDs as light source having IP 65 protection suitable for single phase, 220-240V, 50 Hz AC, CCT of 5700K, efficacy of Minimum 110 Lm/W, P.F>0.95 and THD of <10%, of relevant IS from list of approved makes as required. (Model:CORALPT35WLED757PSYMTOPC of make Havells or equivalent) | 20.00 | Each |  | 4500.00 | 90000.00 | 5985.00 | 119700.00 | 5800.00 | 116000.00 | 90000.00 | DEEPAKELECTRICALS
48.00 | Supply of 63A Double pole(phase and neutral) RCCB of 100mA sensitivity suitable for 220-240V, 50 Hz rating etc., of relevant IS from list of approved makes as required.(Model: DHRGCRFF100063 of Havells make or its equivalent from list of approved makes) | 10.00 | Each |  | 1900.00 | 19000.00 | 1900.00 | 19000.00 | 3100.00 | 31000.00 | 19000.00 | DEEPAKELECTRICALS, Bafna Electric Corp
49.00 | Supply of 63A Double pole(phase and neutral) RCCB of 300mA sensitivity suitable for 220-240V, 50 Hz rating etc., of relevant IS from list of approved makes as required.(Model: DHRGCRFF300063 of Havells make or its equivalent from list of approved makes) | 10.00 | Each |  | 1900.00 | 19000.00 | 1950.00 | 19500.00 | 3000.00 | 30000.00 | 19000.00 | DEEPAKELECTRICALS
50.00 | Supply of 6 Module PVC box suitable to work with 220-240V, 50 Hz AC with relevant IS from list of approved makes as required. (Make: Havells (Model: AHNXMIZX06) or equivalent from list of approved makes) | 30.00 | Each |  | 75.00 | 2250.00 | 70.00 | 2100.00 | 105.00 | 3150.00 | 2100.00 | Bafna Electric Corp
51.00 | Supplly of 6 Module Front Plate with base frame suitable to work with 220-240V, 50Hz AC with relevant IS from list of approved makes as required. (Make: Havells Model: AHOPPCWV06 or its equivalent from list of approved makes) | 30.00 | Each |  | 85.00 | 2550.00 | 108.00 | 3240.00 | 155.00 | 4650.00 | 2550.00 | DEEPAKELECTRICALS
52.00 | Supply of 5.5w LED spot light (high beam intensity) suitable to work with 220-240V, 50 Hz AC, CCT of 2700K ,warm white, of Minimum 75 Lm/W from list of approved makes as required.(Model: Philips Master LED MR-16 2700K 5.5-50w of make Philips or equivalent ) | 30.00 | Each |  | 800.00 | 24000.00 | 350.00 | 10500.00 | 750.00 | 22500.00 | 10500.00 | Bafna Electric Corp
53.00 | Supply of Single pole MCB 6-32 A MCB of B-series, 10KA capacity suitable for 220-240/415V, 50Hz rating etc., of relevant IS from list of approved makes as required.( Model: DHMGBSPF006-032 of Havells make or its equivalent from list of approved makes) (6A= 10 Nos, 10A= 10 Nos, 20A= 10Nos, 32A= 10Nos | 40.00 | Each |  | 190.00 | 7600.00 | 108.00 | 4320.00 | 175.00 | 7000.00 | 4320.00 | Bafna Electric Corp
54.00 | Supply of SWITCH of 5/6Amps, Piano type 1 Way Switch as required. (Make : ANCHOR, Model : PENTA DELUXE, IVORY 50010 or equivalent from list of Approved makes). | 120.00 | Each |  | 20.00 | 2400.00 | 13.00 | 1560.00 | 25.00 | 3000.00 | 1560.00 | Bafna Electric Corp
55.00 | Supply of SWITCH of 15amps, Piano type 1way switch as required. (Make: Anchor, Model: PENTA DELUXE IVORY 50961 or equivalent from list of Approved makes). | 30.00 | Each |  | 45.00 | 1350.00 | 62.00 | 1860.00 | 52.00 | 1560.00 | 1350.00 | DEEPAKELECTRICALS
56.00 | Supply of SOCKET of 5/6 Amp, Piano type Multi socket for 2 & 3 Pin as required. (Make : ANCHOR, Model : PENTA SOCKETS, IVORY 50280, or equivalent from list of Approved makes). | 60.00 | Each |  | 45.00 | 2700.00 | 30.00 | 1800.00 | 80.00 | 4800.00 | 1800.00 | Bafna Electric Corp
57.00 | Supply of Electronic Fan Regulator (1 Module) suitable for 240V, 50Hz AC supply etc. with relevant IS as required (Make : ANCHOR, Model : Dimmer controller, IVORY 50428, or equivalent from list of Approved makes). | 25.00 | Each |  | 145.00 | 3625.00 | 163.00 | 4075.00 | 150.00 | 3750.00 | 3625.00 | DEEPAKELECTRICALS
58.00 | Supply of 200W, 6.6A, Bi-pin Halogen lamp for Airfield ground lighting facilities from the list of approved of makes. Suitable for M/s NARVA make Cat no. 58373 or equivalent from list of Approved makes). | 150.00 | No's |  | 430.00 | 64500.00 | 380.00 | 57000.00 | 450.00 | 67500.00 | 57000.00 | Bafna Electric Corp
59.00 | Supply of Lamp holder suitable for Bi-pin Halogen lamp for Airfield ground lighting facilities from the list of approved of makes. | 100.00 | No's |  | 200.00 | 20000.00 | 180.00 | 18000.00 | 290.00 | 29000.00 | 18000.00 | Bafna Electric Corp
60.00 | Supply of 5KV grade plug and receptacle of type I class "B" connector suitable for field attachment with 5KV grade PVC insulated PVC sheathed single core 6 mm2 copper conductor cable conforming to the relevant IS specification etc. complete as required. | 60.00 | Set |  | 350.00 | 21000.00 | 360.00 | 21600.00 | 370.00 | 22200.00 | 21000.00 | DEEPAKELECTRICALS
61.00 | Supply of 5KV grade plug and receptacle of type I class "B" connector suitable for field attachment with 5KV grade PVC insulated PVC sheathed single core 16 mm2 copper conductor cable conforming to the relevant IS specification etc. complete as required. | 40.00 | Set |  | 350.00 | 14000.00 | 360.00 | 14400.00 | 370.00 | 14800.00 | 14000.00 | DEEPAKELECTRICALS
62.00 | Supply of Rubber gasket for base plate (RWY/TWY Fitting) etc. of relevant IS from list of approved makes as required. | 50.00 | No's |  | 120.00 | 6000.00 | 85.00 | 4250.00 | 250.00 | 12500.00 | 4250.00 | Bafna Electric Corp
63.00 | Supply of 200 Watts 6.6/6.6 Amps 5KV grade 50Hz isolating transformer series type encapsulated in polyster resin finally moulded in neoprene type rubber with primary and secondary connections as specified in particular specifications. | 25.00 | No's |  | 4200.00 | 105000.00 | 4250.00 | 106250.00 | 3350.00 | 83750.00 | 83750.00 | electromach sales agencies
64.00 | Supply of 200 Watts 20/6.6 Amps 5KV grade 50Hz isolating transformer series type encapsulated in polyster resin finally moulded in neoprene type rubber with primary and secondary connections as specified in particular specifications. | 25.00 | No's |  | 4200.00 | 105000.00 | 4250.00 | 106250.00 | 3350.00 | 83750.00 | 83750.00 | electromach sales agencies
65.00 | Supply of 45 Watts 6.6/6.6 Amps 5KV grade 50Hz isolating transformer series type encapsulated in polyster resin finally moulded in neoprene type rubber with primary and secondary connections as specified in particular specifications. | 10.00 | No's |  | 3000.00 | 30000.00 | 3100.00 | 31000.00 | 2900.00 | 29000.00 | 29000.00 | electromach sales agencies
66.00 | Supply of LED Taxiway Edge light fitting i/c its drivers, lens and complete assembly of relevant IS from list of approved makes as required (Suitable for ALN & ALD type of M/s AMA). | 20.00 | No's |  | 9000.00 | 180000.00 | 5980.00 | 119600.00 | 5500.00 | 110000.00 | 110000.00 | electromach sales agencies
67.00 | Supply of 105W, 6.6A, Halogen lamp for (Inset fitting) Airfield ground lighting facilities (Make: Osram, Cat No. 64339) or equialent from list approved makes. | 20.00 | No's |  | 950.00 | 19000.00 | 885.00 | 17700.00 | 925.00 | 18500.00 | 17700.00 | Bafna Electric Corp
68.00 | Supply of HT Tape (Water resistant self fusing/sealing tape) roll of 38mm x 9.1mtr size suitable for U/G cable application, etc., as required. (Make: Permacel, Model:P-966 or similar from list of approved makes). | 40.00 | No's |  | 900.00 | 36000.00 | 650.00 | 26000.00 | 625.00 | 25000.00 | 25000.00 | electromach sales agencies
69.00 | Supply of 2x2.5 sq. mm Cu conductor, 600V grade Two pin Secondary plug assembly of length 0.3Mtr. with male connector, suitable for AUN, ALN and ALD type fitting of M/s AMA make. | 30.00 | No's |  | 350.00 | 10500.00 | 225.00 | 6750.00 | 300.00 | 9000.00 | 6750.00 | Bafna Electric Corp
70.00 | Supply of 3x2.5 sq. mm Cu conductor, 600V grade Two pin Secondary plug assembly of length 2.5Mtr., suitable for PAPI assembly of M/s AMA make. | 20.00 | No's |  | 450.00 | 9000.00 | 675.00 | 13500.00 | 550.00 | 11000.00 | 9000.00 | DEEPAKELECTRICALS
71.00 | Supply of 180° Filter - Red for AMA AUN Runway Fitting | 30.00 | No's |  | 2000.00 | 60000.00 | 1890.00 | 56700.00 | 1500.00 | 45000.00 | 45000.00 | electromach sales agencies
72.00 | Supply of 180° Filter - Green for AMA AUN Runway Fitting | 10.00 | No's |  | 2000.00 | 20000.00 | 1890.00 | 18900.00 | 1500.00 | 15000.00 | 15000.00 | electromach sales agencies
73.00 | Supply of 180° Filter - Yellow for AMA AUN Runway Fitting | 10.00 | No's |  | 2000.00 | 20000.00 | 1890.00 | 18900.00 | 1500.00 | 15000.00 | 15000.00 | electromach sales agencies
74.00 | Supply of Clinometer suitable for M/s AMA make PAPI | 1.00 | No |  | 10000.00 | 10000.00 | 52000.00 | 52000.00 | 45000.00 | 45000.00 | 10000.00 | DEEPAKELECTRICALS
75.00 | Supply of Converter suitable for NASU make Guidance Signage Boards having input from CCR current 2.8 A to 6.6A & output for board having height 800mm and suitable for entire length of board from 0.8m to 3m. Make:- NASU | 3.00 | No's |  | 7500.00 | 22500.00 | 3875.00 | 11625.00 | 7000.00 | 21000.00 | 11625.00 | Bafna Electric Corp
76.00 | Supply of driver for existing signage board. of Make POSHDECOR (Suitable for sign board having length from 800mm up to 3000mm and should be illuminated by a single driver. The driver should work on runway current varying from 2.8 to 6.6 Amp & should have uniform brightness across the entire range of current variation from 2.8 Amp to 6.6 Amp. | 3.00 | No's |  | 7500.00 | 22500.00 | 3875.00 | 11625.00 | 4500.00 | 13500.00 | 11625.00 | Bafna Electric Corp
77.00 | Supply of driver for existing signage board. of Make: Electro System (Suitable for sign board having length from 800mm up to 3000mm and should be illuminated by a single driver. The driver should work on runway current varying from 2.8 to 6.6 Amp & should have uniform brightness across the entire range of current variation from 2.8 Amp to 6.6 Amp. | 3.00 | No's |  | 7500.00 | 22500.00 | 3875.00 | 11625.00 | 4500.00 | 13500.00 | 11625.00 | Bafna Electric Corp
78.00 | Supply of LED strip suitable for 800 mm board with high luminous long life typically 50,000 Hrs type, 0. 5 Watts LED's assembled on aluminium PCB of size 700mm X 20mm and having 11 LED's per PCB. The thickness of the aluminium PCB shall be 2mm in order to ensure proper heat dissipation. Make:- NASU | 20.00 | No's |  | 525.00 | 10500.00 | 1100.00 | 22000.00 | 700.00 | 14000.00 | 10500.00 | DEEPAKELECTRICALS
79.00 | Supply of LED strip suitable for 800 mm board with high luminous long life typically 50,000 Hrs type, 0. 5 Watts LED's assembled on aluminium PCB of size 700mm X 20mm and having 11 LED's per PCB. The thickness of the aluminium PCB shall be 2mm in order to ensure proper heat dissipation. Make:- POSHDECOR | 20.00 | No's |  | 525.00 | 10500.00 | 880.00 | 17600.00 | 700.00 | 14000.00 | 10500.00 | DEEPAKELECTRICALS
80.00 | Supply of LED strip suitable for 800 mm board with high luminous long life typically 50,000 Hrs type, 0. 5 Watts LED's assembled on aluminium PCB of size 700mm X 20mm and having 11 LED's per PCB. The thickness of the aluminium PCB shall be 2mm in order to ensure proper heat dissipation. Make:- Electro System | 20.00 | No's |  | 550.00 | 11000.00 | 880.00 | 17600.00 | 700.00 | 14000.00 | 11000.00 | DEEPAKELECTRICALS
| Total in Figures |  |  |  |  | 1932880.00 |  | 1953365.00 |  | 2119390.00
Lowest Amount Quoted BY: DEEPAKELECTRICALS(1932880.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of EM Installations at Tirupati Airport for the year 2020 21. SH Supply of Electrical and Ground Lighting Facility spares for EM Installations at Tirupati Airport Tender ID: 2021_AAI_66553_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DEEPAKELECTRICALS | 1932880.00 | L1
| 2 | Bafna Electric Corp | 1953365.00 | L2
| 3 | electromach sales agencies | 2119390.00 | L3