## BoQ1
Government eProcurement System Created By: Suman Biswas Created Date/Time: 25-Feb-2021 06:16 PM Tender Title: DSITC of Foam Flooded Fire Fighting System, Fire Hydrant and Sprinkler system, Fire Detection and Alarm System, Public Address system Tender ID: 2021_AAI_66650_1
Tender Inviting Authority: AGM (E-E)
Name of Work: Construction of 3 Hangars for C Category aircrafts connecting apron and taxi link (Narayanpur Side) at NSCBI Airport, Kolkata. SH: Design, Supply, Installation, Testing & Commissioning of Foam Flooded Fire Fighting System, Fire Hydrant & Sprinkler system, Fire Detection & Alarm System, Public Address system.
Contract No: 2021_AAI_66650_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DES TECHNICO PVT LTD(GSTN-19AABCD1743K1ZM) |  | VKS PROJECTS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | A. Design, Engineering, Procurement, Fabrication, Supply, Installation, Testing, Commissioning (DEPFSITC) and Handing over of following Automated System in 03 nos. Hangars at NSCBI airport, Kolkata. (i) A foam-water deluge system in addition supplementary High Expansion Foam Based Fire Fighting System for Hangars Aircraft Parking Area as per NFPA 409 for protection of Group I Aircraft Hangar. (ii) Water Sprinkler system for inside and outside of Hangars except Aircraft Parking area. (iii) Fire Detection and Alarm System (FDAS), Public Announcement System (PA) in all 03 nos. of Hangars area. (iv) Aerosol Suppression System for electrical switch rooms of 03 nos. Hangar. Note: a) Firefighting systems (Foam for Aircraft parking area + Water sprinkler for office area), FDAS, PA should be designed considering 05 (Five) nos. of Hangars as shown in the layout drawing (NIT Ref page 201 to 210) to take care of future load of another 02 Hangars (C1 + C2) but work execution will be carried out under this scope of work only for 03 (three) nos. of Hangars (i.e. H1+H2+H3). b) Base-Plant of High Expansion Foam Based System should have minimum capacity for mitigating fire of Aircraft- Parking area with the specified discharge rate and pressure (as per NFPA), so that it can handle two hangars at a time. (B) Providing a vehicle for 6 days in a week from date of start of work till completion of project. Work should be executed in confirmation to the Particular & Technical Specification as given in NIT Ref. Page 147 to 190 with full satisfaction of E.I.C. ***Rate should be quoted considering all the above. | 1.00 | JOB |  | 141245306.00 | 141245306.00 | 146906688.00 | 146906688.00 | 141245306.00 | DES TECHNICO PVT LTD
2.00 | Operation and Maintenance of foam-water deluge system in addition supplementary High expansion foam based Fire Fighting System, water sprinkler firefighting system, Fire Detection and Alarm System (FDAS), PA System with all associated accessories, in 03 nos. newly constructed aircraft hangars, including routine inspection, testing and preventive maintenance in accordance to the attached schedule (ref. NIT Page No.217 to 225) by deployment of following manpower at NSCBI Airport Kolkata. (i) Supervisor (Highly Skilled): 01 No. – 6 days a week in General Shift. (ii) Electrician cum Pump operator (Skilled): 01 No. per shift – in three shift a day. (iii) PA system & PC room operator (Skilled): 01 No. per shift – in three shift a day. (iv) Helper (Unskilled): 01 No. per shift – in three shift a day.
2.01 | For 1st Year | 12.00 | Months |  | 216600.00 | 2599200.00 | 333330.00 | 3999960.00 | 2599200.00 | DES TECHNICO PVT LTD
2.02 | For 2nd Year | 12.00 | Months |  | 238260.00 | 2859120.00 | 333330.00 | 3999960.00 | 2859120.00 | DES TECHNICO PVT LTD
2.03 | For 3rd Year | 12.00 | Months |  | 262086.00 | 3145032.00 | 333330.00 | 3999960.00 | 3145032.00 | DES TECHNICO PVT LTD
| Total in Figures |  |  |  |  | 149848658.00 |  | 158906568.00
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words
|  |  | Bidder Price | Amount in Words
1 | DES TECHNICO PVT LTD | 125192281 | 117692281.00 | Eleven Crore Seventy Six Lakh Ninty Two Thousand Two Hundred and Eighty One
2 | VKS PROJECTS | 125192281 | 117792281.00 | Eleven Crore Seventy Seven Lakh Ninty Two Thousand Two Hundred and Eighty One
Lowest Amount Quoted BY: DES TECHNICO PVT LTD(1.17692281E8)

## BOQ Summary
BOQ Summary Details Tender Title: DSITC of Foam Flooded Fire Fighting System, Fire Hydrant and Sprinkler system, Fire Detection and Alarm System, Public Address system Tender ID: 2021_AAI_66650_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DES TECHNICO PVT LTD | 149848658.00 | L1
| 2 | VKS PROJECTS | 158906568.00 | L2