## BoQ1
Government eProcurement System Created By: KASI R Created Date/Time: 29-Jan-2021 12:51 PM Tender Title: Job contract for Comprehensive Maintenance of Fire Alarm and BMS and Daily Maintenance of Fire Hydrant system at Coimbatore Airport. Tender ID: 2021_AAI_66674_1
Tender Inviting Authority: Asst.Gen.Manager (E-E), Airports Authority of India, Coimbatore International Airport, Coimbatore - 641014.
Name of Work: A.R.M.O. of E&M Installations at Coimbatore International Airport SH:Job contract for Comprehensive Maintenance of Fire Alarm System and B.M.S and Daily Maintenance of Fire Hydrant system (For 2 Years).
Contract No: 2021_AAI_66674_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SALIMAX SYSTEMS AND CONTROLS ENGG(GSTN-33AFKPR7224N1ZY) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Reco Safety and Automation Pvt Ltd(GSTN-33AAFCR7479A1ZE)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive Maintenance of Fire Alarm System, Fire Hydrant, Fire Brigade Connection & Fire Sprinkler System installed at Coimbatore International Airport comprising of Installations as detailed in Annexure-I including carrying out Monthly Preventive Maintenance as per OEM standards, attending breakdown maintenance within 24 hours of intimation through telephone/e mail, Supply and replacing faulty components, correcting / up-dating the software with original OEM software, if required etc. to maintain the system in serviceable condition as required and as per the instructions of the Engineer-in-Charge.
1.01 | For First Year | 1.00 | job/year |  | 300000.00 | 300000.00 | 340000.00 | 340000.00 | 170000.00 | 170000.00 | 15000.00 | 15000.00 | 15000.00 | Reco Safety and Automation Pvt Ltd
1.02 | For Second year | 1.00 | job/year |  | 300000.00 | 300000.00 | 374000.00 | 374000.00 | 190000.00 | 190000.00 | 15000.00 | 15000.00 | 15000.00 | Reco Safety and Automation Pvt Ltd
2.00 | Comprehensive Maintenance of Building Management System installed at Coimbatore International Airport comprising of Installations as detailed in Annexure including carrying out Monthly Preventive Maintenance as per OEM standards, attending breakdown maintenance within 24 hours of intimation through telephone/e mail, Supply and replacing faulty components, correcting / up-dating the software with original OEM software, if required etc. to maintain the system in serviceable condition as required and as per the instructions of the Engineer-in-Charge.
2.01 | For First Year | 1.00 | Job/Year |  | 300000.00 | 300000.00 | 240000.00 | 240000.00 | 80000.00 | 80000.00 | 15000.00 | 15000.00 | 15000.00 | Reco Safety and Automation Pvt Ltd
2.02 | For Second year | 1.00 | Job/Year |  | 300000.00 | 300000.00 | 252000.00 | 252000.00 | 90000.00 | 90000.00 | 15000.00 | 15000.00 | 15000.00 | Reco Safety and Automation Pvt Ltd
3.00 | CMC of fire alarm and smoke detection system installed at NAV-AID building including PMC checks as per OEM recommendations including attending faults/Breakdown calls as and when required basis and taking rectification actions(including all sapres and materilas) etc as per the site requirement (Four Locations - DVOR,LLZ, NDB & GP ).
3.01 | For First Year | 1.00 | Job/Year |  | 75000.00 | 75000.00 | 150000.00 | 150000.00 | 38000.00 | 38000.00 | 15000.00 | 15000.00 | 15000.00 | Reco Safety and Automation Pvt Ltd
3.02 | For Second year | 1.00 | Job/Year |  | 75000.00 | 75000.00 | 157500.00 | 157500.00 | 40000.00 | 40000.00 | 15000.00 | 15000.00 | 15000.00 | Reco Safety and Automation Pvt Ltd
4.00 | Daily Monitoring and Maintenance of Addressable (Make Honeywell) Conventional and Aspiration type Fire Alarm System , BMS (Make Honeywell) and Fire Hydrant system, Fire Brigade Connection & Fire Sprinkler System installed at Coimbatore International Airport as per the list of installations attached including providing manpower as per annexure-III, pg no.189 in Tender Document for manning the Fire Alarm Control Panel room in three shifts on all days including Sundays and holidays, as per the special conditions of contract attached and as per the instructions of the Engineer-in-Charge. | 24.00 | Months |  | 185000.00 | 4440000.00 | 229500.00 | 5508000.00 | 200000.00 | 4800000.00 | 260000.00 | 6240000.00 | 4440000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
5.00 | Annual Maintenance contract for Jokey Pump-10HP with motor & Main Pump- 55HP with motor including carrying out Monthly Preventive Maintenance as per OEM standards, attending breakdown maintenance within 24 hours of intimation through telephone/e mail, Supply and replacing faulty components if required etc., to maintain the system in serviceable condition as required and as per the instructions of the Engineer-in-Charge. Annual Maintenance service for Kirloskar make diesel engine driven pump of 31 BHP, model 3R 1040, 25 KVA alternator & panel board including required monthly and periodical services by Authorized Service Provider (OEM) including attending breakdowns as and when required. | 24.00 | Months |  | 9100.00 | 218400.00 | 7000.00 | 168000.00 | 8000.00 | 192000.00 | 4500.00 | 108000.00 | 108000.00 | Reco Safety and Automation Pvt Ltd
| Total in Figures |  |  |  |  | 6008400.00 |  | 7189500.00 |  | 5600000.00 |  | 6438000.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(5600000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Job contract for Comprehensive Maintenance of Fire Alarm and BMS and Daily Maintenance of Fire Hydrant system at Coimbatore Airport. Tender ID: 2021_AAI_66674_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 5600000.00 | L1
| 2 | SALIMAX SYSTEMS AND CONTROLS ENGG | 6008400.00 | L2
| 3 | Reco Safety and Automation Pvt Ltd | 6438000.00 | L3
| 4 | NATIONAL SAFETY ENGINEERS | 7189500.00 | L4