## BoQ1
Government eProcurement System Created By: Mayank Gaur Created Date/Time: 01-Feb-2021 03:27 PM Tender Title: Annual Running Operation and Comprehensive Maintenance of 2x40 TR A/C Plant, Package units, i/c split and window type A/C units at ARSR Bijwasan, New Delhi (2021-23) Tender ID: 2021_AAI_66752_1
Tender Inviting Authority: Senior Manager (Engg.-E), AAI, DATS Complex, IGI Airport, New Delhi.
Name of Work: Annual Running Operation and Comprehensive Maintenance of 2x40 TR A/C Plant, Package units, i/c split & window type A/C units at ARSR Bijwasan, New Delhi (2021-23).
Contract No: AAI/DATS/E-E/CAMC-AC-BIJ/2020-21/E-NIT-06
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Welcome Engineers(GSTN-07AAKPB9180G1ZN) |  | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF) |  | ROSHAN REFRIGERATION AND ELECTRICALS(GSTN-23AAJFR9192B1Z5) |  | SRS ENGINEERS(GSTN-07AETPG0981P1ZR) |  | Arctic Engineering Services(GSTN-07AAWFA5497P1ZA) |  | Zamzam Refrigeration and airconditioning(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Running & operation of 2x40 TR Central A/C plant (Air Cooled), FCU (4 x 3 ton), Air-cooled package A/c unit (4x2x3.75 TR), and water supply pump sets on all working days i/c Sundays & Holidays in three shift operation. The contractor shall depute the following minimum man power at site for One month. A/C Mechanic-cum-A/C Plant operator - 4 nos. (Skilled) (1 no. in each shift.) Attendant (Unskilled)- 3 nos. (1 no. in each shift). Note : Contractor has to re-engage 2 nos. (unskilled) out of above 3 nos.(unskilled) workmen who are protected by the stay / Status Quo order by Hon'ble high Court of Delhi and subject to outcome of WPC 4564/2019 and WPC 1462/2020. | 24.00 | Month | 155834.00 | 130000.00 | 3120000.00 | 142000.00 | 3408000.00 | 171965.00 | 4127160.00 | 146967.00 | 3527208.00 | 149150.00 | 3579600.00 | 140000.00 | 3360000.00 | 180600.00 | 4334400.00 | 3120000.00 | Welcome Engineers
2.00 | Comprehensive maintenance of central A/C plant (2x40 TR), package AC Units (4x2x3.75 ton), FCU (4 x 3 ton), CDW/CHW pumps, pipe lines and cooling tower etc. complete for one month as per scope of work complete as required. | 24.00 | Month | 13018.00 | 3000.00 | 72000.00 | 5000.00 | 120000.00 | 7500.00 | 180000.00 | 15000.00 | 360000.00 | 8000.00 | 192000.00 | 15000.00 | 360000.00 | 7000.00 | 168000.00 | 72000.00 | Welcome Engineers
3.00 | Comprehensive maintenance of 2 Nos AHUs of 7.5 HP with heating arrangements i.e. humidifier complete for one month as per scope of work complete as required. | 24.00 | Month | 1554.00 | 300.00 | 7200.00 | 2000.00 | 48000.00 | 1500.00 | 36000.00 | 3000.00 | 72000.00 | 500.00 | 12000.00 | 8000.00 | 192000.00 | 800.00 | 19200.00 | 7200.00 | Welcome Engineers
4.00 | Comprehensive maintenance of following split type Air-conditioning unit comprising of compressor, condensing coil unit, cooling coil unit etc. complete for one month as per scope of work:
4.01 | 3 TR (Cassette type / Tower type) - 4 Nos. | 24.00 | Month | 6647.00 | 1000.00 | 24000.00 | 2000.00 | 48000.00 | 600.00 | 14400.00 | 2500.00 | 60000.00 | 650.00 | 15600.00 | 2400.00 | 57600.00 | 2000.00 | 48000.00 | 14400.00 | ROSHAN REFRIGERATION AND ELECTRICALS
4.02 | 1.5 TR - 11 Nos. and 2.0 TR - 04 Nos. | 24.00 | Month | 14709.00 | 900.00 | 21600.00 | 1000.00 | 24000.00 | 1100.00 | 26400.00 | 3500.00 | 84000.00 | 1850.00 | 44400.00 | 1800.00 | 43200.00 | 2500.00 | 60000.00 | 21600.00 | Welcome Engineers
5.00 | Annual Comprehensive Maintenance of 1.5 TR (2 Nos.) Capacity Window type A/C unit i/c repair etc. complete as required at site. | 24.00 | Month | 1944.00 | 300.00 | 7200.00 | 800.00 | 19200.00 | 600.00 | 14400.00 | 500.00 | 12000.00 | 250.00 | 6000.00 | 800.00 | 19200.00 | 700.00 | 16800.00 | 6000.00 | Arctic Engineering Services
6.00 | Repainting of CDW/CHW pipe line, pumps, compressors, AHUs, panels etc. with 2 or more coats enamel paint of approved colour & quality i/c scraping , cleaning etc. complete as and when reqd. at site as follows :
6.01 | For L.T. panels & pipe lines with synthetic enamel paint. | 20.00 | Sqm. | 132.00 | 140.00 | 2800.00 | 10.00 | 200.00 | 65.00 | 1300.00 | 110.00 | 2200.00 | 350.00 | 7000.00 | 1500.00 | 30000.00 | 200.00 | 4000.00 | 200.00 | SNOWMEX ENGINEERS LIMITED
6.02 | CDW/CHW pump with synthetic enamel paint | 6.00 | Job | 299.00 | 90.00 | 540.00 | 10.00 | 60.00 | 75.00 | 450.00 | 1000.00 | 6000.00 | 500.00 | 3000.00 | 9000.00 | 54000.00 | 1000.00 | 6000.00 | 60.00 | SNOWMEX ENGINEERS LIMITED
6.03 | A/C Plant i/c Compressor, motor, chiller condenser etc. with synthetic enamel paint | 1.00 | Job | 3211.00 | 1000.00 | 1000.00 | 10.00 | 10.00 | 800.00 | 800.00 | 4000.00 | 4000.00 | 3500.00 | 3500.00 | 15000.00 | 15000.00 | 5000.00 | 5000.00 | 10.00 | SNOWMEX ENGINEERS LIMITED
7.00 | Repairing & Rewinding of , 3 phase squirrel cage induction motors 1400 to 2800 RPM for centrifugal and monoblock/jet pump motors set with super enamelled copper wire of suitable gauge i/c dismantling, transportation from site to work shop & back. The work includes re-installation of the same at site. Note: Buy-back cost of dismantled winding shall be included in the quoted rates.
7.01 | 5 HP | 2.00 | Nos. | 5555.00 | 3000.00 | 6000.00 | 10.00 | 20.00 | 3500.00 | 7000.00 | 4500.00 | 9000.00 | 1850.00 | 3700.00 | 6500.00 | 13000.00 | 3800.00 | 7600.00 | 20.00 | SNOWMEX ENGINEERS LIMITED
7.02 | 1.5 HP /2.0HP | 2.00 | Nos. | 5555.00 | 2000.00 | 4000.00 | 10.00 | 20.00 | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 1450.00 | 2900.00 | 3500.00 | 7000.00 | 3800.00 | 7600.00 | 20.00 | SNOWMEX ENGINEERS LIMITED
8.00 | Repairing & Rewinding of 3-phase,415 V, 50 Hz submersible pump motors of following capacity by replacement of rewinding kit, defective bushes, impeller, seal, gasket etc. i/c transportation from site to workshop & back as and when reqd. at site. Note: Buy-back cost of dismantled winding shall be included in the quoted rates.
8.01 | 5 HP | 2.00 | Nos. | 5555.00 | 3000.00 | 6000.00 | 10.00 | 20.00 | 2500.00 | 5000.00 | 5000.00 | 10000.00 | 1850.00 | 3700.00 | 6500.00 | 13000.00 | 4000.00 | 8000.00 | 20.00 | SNOWMEX ENGINEERS LIMITED
8.02 | 1.5/2.0 HP | 2.00 | Nos. | 5555.00 | 2000.00 | 4000.00 | 10.00 | 20.00 | 1500.00 | 3000.00 | 2500.00 | 5000.00 | 1450.00 | 2900.00 | 3500.00 | 7000.00 | 3600.00 | 7200.00 | 20.00 | SNOWMEX ENGINEERS LIMITED
9.00 | Labour charge for removal of different size & capacity submersible pump set, from the existing borewell along with pipe lines, cable etc. and fixing the same after repairing. The job is to be carried out as and when reqd. at site. (Depth of borewell is approx. 75 Mtrs) | 2.00 | Job | 2547.00 | 4000.00 | 8000.00 | 20.00 | 40.00 | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 7500.00 | 15000.00 | 6000.00 | 12000.00 | 40.00 | SNOWMEX ENGINEERS LIMITED
10.00 | Annual repair and maintenance of water softening plant (100 Ltrs. Capacity) by deputing one no. service Engineer for monthly inspection & checking of serviceability of all the accessories including attending the complaints and breakdown as & when require, including providing and charging of salt as required to maintain the quality of water within the permissible limits, as per the scope of work complete as required. | 24.00 | Month | 1162.00 | 300.00 | 7200.00 | 1782.00 | 42768.00 | 4500.00 | 108000.00 | 2000.00 | 48000.00 | 800.00 | 19200.00 | 10000.00 | 240000.00 | 1000.00 | 24000.00 | 7200.00 | Welcome Engineers
11.00 | Providing resin for water softening plant (100 Ltrs. Capacity) complete as required. Note: Resin to be replaced minimum once in a year. | 2.00 | Job | 13357.00 | 11000.00 | 22000.00 | 500.00 | 1000.00 | 7000.00 | 14000.00 | 8500.00 | 17000.00 | 15000.00 | 30000.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 1000.00 | SNOWMEX ENGINEERS LIMITED
12.00 | Annual Comprehensive maintenance of Water Coolers (2 Nos.,Make:Conway Waterpurifier) floor mounted having 80 L Storage Capacity & Cooling capacity of 60 L per hour with inbuilt 7 stage RO and UV purification including replacing of filters as and when required and shifting and positioning of the water cooler & RO at the specified location (if required), inlet/outlet connections and adjustment of TDS etc. complete as required. | 24.00 | Month | 434.00 | 500.00 | 12000.00 | 300.00 | 7200.00 | 583.25 | 13998.00 | 1500.00 | 36000.00 | 250.00 | 6000.00 | 2500.00 | 60000.00 | 1000.00 | 24000.00 | 6000.00 | Arctic Engineering Services
13.00 | Annual Comprehensive maintenance of RO(2 Nos.,Make : KENT),wall mounted having 8 L storage capacity & purification production rate 15 L per hour including replacing of filters as and when required and shifting and positioning of the RO at the specified location, inlet/outlet connections and adjustment of RO and its TDS etc. complete as required. | 24.00 | Month | 283.00 | 250.00 | 6000.00 | 1000.00 | 24000.00 | 583.00 | 13992.00 | 2000.00 | 48000.00 | 400.00 | 9600.00 | 1200.00 | 28800.00 | 2000.00 | 48000.00 | 6000.00 | Welcome Engineers
14.00 | Execution of works as per CPWD schedule of rates and specification for amount of Rs. 1,00,000/- as and when required during contract period. Rates for the items under DSR shall be taken as under: Item rate as per DSR-2018 = X Basic rate (on which percentage above or below to be quoted)= Y = X / 1.1405 (ex. GST) Example: if rate of an item as per DSR-2018 = 114.05 Basic rate (on which percentage above or below to be quoted) = 114.05 / 1.1405 = 100 If contractor is quoting Rs. 75,000/- againts Rs. 1,00,000 i.e. 25 % below it means Rs. 75.00 (ex GST) shall be paid for that item against Rs. 114.05 (as per DSR-2018) | 1.00 | Job | 100000.00 | 66600.00 | 66600.00 | 50000.00 | 50000.00 | 90000.00 | 90000.00 | 100000.00 | 100000.00 | 88500.00 | 88500.00 | 65000.00 | 65000.00 | 70000.00 | 70000.00 | 50000.00 | SNOWMEX ENGINEERS LIMITED
| Total in Figures |  |  |  |  | 3398140.00 |  | 3792558.00 |  | 4662900.00 |  | 4413408.00 |  | 4039600.00 |  | 4589800.00 |  | 4889800.00
Lowest Amount Quoted BY: Welcome Engineers(3398140.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Running Operation and Comprehensive Maintenance of 2x40 TR A/C Plant, Package units, i/c split and window type A/C units at ARSR Bijwasan, New Delhi (2021-23) Tender ID: 2021_AAI_66752_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Welcome Engineers | 3398140.00 | L1
| 2 | SNOWMEX ENGINEERS LIMITED | 3792558.00 | L2
| 3 | Arctic Engineering Services | 4039600.00 | L3
| 4 | SRS ENGINEERS | 4413408.00 | L4
| 5 | Zamzam Refrigeration and airconditioning | 4589800.00 | L5
| 6 | ROSHAN REFRIGERATION AND ELECTRICALS | 4662900.00 | L6
| 7 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 4889800.00 | L7