## BoQ1
Government eProcurement System Created By: Pramod Soni Created Date/Time: 03-Mar-2021 03:49 PM Tender Title: Replacement of ACs in OTB administrative offices conference hall and other locations at S V Airport Raipur Tender ID: 2021_AAI_66781_1
Tender Inviting Authority: Sr. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: Replacement of AC's in OTB administrative offices, conference hall and other locations at S.V. Airport, Raipur.
Contract No: 2020_AAI_66781
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | M/S DURGA SUPPLY AGENCIES(GSTN-21ADAPP6465D1ZV) |  | NAQVI BROTHERS(GSTN-09ADHPN6210D1ZT) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of highly energy efficient as per BEE rating 2020 floor standing type 4 TR tower type Air-conditioner having copper condenser coil scroll/ rotatry with hermitically sealed compressor operating on ecofriendly refrigerant R-32 OR similar & is having less impact on OZONE Layer, LED display, cordless remote, with dry, cool & auto modes of operation capable of performing cooling, dehumidification, air circulating, filtering and ventilation etc & suitable for operation on 3-phase 415 Volts +/- 10% 50 Hz, AC supply. The job includes MS supporting framework for outdoor and indoor unit, refrigerant etc as required from the list of approved make as mentioned in tender documents. | 7.00 | Each | 95163.21 | 87000.00 | 609000.00 | 86000.00 | 602000.00 | 85800.00 | 600600.00 | 80000.00 | 560000.00 | 85000.00 | 595000.00 | 83500.00 | 584500.00 | 89000.00 | 623000.00 | 560000.00 | NAQVI BROTHERS
2.00 | Supply of highly energy efficient as per BEE rating 2020 floor standing type 3 TR tower type Air-conditioner having copper condenser coil scroll/ rotatry with hermitically sealed compressor operating on refrigerant gas R-32 OR similar & is having less impact on OZONE Layer, LED display, cordless remote, with dry, cool & auto modes of operation capable of performing cooling, dehumidification, air circulating, filtering and ventilation etc & suitable for operation on 3-phase 415 Volts +/- 10% 50 Hz, AC supply. The job includes MS supporting framework for outdoor and indoor unit, refrigerant etc as required from the list of approved make as mentioned in tender documents. | 3.00 | Each | 80307.12 | 83000.00 | 249000.00 | 76500.00 | 229500.00 | 55800.00 | 167400.00 | 70000.00 | 210000.00 | 75000.00 | 225000.00 | 65000.00 | 195000.00 | 84000.00 | 252000.00 | 167400.00 | M/S DURGA SUPPLY AGENCIES
3.00 | Supply, Installation, Testing & Commissioning of fully stainless steel storage type water cooler of capacity 150/150 Ltr. (150 Ltr/Hr. cooling capacity & 150 Ltr storage capacity). Suitable for single phase 230V + 10, 50Hz AC supply as per OEM specification with inlet hose connection inlet float valve, 2 nos. outlet faucet, drain pan with piping up to floor trap, suitable MS angle stand etc complete in all respect as required from the list of approved make as mentioned in tender documents. | 2.00 | Each | 49136.50 | 45500.00 | 91000.00 | 46509.00 | 93018.00 | 41400.00 | 82800.00 | 55000.00 | 110000.00 | 42000.00 | 84000.00 | 35000.00 | 70000.00 | 54000.00 | 108000.00 | 70000.00 | M K ENTERPRISES
4.00 | Installation, testing and commissioning of for 3/4 TR floor mounted type air-conditioner (Indoor & Outdoor unit) i/c Copper piping work, providing suitable MS/GI stand for outdoor unit, complete with wall cutting, hole cutting, plastering etc. complete as required. | 10.00 | Job | 3109.79 | 4500.00 | 45000.00 | 2500.00 | 25000.00 | 2500.00 | 25000.00 | 4000.00 | 40000.00 | 6500.00 | 65000.00 | 3500.00 | 35000.00 | 2500.00 | 25000.00 | 25000.00 | Anoop Refrigeration, M/S DURGA SUPPLY AGENCIES, Manish Electricals
5.00 | Supply and Fixing of copper piping (suction & discharge line) including suitable insulation with nitrile rubber and 4 core 4 Sq.mm. flexible copper cable suitable for 4 TR floor mounted air-conditioning unit including brazing, clamping, chipping and minor civil work complete with all accessories as required. | 100.00 | Meter | 1476.62 | 800.00 | 80000.00 | 1200.00 | 120000.00 | 500.00 | 50000.00 | 1050.00 | 105000.00 | 1100.00 | 110000.00 | 850.00 | 85000.00 | 800.00 | 80000.00 | 50000.00 | M/S DURGA SUPPLY AGENCIES
6.00 | Supply and Fixing of copper piping (suction & discharge line) including suitable insulation with nitrile rubber and 4 core 4 Sq.mm. flexible copper cable suitable for 3 TR floor mounted air-conditioning unit including brazing, clamping, chipping and minor civil work complete with all accessories as required. | 50.00 | Meter | 1476.62 | 800.00 | 40000.00 | 1150.00 | 57500.00 | 500.00 | 25000.00 | 950.00 | 47500.00 | 1100.00 | 55000.00 | 820.00 | 41000.00 | 700.00 | 35000.00 | 25000.00 | M/S DURGA SUPPLY AGENCIES
7.00 | Supply and fixing of rigid UPVC / flexible drain pipe of 25 mm dia. Including suitable insulation complete with all fittings, U straps, clamps etc. | 50.00 | Meter | 347.44 | 130.00 | 6500.00 | 150.00 | 7500.00 | 50.00 | 2500.00 | 200.00 | 10000.00 | 88.00 | 4400.00 | 120.00 | 6000.00 | 60.00 | 3000.00 | 2500.00 | M/S DURGA SUPPLY AGENCIES
8.00 | Supply Installation, testing and commissioning of smart controller / Timer for automatic changing operation (4 hr / 8 hr duration) suitable for 3/4 TR split air-conditioning units and having OV & UV indication / protection complete etc as required. | 10.00 | Each | 5271.19 | 6500.00 | 65000.00 | 2200.00 | 22000.00 | 3000.00 | 30000.00 | 2500.00 | 25000.00 | 4300.00 | 43000.00 | 3000.00 | 30000.00 | 3000.00 | 30000.00 | 22000.00 | Anoop Refrigeration
9.00 | Dismantling and buy back of existing 3 / 4 TR. capacity floor mounted tower type air-conditioning units (indoor & outdoor) etc from different location at S. V. Airport, Raipur and i/c transportation charges etc. complete as required. (Rate shall be quoted above Rs 4242.00) | 10.00 | Each | 4242.00 | 4242.00 | 42420.00 | 1500.00 | 15000.00 | 4300.00 | 43000.00 | 5000.00 | 50000.00 | 4500.00 | 45000.00 | 8000.00 | 80000.00 | 4242.00 | 42420.00 | 15000.00 | Anoop Refrigeration
| Total in Figures |  |  |  |  | 1227920.00 |  | 1171518.00 |  | 1026300.00 |  | 1157500.00 |  | 1226400.00 |  | 1126500.00 |  | 1198420.00
Lowest Amount Quoted BY: M/S DURGA SUPPLY AGENCIES(1026300.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of ACs in OTB administrative offices conference hall and other locations at S V Airport Raipur Tender ID: 2021_AAI_66781_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S DURGA SUPPLY AGENCIES | 1026300.00 | L1
| 2 | M K ENTERPRISES | 1126500.00 | L2
| 3 | NAQVI BROTHERS | 1157500.00 | L3
| 4 | Anoop Refrigeration | 1171518.00 | L4
| 5 | Manish Electricals | 1198420.00 | L5
| 6 | Awasthi Electric Works | 1226400.00 | L6
| 7 | VOLKS ENERGIE PVT LTD | 1227920.00 | L7