## BoQ1
Government eProcurement System Created By: PUNEET UDAWAT Created Date/Time: 09-Jul-2021 11:23 AM Tender Title: Construction of New ATC Tower cum Technical Block including Repair and Maintenance, Operation and AICMC at Madurai Airport Tender ID: 2021_AAI_66868_1
Tender Inviting Authority: Office of Executive Director Engg.-Southern Region, Airports Authority of India, CHQ, 3rd Floor, A Block, Rajvi Gandhi Bhawan, New Delhi-110003
Name of Work: “Construction of New ATC Tower cum Technical Block including Repair & Maintenance, Operation and AICMC at Madurai Airport”
Contract No: 2021_AAI_66868_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VISHAL INFRASTRUCTURE LTD(GSTN-29AABCM3918R1ZT) |  | Teemage Builders Private Limited(GSTN-33AADCT6964E1ZA) |  | KEC International Ltd(GSTN-27AACCK5599H1Z2) |  | Renaatus Projects Pvt Ltd(GSTN-33AADCR1851J1ZH) |  | URC CONSTRUCTION PVT LTD(GSTN-29AAACU2425Q1ZW) |  | P S K Engineering Construction and Co(GSTN-33AAGFP2483E1ZF) |  | Tirupati Sarjan Limited(GSTN-24AAACT7015M1ZB) |  | GMS ELEGANT BUILDERS INDIA PRIVATE LIMITED(GSTN-33AAECG1679G1ZO) |  | Som Projects Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Construction of "GRIHA v.2019" 4 Star rated ATC Tower cum Technical Block on Engineering Procurement Construction i.e. Design-Built and Handover basis which includes Construction of Centrally Air Conditioned through VRF/VRV system Multi storey RCC/ Steel composite structures, Construction of ancillary buildings, Internal and External Services (Civil, Electro-Mechanical, Electronics & IT), Firefighting, Interior Furnishing and Finishing with provision of Furniture, Roads & Paths, External development, Street-Lighting, communication services, security infrastructure, Water supply & Drainage system, security boundary wall, art work, rain water harvesting, STP, Landscaping & Horticulture works and amenities, complete in all respect on the basis of concept drawings and tender specifications available in tender document. The work also includes obtaining mandatory approvals from local bodies/ authorities required for commencing the work, execution of required contingent works for operationalization of ATC Tower cum Technical Block, obtaining post construction mandatory approvals from regulatory authorities and handing over the assets after making them operational in all aspects. | 1.00 | Job |  | 720000000.00 | 720000000.00 | 739053833.03 | 739053833.03 | 814939659.00 | 814939659.00 | 700817698.00 | 700817698.00 | 719200000.00 | 719200000.00 | 840071616.00 | 840071616.00 | 844567859.56 | 844567859.56 | 716938319.00 | 716938319.00 | 668654000.00 | 668654000.00 | 668654000.00 | Som Projects Pvt. Ltd.
2.00 | Operation & Maintenance and Repair/AICMC
3.00 | Civil Works
4.00 | Operational and Service Charges for 07 years including Defect liability period of 02 Years (24x7x365 days as specified in tender document) after completion of work. Note: Amount to be quoted for First Year only. Yearly 10% cumulative enhancement on first year cost shall be applicable from Second Year onwards. Final amount for 7 years shall be automatically calculated and will be reflected in total Amount quoted. | 7.00 | Years |  | 5000000.00 | 47435855.00 | 2440009.61 | 23148788.41 | 2693384.03 | 25552594.86 | 5048865.00 | 47899445.61 | 5826700.00 | 55278899.27 | 4779314.00 | 45342169.18 | 5400000.00 | 51230723.40 | 4162862.00 | 39493783.64 | 3000000.00 | 28461513.00 | 23148788.41 | Teemage Builders Private Limited
5.00 | All inclusive Comprehensive Maintenance and Annual Repair works including Preventive Maintenance,special repair for 05 Years after Defect liability period of 02 Years. Note: Amount to be quoted for First Year only. Yearly 7% cumulative enhancement on first year cost shall be applicable from Second Year onwards. Final amount for 5 years shall be automatically calculated and will be reflected in total Amount quoted. | 5.00 | Years |  | 3000000.00 | 17252217.03 | 1954066.70 | 11237327.60 | 4751323.37 | 27323620.65 | 4176326.00 | 24016960.85 | 1224806.00 | 7043539.64 | 508020.00 | 2921490.43 | 5929000.00 | 34096131.59 | 427357.00 | 2457618.57 | 1700000.00 | 9776256.32 | 2457618.57 | GMS ELEGANT BUILDERS INDIA PRIVATE LIMITED
6.00 | Complete maintenance of Horticulture works of the entire Complex (as specified in tender document) for 07 years including Defect liability period of 02 Years after completion of work . Note: Amount to be quoted for First Year only. Yearly 7% cumulative enhancement on first year cost shall be applicable from Second Year onwards. Final amount for 7 years shall be automatically calculated and will be reflected in total Amount quoted. | 7.00 | Years |  | 250000.00 | 2163505.27 | 185400.00 | 1604455.51 | 814928.96 | 7052412.41 | 149796.00 | 1296337.74 | 240000.00 | 2076965.06 | 322670.00 | 2792392.99 | 2000000.00 | 17308042.19 | 271436.00 | 2349012.87 | 498000.00 | 4309702.50 | 1296337.74 | Renaatus Projects Pvt Ltd
7.00 | Electro Mechanical Works
8.00 | Providing manpower for Operation & maintenance of DG sets,Substation equipments, Internal & external electrical installation, HVAC & BMS, Fire Fighting, Fire alarm System , WTP, STP etc. as per standard OEM recommendations , maintenance schedules & practices as per manpower/ shift schedule mentioned in special conditions of contract. During first year. Note: i) Amount to be quoted for first year only. ii) Yearly 10% cumilative enhancement on first year cost shall be applicable from second year onwards. iii) Final amount for 7 years shall be automatically calculated and will be reflected in total amount quoted. | 7.00 | Years |  | 9000000.00 | 85384539.00 | 3757926.24 | 35652088.84 | 4616449.29 | 43797043.83 | 2554239.00 | 24232502.17 | 7603344.00 | 72134224.70 | 12770294.00 | 121153962.90 | 3600000.00 | 34153815.60 | 10260412.00 | 97342283.17 | 7150000.00 | 67833272.65 | 24232502.17 | Renaatus Projects Pvt Ltd
9.00 | All inclusive Comprehensive Maintenance of all Substation equipments along with all other associated works after DLP of Two years as provided under the main contract including trouble shooting, preventive maintenance and breakdown maintenance etc. as required as per good engineering practice, recommendation of the manufacturer, instructions of Engineer-in-Charge and as per terms and conditions specified. During first year after DLP of Two year (i.e Third year from completion) Note: i) Amount to be quoted for first year (after defect liability period) only. ii) Yearly 7% cumilative enhancement on first year cost shall be applicable from second year onwards. iii) Final amount for 5 years shall be automatically calculated and will be reflected in total amount quoted. | 5.00 | Years |  | 1500000.00 | 8626108.52 | 2886149.57 | 16597492.92 | 320119.09 | 1840921.34 | 1431427.00 | 8231763.09 | 55212.00 | 317509.80 | 956425.00 | 5500150.56 | 1800000.00 | 10351330.22 | 433695.00 | 2494066.75 | 1500000.00 | 8626108.52 | 317509.80 | URC CONSTRUCTION PVT LTD
10.00 | All inclusive Comprehensive Maintenance of Internal & External Electrical, Fire Alarm, PAVE, Access control along with all other associated works after DLP of Two years as provided under the main contract including trouble shooting, preventive maintenance and breakdown maintenance etc. as required as per good engineering practice, recommendation of the manufacturer, instructions of Engineer-in-Charge and as per terms and conditions specified. During first year after DLP of Two year (i.e Third year from completion). Note: i) Amount to be quoted for first year (after defect liability period) only. ii) Yearly 7% cumilative enhancement on first year cost shall be applicable from second year onwards. iii) Final amount for 5 years shall be automatically calculated and will be reflected in total amount quoted. | 5.00 | Years |  | 4240000.00 | 24383133.40 | 6473057.39 | 37224863.65 | 1008965.56 | 5802297.61 | 4550396.00 | 26168139.79 | 342023.00 | 1966885.01 | 2836769.00 | 16313518.15 | 4800000.00 | 27603547.25 | 2386350.00 | 13723276.04 | 1100000.00 | 6325812.91 | 1966885.01 | URC CONSTRUCTION PVT LTD
11.00 | All inclusive Comprehensive Maintenance of all Lifts after DLP of Two years as provided under the main contract including trouble shooting, preventive maintenance and breakdown maintenance etc. as required as per good engineering practice, recommendation of the manufacturer, instructions of Engineer-in-Charge and as per terms and conditions specified. During first year after DLP of Two year (i.e Third year from completion) Note: i) Amount to be quoted for first year (after defect liability period) only. ii) Yearly 7% cumilative enhancement on first year cost shall be applicable from second year onwards. iii) Final amount for 5 years shall be automatically calculated and will be reflected in total amount quoted. | 5.00 | Years |  | 800000.00 | 4600591.21 | 846928.70 | 4870465.91 | 72168.05 | 415019.62 | 523249.00 | 3009068.44 | 476390.00 | 2739594.56 | 491535.00 | 2826689.50 | 1200000.00 | 6900886.81 | 413491.00 | 2377878.82 | 3800000.00 | 21852808.24 | 415019.62 | KEC International Ltd
12.00 | All inclusive Comprehensive Maintenance of DG sets, UPS and associated works, after DLP of Two years as provided under the main contract including trouble shooting, preventive maintenance and breakdown maintenance etc. as required as per good engineering practice, recommendation of the manufacturer, instructions of Engineer-in-Charge and as per terms and conditions specified. During first year after DLP of Two year (i.e Third year from completion) Note: i) Amount to be quoted for first year (after defect liability period) only. ii) Yearly 7% cumilative enhancement on first year cost shall be applicable from second year onwards. iii) Final amount for 5 years shall be automatically calculated and will be reflected in total amount quoted. | 5.00 | Years |  | 870000.00 | 5003142.94 | 699325.22 | 4021636.82 | 254760.69 | 1465062.24 | 1289470.00 | 7415405.43 | 417330.00 | 2399955.91 | 719460.00 | 4137426.69 | 3000000.00 | 17252217.03 | 527167.00 | 3031599.83 | 500000.00 | 2875369.51 | 1465062.24 | KEC International Ltd
13.00 | All inclusive Comprehensive Maintenance of HVAC and BMS associated works, after DLP of Two years as provided under the main contract including trouble shooting, preventive maintenance and breakdown maintenance etc. as required as per good engineering practice, recommendation of the manufacturer, instructions of Engineer-in-Charge and as per terms and conditions specified. During first year after DLP of Two year (i.e Third year from completion) Note: i) Amount to be quoted for first year (after defect liability period) only. ii) Yearly 7% cumilative enhancement on first year cost shall be applicable from second year onwards. iii) Final amount for 5 years shall be automatically calculated and will be reflected in total amount quoted. | 5.00 | Years |  | 1740000.00 | 10006285.88 | 6387074.78 | 36730400.10 | 629322.61 | 3619070.08 | 3025579.00 | 17399315.18 | 1271470.00 | 7311892.13 | 755075.00 | 4342239.26 | 3000000.00 | 17252217.03 | 982966.00 | 5652780.92 | 1100000.00 | 6325812.91 | 3619070.08 | KEC International Ltd
14.00 | All inclusive Comprehensive Maintenance of Fire fighting system, Fire Alarm, Water Treatment Plant (WTP) and associated works, after DLP of Two years as provided under the main contract including trouble shooting, preventive maintenance and breakdown maintenance etc. as required as per good engineering practice, recommendation of the manufacturer, instructions of Engineer-in-Charge and as per terms and conditions specified. During first year after DLP of Two year (i.e Third year from completion) Note: i) Amount to be quoted for first year (after defect liability period) only. ii) Yearly 7% cumilative enhancement on first year cost shall be applicable from second year onwards. iii) Final amount for 5 years shall be automatically calculated and will be reflected in total amount quoted. | 5.00 | Years |  | 1140000.00 | 6555842.47 | 1974733.91 | 11356179.33 | 450914.34 | 2593090.69 | 2016283.00 | 11595117.30 | 21278.00 | 122364.22 | 1909395.00 | 10980432.31 | 2040000.00 | 11731507.58 | 1258443.00 | 7236977.25 | 1200000.00 | 6900886.81 | 122364.22 | URC CONSTRUCTION PVT LTD
15.00 | All inclusive Comprehensive Maintenance of Sewarage Treatment Plant and its associated works, after DLP of Two years as provided under the main contract including trouble shooting, preventive maintenance and breakdown maintenance etc. as required as per good engineering practice, recommendation of the manufacturer, instructions of Engineer-in-Charge and as per terms and conditions specified During first year after DLP of Two year (i.e Third year from completion) Note: i) Amount to be quoted for first year (after defect liability period) only. ii) Yearly 7% cumilative enhancement on first year cost shall be applicable from second year onwards. iii) Final amount for 5 years shall be automatically calculated and will be reflected in total amount quoted. | 5.00 | Years |  | 500000.00 | 2875369.51 | 664932.17 | 3823851.37 | 33611.81 | 193292.75 | 150296.00 | 864313.07 | 75000.00 | 431305.43 | 713750.00 | 4104589.97 | 900000.00 | 5175665.11 | 333899.00 | 1920166.00 | 800000.00 | 4600591.21 | 193292.75 | KEC International Ltd
16.00 | All inclusive Comprehensive Maintenance of Solar and its associated works, after DLP of Two years as provided under the main contract including trouble shooting, preventive maintenance and breakdown maintenance etc. as required as per good engineering practice, recommendation of the manufacturer, instructions of Engineer-in-Charge and as per terms and conditions specified During first year after DLP of Two year (i.e Third year from completion) Note: i) Amount to be quoted for first year (after defect liability period) only. ii) Yearly 7% cumilative enhancement on first year cost shall be applicable from second year onwards. iii) Final amount for 5 years shall be automatically calculated and will be reflected in total amount quoted. | 5.00 | Years |  | 100000.00 | 575073.90 | 401252.17 | 2307496.51 | 60662.60 | 348854.78 | 135612.00 | 779869.22 | 22158.00 | 127424.87 | 139181.00 | 800393.61 | 875000.00 | 5031896.63 | 79252.00 | 455757.57 | 200000.00 | 1150147.80 | 127424.87 | URC CONSTRUCTION PVT LTD
| Total in Figures |  |  |  |  | 934861664.13 |  | 927628880.00 |  | 934942939.86 |  | 873725935.89 |  | 871150560.60 |  | 1061287071.55 |  | 1082655840.00 |  | 895473520.43 |  | 837692282.38
Lowest Amount Quoted BY: Som Projects Pvt. Ltd.(837692282.38)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of New ATC Tower cum Technical Block including Repair and Maintenance, Operation and AICMC at Madurai Airport Tender ID: 2021_AAI_66868_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Som Projects Pvt. Ltd. | 837692282.38 | L1
| 2 | URC CONSTRUCTION PVT LTD | 871150560.60 | L2
| 3 | Renaatus Projects Pvt Ltd | 873725935.89 | L3
| 4 | GMS ELEGANT BUILDERS INDIA PRIVATE LIMITED | 895473520.43 | L4
| 5 | Teemage Builders Private Limited | 927628880.00 | L5
| 6 | VISHAL INFRASTRUCTURE LTD | 934861664.13 | L6
| 7 | KEC International Ltd | 934942939.86 | L7
| 8 | P S K Engineering Construction and Co | 1061287071.55 | L8
| 9 | Tirupati Sarjan Limited | 1082655840.00 | L9