## BoQ1
Government eProcurement System Created By: SOLOMON PRABHAKAR Created Date/Time: 18-Feb-2021 04:37 PM Tender Title: ARMO Works of EandM Installations at Madurai Airport during 2020-21. SH Operation and AICMC of 4 X 300 TR AC plant at NITB, Madurai Airport Tender ID: 2021_AAI_66934_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: ARMO Works of E&M Installations at Madurai Airport during 2020-21. SH: Operation and AICMC of 4 X 300 TR AC plant at NITB, Madurai Airport
Contract No: 2021_AAI_66934_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GENIUS AIRCON PRIVATE LIMITED(GSTN-33AAECG9150C1ZY) |  | PAN POLAR ENGINEERS PVT. LTD.(GSTN-07AABCP0844P1Z5) |  | VOLTAS LIMITED(GSTN-33AAACV2809DIZT)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for operation of 4 X 300 TR capacity Water Cooled Centralised AC Plant along with all its related equipments and accessories as per the list attached in the Annexure - I including Building Management System (BMS) along with all its associated accessories, installed at NITB, in Three Shifts/as per the need basis on all days including Sunday and public holidays, complete as required as per the terms and conditions of the contract. | 12.00 | Mon |  | 191291.00 | 2295492.00 | 195000.00 | 2340000.00 | 247169.00 | 2966028.00 | 2295492.00 | GENIUS AIRCON PRIVATE LIMITED
2.00 | All inclusive Comprehensive Maintenance contract of 4X300TR capacity Water Cooled Centralised AC Plant along with all its related equipments and accessories as per the list attached in the Annexure - I i/c carrying out routine/preventive maintenance, breakdown maintenance, replacement of all defective componenets/equipments etc. as per the terms and conditions of the contract enclosed (Excluding items mentioned in special conditions). The Job also includes chemical dosing of condensor water with suitable anti-scalant & biocides to keep water quality within permissible limit etc. complete as per the terms and conditions of the contract enclosed. | 12.00 | Mon |  | 84300.00 | 1011600.00 | 90000.00 | 1080000.00 | 63471.00 | 761652.00 | 761652.00 | VOLTAS LIMITED
3.00 | Job contract for carrying out water regeneration in softener plants installed at service block in general shift/as per the need basis on all days including Sunday and public holidays including supply of salt of required quantity to carry out water regeneration whenever the hardness of water reaches not more than 80ppm as per the terms & conditions of contract etc. complete as required. | 12.00 | Mon |  | 33362.00 | 400344.00 | 25000.00 | 300000.00 | 28248.00 | 338976.00 | 300000.00 | PAN POLAR ENGINEERS PVT. LTD.
4.00 | Chemical cleaning of existing resin in the softener plants including removing of existing resin, identification of worn out resins, cleaning & revamping, top up / adding of new resins (Make: Thermax, model: Tulsion T 40 Na), operating the softener plant along with back wash, replacing/alteration of faulty air vent, submission of reports as per the terms & conditions of contract etc. complete as required. | 1.00 | Job |  | 57350.00 | 57350.00 | 50000.00 | 50000.00 | 86135.00 | 86135.00 | 50000.00 | PAN POLAR ENGINEERS PVT. LTD.
| Total in Figures |  |  |  |  | 3764786.00 |  | 3770000.00 |  | 4152791.00
Lowest Amount Quoted BY: GENIUS AIRCON PRIVATE LIMITED(3764786.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO Works of EandM Installations at Madurai Airport during 2020-21. SH Operation and AICMC of 4 X 300 TR AC plant at NITB, Madurai Airport Tender ID: 2021_AAI_66934_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GENIUS AIRCON PRIVATE LIMITED | 3764786.00 | L1
| 2 | PAN POLAR ENGINEERS PVT. LTD. | 3770000.00 | L2
| 3 | VOLTAS LIMITED | 4152791.00 | L3