## BoQ1
Government eProcurement System Created By: MUTHAMILAN M Created Date/Time: 22-Jan-2021 05:14 PM Tender Title: Comprehensive Maintenance Contract for AC Units, Water Coolers and Purifiers at Rajahmundry Airport Tender ID: 2021_AAI_66986_1
Tender Inviting Authority: ASST. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, RAJAHMUNDRY AIRPORT, RAJAHMUNDRY
Name of Work: ARMO of E&M Installations at Rajahmundry Airport for the year 2020-21. Sub Head: Comprehensive Maintenance Contract for AC Units, Water Coolers and Purifiers at Rajahmundry Airport.
Contract No: 2021_AAI_66986_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VEERABABU COMFORT COOL SYSTEM(GSTN-37BKKPM2510E1ZF) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | GENIUS AIRCON PRIVATE LIMITED(GSTN-33AAECG9150C1ZY) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Zamzam Refrigeration and airconditioning(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive Maintenance of Air conditioning units, water coolers and water purifiers of following rating and capacity of various makes at different locations including routine & preventive maintenance, breakdown repairs & servicing and providing all necessary consumables and spares etc. complete as required as per special conditions of the contract and inventory details (Prefilters, Post filters and Membarane as required for water purifiers shall be provided by AAI)
1.01 | 1.5/2 TR Single phase Split type / Inverter Split type / Cassette type AC units. Note: Out of 68 Nos., 42 Nos. AC units are installed in the year of 2020. These 42 Nos. AC Units are under guarantee period/Defects Liability Period up to 31.08.2021. These 42 Nos AC units will be handed over w.e.f. 01.09.2021. Payment shall not be made up to 31.08.2021 for 42 Nos. AC units. | 68.00 | Each per year |  | 2700.00 | 183600.00 | 4300.00 | 292400.00 | 5350.00 | 363800.00 | 4200.00 | 285600.00 | 5400.00 | 367200.00 | 183600.00 | VEERABABU COMFORT COOL SYSTEM
1.02 | 3TR/4 TR Three phase Split type / Inverter Split type / Cassette type AC units / Vertical Split type AC units. Note: Out of 24 Nos., 11 Nos. AC units are installed in the year of 2020. These 11 Nos. AC Units are under guarantee period/Defects Liability Period up to 31.08.2021. These 11 Nos AC units will be handed over w.e.f. 01.09.2021. Payment shall not be made up to 31.08.2021 for 11 Nos. AC units. | 24.00 | Each per year |  | 5200.00 | 124800.00 | 5700.00 | 136800.00 | 6000.00 | 144000.00 | 5400.00 | 129600.00 | 6400.00 | 153600.00 | 124800.00 | VEERABABU COMFORT COOL SYSTEM
1.03 | 40 LPH capacity(Make & Model: Blue Star SDLX 480), 80 ltrs storage type Single phase Water Cooler cum dispenser | 5.00 | Each per year |  | 5000.00 | 25000.00 | 5300.00 | 26500.00 | 6800.00 | 34000.00 | 4500.00 | 22500.00 | 5400.00 | 27000.00 | 22500.00 | Manish Electricals
1.04 | 125 LPH capacity (Make & Model:CONWAY D 125 WHC) Warm(30 ltrs) , Cold (40 ltrs), Hot(05 ltrs) water storage type Single phase Water Cooler cum dispenser. Note: 15 Nos. above Water Cooler cum dispenser units are installed in the year of 2020. These 15 Nos. Units are under guarantee period/Defects Liability Period up to 31.08.2021. These 15 Nos. units will be handed over w.e.f. 01.09.2021. Payment shall not be made up to 31.08.2021 for 15 Nos. units. | 15.00 | Each per year |  | 5600.00 | 84000.00 | 4800.00 | 72000.00 | 3000.00 | 45000.00 | 6000.00 | 90000.00 | 5400.00 | 81000.00 | 45000.00 | GENIUS AIRCON PRIVATE LIMITED
1.05 | 25 LPH Capacity, RO+ UV based Water purifier which is inbuilt with the above model CONWAY D 125 WHC water cooler cum dispenser including replacement of all departmentally provided pre & post filters, membarane once in a year. Note: 15 Nos. above Water Purifiers units are installed in the year of 2020. These 15 Nos. Units are under guarantee period/Defects Liability Period up to 31.08.2021. These 15 Nos. units will be handed over w.e.f. 01.09.2021. Payment shall not be made up to 31.08.2021 for 15 Nos. units. | 15.00 | Each per year |  | 4200.00 | 63000.00 | 5300.00 | 79500.00 | 3000.00 | 45000.00 | 3000.00 | 45000.00 | 5400.00 | 81000.00 | 45000.00 | GENIUS AIRCON PRIVATE LIMITED, Manish Electricals
1.06 | 20 LPH and 8 Ltr Storage Capacity, wall mounted RO+ UV based Water purifier (Kent Grand+) i including replacement of all departmentally provided pre & post filters, membarane once in a year. | 5.00 | Each per year |  | 5250.00 | 26250.00 | 6000.00 | 30000.00 | 9500.00 | 47500.00 | 3300.00 | 16500.00 | 5400.00 | 27000.00 | 16500.00 | Manish Electricals
2.00 | Supply of Water purifier filters suitable for 25 LPH Capacity, RO+ UV based Water purifier which is inbuilt with the above model CONWAY D 125 WHC water cooler cum dispenser.
2.01 | 10" spun candle filter | 15.00 | Each |  | 250.00 | 3750.00 | 600.00 | 9000.00 | 100.00 | 1500.00 | 800.00 | 12000.00 | 450.00 | 6750.00 | 1500.00 | GENIUS AIRCON PRIVATE LIMITED
2.02 | 10" carbon block | 15.00 | Each |  | 400.00 | 6000.00 | 600.00 | 9000.00 | 100.00 | 1500.00 | 800.00 | 12000.00 | 850.00 | 12750.00 | 1500.00 | GENIUS AIRCON PRIVATE LIMITED
2.03 | Membrane | 15.00 | Each |  | 850.00 | 12750.00 | 2500.00 | 37500.00 | 1400.00 | 21000.00 | 250.00 | 3750.00 | 1500.00 | 22500.00 | 3750.00 | Manish Electricals
2.04 | Sediment filter | 15.00 | Each |  | 400.00 | 6000.00 | 1500.00 | 22500.00 | 100.00 | 1500.00 | 350.00 | 5250.00 | 650.00 | 9750.00 | 1500.00 | GENIUS AIRCON PRIVATE LIMITED
2.05 | Post carbon | 15.00 | Each |  | 450.00 | 6750.00 | 600.00 | 9000.00 | 100.00 | 1500.00 | 900.00 | 13500.00 | 550.00 | 8250.00 | 1500.00 | GENIUS AIRCON PRIVATE LIMITED
3.00 | Supply of Water purifier filters suitable for 20 LPH and 8 Ltr Storage Capacity, wall mounted RO+ UV based Water purifier (Kent Grand+)
3.01 | RO, frt filter | 5.00 | Each |  | 1100.00 | 5500.00 | 800.00 | 4000.00 | 120.00 | 600.00 | 300.00 | 1500.00 | 1500.00 | 7500.00 | 600.00 | GENIUS AIRCON PRIVATE LIMITED
3.02 | Sediment filter | 5.00 | Each |  | 1100.00 | 5500.00 | 700.00 | 3500.00 | 120.00 | 600.00 | 450.00 | 2250.00 | 550.00 | 2750.00 | 600.00 | GENIUS AIRCON PRIVATE LIMITED
3.03 | Carbon filter | 5.00 | Each |  | 1100.00 | 5500.00 | 500.00 | 2500.00 | 120.00 | 600.00 | 450.00 | 2250.00 | 650.00 | 3250.00 | 600.00 | GENIUS AIRCON PRIVATE LIMITED
4.00 | Transinstallation of Split type / Inverter Split type / Cassette type AC units including manpower, transport, testing and commissioning etc., complete as required.
4.01 | Upto 2 TR | 5.00 | Job |  | 2000.00 | 10000.00 | 1800.00 | 9000.00 | 2000.00 | 10000.00 | 2500.00 | 12500.00 | 5000.00 | 25000.00 | 9000.00 | M K ENTERPRISES
4.02 | Upto 3TR/4TR | 5.00 | Job |  | 4400.00 | 22000.00 | 1900.00 | 9500.00 | 2400.00 | 12000.00 | 3500.00 | 17500.00 | 5000.00 | 25000.00 | 9500.00 | M K ENTERPRISES
5.00 | Refilling suitable refrigerant gas including leak testing with nitrogen gas, testing and commissioning during transinstallation of AC units etc., complete as required. | 15.00 | Kg |  | 1000.00 | 15000.00 | 1450.00 | 21750.00 | 500.00 | 7500.00 | 1200.00 | 18000.00 | 4000.00 | 60000.00 | 7500.00 | GENIUS AIRCON PRIVATE LIMITED
6.00 | Supply and installation of additional refrigerant copper suction and discharge pipes of suitable size along with foam heat insulated tube wrapped with tape etc complete as required.
6.01 | Upto 2 TR | 25.00 | Mtr |  | 800.00 | 20000.00 | 350.00 | 8750.00 | 500.00 | 12500.00 | 600.00 | 15000.00 | 450.00 | 11250.00 | 8750.00 | M K ENTERPRISES
6.02 | Upto 3TR/4TR | 25.00 | Mtr |  | 975.00 | 24375.00 | 360.00 | 9000.00 | 500.00 | 12500.00 | 900.00 | 22500.00 | 500.00 | 12500.00 | 9000.00 | M K ENTERPRISES
7.00 | Providing and fixing of suitable size foam heat insulated tube wrapped with tape for protection for both Copper suction and discharge pipe for the following rating Air conditioner etc., as required.
7.01 | Upto 2 TR | 25.00 | Mtr |  | 245.00 | 6125.00 | 70.00 | 1750.00 | 500.00 | 12500.00 | 100.00 | 2500.00 | 350.00 | 8750.00 | 1750.00 | M K ENTERPRISES
7.02 | Upto 3TR/4TR | 25.00 | Mtr |  | 345.25 | 8631.25 | 65.00 | 1625.00 | 500.00 | 12500.00 | 120.00 | 3000.00 | 450.00 | 11250.00 | 1625.00 | M K ENTERPRISES
8.00 | Providing and fixing of 25 mm CPVC drain pipe for Split type / Inverter Split type / Cassette type AC units with necessary saddles complete etc. as requried. | 100.00 | Mtr |  | 100.00 | 10000.00 | 80.00 | 8000.00 | 250.00 | 25000.00 | 90.00 | 9000.00 | 65.00 | 6500.00 | 6500.00 | Zamzam Refrigeration and airconditioning
| Total in Figures |  |  |  |  | 674531.25 |  | 803575.00 |  | 812600.00 |  | 741700.00 |  | 970550.00
Lowest Amount Quoted BY: VEERABABU COMFORT COOL SYSTEM(674531.25)

## BOQ Summary
BOQ Summary Details Tender Title: Comprehensive Maintenance Contract for AC Units, Water Coolers and Purifiers at Rajahmundry Airport Tender ID: 2021_AAI_66986_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VEERABABU COMFORT COOL SYSTEM | 674531.25 | L1
| 2 | Manish Electricals | 741700.00 | L2
| 3 | M K ENTERPRISES | 803575.00 | L3
| 4 | GENIUS AIRCON PRIVATE LIMITED | 812600.00 | L4
| 5 | Zamzam Refrigeration and airconditioning | 970550.00 | L5