## BoQ1
Government eProcurement System Created By: Elina Ghosh Created Date/Time: 09-Mar-2021 05:40 PM Tender Title: PROVISIONS OF ACs AND OTHERS FOR GUEST HOUSE AND OTHER BUILDING AT BAGDOGRA AIRPORT Tender ID: 2021_AAI_67113_1
Tender Inviting Authority: AGM(EE), RHQ-ER
Name of Work: Provision of ACs and others for guest house and other buildings at Bagdogra Airport
Contract No: 2021_AAI_67113
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT) |  | M/S TECHNO INDIA(GSTN-19AGWPD1605J1Z7) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | Ganga Enterprises(GSTN-23EHHPS2413F1ZL)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of 1.5 Ton Inverter Type Split A.C of 5 star BEE rating ,100% Copper consisting of single room unit(evaporator unit) with codless LCD remote control, digital temperature display and one outdoor condensing unit comprising of sealed rotary type compressor suitable for stabilizer free operation at 230 V,50 Hz supply and non CFC refrigerant like R- 410A/R32 capable of performing a) cooling b) de-humidifying c) Air- Circulation d) filtering. interconnection pipelines/cables, refrigerant copper tubes( min 10 Ft),insulation tubes,insulating tapes, first charge of refrigerant (if required),installation of outdoor& Indoor units in wall with supply of mounting bracket ,painting,sealing ,civil finishing etc complete as required. Make- as per approved make list of AAI | 20.00 | each |  | 37000.00 | 740000.00 | 37538.00 | 750760.00 | 33265.00 | 665300.00 | 35500.00 | 710000.00 | 665300.00 | VOLKS ENERGIE PVT LTD
2.00 | Supply of room heater of 9 fin oil filled radiator type wattage 2000 Watts with additional 400 W PTC Ceramic Fan Heater suitable for 220 volts ac supply,as per complete details technical specification attached. | 25.00 | each |  | 9000.00 | 225000.00 | 8999.00 | 224975.00 | 8200.00 | 205000.00 | 11000.00 | 275000.00 | 205000.00 | VOLKS ENERGIE PVT LTD
3.00 | Supply installation,testing commissioning of instant hot water geyser capaccity 6 L, 3000 watts minimum 4 Star BEE rating suitable for single phase ac single phase supply including wall mounting installation etc as per complete details in technical specification. | 7.00 | each |  | 6500.00 | 45500.00 | 7808.00 | 54656.00 | 5700.00 | 39900.00 | 6500.00 | 45500.00 | 39900.00 | VOLKS ENERGIE PVT LTD
4.00 | Dismanling of split A.C of capacities upto 2 Ton s and storing in area designated by EIC/ site representative. | 15.00 | each |  | 800.00 | 12000.00 | 1100.00 | 16500.00 | 450.00 | 6750.00 | 1000.00 | 15000.00 | 6750.00 | VOLKS ENERGIE PVT LTD
5.00 | Supply ,Installation ,testing ,commissioning of Round recessed type LED downlighter with LEDs of approved makes having high efficiency,with driver installed on housing or externally and prewired upto the terminal block. It must have a system lumen output not less than 900 lumens with luminaire efficacy of not less than 100 lm/W, CCT from 3000K to 6500K, complete as per Technical Specifications suitable for indoor applications (Similar to Philips CAT No.DN295B LED10S-6500 PSU WH ) Note:-The model numbers specified below are only for references for Shape of the product requirement. The product shall supplied, must match the technical specifications.The technical data sheets shall be arranged before the material dispatch and got approved from Engineer-In- Charge. | 40.00 | each |  | 600.00 | 24000.00 | 885.00 | 35400.00 | 520.00 | 20800.00 | 800.00 | 32000.00 | 20800.00 | VOLKS ENERGIE PVT LTD
6.00 | Supply ,Installation ,testing ,commissioning of Flexible LED strip light of 4.8W/M, CCT from 3000K to 6500K, with double tape on backside suitable for Mounting in cove with all accessories as required. (in roll of 5 meter). | 11.00 | each |  | 1000.00 | 11000.00 | 1770.00 | 19470.00 | 1090.00 | 11990.00 | 1500.00 | 16500.00 | 11000.00 | ABHISHEK ASSOCIATES
7.00 | Supply ,Installation ,testing ,commissioning of wall light, minimum 7W LED/fillament lamp with E27 lamp ( Similar to Havells GOBLETO WL 1LS E27 GLD or as per detailed technical specifications attached) | 7.00 | each |  | 1800.00 | 12600.00 | 1983.00 | 13881.00 | 1900.00 | 13300.00 | 3200.00 | 22400.00 | 12600.00 | ABHISHEK ASSOCIATES
8.00 | Supply, installation,testing,commissioning of BEE Five Star rated ceiling fan of following sweep dia with copper wound with double ball bearings, ISI marked, complete with fan blades, capacitor, down rod, split pin, reel but without regulator complete as required.Make: As per approved make list. Colour and Speed of the fan shall be as approved by EIC. | 8.00 | each |  | 2000.00 | 16000.00 | 1742.00 | 13936.00 | 2400.00 | 19200.00 | 1400.00 | 11200.00 | 11200.00 | Ganga Enterprises
9.00 | Supply of LED Foot Light ,2/3 M size of approved makes | 6.00 | each |  | 400.00 | 2400.00 | 473.00 | 2838.00 | 1200.00 | 7200.00 | 1500.00 | 9000.00 | 2400.00 | ABHISHEK ASSOCIATES
| Total in Figures |  |  |  |  | 1088500.00 |  | 1132416.00 |  | 989440.00 |  | 1136600.00
Lowest Amount Quoted BY: VOLKS ENERGIE PVT LTD(989440.00)

## BOQ Summary
BOQ Summary Details Tender Title: PROVISIONS OF ACs AND OTHERS FOR GUEST HOUSE AND OTHER BUILDING AT BAGDOGRA AIRPORT Tender ID: 2021_AAI_67113_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VOLKS ENERGIE PVT LTD | 989440.00 | L1
| 2 | ABHISHEK ASSOCIATES | 1088500.00 | L2
| 3 | M/S TECHNO INDIA | 1132416.00 | L3
| 4 | Ganga Enterprises | 1136600.00 | L4