## BoQ1
Government eProcurement System Created By: Rohit Chaudhary Created Date/Time: 15-Mar-2021 12:47 PM Tender Title: Establishment and Augmentation of IT Infrastructure at FSTC, Kolkata Tender ID: 2021_AAI_67210_1
Tender Inviting Authority: Joint General Manager IT Division, RHQ ER, Airports Authority of India
Name of Work: Establishment and Augmentation of IT Infrastructure at FSTC Kolkata
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Embee Software Private Limited(GSTN-19AAACE6958L1Z1) |  | Binary Solutions Pvt Ltd(GSTN-19AABCB1232H1Z3) |  | Progility Technologies Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | ILL Connection
1.01 | Internet Leased Line from 2 different ISP Min. 5mbps each | 24.00 | month |  | 18333.00 | 439992.00 | 18333.00 | 439992.00 | 18333.00 | 439992.00 | 439992.00 | Embee Software Private Limited, Binary Solutions Pvt Ltd, Progility Technologies Pvt. Ltd.
2.00 | Active Components
2.01 | Supply of Internet Link Aggregator cum NextGen Firewall- with 5-year warranty | 2.00 | Nos. |  | 1286958.00 | 2573916.00 | 1239000.00 | 2478000.00 | 1000000.00 | 2000000.00 | 2000000.00 | Progility Technologies Pvt. Ltd.
2.02 | Supply of Layer 3 Core switch with 5-years warranty | 2.00 | Nos. |  | 612839.00 | 1225678.00 | 611800.00 | 1223600.00 | 690000.00 | 1380000.00 | 1223600.00 | Binary Solutions Pvt Ltd
2.03 | Supply of Layer 2 POE + Switch Min. 48 Port with 5-year warranty | 2.00 | Nos. |  | 343846.00 | 687692.00 | 341000.00 | 682000.00 | 341000.00 | 682000.00 | 682000.00 | Binary Solutions Pvt Ltd, Progility Technologies Pvt. Ltd.
2.04 | Supply of Layer 2 POE + Switch Min. 24 Port with 5-year warranty | 3.00 | Nos. |  | 261076.00 | 783228.00 | 269000.00 | 807000.00 | 390000.00 | 1170000.00 | 783228.00 | Embee Software Private Limited
2.05 | Supply of 10G SFP with 5-year warranty | 24.00 | Nos. |  | 64733.00 | 1553592.00 | 65950.00 | 1582800.00 | 65000.00 | 1560000.00 | 1553592.00 | Embee Software Private Limited
2.06 | Supply of 1G Copper with 5-year warranty | 2.00 | Nos. |  | 6483.00 | 12966.00 | 7000.00 | 14000.00 | 18000.00 | 36000.00 | 12966.00 | Embee Software Private Limited
2.07 | Supply of Wireless Controller with 5-year support/warranty | 1.00 | Nos. |  | 1070028.00 | 1070028.00 | 1070000.00 | 1070000.00 | 750000.00 | 750000.00 | 750000.00 | Progility Technologies Pvt. Ltd.
2.08 | Supply of Indoor Wireless Access Point with 5-year warranty | 20.00 | Nos. |  | 50131.00 | 1002620.00 | 50000.00 | 1000000.00 | 90000.00 | 1800000.00 | 1000000.00 | Binary Solutions Pvt Ltd
2.09 | Supply of Outdoor Wireless Access Point with 5-year warranty | 5.00 | Nos. |  | 89021.00 | 445105.00 | 89000.00 | 445000.00 | 130000.00 | 650000.00 | 445000.00 | Binary Solutions Pvt Ltd
2.10 | Supply of Rack Mountable HCI Complaint Server with 5-year warranty | 1.00 | Nos. |  | 1023659.00 | 1023659.00 | 980000.00 | 980000.00 | 780000.00 | 780000.00 | 780000.00 | Progility Technologies Pvt. Ltd.
2.11 | Supply of 6KVA online UPS with 30 min backup along with 5-year warranty on UPS & Batteries along with a trolley or cabinet for batteries | 2.00 | Nos. |  | 229677.00 | 459354.00 | 240000.00 | 480000.00 | 280000.00 | 560000.00 | 459354.00 | Embee Software Private Limited
2.12 | Supply of Online 3KVA UPS with 30 minutes backup along with 5-year warranty on UPS & Batteries along with a cabinet for batteries. | 4.00 | Nos. |  | 78114.00 | 312456.00 | 82000.00 | 328000.00 | 81980.00 | 327920.00 | 312456.00 | Embee Software Private Limited
2.13 | Supply of Online 2KVA Integrated UPS with 30mintues back up along with 5-year warranty on UPS & Batteries | 5.00 | Nos. |  | 57805.00 | 289025.00 | 59500.00 | 297500.00 | 61333.00 | 306665.00 | 289025.00 | Embee Software Private Limited
3.00 | Passive Components
3.01 | Supply of CAT6A UTP Cable | 4500.00 | Mtr. |  | 63.93 | 287685.00 | 65.00 | 292500.00 | 64.00 | 288000.00 | 287685.00 | Embee Software Private Limited
3.02 | Supply of CAT6A outdoor UTP Cable | 305.00 | Mtr. |  | 169.00 | 51545.00 | 170.00 | 51850.00 | 168.00 | 51240.00 | 51240.00 | Progility Technologies Pvt. Ltd.
3.03 | Supply of CAT6A Patch Cord 1Mtrs | 144.00 | Nos |  | 585.00 | 84240.00 | 580.00 | 83520.00 | 590.00 | 84960.00 | 83520.00 | Binary Solutions Pvt Ltd
3.04 | Supply of CAT6A Patch Cord 2 Mtrs | 90.00 | Nos |  | 723.00 | 65070.00 | 725.00 | 65250.00 | 695.00 | 62550.00 | 62550.00 | Progility Technologies Pvt. Ltd.
3.05 | Supply of CAT6A Patch Cord Outdoor 1meter | 5.00 | Nos |  | 1137.00 | 5685.00 | 1100.00 | 5500.00 | 1350.00 | 6750.00 | 5500.00 | Binary Solutions Pvt Ltd
3.06 | Supply of CAT6A Patch Cord Outdoor 2 meter | 5.00 | Nos |  | 1979.00 | 9895.00 | 2000.00 | 10000.00 | 2125.00 | 10625.00 | 9895.00 | Embee Software Private Limited
3.07 | Supply of CAT6A I/O Module | 100.00 | Nos |  | 629.00 | 62900.00 | 680.00 | 68000.00 | 670.00 | 67000.00 | 62900.00 | Embee Software Private Limited
3.08 | Supply of Single Face plate | 80.00 | Nos |  | 127.00 | 10160.00 | 130.00 | 10400.00 | 140.00 | 11200.00 | 10160.00 | Embee Software Private Limited
3.09 | Supply of dual Face plate | 10.00 | Nos |  | 150.00 | 1500.00 | 190.00 | 1900.00 | 185.00 | 1850.00 | 1500.00 | Embee Software Private Limited
3.10 | Supply of RJ45 Connector | 40.00 | Nos |  | 44.00 | 1760.00 | 45.00 | 1800.00 | 45.00 | 1800.00 | 1760.00 | Embee Software Private Limited
3.11 | Supply of Cat6A 48 port Patch Panel (fully loaded) | 2.00 | Nos |  | 35545.00 | 71090.00 | 40000.00 | 80000.00 | 39870.00 | 79740.00 | 71090.00 | Embee Software Private Limited
3.12 | Supply of Cat6A 24 port Patch Panel (Fully Loaded) | 3.00 | Nos |  | 18909.00 | 56727.00 | 19500.00 | 58500.00 | 20100.00 | 60300.00 | 56727.00 | Embee Software Private Limited
3.13 | Supply of Outdoor OFC Cable 12 Core SM | 800.00 | Mtr. |  | 77.00 | 61600.00 | 82.00 | 65600.00 | 81.00 | 64800.00 | 61600.00 | Embee Software Private Limited
3.14 | Supply of Fiber Patch Cord (SM) (duplex 2 Mtr, LC-LC) | 20.00 | Nos |  | 1596.00 | 31920.00 | 1700.00 | 34000.00 | 1719.00 | 34380.00 | 31920.00 | Embee Software Private Limited
3.15 | Supply of Fully Loaded LIU for 48 Core OFC loaded with LC adapter, pigtail for SM Fibre Cable | 1.00 | Nos |  | 48750.00 | 48750.00 | 50000.00 | 50000.00 | 51390.00 | 51390.00 | 48750.00 | Embee Software Private Limited
3.16 | Supply of Fully Loaded LIU for 24 Core OFC loaded with LC adapter, pigtail for SM Fibre Cable | 5.00 | Nos |  | 22184.00 | 110920.00 | 23500.00 | 117500.00 | 22890.00 | 114450.00 | 110920.00 | Embee Software Private Limited
4.00 | Racks
4.01 | Supply of Indoor Wall Mountable 12U Rack with 5-year warranty | 5.00 | Nos |  | 14740.00 | 73700.00 | 13900.00 | 69500.00 | 13000.00 | 65000.00 | 65000.00 | Progility Technologies Pvt. Ltd.
4.02 | Supply of Indoor Floor Mountable 42 Rack with 5-year warranty | 2.00 | Nos |  | 69993.00 | 139986.00 | 72000.00 | 144000.00 | 70000.00 | 140000.00 | 139986.00 | Embee Software Private Limited
4.03 | Supply of Indoor Floor Mountable 15U Rack with 5-year warranty | 4.00 | Nos. |  | 18774.00 | 75096.00 | 20000.00 | 80000.00 | 21900.00 | 87600.00 | 75096.00 | Embee Software Private Limited
5.00 | AV Equipment’s
5.01 | Supply of Interactive Projector with 5-year warranty | 4.00 | Nos. |  | 230000.00 | 920000.00 | 310000.00 | 1240000.00 | 210000.00 | 840000.00 | 840000.00 | Progility Technologies Pvt. Ltd.
5.02 | Supply of Cable Cubby with 5-year warranty | 3.00 | Nos. |  | 25000.00 | 75000.00 | 24000.00 | 72000.00 | 28000.00 | 84000.00 | 72000.00 | Binary Solutions Pvt Ltd
5.03 | Supply of USB-C to HDMI Interface Active adapter with 5-year warranty | 3.00 | Nos |  | 36898.00 | 110694.00 | 37800.00 | 113400.00 | 40000.00 | 120000.00 | 110694.00 | Embee Software Private Limited
5.04 | Supply of Passive HDMI Wall plate with 5-year warranty | 12.00 | Nos |  | 9809.00 | 117708.00 | 10000.00 | 120000.00 | 11300.00 | 135600.00 | 117708.00 | Embee Software Private Limited
5.05 | Supply of 8 x 4 HDMI Matrix Switcher with 5-year warranty | 1.00 | Nos. |  | 38484.00 | 38484.00 | 39000.00 | 39000.00 | 500000.00 | 500000.00 | 38484.00 | Embee Software Private Limited
5.06 | Supply of 4 x 2 HDMI Matrix Switcher with 5-year warranty | 3.00 | Nos. |  | 104889.00 | 314667.00 | 109000.00 | 327000.00 | 285000.00 | 855000.00 | 314667.00 | Embee Software Private Limited
5.07 | Supply of PTZ Camera with 5-year warranty | 1.00 | Nos. |  | 162500.00 | 162500.00 | 150000.00 | 150000.00 | 100000.00 | 100000.00 | 100000.00 | Progility Technologies Pvt. Ltd.
5.08 | Supply of HDMI & Audio to USB scaling bridge with 5-year warranty | 1.00 | Nos |  | 240717.00 | 240717.00 | 248000.00 | 248000.00 | 240000.00 | 240000.00 | 240000.00 | Progility Technologies Pvt. Ltd.
5.09 | Supply of 12 x 8 Audio DSP with 5-year warranty | 1.00 | Nos. |  | 204194.00 | 204194.00 | 200000.00 | 200000.00 | 215000.00 | 215000.00 | 200000.00 | Binary Solutions Pvt Ltd
5.10 | Supply of 6 x 4 Audio DSP with 5-year warranty | 3.00 | Nos. |  | 166012.00 | 498036.00 | 159500.00 | 478500.00 | 215000.00 | 645000.00 | 478500.00 | Binary Solutions Pvt Ltd
5.11 | Supply of Two Channel Audio Amplifier with 5-year warranty | 3.00 | Nos. |  | 45276.00 | 135828.00 | 51000.00 | 153000.00 | 145000.00 | 435000.00 | 135828.00 | Embee Software Private Limited
5.12 | Supply of Four Channel Audio Amplifier with 5-year warranty | 1.00 | Nos. |  | 74705.00 | 74705.00 | 82000.00 | 82000.00 | 160000.00 | 160000.00 | 74705.00 | Embee Software Private Limited
5.13 | Supply of Speakers with 5-year warranty | 18.00 | Nos. |  | 10941.00 | 196938.00 | 11000.00 | 198000.00 | 12800.00 | 230400.00 | 196938.00 | Embee Software Private Limited
5.14 | Supply of Digital Podium along with document camera with 5-year warranty | 3.00 | Nos. |  | 350000.00 | 1050000.00 | 410000.00 | 1230000.00 | 400000.00 | 1200000.00 | 1050000.00 | Embee Software Private Limited
5.15 | Supply of Micro PC with 5-year warranty | 1.00 | Nos. |  | 85400.00 | 85400.00 | 78000.00 | 78000.00 | 81000.00 | 81000.00 | 78000.00 | Binary Solutions Pvt Ltd
5.16 | Supply of Wireless Handheld Microphone with 5-year warranty | 3.00 | Nos. |  | 52500.00 | 157500.00 | 53000.00 | 159000.00 | 32500.00 | 97500.00 | 97500.00 | Progility Technologies Pvt. Ltd.
5.17 | Supply of Wireless Hear worn Microphone with 5-year warranty | 3.00 | Nos. |  | 53900.00 | 161700.00 | 54800.00 | 164400.00 | 32500.00 | 97500.00 | 97500.00 | Progility Technologies Pvt. Ltd.
5.18 | Supply of Gooseneck Microphone with Base with 5-year warranty | 16.00 | Nos. |  | 57400.00 | 918400.00 | 58970.00 | 943520.00 | 38000.00 | 608000.00 | 608000.00 | Progility Technologies Pvt. Ltd.
5.19 | Supply of AV Control Processor with 5-year warranty | 1.00 | Nos. |  | 199214.00 | 199214.00 | 250000.00 | 250000.00 | 160000.00 | 160000.00 | 160000.00 | Progility Technologies Pvt. Ltd.
5.20 | Supply of Button panel with built in control processor with 5-year warranty | 3.00 | Nos |  | 68600.00 | 205800.00 | 70000.00 | 210000.00 | 69000.00 | 207000.00 | 205800.00 | Embee Software Private Limited
5.21 | Supply of HDMI Cable - 15meter | 10.00 | Nos. |  | 6760.00 | 67600.00 | 6800.00 | 68000.00 | 7360.00 | 73600.00 | 67600.00 | Embee Software Private Limited
5.22 | Supply of HDMI - 1 meter | 20.00 | Nos. |  | 585.00 | 11700.00 | 490.00 | 9800.00 | 489.00 | 9780.00 | 9780.00 | Progility Technologies Pvt. Ltd.
5.23 | Supply of HDMI - 2 meter | 6.00 | Nos |  | 715.00 | 4290.00 | 650.00 | 3900.00 | 656.00 | 3936.00 | 3900.00 | Binary Solutions Pvt Ltd
5.24 | Supply of Audio/ Mic Cable | 650.00 | Mtr |  | 50.00 | 32500.00 | 49.00 | 31850.00 | 51.00 | 33150.00 | 31850.00 | Binary Solutions Pvt Ltd
5.25 | Supply of Speaker Cable | 300.00 | Mtr |  | 65.00 | 19500.00 | 59.00 | 17700.00 | 56.00 | 16800.00 | 16800.00 | Progility Technologies Pvt. Ltd.
5.26 | Supply of Control Cable | 300.00 | Nos. |  | 110.00 | 33000.00 | 88.00 | 26400.00 | 89.00 | 26700.00 | 26400.00 | Binary Solutions Pvt Ltd
6.00 | Pipes/Conduits/Poles & Other Miscellaneous Items
6.01 | Supply of whiteboard with 5-year warranty | 4.00 | Nos |  | 15000.00 | 60000.00 | 15000.00 | 60000.00 | 13000.00 | 52000.00 | 52000.00 | Progility Technologies Pvt. Ltd.
6.02 | Supply of Aluminium Ladder | 1.00 | Nos |  | 6000.00 | 6000.00 | 3800.00 | 3800.00 | 4500.00 | 4500.00 | 3800.00 | Binary Solutions Pvt Ltd
6.03 | Supply of PVC back box | 90.00 | Nos |  | 49.00 | 4410.00 | 49.00 | 4410.00 | 50.00 | 4500.00 | 4410.00 | Embee Software Private Limited, Binary Solutions Pvt Ltd
6.04 | Supply of PVC Flexible | 20.00 | Mtrs |  | 490.00 | 9800.00 | 500.00 | 10000.00 | 490.00 | 9800.00 | 9800.00 | Embee Software Private Limited, Progility Technologies Pvt. Ltd.
6.05 | Supply of MS Flexible | 20.00 | Mtrs |  | 36.00 | 720.00 | 35.00 | 700.00 | 39.00 | 780.00 | 700.00 | Binary Solutions Pvt Ltd
6.06 | Supply of HDPE Pipe | 600.00 | Mtr. |  | 95.00 | 57000.00 | 99.00 | 59400.00 | 70.00 | 42000.00 | 42000.00 | Progility Technologies Pvt. Ltd.
6.07 | Supply of GI Conduit | 30.00 | Mtr. |  | 154.00 | 4620.00 | 152.00 | 4560.00 | 190.00 | 5700.00 | 4560.00 | Binary Solutions Pvt Ltd
6.08 | Supply of PVC channel | 3500.00 | Mtr. |  | 24.50 | 85750.00 | 28.00 | 98000.00 | 27.00 | 94500.00 | 85750.00 | Embee Software Private Limited
6.09 | Supply of PVC Conduit | 250.00 | Mtrs |  | 24.50 | 6125.00 | 28.00 | 7000.00 | 27.00 | 6750.00 | 6125.00 | Embee Software Private Limited
6.10 | Supply of Box Channel | 10.00 | Mtrs |  | 150.00 | 1500.00 | 140.00 | 1400.00 | 148.00 | 1480.00 | 1400.00 | Binary Solutions Pvt Ltd
6.11 | Supply of MS-Pole | 4.00 | Nos. |  | 15000.00 | 60000.00 | 13000.00 | 52000.00 | 16000.00 | 64000.00 | 52000.00 | Binary Solutions Pvt Ltd
6.12 | Supply of Route Marker - Concrete | 10.00 | Nos. |  | 392.00 | 3920.00 | 410.00 | 4100.00 | 500.00 | 5000.00 | 3920.00 | Embee Software Private Limited
7.00 | Installation/ Service for Network Components
7.01 | Installation & Commissioning of Internet Lease Line | 2.00 | Nos |  | 100000.00 | 200000.00 | 100000.00 | 200000.00 | 75000.00 | 150000.00 | 150000.00 | Progility Technologies Pvt. Ltd.
7.02 | Laying of CAT6A UTP/ Outdoor UTP/Audio/Speaker/Control Cable through Channel/ Conduit/ Raceway/ Cable Tray/ HDPE Pipe/ GI Conduit / Wall/building shaft/false ceiling etc. | 6205.00 | Mtr. |  | 39.00 | 241995.00 | 38.00 | 235790.00 | 42.00 | 260610.00 | 235790.00 | Binary Solutions Pvt Ltd
7.03 | Fixing, Termination, Testing and Commissioning of IO Box (Single/Dual Module) including Back box & Face plate with Marking | 90.00 | Nos. |  | 39.00 | 3510.00 | 38.00 | 3420.00 | 37.00 | 3330.00 | 3330.00 | Progility Technologies Pvt. Ltd.
7.04 | Installation, Marking, Testing and Commissioning of Cat6 48 port Patch Panel including Marking | 2.00 | Nos. |  | 650.00 | 1300.00 | 600.00 | 1200.00 | 500.00 | 1000.00 | 1000.00 | Progility Technologies Pvt. Ltd.
7.05 | Installation, Marking, Testing and Commissioning of Cat6 24 port Patch Panel including Marking | 3.00 | Nos. |  | 550.00 | 1650.00 | 540.00 | 1620.00 | 600.00 | 1800.00 | 1620.00 | Binary Solutions Pvt Ltd
7.06 | Laying of OFC Cable 12core SM through HDPE Pipe/ GI Conduit/Raceway/ Cable Tray/building/trench/building shaft etc. | 800.00 | Mtr. |  | 39.00 | 31200.00 | 39.00 | 31200.00 | 40.00 | 32000.00 | 31200.00 | Embee Software Private Limited, Binary Solutions Pvt Ltd
7.07 | Fixing, Termination, Testing and Commissioning of Fully Loaded LIU for 48 Core OFC including Pigtail Connectors, Patch Cords, Splicing, Marking etc. | 1.00 | Mtr. |  | 8060.00 | 8060.00 | 7800.00 | 7800.00 | 7350.00 | 7350.00 | 7350.00 | Progility Technologies Pvt. Ltd.
7.08 | Fixing, Termination, Testing and Commissioning of Fully Loaded LIU for 24 Core OFC including Pigtail Connectors, Patch Cords, Splicing, Marking etc. | 5.00 | Nos. |  | 4940.00 | 24700.00 | 4950.00 | 24750.00 | 4800.00 | 24000.00 | 24000.00 | Progility Technologies Pvt. Ltd.
7.09 | Installation & Commissioning of Wall Mount 12U Rack/ floor mount AV 15U Racks | 9.00 | Nos. |  | 1170.00 | 10530.00 | 1200.00 | 10800.00 | 1195.00 | 10755.00 | 10530.00 | Embee Software Private Limited
7.10 | Installation & Commissioning of 42 U Rack | 2.00 | Nos. |  | 3900.00 | 7800.00 | 3790.00 | 7580.00 | 3970.00 | 7940.00 | 7580.00 | Binary Solutions Pvt Ltd
7.11 | Laying of HDPE Pipe/ GI Conduit through Wall/ Raceway/Cable Tray/ Existing Trench etc. | 250.00 | Mtr. |  | 19.50 | 4875.00 | 21.00 | 5250.00 | 23.00 | 5750.00 | 4875.00 | Embee Software Private Limited
7.12 | Laying of HDPE Pipe/ GI Conduit through Road cutting and back filling with sand & brick including restoration of Road | 50.00 | Mtr. |  | 975.00 | 48750.00 | 900.00 | 45000.00 | 800.00 | 40000.00 | 40000.00 | Progility Technologies Pvt. Ltd.
7.13 | Laying of HDPE Pipe/ GI Conduit through soft soil digging & back filling with soil, sand & restoration of the same | 500.00 | Mtr |  | 520.00 | 260000.00 | 510.00 | 255000.00 | 200.00 | 100000.00 | 100000.00 | Progility Technologies Pvt. Ltd.
7.14 | Laying/ Fixing of PVC Channel/ Conduit/ Box Channel/Tray through Wall/ Raceway/ Cable Tray/ Existing Trench/ False Ceiling etc. | 3800.00 | Mtr. |  | 24.00 | 91200.00 | 22.00 | 83600.00 | 25.00 | 95000.00 | 83600.00 | Binary Solutions Pvt Ltd
7.15 | Installation of MS-Pole | 4.00 | Nos. |  | 3640.00 | 14560.00 | 3390.00 | 13560.00 | 3300.00 | 13200.00 | 13200.00 | Progility Technologies Pvt. Ltd.
7.16 | Installation of OFC Route Marker - Concrete | 10.00 | Nos. |  | 325.00 | 3250.00 | 490.00 | 4900.00 | 480.00 | 4800.00 | 3250.00 | Embee Software Private Limited
7.17 | Installation, Configuration, Testing & Commissioning of Link Aggregator cum NextGen Firewall | 2.00 | Nos. |  | 6500.00 | 13000.00 | 9000.00 | 18000.00 | 8790.00 | 17580.00 | 13000.00 | Embee Software Private Limited
7.18 | Installation, Configuration, Testing & Commissioning of Core Switch | 2.00 | Nos. |  | 7800.00 | 15600.00 | 7800.00 | 15600.00 | 7980.00 | 15960.00 | 15600.00 | Embee Software Private Limited, Binary Solutions Pvt Ltd
7.19 | Installation, Configuration, Testing & Commissioning of L2 Switches 24 or 48 Ports etc | 5.00 | Nos. |  | 3250.00 | 16250.00 | 3300.00 | 16500.00 | 2900.00 | 14500.00 | 14500.00 | Progility Technologies Pvt. Ltd.
7.20 | Installation, Configuration, Testing & Commissioning of Wireless Controller | 1.00 | Nos. |  | 7100.00 | 7100.00 | 7000.00 | 7000.00 | 6500.00 | 6500.00 | 6500.00 | Progility Technologies Pvt. Ltd.
7.21 | Installation, Configuration, Testing & Commissioning of Wireless Access Point Indoor/Outdoor | 25.00 | Nos. |  | 520.00 | 13000.00 | 520.00 | 13000.00 | 500.00 | 12500.00 | 12500.00 | Progility Technologies Pvt. Ltd.
7.22 | Installation, Configuration, Testing & Commissioning of 10G SFP Module/ Copper Module etc | 26.00 | Nos. |  | 390.00 | 10140.00 | 200.00 | 5200.00 | 150.00 | 3900.00 | 3900.00 | Progility Technologies Pvt. Ltd.
7.23 | Installation, Configuration, Testing & Commissioning of Server | 1.00 | Nos. |  | 65000.00 | 65000.00 | 15800.00 | 15800.00 | 10000.00 | 10000.00 | 10000.00 | Progility Technologies Pvt. Ltd.
7.24 | Installation, Configuration, Testing & Commissioning of 6KVA Online UPS | 2.00 | Nos. |  | 6500.00 | 13000.00 | 4390.00 | 8780.00 | 3000.00 | 6000.00 | 6000.00 | Progility Technologies Pvt. Ltd.
7.25 | Installation, Configuration, Testing & Commissioning of 3KVA Online UPS | 4.00 | Nos. |  | 2500.00 | 10000.00 | 1000.00 | 4000.00 | 1200.00 | 4800.00 | 4000.00 | Binary Solutions Pvt Ltd
7.26 | Installation, Configuration, Testing & Commissioning of 2KVA Online UPS | 5.00 | Nos. |  | 2000.00 | 10000.00 | 1100.00 | 5500.00 | 1200.00 | 6000.00 | 5500.00 | Binary Solutions Pvt Ltd
7.27 | Installation, Configuration, Testing & Commissioning of Projector & whiteboard | 4.00 | Nos. |  | 4500.00 | 18000.00 | 6000.00 | 24000.00 | 5000.00 | 20000.00 | 18000.00 | Embee Software Private Limited
7.28 | Installation, Configuration, Testing & Commissioning of Cable Cubby | 3.00 | Nos. |  | 325.00 | 975.00 | 390.00 | 1170.00 | 200.00 | 600.00 | 600.00 | Progility Technologies Pvt. Ltd.
7.29 | Installation, Configuration, Testing & Commissioning of Digital podium | 3.00 | Nos. |  | 3000.00 | 9000.00 | 3200.00 | 9600.00 | 2500.00 | 7500.00 | 7500.00 | Progility Technologies Pvt. Ltd.
7.30 | Installation, Configuration, Testing & Commissioning of PTZ Camera | 1.00 | Nos. |  | 1500.00 | 1500.00 | 1900.00 | 1900.00 | 1500.00 | 1500.00 | 1500.00 | Embee Software Private Limited, Progility Technologies Pvt. Ltd.
7.31 | Installation, Configuration, Testing & Commissioning of Micro PC | 1.00 | Nos. |  | 650.00 | 650.00 | 980.00 | 980.00 | 800.00 | 800.00 | 650.00 | Embee Software Private Limited
7.32 | Installation, Configuration, Testing & Commissioning of USB-C to HDMI Interface Active adapter | 3.00 | Nos. |  | 6500.00 | 19500.00 | 6300.00 | 18900.00 | 4000.00 | 12000.00 | 12000.00 | Progility Technologies Pvt. Ltd.
7.33 | Installation, Configuration, Testing & Commissioning of Passive HDMI Wall plate | 12.00 | Nos |  | 500.00 | 6000.00 | 500.00 | 6000.00 | 390.00 | 4680.00 | 4680.00 | Progility Technologies Pvt. Ltd.
7.34 | Installation, Configuration, Testing & Commissioning of 8 x 4 4 HDMI Matrix Switcher | 1.00 | Nos. |  | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 3500.00 | 3500.00 | 3500.00 | Progility Technologies Pvt. Ltd.
7.35 | Installation, Configuration, Testing & Commissioning of 4 x 2 HDMI Matrix Switcher | 3.00 | Nos. |  | 4000.00 | 12000.00 | 5000.00 | 15000.00 | 4300.00 | 12900.00 | 12000.00 | Embee Software Private Limited
7.36 | Installation, Configuration, Testing & Commissioning of HDMI & Audio to USB scaling bridge | 1.00 | Nos |  | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 4300.00 | 4300.00 | 4300.00 | Progility Technologies Pvt. Ltd.
7.37 | Installation, Configuration, Testing & Commissioning of 12 x 8 Audio DSP | 1.00 | Nos. |  | 4500.00 | 4500.00 | 5000.00 | 5000.00 | 4300.00 | 4300.00 | 4300.00 | Progility Technologies Pvt. Ltd.
7.38 | Installation, Configuration, Testing & Commissioning of 6 x 4 Audio DSP | 3.00 | Nos. |  | 4500.00 | 13500.00 | 5000.00 | 15000.00 | 4000.00 | 12000.00 | 12000.00 | Progility Technologies Pvt. Ltd.
7.39 | Installation, Configuration, Testing & Commissioning of Two Channel Audio Amplifier | 3.00 | Nos. |  | 1000.00 | 3000.00 | 900.00 | 2700.00 | 500.00 | 1500.00 | 1500.00 | Progility Technologies Pvt. Ltd.
7.40 | Installation, Configuration, Testing & Commissioning of Four Channel Audio Amplifier | 1.00 | Nos. |  | 1500.00 | 1500.00 | 2300.00 | 2300.00 | 1000.00 | 1000.00 | 1000.00 | Progility Technologies Pvt. Ltd.
7.41 | Installation, Configuration, Testing & Commissioning of Speakers | 18.00 | Nos. |  | 250.00 | 4500.00 | 290.00 | 5220.00 | 300.00 | 5400.00 | 4500.00 | Embee Software Private Limited
7.42 | Installation, Configuration, Testing & Commissioning of Wireless Handheld Microphone | 3.00 | Nos. |  | 300.00 | 900.00 | 310.00 | 930.00 | 300.00 | 900.00 | 900.00 | Embee Software Private Limited, Progility Technologies Pvt. Ltd.
7.43 | Installation, Configuration, Testing & Commissioning of Wireless Hear worn Microphone | 3.00 | Nos. |  | 300.00 | 900.00 | 300.00 | 900.00 | 340.00 | 1020.00 | 900.00 | Embee Software Private Limited, Binary Solutions Pvt Ltd
7.44 | Installation, Configuration, Testing & Commissioning of Gooseneck Microphone with Base | 16.00 | Nos. |  | 300.00 | 4800.00 | 350.00 | 5600.00 | 340.00 | 5440.00 | 4800.00 | Embee Software Private Limited
7.45 | Installation, Configuration, Testing & Commissioning of AV Control Processor | 1.00 | Nos. |  | 4000.00 | 4000.00 | 4300.00 | 4300.00 | 4000.00 | 4000.00 | 4000.00 | Embee Software Private Limited, Progility Technologies Pvt. Ltd.
7.46 | Installation, Configuration, Testing & Commissioning of Button panel with built in control processor | 3.00 | Nos |  | 2000.00 | 6000.00 | 1900.00 | 5700.00 | 1897.00 | 5691.00 | 5691.00 | Progility Technologies Pvt. Ltd.
7.47 | Integration & Commissioning of Entire solution | 1.00 | Job |  | 50000.00 | 50000.00 | 40000.00 | 40000.00 | 25000.00 | 25000.00 | 25000.00 | Progility Technologies Pvt. Ltd.
8.00 | Training/Documentation
8.01 | Training | 1.00 | Job |  | 50000.00 | 50000.00 | 30000.00 | 30000.00 | 25000.00 | 25000.00 | 25000.00 | Progility Technologies Pvt. Ltd.
8.02 | Project Documentation | 1.00 | Job |  | 100000.00 | 100000.00 | 50000.00 | 50000.00 | 25000.00 | 25000.00 | 25000.00 | Progility Technologies Pvt. Ltd.
9.00 | Manpower
9.01 | Deployment of Support Manpower - High Skilled | 24.00 | Month |  | 40000.00 | 960000.00 | 50000.00 | 1200000.00 | 30000.00 | 720000.00 | 720000.00 | Progility Technologies Pvt. Ltd.
| Total in Figures |  |  |  |  | 21873155.00 |  | 22532602.00 |  | 22951494.00
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words
|  |  | Bidder Price | Amount in Words
1 | Binary Solutions Pvt Ltd | 21873155 | 20123299.00 | Two Crore One Lakh Twenty Three Thousand Two Hundred and Ninty Nine
2 | Embee Software Private Limited | 21873155 | 17279783.00 | One Crore Seventy Two Lakh Seventy Nine Thousand Seven Hundred and Eighty Three
3 | Progility Technologies Pvt. Ltd. | 21873155 | 20342031.00 | Two Crore Three Lakh Fourty Two Thousand Thirty One
Lowest Amount Quoted BY: Embee Software Private Limited(1.7279783E7)

## BOQ Summary
BOQ Summary Details Tender Title: Establishment and Augmentation of IT Infrastructure at FSTC, Kolkata Tender ID: 2021_AAI_67210_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Embee Software Private Limited | 21873155.00 | L1
| 2 | Binary Solutions Pvt Ltd | 22532602.00 | L2
| 3 | Progility Technologies Pvt. Ltd. | 22951494.00 | L3