## BoQ1
Government eProcurement System Created By: ANILDAS BEKAL Created Date/Time: 09-Feb-2021 05:00 PM Tender Title: Provision of Perimeter road lighting for New Perimeter Road after segregation at Hubballi Airport. Tender ID: 2021_AAI_67233_1
Tender Inviting Authority: Asst. General Manager (Engg. – Electrical), AAI, Hubballi Airport.
Name of Work: Provision of Perimeter road lighting for New Perimeter Road after segregation at Hubballi Airport.
Contract No: 2021_AAI_67233_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SRI RAGHAVENDRA ELECTRICALS(GSTN-36AJHPP7899J1Z7) |  | Shree Tuuljai Electrical Pvt. Ltd(GSTN-27AAMCS0512Q1ZY) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | RB MULTITECH(GSTN-24COFPP5237R1ZA) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | Naagar Infrastructure Pvt Ltd(GSTN-07AACCN7477R1ZJ) |  | Manoprabha Electricals(GSTN-33AGNPM4749D3Z9) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT) |  | LITE SYSTEMS INDUS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I SUPPLY OF LT POWER CABLES Supplying of 4C X 16 sqmm aluminium conductor armoured XLPE insulated, PVC sheathed power cable for working voltage upto & i/c 1.1 KV. as per IS : 7098 (Part-I), 1988 with latest amendments. | 3270.00 | Mtr. |  | 115.00 | 376050.00 | 117.60 | 384552.00 | 145.00 | 474150.00 | 120.00 | 392400.00 | 112.00 | 366240.00 | 98.00 | 320460.00 | 110.00 | 359700.00 | 120.00 | 392400.00 | 118.00 | 385860.00 | 107.00 | 349890.00 | 320460.00 | Yash Energy Pvt. Ltd
2.00 | SH-II SITC OF POLES AND LED FIXTURES Supply of MS tubular street light pole of 1 meter length made out of 50 mm dia min B class MS pipe (3.6 mm thickness) including supply and fixing of GI flat clamp bracket of size 500mmx50mm x 5mm having provision of angle adjustment (for focusing towards perimeter boundary wall ) for mounting 50W LED flood light luminaire at an angle of 70o apart horizontally as per technical specification and base plate of 200 mm x 200 mm x 12 mm thickness M.S. Sheet welded at the bottom of pole for fixing on foundation bolts complete as required for structural stability. the pole shall have provision of flood light cable termination and cable looping box fixing arrangement.The pole shall have provision of earthing bolts termination of earth electrode. Pole shall have painting with two coats of red oxide Primer and two coats of Aluminium (Silver) paint including numbering of pole with black paint on yellow circular background etc. as required, complete as per technical specifications. | 36.00 | Each |  | 1800.00 | 64800.00 | 8124.00 | 292464.00 | 2450.00 | 88200.00 | 3800.00 | 136800.00 | 1750.00 | 63000.00 | 1390.00 | 50040.00 | 5500.00 | 198000.00 | 1500.00 | 54000.00 | 2500.00 | 90000.00 | 1373.00 | 49428.00 | 49428.00 | LITE SYSTEMS INDUS
3.00 | SITC of 6 mtr (5.1 mtr above ground and 0.9 mtr below the ground) swaged type MS tubular pole as mentioned below size as per IS: 2713 (part-III-1980) along with 300 mm X 300 mm X 6 mm MS base plate. DIA THICKNESS HEIGHT LOCATION 69.3 mm 3.25 mm (0.9+3.1 mtr) Bottom 50.0mm 3.25 mm 2.00 Top The pole shall have single arm of 1.5 mtr length made up of 40 mm dia MS pipe suitable for fixing of 1x 36 w LED Street light fixture including suitable size bracket for fixing of arm on pole, providing / making 1:3:6 (1 cement : 3 coarse sand: 6 graded stone aggregate 40 mm nominal size) cement concrete foundation 900 mm below the ground and 300 mm above the ground level , erection of pole on foundation of size 400x400x1200 mm ,along with providing and fixing 2x1.5 Mtr length 40 mm dia B class GI pipe for cable entry, having suitable bend and its fixing arrangement, including excavation and refilling etc complete as required .The pole shall have provision of cable termination and cable looping box of IP-66 categeory. Pole shall have painting with two coats of red oxide Primer and two coats of Aluminium (Silver) paint including numbering of pole with black paint on yellow circular background etc. as required, complete as per technical specifications and drawings. | 142.00 | Each |  | 5900.00 | 837800.00 | 13620.00 | 1934040.00 | 7800.00 | 1107600.00 | 7300.00 | 1036600.00 | 3500.00 | 497000.00 | 8150.00 | 1157300.00 | 12000.00 | 1704000.00 | 10300.00 | 1462600.00 | 7500.00 | 1065000.00 | 9400.00 | 1334800.00 | 497000.00 | RB MULTITECH
4.00 | Supply of 36W LED based roadlighting luminaire with epoxy powder coated pressure die cast Aluminium housing with weather proof gasket for LEDs & control gear compartments and having protection not less than IP 66 and having lenses specially designed for street lighting and toughened glass cover with not less than 110 lumen/watt and complete with all accessories. The luminaire should comply with the specifications mentioned in technical specifications. | 222.00 | Each |  | 1850.00 | 410700.00 | 1440.00 | 319680.00 | 1880.00 | 417360.00 | 1500.00 | 333000.00 | 2000.00 | 444000.00 | 1586.00 | 352092.00 | 220.00 | 48840.00 | 2000.00 | 444000.00 | 2050.00 | 455100.00 | 2000.00 | 444000.00 | 48840.00 | Naagar Infrastructure Pvt Ltd
5.00 | Supply of 50W LED based Flood light fixture with epoxy powder coated pressure die cast Aluminium housing with weather proof gasket for LEDs & control gear compartments and having protection not less than IP 66 and having lenses specially designed for flood lighting and toughened glass cover with not less than 110 lumen/watt and complete with all accessories. The luminaire should comply with the specifications mentioned in technical specifications. | 36.00 | Each |  | 2070.00 | 74520.00 | 2340.00 | 84240.00 | 2450.00 | 88200.00 | 3500.00 | 126000.00 | 3500.00 | 126000.00 | 2209.00 | 79524.00 | 2500.00 | 90000.00 | 3000.00 | 108000.00 | 2600.00 | 93600.00 | 3450.00 | 124200.00 | 74520.00 | SRI RAGHAVENDRA ELECTRICALS
6.00 | Erection of steel tubular pole of length not exceeding 1.5 meters including all accessories in cement concrete 1:3:6 (1 Cement 3 Coarse sand 6 graded stone aggregate 40mm normal size) foundation of size not less than 300x300x400 mm thick including 150 mm height of foundation above ground level (level above ground may be revised to suit the site conditions especially considering the expected water level stagnation) including excavation and refilling including positioning template and foundation bolts supplied along with the pole and providing, laying and fixing of 2 x 0.80 meter long 40 mm inner dia "B" Class GI pipe having suitable bend ain the foundation for loop in loop out of the cable to the pole etc as required, complete as per technical specifications and site requirements. | 36.00 | Job |  | 3000.00 | 108000.00 | 1560.00 | 56160.00 | 1000.00 | 36000.00 | 1200.00 | 43200.00 | 2250.00 | 81000.00 | 2492.00 | 89712.00 | 4500.00 | 162000.00 | 1000.00 | 36000.00 | 1300.00 | 46800.00 | 3400.00 | 122400.00 | 36000.00 | jaydeep agency corporation, Manoprabha Electricals
7.00 | Installation, Testing and Commissioning of prewired LED type flood light fitting on the existing street light tubular pole of height 1 mtr including connections with 1.5 sq.mm FRLS PVC insulated, copper conductor, three core flexible industrial cable (For phase, neutral and earth) and carriage of fitting from store to site etc. as required. | 36.00 | Job |  | 100.00 | 3600.00 | 180.00 | 6480.00 | 50.00 | 1800.00 | 200.00 | 7200.00 | 225.00 | 8100.00 | 290.00 | 10440.00 | 1000.00 | 36000.00 | 150.00 | 5400.00 | 200.00 | 7200.00 | 350.00 | 12600.00 | 1800.00 | jaydeep agency corporation
8.00 | Installation, Testing and Commissioning of prewired LED type Street light fitting on the existing street light tubular pole of height 5 mtr including connections with 1.5 sq.mm FRLS PVC insulated, copper conductor, three core flexible industrial cable (For phase, neutral and earth) and carriage of fitting from store to site etc. as required. | 222.00 | Job |  | 4000.00 | 888000.00 | 60.00 | 13320.00 | 75.00 | 16650.00 | 150.00 | 33300.00 | 225.00 | 49950.00 | 490.00 | 108780.00 | 750.00 | 166500.00 | 200.00 | 44400.00 | 200.00 | 44400.00 | 350.00 | 77700.00 | 13320.00 | Shree Tuuljai Electrical Pvt. Ltd
9.00 | SH-III SUPPLY & LAYING OF HDPE PIPES AND LAYING OF CABLES Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 10.00 | Cum |  | 3000.00 | 30000.00 | 660.00 | 6600.00 | 450.00 | 4500.00 | 1200.00 | 12000.00 | 312.00 | 3120.00 | 785.00 | 7850.00 | 1013.00 | 10130.00 | 1000.00 | 10000.00 | 800.00 | 8000.00 | 350.00 | 3500.00 | 3120.00 | RB MULTITECH
10.00 | Supplying and laying of following size HDPE pipe of PN4,PE 63 ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required.
10.10 | 40 mm dia(OD) HDPE Pipe | 2700.00 | Mtr. |  | 200.00 | 540000.00 | 39.60 | 106920.00 | 120.00 | 324000.00 | 160.00 | 432000.00 | 67.00 | 180900.00 | 180.00 | 486000.00 | 150.00 | 405000.00 | 100.00 | 270000.00 | 70.00 | 189000.00 | 75.00 | 202500.00 | 106920.00 | Shree Tuuljai Electrical Pvt. Ltd
10.20 | 90 mm dia (OD) HDPE Pipe) | 1300.00 | Mtr. |  | 300.00 | 390000.00 | 88.80 | 115440.00 | 190.00 | 247000.00 | 450.00 | 585000.00 | 262.00 | 340600.00 | 255.00 | 331500.00 | 200.00 | 260000.00 | 200.00 | 260000.00 | 167.00 | 217100.00 | 220.00 | 286000.00 | 115440.00 | Shree Tuuljai Electrical Pvt. Ltd
11.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. (upto 35 sqmm ) | 2688.00 | Mtr. |  | 35.00 | 94080.00 | 42.00 | 112896.00 | 25.00 | 67200.00 | 30.00 | 80640.00 | 62.00 | 166656.00 | 25.00 | 67200.00 | 50.00 | 134400.00 | 10.00 | 26880.00 | 40.00 | 107520.00 | 12.00 | 32256.00 | 26880.00 | Manoprabha Electricals
12.00 | Laying of one number PVC/XLPE insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. Cable size (Above 185 Sq mm and Upto 400 sq. mm) | 1220.00 | Mtr. |  | 40.00 | 48800.00 | 78.00 | 95160.00 | 35.00 | 42700.00 | 30.00 | 36600.00 | 87.00 | 106140.00 | 45.00 | 54900.00 | 180.00 | 219600.00 | 15.00 | 18300.00 | 60.00 | 73200.00 | 110.00 | 134200.00 | 18300.00 | Manoprabha Electricals
13.00 | Laying of one number PVC /XLPE insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. (Above 185 Sq mm and Upto 400 sq. mm) | 20.00 | Mtr. |  | 40.00 | 800.00 | 78.00 | 1560.00 | 45.00 | 900.00 | 200.00 | 4000.00 | 62.00 | 1240.00 | 58.00 | 1160.00 | 150.00 | 3000.00 | 25.00 | 500.00 | 30.00 | 600.00 | 80.00 | 1600.00 | 500.00 | Manoprabha Electricals
14.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5C X 300 Sqmm of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. | 2.00 | Set |  | 1500.00 | 3000.00 | 840.00 | 1680.00 | 1800.00 | 3600.00 | 900.00 | 1800.00 | 625.00 | 1250.00 | 1520.00 | 3040.00 | 2500.00 | 5000.00 | 600.00 | 1200.00 | 2000.00 | 4000.00 | 2800.00 | 5600.00 | 1200.00 | Manoprabha Electricals
15.00 | Supplying and making end termination with brass single compression gland and aluminium lugs for 4C X 16 Sqmm of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. | 356.00 | Set |  | 280.00 | 99680.00 | 120.00 | 42720.00 | 120.00 | 42720.00 | 150.00 | 53400.00 | 60.00 | 21360.00 | 234.00 | 83304.00 | 750.00 | 267000.00 | 150.00 | 53400.00 | 100.00 | 35600.00 | 130.00 | 46280.00 | 21360.00 | RB MULTITECH
16.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. (for 3.5Cx300 Sq mm cable) | 2.00 | Set |  | 8000.00 | 16000.00 | 4440.00 | 8880.00 | 2800.00 | 5600.00 | 3500.00 | 7000.00 | 1312.00 | 2624.00 | 6145.00 | 12290.00 | 9500.00 | 19000.00 | 5000.00 | 10000.00 | 3200.00 | 6400.00 | 5000.00 | 10000.00 | 2624.00 | RB MULTITECH
17.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 53.00 | Job |  | 500.00 | 26500.00 | 780.00 | 41340.00 | 250.00 | 13250.00 | 400.00 | 21200.00 | 187.00 | 9911.00 | 830.00 | 43990.00 | 1500.00 | 79500.00 | 600.00 | 31800.00 | 300.00 | 15900.00 | 520.00 | 27560.00 | 9911.00 | RB MULTITECH
18.00 | SH-IV EARTHING Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but with charcoal/ coke and salt ) as required. | 18.00 | Set |  | 20000.00 | 360000.00 | 7800.00 | 140400.00 | 3800.00 | 68400.00 | 6900.00 | 124200.00 | 8750.00 | 157500.00 | 3520.00 | 63360.00 | 7500.00 | 135000.00 | 5000.00 | 90000.00 | 3000.00 | 54000.00 | 5000.00 | 90000.00 | 54000.00 | ABHISHEK ASSOCIATES
19.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 108.00 | Mtr. |  | 190.00 | 20520.00 | 96.00 | 10368.00 | 135.00 | 14580.00 | 180.00 | 19440.00 | 187.00 | 20196.00 | 50.00 | 5400.00 | 200.00 | 21600.00 | 100.00 | 10800.00 | 108.00 | 11664.00 | 220.00 | 23760.00 | 5400.00 | Yash Energy Pvt. Ltd
20.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable including connection with lugs/nut bolt etc as required. | 3908.00 | Mtr. |  | 25.00 | 97700.00 | 21.60 | 84412.80 | 28.00 | 109424.00 | 23.00 | 89884.00 | 12.00 | 46896.00 | 50.00 | 195400.00 | 35.00 | 136780.00 | 20.00 | 78160.00 | 15.00 | 58620.00 | 20.00 | 78160.00 | 46896.00 | RB MULTITECH
21.00 | SH-V SITC OF LT PANEL Design, Fabrication,Supply, Installation, Testing & Commissioning of out door Feeder Panel, cubicle type, made out of 2 mm thick CRCA sheet with 100 x 50 mm channel base frame in the bottom, totally enclosed, IP 54, free standing dust and vermin proof, compartmentalised with front lockable double doors, suitable for operation on 3 phase, 415 V, 50Hz AC system with TPN busbars and internal control wiring of minimum 2.5 sqmm copper FRLS PVC insulated wires, interconnection, duly powder coated of approved shade with angle iron stand size 50mm x 50mm x 5mm and 75cm height, i/c digging & grounting with cement concrete etc. as per specifications having following switchgears and accessories, and as approved by EIC, complete as required. the panel shall have 25% spare space. PLEASE REFER TENDER DOCUMENT FOR DETAILED DESCRIPTION ESTIMATE (BOQ-1 to BOQ-6) | 1.00 | Mtr. |  | 165000.00 | 165000.00 | 330000.00 | 330000.00 | 350000.00 | 350000.00 | 415000.00 | 415000.00 | 350000.00 | 350000.00 | 230000.00 | 230000.00 | 500000.00 | 500000.00 | 285000.00 | 285000.00 | 484500.00 | 484500.00 | 280000.00 | 280000.00 | 165000.00 | SRI RAGHAVENDRA ELECTRICALS
22.00 | Supply, Installation Testing & Commissioning of cable looping box of size 200mm x 300mm x 105 mm (LxBxH) made of Thermoplastic confirming to atleast IP 65 having provision for connection of luminaire through 3x1.5sqmm flexible cable and looping in & out of 4x16/25 sqmm 1.1 KV grade incomer and outgoing cable with suitable size of connector & seperator, groomets, glands and all accessories i/c fixing of box on existing street light pole with suitable clamps and providing 1 No. "C" series 6 A SP MCB in the box etc. complete as required. | 178.00 | Job |  | 2200.00 | 391600.00 | 1140.00 | 202920.00 | 1100.00 | 195800.00 | 2800.00 | 498400.00 | 1500.00 | 267000.00 | 1550.00 | 275900.00 | 750.00 | 133500.00 | 900.00 | 160200.00 | 2335.00 | 415630.00 | 1000.00 | 178000.00 | 133500.00 | Naagar Infrastructure Pvt Ltd
| Total in Figures |  |  |  |  | 5047150.00 |  | 4392232.80 |  | 3719634.00 |  | 4489064.00 |  | 3310683.00 |  | 4029642.00 |  | 5094550.00 |  | 3853040.00 |  | 3869694.00 |  | 3914434.00
Lowest Amount Quoted BY: RB MULTITECH(3310683.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Perimeter road lighting for New Perimeter Road after segregation at Hubballi Airport. Tender ID: 2021_AAI_67233_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RB MULTITECH | 3310683.00 | L1
| 2 | jaydeep agency corporation | 3719634.00 | L2
| 3 | Manoprabha Electricals | 3853040.00 | L3
| 4 | ABHISHEK ASSOCIATES | 3869694.00 | L4
| 5 | LITE SYSTEMS INDUS | 3914434.00 | L5
| 6 | Yash Energy Pvt. Ltd | 4029642.00 | L6
| 7 | Shree Tuuljai Electrical Pvt. Ltd | 4392232.80 | L7
| 8 | Manish Electricals | 4489064.00 | L8
| 9 | SRI RAGHAVENDRA ELECTRICALS | 5047150.00 | L9
| 10 | Naagar Infrastructure Pvt Ltd | 5094550.00 | L10