## BoQ1
Government eProcurement System Created By: Ravindra Patil Created Date/Time: 20-Apr-2021 10:49 AM Tender Title: Augmentation of parking area and covering of walkway with tensile fabric in front of NITB at S.V. Airport, Raipur. (Civil and Electrical works) Tender ID: 2021_AAI_67267_2
Tender Inviting Authority: Airports Authority of India, S.V. Airport, Raipur
Name of Work: Augmentation of parking area & covering of walkway with tensile fabric in front of NITB at S.V. Airport, Raipur. (Civil & Electrical Works)
Contract No: 2021_AAI_67267_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | manoj agrawal(GSTN-22ACJPA4187B1Z6) |  | SAMEER GLAZING SYSTEM PRIVATE LIMITED(GSTN-23AARCS0124P1Z3) |  | Vinayak Infra Signs and Projects Pvt Ltd(GSTN-27AAGCV8668N1ZA) |  | M/s Brajesh Kumar Sinha(GSTN-20ALDPS6057K1ZZ) |  | ANIL CONSTRUCTION(GSTN-22BENPS4220N1Z8) |  | Step Up Construction(GSTN-23AAWFS4959A1ZW) |  | Chinmoyee Construction(GSTN-19AGDPR3381C1ZE) |  | prime constructions(GSTN-27AABFP2480L1Z1) |  | Nabalok Das(GSTN-NA) |  | Stratum Consultancy Services Private Limited(GSTN-NA) |  | Vasundhara constructions(GSTN-NA) |  | M/s SARK INFRA(GSTN-NA) |  | SINGHAL ENTERPRISES(GSTN-NA) |  | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED(GSTN-NA) |  | A V N CONSTRUCTION(GSTN-NA) |  | MD RIYAJUDDIN(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. a) For thickness of tiles 10 mm to 25 mm | 680.00 | Sqm | 0.00 | 38.40 | 26112.00 | 100.00 | 68000.00 | 65.00 | 44200.00 | 3500.00 | 2380000.00 | 45.00 | 30600.00 | 29.00 | 19720.00 | 47.00 | 31960.00 | 20.00 | 13600.00 | 52.00 | 35360.00 | 258.00 | 175440.00 | 44.00 | 29920.00 | 250.00 | 170000.00 | 125.00 | 85000.00 | 100.00 | 68000.00 | 40.00 | 27200.00 | 54.00 | 36720.00 | 13600.00 | prime constructions
2.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. a) Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 77.00 | Cum | 0.00 | 750.40 | 57780.80 | 500.00 | 38500.00 | 1400.00 | 107800.00 | 1072.00 | 82544.00 | 825.00 | 63525.00 | 800.00 | 61600.00 | 800.00 | 61600.00 | 500.00 | 38500.00 | 956.00 | 73612.00 | 1500.00 | 115500.00 | 400.00 | 30800.00 | 260.00 | 20020.00 | 2460.00 | 189420.00 | 300.00 | 23100.00 | 770.00 | 59290.00 | 987.00 | 75999.00 | 20020.00 | M/s SARK INFRA
3.00 | Taking out existing kerb stones of all types from footpath/ central verge, including removal of mortar etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 1251.00 | Mtr | 0.00 | 19.65 | 24582.15 | 100.00 | 125100.00 | 65.00 | 81315.00 | 78.00 | 97578.00 | 25.00 | 31275.00 | 28.00 | 35028.00 | 20.00 | 25020.00 | 50.00 | 62550.00 | 26.00 | 32526.00 | 335.00 | 419085.00 | 18.00 | 22518.00 | 110.00 | 137610.00 | 185.00 | 231435.00 | 50.00 | 62550.00 | 22.00 | 27522.00 | 31.00 | 38781.00 | 22518.00 | Vasundhara constructions
4.00 | Laying at or near ground level old kerb stones of all types in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement : 3 coarse sand), including making joints with or without grooves (thickness of joints, except at sharp curve, shall not be more than 5 mm), including making drainage opening wherever required etc. complete as per direction of Engineer-in-charge. (Length of finished kerb edging shall be measured for payment). (Old kerb stones shall be supplied by the department free of cost) | 600.00 | Mtr | 0.00 | 58.00 | 34800.00 | 500.00 | 300000.00 | 475.00 | 285000.00 | 83.00 | 49800.00 | 45.00 | 27000.00 | 82.00 | 49200.00 | 70.00 | 42000.00 | 180.00 | 108000.00 | 78.00 | 46800.00 | 185.00 | 111000.00 | 100.00 | 60000.00 | 310.00 | 186000.00 | 250.00 | 150000.00 | 100.00 | 60000.00 | 80.00 | 48000.00 | 110.00 | 66000.00 | 27000.00 | ANIL CONSTRUCTION
5.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 640.00 | Sqm | 0.00 | 65.80 | 42112.00 | 200.00 | 128000.00 | 65.00 | 41600.00 | 94.00 | 60160.00 | 80.00 | 51200.00 | 50.00 | 32000.00 | 40.00 | 25600.00 | 50.00 | 32000.00 | 82.00 | 52480.00 | 125.00 | 80000.00 | 70.00 | 44800.00 | 260.00 | 166400.00 | 80.00 | 51200.00 | 100.00 | 64000.00 | 70.00 | 44800.00 | 95.00 | 60800.00 | 25600.00 | Chinmoyee Construction
6.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. a) All kinds of soil | 203.00 | Cum | 0.00 | 176.60 | 35849.80 | 150.00 | 30450.00 | 350.00 | 71050.00 | 252.00 | 51156.00 | 105.00 | 21315.00 | 140.00 | 28420.00 | 150.00 | 30450.00 | 140.00 | 28420.00 | 217.00 | 44051.00 | 185.00 | 37555.00 | 185.00 | 37555.00 | 280.00 | 56840.00 | 185.00 | 37555.00 | 200.00 | 40600.00 | 150.00 | 30450.00 | 231.00 | 46893.00 | 21315.00 | ANIL CONSTRUCTION
7.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. a) All kinds of soil | 804.00 | Cum | 0.00 | 127.30 | 102349.20 | 150.00 | 120600.00 | 350.00 | 281400.00 | 181.00 | 145524.00 | 105.00 | 84420.00 | 125.00 | 100500.00 | 112.00 | 90048.00 | 140.00 | 112560.00 | 156.00 | 125424.00 | 225.00 | 180900.00 | 185.00 | 148740.00 | 250.00 | 201000.00 | 250.00 | 201000.00 | 150.00 | 120600.00 | 130.00 | 104520.00 | 182.00 | 146328.00 | 84420.00 | ANIL CONSTRUCTION
8.00 | Consolidation of sub grade with power road rollar of 8 to 12 tonne capacity i/c watering and re-rolling the sub grade etc. complete. a) With road roller/ hand roller/Plate Vibrator. | 2000.00 | Sqm | 0.00 | 2.50 | 5000.00 | 5.00 | 10000.00 | 25.00 | 50000.00 | 3.00 | 6000.00 | 4.00 | 8000.00 | 150.00 | 300000.00 | 5.00 | 10000.00 | 20.00 | 40000.00 | 139.00 | 278000.00 | 150.00 | 300000.00 | 4.00 | 8000.00 | 12.00 | 24000.00 | 40.00 | 80000.00 | 150.00 | 300000.00 | 10.00 | 20000.00 | 5.00 | 10000.00 | 5000.00 | manoj agrawal
9.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 363.00 | Cum | 0.00 | 153.75 | 55811.25 | 20.00 | 7260.00 | 320.00 | 116160.00 | 219.00 | 79497.00 | 85.00 | 30855.00 | 85.00 | 30855.00 | 180.00 | 65340.00 | 60.00 | 21780.00 | 191.00 | 69333.00 | 215.00 | 78045.00 | 120.00 | 43560.00 | 120.00 | 43560.00 | 185.00 | 67155.00 | 150.00 | 54450.00 | 100.00 | 36300.00 | 301.00 | 109263.00 | 7260.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
10.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). | 80.00 | Cum | 0.00 | 4752.00 | 380160.00 | 3500.00 | 280000.00 | 7000.00 | 560000.00 | 4800.00 | 384000.00 | 4500.00 | 360000.00 | 4800.00 | 384000.00 | 4830.00 | 386400.00 | 4600.00 | 368000.00 | 5913.00 | 473040.00 | 5900.00 | 472000.00 | 3600.00 | 288000.00 | 9500.00 | 760000.00 | 3570.00 | 285600.00 | 7200.00 | 576000.00 | 3500.00 | 280000.00 | 5577.00 | 446160.00 | 280000.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED, A V N CONSTRUCTION
11.00 | b) 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 192.00 | Cum | 0.00 | 4052.00 | 777984.00 | 3300.00 | 633600.00 | 5700.00 | 1094400.00 | 3900.00 | 748800.00 | 3500.00 | 672000.00 | 4300.00 | 825600.00 | 4002.00 | 768384.00 | 3900.00 | 748800.00 | 5043.00 | 968256.00 | 4800.00 | 921600.00 | 2800.00 | 537600.00 | 6100.00 | 1171200.00 | 2960.00 | 568320.00 | 6300.00 | 1209600.00 | 3000.00 | 576000.00 | 4142.00 | 795264.00 | 537600.00 | Vasundhara constructions
12.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : a) 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size). | 60.00 | Cum | 0.00 | 5402.80 | 324168.00 | 4800.00 | 288000.00 | 8000.00 | 480000.00 | 5500.00 | 330000.00 | 4900.00 | 294000.00 | 5500.00 | 330000.00 | 5712.00 | 342720.00 | 5200.00 | 312000.00 | 6717.00 | 403020.00 | 5500.00 | 330000.00 | 4200.00 | 252000.00 | 9100.00 | 546000.00 | 4075.00 | 244500.00 | 7500.00 | 450000.00 | 4500.00 | 270000.00 | 6575.00 | 394500.00 | 244500.00 | SINGHAL ENTERPRISES
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Foundations, footings, bases of columns, etc. for mass concrete | 180.00 | Sqm | 0.00 | 199.40 | 35892.00 | 350.00 | 63000.00 | 350.00 | 63000.00 | 350.00 | 63000.00 | 220.00 | 39600.00 | 300.00 | 54000.00 | 180.00 | 32400.00 | 350.00 | 63000.00 | 247.00 | 44460.00 | 450.00 | 81000.00 | 150.00 | 27000.00 | 550.00 | 99000.00 | 375.00 | 67500.00 | 300.00 | 54000.00 | 200.00 | 36000.00 | 251.00 | 45180.00 | 27000.00 | Vasundhara constructions
14.00 | b) Columns, Pillars, Piers, Abutments, Posts and Struts | 210.00 | Sqm | 0.00 | 513.60 | 107856.00 | 350.00 | 73500.00 | 560.00 | 117600.00 | 350.00 | 73500.00 | 350.00 | 73500.00 | 450.00 | 94500.00 | 220.00 | 46200.00 | 350.00 | 73500.00 | 639.00 | 134190.00 | 550.00 | 115500.00 | 300.00 | 63000.00 | 550.00 | 115500.00 | 435.00 | 91350.00 | 300.00 | 63000.00 | 300.00 | 63000.00 | 775.00 | 162750.00 | 46200.00 | Chinmoyee Construction
15.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 35.00 | Cum | 0.00 | 5863.30 | 205215.50 | 6000.00 | 210000.00 | 11500.00 | 402500.00 | 5600.00 | 196000.00 | 7300.00 | 255500.00 | 5800.00 | 203000.00 | 7200.00 | 252000.00 | 7000.00 | 245000.00 | 7282.00 | 254870.00 | 8600.00 | 301000.00 | 7000.00 | 245000.00 | 5500.00 | 192500.00 | 4920.00 | 172200.00 | 8000.00 | 280000.00 | 6000.00 | 210000.00 | 7375.00 | 258125.00 | 172200.00 | SINGHAL ENTERPRISES
16.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. a) 60mm thick Cement concrete paver block of M-35 grade with approved colour, design & pattern. | 1500.00 | Sqm | 0.00 | 619.30 | 928950.00 | 500.00 | 750000.00 | 1000.00 | 1500000.00 | 640.00 | 960000.00 | 750.00 | 1125000.00 | 500.00 | 750000.00 | 750.00 | 1125000.00 | 600.00 | 900000.00 | 769.00 | 1153500.00 | 1075.00 | 1612500.00 | 630.00 | 945000.00 | 1250.00 | 1875000.00 | 595.00 | 892500.00 | 880.00 | 1320000.00 | 750.00 | 1125000.00 | 801.00 | 1201500.00 | 750000.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED, Step Up Construction
17.00 | Providing and fixing the Tensile structure and PVC traslucent fabric with detailed engineering of approved make ,inclusive of fabrication erection and installation of tensile structure . The work shall include the main M.S. peripheral column / beam welded to purlins . The fabric shall be fixed to the peripheral column/ beam assembly and intermediate purlins with necessary accrssories etc. complete as per directions of Engineer-In-charge. Walkway Design The list of member will be as follow. a) MS structure tubuler pipe-peripheral column/beam Providing and fixing peripheral MS circular hollow pipe section 100 mm Dia 3.6 mm thick as per drawing. Brackets for receiving pinned ends Providing and fixing mild steel brackets for receiving the pinned dia 60 mm bolted to 16 mm thick base plate at end finished as per drawing. b) Purlins providing and fixing purlins made out of circular hollow pipe dia 80 mm 4 mm thick as show in drawing as per Engg-in-charge c) Fabric structure Providing and fixing white PVC polyester translucent membrane of approved make and as per the specification . d) Paint details All MS structure should be finished with copper slag blasting , epoxy primer and PU spray paint as per approved make and directions of Engineer-In-charge. The scope of the work shall also include the following:- 1. Structural designing of Tensile fibre structure including the design of footing and structural steel members from govt. Engineering college/NIT Raipur. 2. Providing a detailed report on structural design. 3. Submission of 3 sets of vetted design/ drawing for approval. Note 1: - The work shall be got executed by specialized agency. Note 2: - For payment purpose, carpet area/plan area shall be measured. | 1450.00 | Sqm | 0.00 | 4350.00 | 6307500.00 | 4800.00 | 6960000.00 | 4400.00 | 6380000.00 | 4900.00 | 7105000.00 | 5150.00 | 7467500.00 | 4200.00 | 6090000.00 | 4900.00 | 7105000.00 | 4400.00 | 6380000.00 | 2173.00 | 3150850.00 | 3963.00 | 5746350.00 | 4560.00 | 6612000.00 | 4200.00 | 6090000.00 | 4200.00 | 6090000.00 | 3755.00 | 5444750.00 | 3700.00 | 5365000.00 | 4757.00 | 6897650.00 | 3150850.00 | Nabalok Das
18.00 | Providing and fixing the Tensile structure and PVC traslucent fabric with detailed engineering of approved make ,inclusive of fabrication erection and installation of tensile structure . The work shall include the main M.S. column / beam welded to purlins . The fabric shall be fixed to the column/ beam assembly and intermediate purlins with necessary accrssories etc. complete as per directions of Engineer-In-charge. VIP Parking Design The list of member will be as follow. a) MS structure tubuler pipe-Column/Vertical Member Providing and fixing peripheral MS circular hollow pipe section 200 mm Dia 4.8 mm thick as per drawing. Brackets for receiving pinned ends Providing and fixing mild steel brackets and 16 mm thick base plate. The pinned end of dia 60 mm is to be bolted to 16 mm thick base plate at end finished as per drawing. b) Cantilever Section -Horizontal/Inclined Member Providing and fixing horizontal pipe made out of circular hollow pipe dia 100 mm 4 mm thick as show in drawing as per Engg-in-charge c) Fabric structure Providing and fixing white PVC polyester translucent membrane of approved make and as per the specification. d) Paint details All MS structure should be finished with copper slag blasting , epoxy primer and PU spray paint as per approved make and directions of Engineer-In-charge. The scope of the work shall also include the following:- 1. Structural designing of Tensile fibre structure including the design of footing and structural steel members from govt. Engineering college/NIT Raipur. 2. Providing a detailed report on structural design. 3. Submission of 3 sets of vetted design/ drawing for approval. Note 1: - The work shall be got executed by specialized agency. Note 2: - For payment purpose, carpet area/plan area shall be measured. | 570.00 | Sqm | 0.00 | 4350.00 | 2479500.00 | 4800.00 | 2736000.00 | 4400.00 | 2508000.00 | 4800.00 | 2736000.00 | 4150.00 | 2365500.00 | 4200.00 | 2394000.00 | 4600.00 | 2622000.00 | 5000.00 | 2850000.00 | 1565.00 | 892050.00 | 3963.00 | 2258910.00 | 4120.00 | 2348400.00 | 4200.00 | 2394000.00 | 4200.00 | 2394000.00 | 3755.00 | 2140350.00 | 3150.00 | 1795500.00 | 4951.00 | 2822070.00 | 892050.00 | Nabalok Das
19.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more | 6000.00 | Kg | 0.00 | 58.30 | 349800.00 | 75.00 | 450000.00 | 85.00 | 510000.00 | 73.00 | 438000.00 | 68.00 | 408000.00 | 85.00 | 510000.00 | 64.00 | 384000.00 | 75.00 | 450000.00 | 73.00 | 438000.00 | 64.00 | 384000.00 | 70.00 | 420000.00 | 85.00 | 510000.00 | 70.00 | 420000.00 | 80.00 | 480000.00 | 75.00 | 450000.00 | 71.00 | 426000.00 | 349800.00 | manoj agrawal
20.00 | Carriage of material By Mechanical Transport including loading, unloading and stacking for a lead of 1 km a) Lime, moorum, building rubbish | 150.00 | Cum | 0.00 | 73.45 | 11017.50 | 80.00 | 12000.00 | 450.00 | 67500.00 | 104.00 | 15600.00 | 90.00 | 13500.00 | 400.00 | 60000.00 | 111.00 | 16650.00 | 200.00 | 30000.00 | 91.00 | 13650.00 | 175.00 | 26250.00 | 100.00 | 15000.00 | 80.00 | 12000.00 | 370.00 | 55500.00 | 100.00 | 15000.00 | 75.00 | 11250.00 | 105.00 | 15750.00 | 11017.50 | manoj agrawal
21.00 | b) Earth | 300.00 | Cum | 0.00 | 91.80 | 27540.00 | 80.00 | 24000.00 | 350.00 | 105000.00 | 131.00 | 39300.00 | 100.00 | 30000.00 | 400.00 | 120000.00 | 91.00 | 27300.00 | 200.00 | 60000.00 | 113.00 | 33900.00 | 175.00 | 52500.00 | 100.00 | 30000.00 | 100.00 | 30000.00 | 310.00 | 93000.00 | 100.00 | 30000.00 | 90.00 | 27000.00 | 201.00 | 60300.00 | 24000.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
22.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 250.00 | Kg | 0.00 | 83.85 | 20962.50 | 150.00 | 37500.00 | 140.00 | 35000.00 | 83.00 | 20750.00 | 70.00 | 17500.00 | 110.00 | 27500.00 | 65.00 | 16250.00 | 120.00 | 30000.00 | 73.00 | 18250.00 | 64.00 | 16000.00 | 80.00 | 20000.00 | 110.00 | 27500.00 | 95.00 | 23750.00 | 140.00 | 35000.00 | 90.00 | 22500.00 | 85.00 | 21250.00 | 16000.00 | Stratum Consultancy Services Private Limited
23.00 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). a) Medium shade pigment using 50% white cement 50% Grey cement | 615.00 | Sqm | 0.00 | 773.00 | 475395.00 | 400.00 | 246000.00 | 900.00 | 553500.00 | 925.00 | 568875.00 | 980.00 | 602700.00 | 950.00 | 584250.00 | 711.00 | 437265.00 | 1000.00 | 615000.00 | 960.00 | 590400.00 | 677.00 | 416355.00 | 900.00 | 553500.00 | 775.00 | 476625.00 | 495.00 | 304425.00 | 990.00 | 608850.00 | 800.00 | 492000.00 | 1150.00 | 707250.00 | 246000.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
24.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 1221.00 | Kg | 0.00 | 71.20 | 86935.20 | 85.00 | 103785.00 | 140.00 | 170940.00 | 98.00 | 119658.00 | 79.00 | 96459.00 | 90.00 | 109890.00 | 88.00 | 107448.00 | 90.00 | 109890.00 | 86.00 | 105006.00 | 90.00 | 109890.00 | 88.00 | 107448.00 | 95.00 | 115995.00 | 90.00 | 109890.00 | 120.00 | 146520.00 | 100.00 | 122100.00 | 101.00 | 123321.00 | 86935.20 | manoj agrawal
25.00 | Providing and fixing Wrought Iron frame of Artistic gateway symbolizing Chhattisgarh Culture consisting of 04 nos. angle section of 50*50*4 mm and bracing of angle section 40*40*4 mm @ 400mm centre to centre and the space between bracings will have artifact hanging on a 40*40*4 mm angle sections .The material will be wrought iron which is to be painted with primer and epoxy paint .The design should be as per drawing and as per direction of Engineer in charge. | 2.00 | EA | 0.00 | 400000.00 | 800000.00 | 3000.00 | 6000.00 | 175000.00 | 350000.00 | 244000.00 | 488000.00 | 400000.00 | 800000.00 | 15000.00 | 30000.00 | 437000.00 | 874000.00 | 200000.00 | 400000.00 | 7160.00 | 14320.00 | 55000.00 | 110000.00 | 405000.00 | 810000.00 | 9000.00 | 18000.00 | 61500.00 | 123000.00 | 60000.00 | 120000.00 | 350000.00 | 700000.00 | 499445.00 | 998890.00 | 6000.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
26.00 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared. | 1200.00 | Sqm | 0.00 | 8.80 | 10560.00 | 5.00 | 6000.00 | 20.00 | 24000.00 | 12.00 | 14400.00 | 10.00 | 12000.00 | 20.00 | 24000.00 | 5.00 | 6000.00 | 3.00 | 3600.00 | 11.00 | 13200.00 | 5.00 | 6000.00 | 8.00 | 9600.00 | 120.00 | 144000.00 | 40.00 | 48000.00 | 200.00 | 240000.00 | 9.00 | 10800.00 | 11.00 | 13200.00 | 3600.00 | prime constructions
27.00 | Laying old cement cocrete interlocking paver blocks of any design/shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineerin-charge. (Old CC paver blocks shall be supplied by the department free of cost). | 320.00 | Sqm | 0.00 | 226.94 | 72620.80 | 200.00 | 64000.00 | 475.00 | 152000.00 | 324.00 | 103680.00 | 250.00 | 80000.00 | 25.00 | 8000.00 | 290.00 | 92800.00 | 125.00 | 40000.00 | 282.00 | 90240.00 | 350.00 | 112000.00 | 200.00 | 64000.00 | 900.00 | 288000.00 | 65.00 | 20800.00 | 400.00 | 128000.00 | 230.00 | 73600.00 | 325.00 | 104000.00 | 8000.00 | Step Up Construction
28.00 | Brick work with non modular fly ash bricks conforming to IS:12894, class designation 3.5 average compressive strength in super structure above plinth level up to floor V level in : a) Cement mortar 1:6 (1 cement : 6 Coarse sand) | 18.00 | Cum | 0.00 | 4015.00 | 72270.00 | 5000.00 | 90000.00 | 8000.00 | 144000.00 | 4800.00 | 86400.00 | 4300.00 | 77400.00 | 5000.00 | 90000.00 | 5600.00 | 100800.00 | 6000.00 | 108000.00 | 6247.00 | 112446.00 | 6200.00 | 111600.00 | 3000.00 | 54000.00 | 5600.00 | 100800.00 | 5535.00 | 99630.00 | 6500.00 | 117000.00 | 3600.00 | 64800.00 | 4747.00 | 85446.00 | 54000.00 | Vasundhara constructions
29.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : a) 1:6 (1 cement: 6 fine sand) | 150.00 | Sqm | 0.00 | 205.00 | 30750.00 | 200.00 | 30000.00 | 350.00 | 52500.00 | 290.00 | 43500.00 | 160.00 | 24000.00 | 350.00 | 52500.00 | 221.00 | 33150.00 | 250.00 | 37500.00 | 260.00 | 39000.00 | 280.00 | 42000.00 | 120.00 | 18000.00 | 200.00 | 30000.00 | 275.00 | 41250.00 | 250.00 | 37500.00 | 180.00 | 27000.00 | 201.00 | 30150.00 | 18000.00 | Vasundhara constructions
30.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : a) New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 525.00 | Sqm | 0.00 | 115.29 | 60527.25 | 65.00 | 34125.00 | 220.00 | 115500.00 | 164.00 | 86100.00 | 105.00 | 55125.00 | 100.00 | 52500.00 | 120.00 | 63000.00 | 90.00 | 47250.00 | 143.00 | 75075.00 | 215.00 | 112875.00 | 100.00 | 52500.00 | 275.00 | 144375.00 | 150.00 | 78750.00 | 150.00 | 78750.00 | 90.00 | 47250.00 | 97.00 | 50925.00 | 34125.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
31.00 | Painting road surface marking with adequate nos of coats to give uniform finish with ready mixed road marking paint conforming to IS : 164, on bituminous surface in white/yellow shade, including cleaning the surface of all dirt, scales, oil, grease and foreign material etc. complete. a) New work (Two or more coats) | 200.00 | Sqm | 0.00 | 151.15 | 30230.00 | 67.00 | 13400.00 | 300.00 | 60000.00 | 215.00 | 43000.00 | 120.00 | 24000.00 | 115.00 | 23000.00 | 180.00 | 36000.00 | 90.00 | 18000.00 | 186.00 | 37200.00 | 110.00 | 22000.00 | 200.00 | 40000.00 | 1550.00 | 310000.00 | 246.00 | 49200.00 | 300.00 | 60000.00 | 150.00 | 30000.00 | 224.00 | 44800.00 | 13400.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
32.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. a) In cement mortar | 5.00 | Cum | 0.00 | 1028.78 | 5143.90 | 100.00 | 500.00 | 1200.00 | 6000.00 | 1470.00 | 7350.00 | 1050.00 | 5250.00 | 750.00 | 3750.00 | 700.00 | 3500.00 | 800.00 | 4000.00 | 1278.00 | 6390.00 | 305.00 | 1525.00 | 1400.00 | 7000.00 | 1300.00 | 6500.00 | 310.00 | 1550.00 | 1000.00 | 5000.00 | 1000.00 | 5000.00 | 1111.00 | 5555.00 | 500.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
33.00 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 28.00 | Sqm | 0.00 | 133.20 | 3729.60 | 100.00 | 2800.00 | 150.00 | 4200.00 | 190.00 | 5320.00 | 165.00 | 4620.00 | 500.00 | 14000.00 | 150.00 | 4200.00 | 50.00 | 1400.00 | 165.00 | 4620.00 | 305.00 | 8540.00 | 190.00 | 5320.00 | 450.00 | 12600.00 | 65.00 | 1820.00 | 100.00 | 2800.00 | 130.00 | 3640.00 | 601.00 | 16828.00 | 1400.00 | prime constructions
34.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 100.00 | Kg | 0.00 | 402.80 | 40280.00 | 600.00 | 60000.00 | 675.00 | 67500.00 | 575.00 | 57500.00 | 450.00 | 45000.00 | 550.00 | 55000.00 | 450.00 | 45000.00 | 500.00 | 50000.00 | 500.00 | 50000.00 | 350.00 | 35000.00 | 550.00 | 55000.00 | 650.00 | 65000.00 | 495.00 | 49500.00 | 650.00 | 65000.00 | 500.00 | 50000.00 | 575.00 | 57500.00 | 35000.00 | Stratum Consultancy Services Private Limited
35.00 | Supplying and fixing Plastic Speed Bump of size 500x400x75 mm made up of "STURDILY" plastic studded with reflectors on both side, and fixed with 4 no. 12 mm dia 150 mm long bolt with cement filling at bottom as per manufacturer specification, direction and satisfaction of Engineer-in-Charge. | 39.00 | Sqm | 0.00 | 850.00 | 33150.00 | 700.00 | 27300.00 | 2500.00 | 97500.00 | 495.00 | 19305.00 | 780.00 | 30420.00 | 1500.00 | 58500.00 | 950.00 | 37050.00 | 1000.00 | 39000.00 | 5913.00 | 230607.00 | 350.00 | 13650.00 | 1300.00 | 50700.00 | 420.00 | 16380.00 | 2460.00 | 95940.00 | 3500.00 | 136500.00 | 650.00 | 25350.00 | 897.00 | 34983.00 | 13650.00 | Stratum Consultancy Services Private Limited
36.00 | Providing and laying flamed finish Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge : a) Flamed finish granite stone slab Jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent. | 100.00 | Mtr | 0.00 | 1733.50 | 173350.00 | 3800.00 | 380000.00 | 4000.00 | 400000.00 | 2475.00 | 247500.00 | 2100.00 | 210000.00 | 2900.00 | 290000.00 | 2500.00 | 250000.00 | 4200.00 | 420000.00 | 2152.00 | 215200.00 | 3500.00 | 350000.00 | 1800.00 | 180000.00 | 3000.00 | 300000.00 | 4305.00 | 430500.00 | 3200.00 | 320000.00 | 1750.00 | 175000.00 | 2485.00 | 248500.00 | 173350.00 | manoj agrawal
37.00 | Providing and placing in position 100 mm thick factory made machine batched & machine mixed Precast RCC Rectangular Covers on drains of footpath of various sizes, of M-25 grade cement concrete for RCC work, including cost of centering, shuttering, reinforcement of 8 mm dia TMT bars of Fe 500 grade @ maximum 100mm c/c on both ways , neat cement punning on finished surface, properly encased on all edges with 1.6 mm thick , 100 mm wide MS sheet duly painted over priming coat , reinforcement to be welded at edges with MS sheet and providing 2 Nos. 12 mm dia bar for hooks etc i/c cost of cartage, all leads & lift, handling at site etc. all complete as per direction of Engineer-in-Charge. | 12.00 | Sqm | 0.00 | 1767.75 | 21213.00 | 2000.00 | 24000.00 | 3500.00 | 42000.00 | 2525.00 | 30300.00 | 2125.00 | 25500.00 | 600.00 | 7200.00 | 25000.00 | 300000.00 | 1000.00 | 12000.00 | 2195.00 | 26340.00 | 6000.00 | 72000.00 | 2500.00 | 30000.00 | 2200.00 | 26400.00 | 740.00 | 8880.00 | 2000.00 | 24000.00 | 1800.00 | 21600.00 | 15.00 | 180.00 | 180.00 | MD RIYAJUDDIN
38.00 | Providing and applying 2.5 mm thick road marking strips (retroreflective) of specified shade/ colour using hot thermoplastic material by fully/ semi automatic thermoplastic paint applicator machine fitted with profile shoe, glass beads dispenser, propane tank heater and profile shoe heater, driven by experienced operator on road surface including cost of material, labour, T&P, cleaning the road surface of all dirt, seals, oil, grease and foreign material etc. complete as per direction of Engineer-in-charge and accordance with applicable specifications. | 130.00 | Sqm | 0.00 | 425.10 | 55263.00 | 700.00 | 91000.00 | 550.00 | 71500.00 | 607.00 | 78910.00 | 550.00 | 71500.00 | 600.00 | 78000.00 | 650.00 | 84500.00 | 100.00 | 13000.00 | 530.00 | 68900.00 | 450.00 | 58500.00 | 700.00 | 91000.00 | 540.00 | 70200.00 | 495.00 | 64350.00 | 1000.00 | 130000.00 | 450.00 | 58500.00 | 135.00 | 17550.00 | 13000.00 | prime constructions
39.00 | Transplantation of Trees from One place to another within @100 mtr Lead, having girth upto 200 mm & height upto 8 mtr including cost of material, labour and T&P all complete as per direction of Engineer-in-charge and accordance with applicable specifications. | 50.00 | EA | 0.00 | 8500.00 | 425000.00 | 1000.00 | 50000.00 | 3000.00 | 150000.00 | 5000.00 | 250000.00 | 9500.00 | 475000.00 | 1500.00 | 75000.00 | 10000.00 | 500000.00 | 600.00 | 30000.00 | 739.00 | 36950.00 | 2800.00 | 140000.00 | 4500.00 | 225000.00 | 8000.00 | 400000.00 | 1480.00 | 74000.00 | 500.00 | 25000.00 | 6000.00 | 300000.00 | 551.00 | 27550.00 | 25000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
40.00 | Design, Supply, Installation, testing and commissioning of exterior rated LED floodlighting luminaire with dedicated optics for architectural lighting. Beam angles of 60 degrees. Suitable Wattage range (50W-100W) with suitable No. of fitting (customisable) and should be able to produce light by LED Channels of RGBW/RGBNW and DMX 512 based controller. The luminaire should have Electrostatically applied polyester powder coating die cast AL housing and tempered glass cover with Anti-aging and anti-UV high optical efficiency PMMA lenses with Silicon gasket. The system lumen range from 2400 lm - 4000 lm full light output. The luminaire can be connected to direct AC mains connection via junction box. The operating voltage range is 220-240V AC, 50Hz. The luminaire should be IP 66 and IK 06 type luminaire. Operating temperature from 0 to 50 deg Centigrade. Lumen maintenance of at least L70 @ 70000 hours at 35 degree. Cable connectors should be IP67 male/female connectors for DMX through wiring with suitable leader cable and end cap connector male/female, the work should be complete with necessary weather proof cables, power and data cable if any, wiring witth Supply Installation Testing and commissioning of junction box (simmilar to Hensel WP 0606 G and PVC gland simmilar to Hansel) ,suitable MS fixing arrangement duly powder coated, for fittings in canopy pole structure, as required complete in all respect as per direction of Engineer in Charge.complete etc as required. Luminaire should be CE, CB, CQC, RoHS certified and BIS approved with R number mentioned on product label. To be supported with Product test reports - LM79, BIS Report and LEDs - LM80, RoHS and Photo Biological Safety certificate.. Similar to Philips Uni "BVP323 24LED RGBNW 220V 60 DMX" Or Similar to HAVELLS COMPASS 28W DMX Or Equivallent. (No. of Canopy with Dimensions & other details placed inside the Tender Documents) *For Canopy Decoration. | 80.00 | Job | 0.00 | 40000.00 | 3200000.00 | 2000.00 | 160000.00 | 30000.00 | 2400000.00 | 4152.00 | 332160.00 | 38000.00 | 3040000.00 | 46000.00 | 3680000.00 | 38111.00 | 3048880.00 | 36500.00 | 2920000.00 | 48695.00 | 3895600.00 | 5120.00 | 409600.00 | 44100.00 | 3528000.00 | 6500.00 | 520000.00 | 3070.00 | 245600.00 | 40480.00 | 3238400.00 | 30000.00 | 2400000.00 | 33123.00 | 2649840.00 | 160000.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
41.00 | Design, Supply, Installation, Testing & Commissioning of Addresable DMX Controller for the system for the running of the system. Controller should have Input Power 5-5.5V DC 0.6A and Output Protocol DMX512 (x2). It should be compatible for Programmability with PC, Mac, Tablet, Smartphone. Its must have Connections Mini USB, XLR3, XLR5, Ethernet, 2x HE10, battery. There should be provision for Memory microSD card.Operating Temperature is 0°C - 50°C. Dimensions should be 79x92x43mm and weight should not be more than 120g. OS Requirements for the controller is Mac OS X 10.8-10.12, Windows 7/8/10. Standards should be EC, EMC, ROHS. The controller should have a variety of features including 1024 DMX channels, clock/calendar, iPhone/iPad/Android remote control, Ethernet facilities, dry contact port triggering and multi-zone SD card memory. Network synchronization of one area across hundreds of universes with the possibility of 250 scenes across 5 areas with auto clock triggering for sunrise and sunset and as per the festivals for specific occasions, The controller should be supplied along the at least 6 port network hub along with the controller which can be connected on cloud server and integrated with the Android device for controlling various scenes & having the features of DMX ports control up to 340 light addresses, Works as a stand-alone or computer-driven controller, Secure Digital (SD) card drive for flexible show storage, USB 2.0 interface for downloading shows and configuring from attached PC or Mac, Flexible, adaptable mounting options, Should be provided with light show authoring software, Direct line voltage power supports 100 —240VAC, Six configurable effects — Using light show authoring software to select from suitable effects, adjust effect settings such as color, speed, and brightness . Equivalent Havells DMX Pro Or Philips iPlayer 3 with data enablers and splitters as required Or Equivallent. | 2.00 | Job | 0.00 | 125000.00 | 250000.00 | 4000.00 | 8000.00 | 100000.00 | 200000.00 | 118296.00 | 236592.00 | 108182.00 | 216364.00 | 127500.00 | 255000.00 | 118211.00 | 236422.00 | 100000.00 | 200000.00 | 39130.00 | 78260.00 | 45000.00 | 90000.00 | 127000.00 | 254000.00 | 36000.00 | 72000.00 | 18100.00 | 36200.00 | 330400.00 | 660800.00 | 90000.00 | 180000.00 | 94000.00 | 188000.00 | 8000.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
42.00 | Design, Supply, Installation, testing and commissioning of DMX Splitter & Booster, Input Voltage range- 190-240V AC, Power Consumption 5W max. Housing is made of CRCA with powder coated finish Mounting-19-inch rack mountable, Operation Temperature -30ºC ~ +55ºC, 8 Output with 3pin XLR terminal sockets, Ingress Protection Rating IP20. This unit takes the DMX Signal from DMX Controller & splits the signal into Eight separate output channels. The output terminals of Splitters are optically isolated from the input. Splitters should be capable to amplify the DMX signal & allowing the data link to be extended by max. 300 m (1044 ft.) using AWG 22 DMX cable or 150 m (500 ft.) using AWG 24 DMX cable or maximum 20-25 fixture per output channel. | 2.00 | Job | 0.00 | 90000.00 | 180000.00 | 13000.00 | 26000.00 | 100000.00 | 200000.00 | 87885.00 | 175770.00 | 80325.00 | 160650.00 | 25000.00 | 50000.00 | 88111.00 | 176222.00 | 80000.00 | 160000.00 | 21739.00 | 43478.00 | 15000.00 | 30000.00 | 94000.00 | 188000.00 | 16000.00 | 32000.00 | 13700.00 | 27400.00 | 19040.00 | 38080.00 | 65000.00 | 130000.00 | 70875.00 | 141750.00 | 26000.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
43.00 | Design, Supply, Installation, testing and commissioning of integral driver LED Wallmount with a system lumen output range from 2800-4000 lumens, Suitable Wattage range from 28W - 40W and a minimum system efficacy of 110 lm/W. The luminaire shall have a minimum rated system lifetime of 50,000 burning hours at L70. The luminaire should have a color temperature of 6500K and CRI > 70. The luminaire shall meet IP65 and IK10 rating with and PF > 0.95. The luminaire shall have polycarbonate diffuser. Similar to Philips City cube wall mount "BWS400 LED05 P CW PSU GR S1" Or Similar to Havells STUPE WELL GLASS 30W 5700K Or equivallent. (No. of Canopy with Dimensions & other details placed inside the Tender Documents) (higher lumen range shall be prefarable)* For Canopy Walkway Illumination. | 108.00 | Job | 0.00 | 2000.00 | 216000.00 | 150.00 | 16200.00 | 2800.00 | 302400.00 | 186.00 | 20088.00 | 1726.00 | 186408.00 | 1900.00 | 205200.00 | 1711.00 | 184788.00 | 1500.00 | 162000.00 | 7304.00 | 788832.00 | 3000.00 | 324000.00 | 2000.00 | 216000.00 | 5500.00 | 594000.00 | 5200.00 | 561600.00 | 1803.20 | 194745.60 | 1500.00 | 162000.00 | 1399.00 | 151092.00 | 16200.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
44.00 | Supply, Installation, Testing & Commissioning of 14W LED Bollard Housing made up of aluminum pipe UV protected pure polyester powder coated black after phosphochromate treatment It consists of aluminum heat sink for effective thermal management, sturdiness & excellent corrosion resistant. Mounting flange of MS sand casting is used at the bottom including making suitable civil fondation. High efficiency long life LED module with SMD LED package mounted on MCPCB. Lumen efficacy of LED >130 lm/W. PC diffuser in opal finish is used for glare free uniform light distribution. Powered by built-in, isolated, potted electronic LED driver in ABS housing with APFC (SMPS based constant current supply) with lower THD, Output Short / Open Circuit protection, Over Voltage protection, Surge Voltage protection 3.0KV). Similar to Havells Model: CONEBL8WLED830PSYMTOPCM. Height 1M; System Lumen 400lm; CRI>=80; CCT 3000K; THD<=20%; IP65; PF >=0.95 Or Equivallent. | 60.00 | Job | 0.00 | 4500.00 | 270000.00 | 1000.00 | 60000.00 | 7100.00 | 426000.00 | 4185.00 | 251100.00 | 3870.00 | 232200.00 | 4800.00 | 288000.00 | 3811.00 | 228660.00 | 3500.00 | 210000.00 | 8869.00 | 532140.00 | 750.00 | 45000.00 | 4500.00 | 270000.00 | 9700.00 | 582000.00 | 3950.00 | 237000.00 | 3617.60 | 217056.00 | 3250.00 | 195000.00 | 3545.00 | 212700.00 | 45000.00 | Stratum Consultancy Services Private Limited
45.00 | Supply & Installation of of 6M Hot dipped galvanized mild steel step pole.Elliptical Aluminum sheet in existing foundation with grey color is riveted to the pole with Grey UV stabilized pure polyester coating after hot dipped galvanizing. Plasma cut & duly chamfered opening window of300x110 mm for terminal connections & mounting accessories. Window cover is fitted with allen screws to the pole. Mild steel base plate of Ø 290 mm with 4 no. elliptical holes of 41x90 mm on 230 mm PCD suitable for M12 bolts. Similar to Havells step pole Or Equivallent. | 17.00 | Job | 0.00 | 16000.00 | 272000.00 | 5000.00 | 85000.00 | 18000.00 | 306000.00 | 14880.00 | 252960.00 | 13620.00 | 231540.00 | 19200.00 | 326400.00 | 1491.00 | 25347.00 | 14000.00 | 238000.00 | 7391.00 | 125647.00 | 12500.00 | 212500.00 | 16000.00 | 272000.00 | 14500.00 | 246500.00 | 37800.00 | 642600.00 | 15792.00 | 268464.00 | 11500.00 | 195500.00 | 12345.00 | 209865.00 | 25347.00 | Chinmoyee Construction
46.00 | Supply of Elegantly designed Hanging Street Light fitting (60W - 100W) made out of pressure die casted heat sink for efficient thermal management and sturdiness with UV protected pure polyester powder coated gray after phosphochromate treatment. High efficiency long life LED module with SMD LED package mounted on MCPCB. Lumen efficacy of LED >140 lm/W and viewing angle of 120° to ensure better uniformity. Injection molded, clear polycarbonate cover with IK07 impact resistance rating. Built-in potted electronic LED driver with APFC, (SMPS based constant current supply), lower THD, Open Circuit Protection, over Voltage protection, Surge Voltage Protection upto 10kV With Built In SPD & other safety test as per IS 15885 Part-2/Sec 13. PC lens to ensure better uniformity of light distribution. Suitable for pole arm mounting with ID of Ø41 mm with 3 nos. SS Hex bolt M8X25 screws. Havells Model: EROSPT72WLED757PSYMTOPC. PF >= 0.95; THD<= 10%; CCT 5700K; CRI>=70; System Lumen 9400 lm; IP66; Color of Fixture: Black | 17.00 | Job | 0.00 | 17000.00 | 289000.00 | 3500.00 | 59500.00 | 12500.00 | 212500.00 | 15903.00 | 270351.00 | 14577.00 | 247809.00 | 26500.00 | 450500.00 | 16211.00 | 275587.00 | 14000.00 | 238000.00 | 10869.00 | 184773.00 | 5400.00 | 91800.00 | 17000.00 | 289000.00 | 22500.00 | 382500.00 | 3575.00 | 60775.00 | 21056.00 | 357952.00 | 12300.00 | 209100.00 | 13515.00 | 229755.00 | 59500.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
47.00 | Supply of 12.5 M high mast shaft in two sections (3/3 mm- Sheet , Top/Bottom- 150/360 mm) suitable for 50 M /Sec wind speed, with head frame, winch mounting bracket, luminaries carriage suitable to install 6 nos luminaries in symmetrical arrangement with raising lowering system comprising double drum winch, 5 mm diameter SS wire rope, 5Cx2.5 SQMM PVC Trailing cable, connector, integral power tool motor 0.75 HP - 1.00 HP motor, manual handle, junction box, lightening finial complete with foundation bolts manufactured from special steel along with nuts, washers, anchor plate and common template; LED aviation obstruction light; outdoor stand mounted feeder pillar with 32 A TPN MCB simmilar to Bajaj, Havells. | 1.00 | Job | 0.00 | 87000.00 | 87000.00 | 110000.00 | 110000.00 | 135000.00 | 135000.00 | 81728.00 | 81728.00 | 75000.00 | 75000.00 | 180000.00 | 180000.00 | 84911.00 | 84911.00 | 87885.00 | 87885.00 | 239130.43 | 239130.43 | 85000.00 | 85000.00 | 88000.00 | 88000.00 | 15000.00 | 15000.00 | 450000.00 | 450000.00 | 281120.00 | 281120.00 | 63000.00 | 63000.00 | 86675.00 | 86675.00 | 15000.00 | M/s SARK INFRA
48.00 | 180W LED Flood Light with Die-cast aluminium housing (heat sink) for efficient thermal management, sturdiness & excellent corrosion resistance. SS Hardwares, silicon gasket for maintaining ingress protection. High efficiency long life LED module with SMD LED package mounted on MCPCB. Lumen efficacy of LED >145 lm/W and viewing angle of 120° to ensure better uniformity. UV Stablized symmetrical distribution polycarbonate lens. Tempered protective toughened glass 4 mm, thermal shock and impact resistant (IK-07) fixed to the housing with aluminium frame and SS screws. Built-In Potted electronic LED driver with APFC,lower THD, Open Circuit Protection, Over Voltage Protection, Surge Voltage Protection upto 5kV With Built In SPD & other safety test as per IS 15885 Part-2/Sec 13. Wall or surface mounting using adjustable MS cradle of thickness 4 mm with SS angular dial is provided with the fixture for precise angular mounting of luminaire. Havells Model: JETAVALOURFL180WLED757PINTNBLTG. System Lumen 22500lm; CRI>=70; CCT 5700K; THD<10%; IP66; PF>=0.95. Or Cropmton LFLN-180-CDL/60-M Or Equivallent. | 6.00 | Job | 0.00 | 12000.00 | 72000.00 | 5500.00 | 33000.00 | 10500.00 | 63000.00 | 11420.00 | 68520.00 | 10442.00 | 62652.00 | 12500.00 | 75000.00 | 12411.00 | 74466.00 | 9000.00 | 54000.00 | 6782.00 | 40692.00 | 7500.00 | 45000.00 | 12000.00 | 72000.00 | 28000.00 | 168000.00 | 5550.00 | 33300.00 | 9665.60 | 57993.60 | 8500.00 | 51000.00 | 11212.00 | 67272.00 | 33000.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
49.00 | Supply of following sizes Aluminium Armoured conductor XLPE insulated, PVC tape inner sheathed Cable for working voltage 1.1 KV grade & as per IS: 7098 (Part- I ) 1988 with up to date ammendments, complete etc as required. 2 core X 6 Sqmm | 1500.00 | Mtr | 0.00 | 80.00 | 120000.00 | 150.00 | 225000.00 | 95.00 | 142500.00 | 76.00 | 114000.00 | 71.00 | 106500.00 | 71.00 | 106500.00 | 71.00 | 106500.00 | 77.00 | 115500.00 | 86.00 | 129000.00 | 55.00 | 82500.00 | 83.00 | 124500.00 | 92.00 | 138000.00 | 70.00 | 105000.00 | 134.40 | 201600.00 | 60.00 | 90000.00 | 67.00 | 100500.00 | 82500.00 | Stratum Consultancy Services Private Limited
50.00 | Supply of following sizes Aluminium Armoured conductor XLPE insulated, PVC tape inner sheathed Cable for working voltage 1.1 KV grade & as per IS: 7098 (Part- I ) 1988 with up to date ammendments, complete etc as required. 2 core X 10 Sqmm | 800.00 | Mtr | 0.00 | 90.00 | 72000.00 | 125.00 | 100000.00 | 100.00 | 80000.00 | 91.00 | 72800.00 | 88.00 | 70400.00 | 86.00 | 68800.00 | 81.00 | 64800.00 | 90.00 | 72000.00 | 104.00 | 83200.00 | 95.00 | 76000.00 | 97.00 | 77600.00 | 110.00 | 88000.00 | 85.00 | 68000.00 | 87.36 | 69888.00 | 70.00 | 56000.00 | 95.00 | 76000.00 | 56000.00 | A V N CONSTRUCTION
51.00 | Supply of following sizes Aluminium Armoured conductor XLPE insulated, PVC tape inner sheathed Cable for working voltage 1.1 KV grade & as per IS: 7098 (Part- I ) 1988 with up to date ammendments, complete etc as required. 4 core X 25 Sqmm | 200.00 | Mtr | 0.00 | 190.00 | 38000.00 | 50.00 | 10000.00 | 175.00 | 35000.00 | 182.00 | 36400.00 | 170.00 | 34000.00 | 182.00 | 36400.00 | 211.00 | 42200.00 | 180.00 | 36000.00 | 226.00 | 45200.00 | 165.00 | 33000.00 | 195.00 | 39000.00 | 267.00 | 53400.00 | 155.00 | 31000.00 | 188.16 | 37632.00 | 140.00 | 28000.00 | 195.00 | 39000.00 | 10000.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
52.00 | Supply of following sizes Aluminium Armoured conductor XLPE insulated, PVC tape inner sheathed Cable for working voltage 1.1 KV grade & as per IS: 7098 (Part- I ) 1988 with up to date ammendments, complete etc as required. 4 core X 35 Sqmm | 70.00 | Mtr | 0.00 | 240.00 | 16800.00 | 100.00 | 7000.00 | 200.00 | 14000.00 | 229.00 | 16030.00 | 215.00 | 15050.00 | 237.00 | 16590.00 | 221.00 | 15470.00 | 335.00 | 23450.00 | 304.00 | 21280.00 | 210.00 | 14700.00 | 245.00 | 17150.00 | 319.00 | 22330.00 | 195.00 | 13650.00 | 230.72 | 16150.40 | 175.00 | 12250.00 | 245.00 | 17150.00 | 7000.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
53.00 | Supply of following sizes Aluminium Armoured conductor XLPE insulated, PVC tape inner sheathed Cable for working voltage 1.1 KV grade & as per IS: 7098 (Part- I ) 1988 with up to date ammendments, complete etc as required. 3.5 core X 70 Sqmm | 100.00 | Mtr | 0.00 | 380.00 | 38000.00 | 100.00 | 10000.00 | 320.00 | 32000.00 | 353.00 | 35300.00 | 326.00 | 32600.00 | 365.00 | 36500.00 | 381.00 | 38100.00 | 360.00 | 36000.00 | 391.00 | 39100.00 | 365.00 | 36500.00 | 380.00 | 38000.00 | 445.00 | 44500.00 | 335.00 | 33500.00 | 351.68 | 35168.00 | 275.00 | 27500.00 | 321.00 | 32100.00 | 10000.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
54.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 1300.00 | Mtr | 0.00 | 136.50 | 177450.00 | 100.00 | 130000.00 | 95.00 | 123500.00 | 177.00 | 230100.00 | 170.00 | 221000.00 | 85.00 | 110500.00 | 191.00 | 248300.00 | 130.00 | 169000.00 | 94.00 | 122200.00 | 240.00 | 312000.00 | 200.00 | 260000.00 | 158.00 | 205400.00 | 190.00 | 247000.00 | 107.52 | 139776.00 | 140.00 | 182000.00 | 163.00 | 211900.00 | 110500.00 | Step Up Construction
55.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 90 mm dia (OD-90 mm & ID-76 mm nominal) | 70.00 | Mtr | 0.00 | 162.00 | 11340.00 | 100.00 | 7000.00 | 225.00 | 15750.00 | 214.00 | 14980.00 | 196.35 | 13744.50 | 110.00 | 7700.00 | 211.00 | 14770.00 | 180.00 | 12600.00 | 130.00 | 9100.00 | 350.00 | 24500.00 | 230.00 | 16100.00 | 210.00 | 14700.00 | 245.00 | 17150.00 | 235.20 | 16464.00 | 165.00 | 11550.00 | 187.00 | 13090.00 | 7000.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
56.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Upto 35 sq. mm. | 2100.00 | Mtr | 0.00 | 19.00 | 39900.00 | 80.00 | 168000.00 | 60.00 | 126000.00 | 23.00 | 48300.00 | 25.00 | 52500.00 | 100.00 | 210000.00 | 21.00 | 44100.00 | 25.00 | 52500.00 | 195.00 | 409500.00 | 35.00 | 73500.00 | 28.00 | 58800.00 | 110.00 | 231000.00 | 25.00 | 52500.00 | 127.68 | 268128.00 | 20.00 | 42000.00 | 15.00 | 31500.00 | 31500.00 | MD RIYAJUDDIN
57.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Above 35 sq. mm and upto 95 sq. mm | 70.00 | Mtr | 0.00 | 29.00 | 2030.00 | 80.00 | 5600.00 | 25.00 | 1750.00 | 37.00 | 2590.00 | 39.00 | 2730.00 | 100.00 | 7000.00 | 41.00 | 2870.00 | 30.00 | 2100.00 | 295.00 | 20650.00 | 65.00 | 4550.00 | 40.00 | 2800.00 | 250.00 | 17500.00 | 35.00 | 2450.00 | 129.92 | 9094.40 | 30.00 | 2100.00 | 31.00 | 2170.00 | 1750.00 | Vinayak Infra Signs and Projects Pvt Ltd
58.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 2 core X 6 Sqmm | 15.00 | Set | 0.00 | 122.50 | 1837.50 | 100.00 | 1500.00 | 150.00 | 2250.00 | 163.00 | 2445.00 | 158.00 | 2370.00 | 500.00 | 7500.00 | 181.00 | 2715.00 | 120.00 | 1800.00 | 173.00 | 2595.00 | 55.00 | 825.00 | 170.00 | 2550.00 | 120.00 | 1800.00 | 90.00 | 1350.00 | 336.00 | 5040.00 | 125.00 | 1875.00 | 91.00 | 1365.00 | 825.00 | Stratum Consultancy Services Private Limited
59.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 2 core X 10 Sqmm | 10.00 | Set | 0.00 | 131.25 | 1312.50 | 100.00 | 1000.00 | 150.00 | 1500.00 | 158.00 | 1580.00 | 160.00 | 1600.00 | 500.00 | 5000.00 | 181.00 | 1810.00 | 120.00 | 1200.00 | 173.00 | 1730.00 | 65.00 | 650.00 | 180.00 | 1800.00 | 120.00 | 1200.00 | 100.00 | 1000.00 | 448.00 | 4480.00 | 125.00 | 1250.00 | 83.00 | 830.00 | 650.00 | Stratum Consultancy Services Private Limited
60.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 core X 25 Sqmm | 2.00 | Set | 0.00 | 155.00 | 310.00 | 100.00 | 200.00 | 180.00 | 360.00 | 205.00 | 410.00 | 195.00 | 390.00 | 1000.00 | 2000.00 | 211.00 | 422.00 | 200.00 | 400.00 | 217.00 | 434.00 | 240.00 | 480.00 | 220.00 | 440.00 | 120.00 | 240.00 | 145.00 | 290.00 | 560.00 | 1120.00 | 160.00 | 320.00 | 151.00 | 302.00 | 200.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
61.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 core X 35 Sqmm | 2.00 | Set | 0.00 | 187.00 | 374.00 | 100.00 | 200.00 | 250.00 | 500.00 | 246.00 | 492.00 | 248.00 | 496.00 | 1000.00 | 2000.00 | 251.00 | 502.00 | 220.00 | 440.00 | 260.00 | 520.00 | 240.00 | 480.00 | 260.00 | 520.00 | 180.00 | 360.00 | 175.00 | 350.00 | 672.00 | 1344.00 | 190.00 | 380.00 | 175.00 | 350.00 | 200.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
62.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 core X 70 Sqmm | 2.00 | Set | 0.00 | 227.50 | 455.00 | 100.00 | 200.00 | 400.00 | 800.00 | 298.00 | 596.00 | 290.00 | 580.00 | 1000.00 | 2000.00 | 351.00 | 702.00 | 300.00 | 600.00 | 321.00 | 642.00 | 240.00 | 480.00 | 325.00 | 650.00 | 300.00 | 600.00 | 495.00 | 990.00 | 840.00 | 1680.00 | 235.00 | 470.00 | 211.00 | 422.00 | 200.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
63.00 | Erection of metallic pole of following length in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling etc. as required. Above 4.5 metre and upto 6.5 metre | 17.00 | Job | 0.00 | 3100.00 | 52700.00 | 10000.00 | 170000.00 | 700.00 | 11900.00 | 3720.00 | 63240.00 | 3600.00 | 61200.00 | 1500.00 | 25500.00 | 3911.00 | 66487.00 | 3000.00 | 51000.00 | 3913.00 | 66521.00 | 1400.00 | 23800.00 | 4000.00 | 68000.00 | 2000.00 | 34000.00 | 2230.00 | 37910.00 | 6160.00 | 104720.00 | 2950.00 | 50150.00 | 3545.00 | 60265.00 | 11900.00 | Vinayak Infra Signs and Projects Pvt Ltd
64.00 | Dismantelling and Shifting of GI Street light pole upto 7 mtr. Height and dia 80mm within airport premises (within 200mtr.) and commissioning existing light fitting on pole with existing wiring complete etc. as required. | 17.00 | Job | 0.00 | 240.00 | 4080.00 | 2000.00 | 34000.00 | 700.00 | 11900.00 | 223.00 | 3791.00 | 206.00 | 3502.00 | 1500.00 | 25500.00 | 241.00 | 4097.00 | 200.00 | 3400.00 | 11739.00 | 199563.00 | 500.00 | 8500.00 | 250.00 | 4250.00 | 2000.00 | 34000.00 | 1550.00 | 26350.00 | 2912.00 | 49504.00 | 176.00 | 2992.00 | 199.00 | 3383.00 | 2992.00 | A V N CONSTRUCTION
65.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in foundation of pump, DG set etc including form work etc as required. For bollard foundation (0.3 X 0.3 X 0.3 M3) | 1.60 | Cum | 0.00 | 4752.00 | 7603.20 | 5000.00 | 8000.00 | 5000.00 | 8000.00 | 6045.00 | 9672.00 | 5536.00 | 8857.60 | 5000.00 | 8000.00 | 5011.00 | 8017.60 | 5000.00 | 8000.00 | 5913.00 | 9460.80 | 8500.00 | 13600.00 | 6500.00 | 10400.00 | 5000.00 | 8000.00 | 4600.00 | 7360.00 | 8960.00 | 14336.00 | 4680.00 | 7488.00 | 5555.00 | 8888.00 | 7360.00 | SINGHAL ENTERPRISES
66.00 | Supplying and making end termination with aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 2 core X 6 Sqmm (without gland) | 172.00 | Set | 0.00 | 19.00 | 3268.00 | 30.00 | 5160.00 | 85.00 | 14620.00 | 18.00 | 3096.00 | 16.00 | 2752.00 | 50.00 | 8600.00 | 21.00 | 3612.00 | 20.00 | 3440.00 | 173.00 | 29756.00 | 100.00 | 17200.00 | 18.00 | 3096.00 | 100.00 | 17200.00 | 55.00 | 9460.00 | 190.40 | 32748.80 | 14.00 | 2408.00 | 5.00 | 860.00 | 860.00 | MD RIYAJUDDIN
67.00 | Supplying and making end termination with aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 2 core X 10 Sqmm (without gland) | 34.00 | Set | 0.00 | 19.00 | 646.00 | 50.00 | 1700.00 | 85.00 | 2890.00 | 19.00 | 646.00 | 16.00 | 544.00 | 50.00 | 1700.00 | 21.00 | 714.00 | 30.00 | 1020.00 | 173.00 | 5882.00 | 100.00 | 3400.00 | 19.00 | 646.00 | 150.00 | 5100.00 | 100.00 | 3400.00 | 224.00 | 7616.00 | 14.00 | 476.00 | 7.00 | 238.00 | 238.00 | MD RIYAJUDDIN
68.00 | Modification of bracket arm pipe (0.6 mtr.) of existing street light pole, making provision for 30 Deg. Inclination by providing cutting of existing arm pipe and provision of jointing with same pole complete etc. as required. | 17.00 | Job | 0.00 | 285.00 | 4845.00 | 1500.00 | 25500.00 | 1000.00 | 17000.00 | 265.00 | 4505.00 | 245.00 | 4165.00 | 700.00 | 11900.00 | 311.00 | 5287.00 | 250.00 | 4250.00 | 7391.00 | 125647.00 | 600.00 | 10200.00 | 285.00 | 4845.00 | 3500.00 | 59500.00 | 310.00 | 5270.00 | 2912.00 | 49504.00 | 205.00 | 3485.00 | 300.00 | 5100.00 | 3485.00 | A V N CONSTRUCTION
69.00 | Supply, installation, testng and commissioning of cubicle outdoor type having IP:63 protection, Outdoor Electrical Panel suitable for 415V, 3 phase, 4 wire 50Hz AC supply system fabricated in totally enclosed design from CPRI approved, CRCA sheet steel of 2mm thick for frame work and covers, 3mm thick for gland plates i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, extensible type, TPN Aluminium Alloy bus bars of high conductivity, DMC / SMC bus bar supports, with short circuit withstand capacity of 35KA for 1 Sec., bottom base channel of MS suitable frame mounted including providing & laying in position cement concrete(PCC) of specified grade around the feeder panel boxes (PCC Size 1Mtr X 1 Mtr X 0.15 Mtr) (1:2:4)(1 cement : 2 coarse sand : 4 graded stone aggregate 40mm nominal size) with Suitable HDPE pipe for cable in & out to the boxes, fabrication shall be done in transportable sections, (Size of the panel shall be 0.60 Mtr X 0.60 Mtr X 0.30 Mtr) with current capacity not less than 125 Amps, Aluminium Bus Bar etc as required. SWTICH GEARS AND ACCESSORIES 01 nos. 100 Amps,4 pole MCCB (ICS=100%ICU), Thermal Magnetic Release range of 63-80(A), 25 KA (similar to L & T CM91712OOJOOG) (With Operating Handle) (Incomer) LED type indication lamps for ON/OFF indication with each outgoing.for RYB, Test position indication with control fuses for outgoings - 03 sets. (RED,YELLOW & BLUE) 3 Phase, 01 No. Digital Ameter & 01 No. Voltmeter with selector switches with 1/5 Amp CTs with CTR Class 1.0, with selector switches, control fuse. (similar to L & T WL132010OOOO ) FM1 Quartz Timer Similar to L & T J648B1 OUTGOINGS 20 Amps, DP MCB, 10 KA (20 nos.) (similar to L & T BB20200C) (Outgoing) | 1.00 | Job | 0.00 | 30000.00 | 30000.00 | 45000.00 | 45000.00 | 54000.00 | 54000.00 | 2976.00 | 2976.00 | 29000.00 | 29000.00 | 100000.00 | 100000.00 | 31111.00 | 31111.00 | 28000.00 | 28000.00 | 2173913.00 | 2173913.00 | 65000.00 | 65000.00 | 32000.00 | 32000.00 | 28000.00 | 28000.00 | 35000.00 | 35000.00 | 50960.00 | 50960.00 | 23110.00 | 23110.00 | 27000.00 | 27000.00 | 2976.00 | M/s Brajesh Kumar Sinha
70.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/submain wiring/ cable as required. | 1370.00 | Mtr | 0.00 | 25.00 | 34250.00 | 50.00 | 68500.00 | 85.00 | 116450.00 | 28.00 | 38360.00 | 48.00 | 65760.00 | 25.00 | 34250.00 | 11.00 | 15070.00 | 25.00 | 34250.00 | 52.00 | 71240.00 | 26.00 | 35620.00 | 31.00 | 42470.00 | 100.00 | 137000.00 | 20.00 | 27400.00 | 42.56 | 58307.20 | 23.00 | 31510.00 | 33.00 | 45210.00 | 15070.00 | Chinmoyee Construction
71.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. ( with charcoal/ coke and salt ) as required.Details of cost for one Set. (For 01 Electrical Panel & 01 no. for High Mast Panel) | 2.00 | Job |  | 3244.00 | 6488.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 4278.00 | 8556.00 | 3938.00 | 7876.00 | 6223.50 | 12447.00 | 3011.00 | 6022.00 | 5000.00 | 10000.00 | 3506.00 | 7012.00 | 18500.00 | 37000.00 | 4500.00 | 9000.00 | 12000.00 | 24000.00 | 3300.00 | 6600.00 | 17024.00 | 34048.00 | 5000.00 | 10000.00 | 5757.00 | 11514.00 | 6000.00 | Vinayak Infra Signs and Projects Pvt Ltd
| Total in Figures |  |  |  |  | 20237049.65 |  | 16165680.00 |  | 22426235.00 |  | 20712141.00 |  | 21299004.10 |  | 20412000.00 |  | 21539996.60 |  | 19853185.00 |  | 19954214.23 |  | 17744455.00 |  | 20573578.00 |  | 21130835.00 |  | 17119925.00 |  | 21659840.00 |  | 17008886.00 |  | 21329997.00
Lowest Amount Quoted BY: SAMEER GLAZING SYSTEM PRIVATE LIMITED(16165680.00)

## BOQ Summary
BOQ Summary Details Tender Title: Augmentation of parking area and covering of walkway with tensile fabric in front of NITB at S.V. Airport, Raipur. (Civil and Electrical works) Tender ID: 2021_AAI_67267_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAMEER GLAZING SYSTEM PRIVATE LIMITED | 16165680.00 | L1
| 2 | A V N CONSTRUCTION | 17008886.00 | L2
| 3 | SINGHAL ENTERPRISES | 17119925.00 | L3
| 4 | Stratum Consultancy Services Private Limited | 17744455.00 | L4
| 5 | prime constructions | 19853185.00 | L5
| 6 | Nabalok Das | 19954214.23 | L6
| 7 | manoj agrawal | 20237049.65 | L7
| 8 | Step Up Construction | 20412000.00 | L8
| 9 | Vasundhara constructions | 20573578.00 | L9
| 10 | M/s Brajesh Kumar Sinha | 20712141.00 | L10
| 11 | M/s SARK INFRA | 21130835.00 | L11
| 12 | ANIL CONSTRUCTION | 21299004.10 | L12
| 13 | MD RIYAJUDDIN | 21329997.00 | L13
| 14 | Chinmoyee Construction | 21539996.60 | L14
| 15 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED | 21659840.00 | L15
| 16 | Vinayak Infra Signs and Projects Pvt Ltd | 22426235.00 | L16