## BoQ1
Government eProcurement System Created By: Rahul S Mankar Created Date/Time: 02-Feb-2021 04:09 PM Tender Title: ARMO of EandM Installations of DWR Building for IMD at DBAI Airport, Nagpur Year 2020-21 SH- Operation and Maintenance of EandM Installations Tender ID: 2021_AAI_67310_1
Tender Inviting Authority: Asstt. General Manager (Engg-Elect), AAI, Nagpur
Name of Work :- ARMO of E&M Installations of DWR Building for IMD at DBAI Airport, Nagpur (Year 2020-21). SH: Operation & Maintenance of E&M Installations.
Contract No: AAI/NGP/E-E/2020-21/06/DWR-AMC/NIT-05 Date: 18.01.2021
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sew Engineering Works Pvt Ltd(GSTN-09AAACS2845N1ZY) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-NA) |  | M/s V.R. Associates(GSTN-NA) |  | N.B.Electricals & Contractor(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Maintenance
1.01 | Operation & Maintenance Contract of E&M Installations installed at Doppler Weather Radar Building (DWR-IMD Department) at Nagpur Airport round the clock on all days including Sundays & holidays. Job involves operation, maintenance, attending complaints, preventive / routine / breakdown maintenance, documentation etc. as per terms & conditions and directions of Engineer-In-Charge as required. 04 Nos. Skilled (Electrician / Wireman / DG Operator) Total manpower not less than 04 persons. | 8.00 | Month | 95407.00 | 77200.00 | 617600.00 | 90500.00 | 724000.00 | 95500.00 | 764000.00 | 84848.00 | 678784.00 | 85200.00 | 681600.00 | 110250.00 | 882000.00 | 617600.00 | Sew Engineering Works Pvt Ltd
2.00 | Minor Repairs & Maintenance Works
2.01 | Filtration of insulating oil of 1 No. 250 KVA Transformer (Oil tank capacity - Approx. 340 Litres) at DWR building including de-hydration, testing & commissioning as per relevant IS code & submission of BDV, acidity and water content test report etc. complete as required. (Total Oil Quantity - 340 litres). | 1.00 | Job | 4687.00 | 32000.00 | 32000.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 10000.00 | 10000.00 | 10520.00 | 10520.00 | 10000.00 | 10000.00 | 3000.00 | M/s LEESHA ELECTRICALS
2.02 | Supply of new transformer oil having properties confirming to IS-335 for topping up in the existing transformer etc. as required. | 20.00 | Ltr. | 128.00 | 100.00 | 2000.00 | 160.00 | 3200.00 | 90.00 | 1800.00 | 150.00 | 3000.00 | 152.00 | 3040.00 | 150.00 | 3000.00 | 1800.00 | M/s LEESHA ELECTRICALS
3.00 | CMC of Air Conditioners & Water Cooler cum purifiers
3.01 | Annual comprehensive maintenance contract for air conditioners at DWR building which involves comprehensive maintenance of different types of air conditioners of different makes at different locations including supply of spares and consumables as per the contract terms and conditions and instructions of Engineer-In-Charge etc. as required.
3.01 | 17 TR Ductable AC units. - 4 Nos | 8.00 | Month | 13636.00 | 31250.00 | 250000.00 | 4000.00 | 32000.00 | 6900.00 | 55200.00 | 10000.00 | 80000.00 | 10520.00 | 84160.00 | 15000.00 | 120000.00 | 32000.00 | Manish Electricals
3.01 | 2.0 TR Cassette type AC units. - 5 Nos | 8.00 | Month | 2275.00 | 6000.00 | 48000.00 | 2500.00 | 20000.00 | 2000.00 | 16000.00 | 4000.00 | 32000.00 | 4200.00 | 33600.00 | 7000.00 | 56000.00 | 16000.00 | M/s LEESHA ELECTRICALS
3.01 | 2.0 TR Split type AC units. - 10 Nos | 8.00 | Month | 3030.00 | 3500.00 | 28000.00 | 5000.00 | 40000.00 | 2000.00 | 16000.00 | 2777.00 | 22216.00 | 3520.00 | 28160.00 | 14000.00 | 112000.00 | 16000.00 | M/s LEESHA ELECTRICALS
3.01 | 1.5 TR Split type AC units. - 2 Nos | 8.00 | Month | 484.00 | 2500.00 | 20000.00 | 1000.00 | 8000.00 | 400.00 | 3200.00 | 2000.00 | 16000.00 | 2520.00 | 20160.00 | 2600.00 | 20800.00 | 3200.00 | M/s LEESHA ELECTRICALS
3.02 | Annual comprehensive maintenance contract for water cooler at DWR building which involves comprehensive maintenance of water cooler including supply of spares & consumables as per the contract terms and conditions and instructions of Engineer-In-Charge as required.
3.02 | Water Cooler - 60 Litres Capacity. - 1 No. | 8.00 | Month | 265.00 | 1000.00 | 8000.00 | 360.00 | 2880.00 | 200.00 | 1600.00 | 2500.00 | 20000.00 | 2520.00 | 20160.00 | 1500.00 | 12000.00 | 1600.00 | M/s LEESHA ELECTRICALS
4.00 | ACMC of Vertiv make 40 KVA UPS
4.01 | Comprehensive Maintenance Contract of 01 No. Vertiv make 40 KVA UPS system through OEM / Authorized dealer of OEM for continuous power supply. Job includes quarterly visit and checking of UPS system unit & repairing / replacement of essential components as per OEM recommendations i/c replacement of all PCBs, fans etc. & any other essential services including breakdown calls if any. | 8.00 | Month | 10841.00 | 7500.00 | 60000.00 | 9786.00 | 78288.00 | 7400.00 | 59200.00 | 5000.00 | 40000.00 | 5200.00 | 41600.00 | 3000.00 | 24000.00 | 24000.00 | N.B.Electricals & Contractor
| Total in Figures |  |  |  |  | 1065600.00 |  | 913368.00 |  | 920000.00 |  | 902000.00 |  | 923000.00 |  | 1239800.00
Lowest Amount Quoted BY: M/s BHARAT ELECTRIC, NAGPUR(902000.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of EandM Installations of DWR Building for IMD at DBAI Airport, Nagpur Year 2020-21 SH- Operation and Maintenance of EandM Installations Tender ID: 2021_AAI_67310_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s BHARAT ELECTRIC, NAGPUR | 902000.00 | L1
| 2 | Manish Electricals | 913368.00 | L2
| 3 | M/s LEESHA ELECTRICALS | 920000.00 | L3
| 4 | M/s V.R. Associates | 923000.00 | L4
| 5 | Sew Engineering Works Pvt Ltd | 1065600.00 | L5
| 6 | N.B.Electricals & Contractor | 1239800.00 | L6