## BoQ1
Government eProcurement System Created By: BIPIN PRAKASH Created Date/Time: 08-Feb-2021 01:30 PM Tender Title: Provision of Fire Detection and Alarm System in AAI BCAS Building at Jolly Grant Airport Tender ID: 2021_AAI_67341_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-Elect.), AAI, Jolly Grant Airport, Dehradun
Name of Work: Provision of Fire Detection & Alarm System at AAI/BCAS building at Jolly Grant Airport, Dehradun.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | OASIS ENGINEERS(GSTN-27AKCPD8929P1ZK) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying, installation, testing & commissioning of 1 Loop microprocessor based intelligent Main Fire Alarm Contol Panel with battery backup, LCD display,inbuilt programmable keypad, complete as per specs and networkable, without of any external tool/software complete as required at site. | 1.00 | Job | 0.00 | 70000.00 | 70000.00 | 85000.00 | 85000.00 | 70000.00 | OASIS ENGINEERS
2.00 | Supplying, installation, testing & commissioning of intelligent addressable thermaldetector with rate of rise cum fixed tempreature thermistor complete with base as required. | 1.00 | Nos | 0.00 | 3200.00 | 3200.00 | 2200.00 | 2200.00 | 2200.00 | Manish Electricals
3.00 | Supplying, installation, testing & commissioning of intelligent analog addressable photo thermal detector complete with mounting base complete as required. | 20.00 | Nos | 0.00 | 3000.00 | 60000.00 | 1800.00 | 36000.00 | 36000.00 | Manish Electricals
4.00 | Supplying, installation, testing & commisssioning of intelligent addressable programmable sounder complete as required. | 2.00 | Nos | 0.00 | 6000.00 | 12000.00 | 3000.00 | 6000.00 | 6000.00 | Manish Electricals
5.00 | Supplying, installation, testing & commissioning of addressable manual call point complete as required. | 2.00 | Nos | 0.00 | 4600.00 | 9200.00 | 3000.00 | 6000.00 | 6000.00 | Manish Electricals
6.00 | Supplying & laying of 2X1.5 sqmm fire alarm armoured cable, 600/1000 V rated with annealed copper conductor having XLPE insulation, steel wire armounring & FRLS outer sheath complete as required. | 500.00 | Mtr. | 0.00 | 110.00 | 55000.00 | 90.00 | 45000.00 | 45000.00 | Manish Electricals
7.00 | Supplying of artificial respiratory Mask with O2 cylinder of reputed make for emergency case as per site requirement. | 3.00 | Nos | 0.00 | 75000.00 | 225000.00 | 6500.00 | 19500.00 | 19500.00 | Manish Electricals
8.00 | Supplying installation and testing of display type with 09 Nos. dialing facility,along with power supply connection and connection with fire alarm main control panel etc complete as required.Auto dialor should suitable for connect mobile and landline (intercom ) | 2.00 | Nos | 0.00 | 15500.00 | 31000.00 | 18000.00 | 36000.00 | 31000.00 | OASIS ENGINEERS
9.00 | Supplying installation testing of blue color 2 mm thickness Insulation mat having working voltage 3.3kv,breakdown voltage 30kv of reputed make as per site requirement | 50.00 | sqmm | 0.00 | 170.00 | 8500.00 | 800.00 | 40000.00 | 8500.00 | OASIS ENGINEERS
10.00 | Supplying of 1 phase,2 wire current rating 5 -30 A solid state (static) whole current LT energy meter of accuracy class 1.0 with backlit LCD displayfor 240 V of reputed make | 2.00 | Nos | 0.00 | 5500.00 | 11000.00 | 3200.00 | 6400.00 | 6400.00 | Manish Electricals
11.00 | Supplying of 3 phase,4 wire current rating (10A-40A) state solid (static) whole current LT energy meter of accuracy class 1.0 with backlit LCD display of reputed make. | 2.00 | Nos | 0.00 | 8500.00 | 17000.00 | 1500.00 | 3000.00 | 3000.00 | Manish Electricals
12.00 | Supplying and testing of manual diesel feed pump from standby tank to DG fuel tank as per sample at site . | 1.00 | Nos | 0.00 | 10500.00 | 10500.00 | 1500.00 | 1500.00 | 1500.00 | Manish Electricals
13.00 | Supplying of 12V, 7Ah sealed lead-acid battery of Exide make or equivalent. | 15.00 | Nos | 0.00 | 1500.00 | 22500.00 | 1750.00 | 26250.00 | 22500.00 | OASIS ENGINEERS
14.00 | Supplying and fixing of 50 mm dia water flow meter in the outgoing pipe line of submersible water pumps including supply and fixing of 50mm dia pipes, elbows, sockets etc. to re-route the existing pipe lines for fixing of flow meter make- kranti or its equivalent . | 2.00 | Nos | 0.00 | 9500.00 | 19000.00 | 3500.00 | 7000.00 | 7000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 553900.00 |  | 319850.00
Lowest Amount Quoted BY: Manish Electricals(319850.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Fire Detection and Alarm System in AAI BCAS Building at Jolly Grant Airport Tender ID: 2021_AAI_67341_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 319850.00 | L1
| 2 | OASIS ENGINEERS | 553900.00 | L2