## BoQ1
Government eProcurement System Created By: SHALENDERA KUMAR Created Date/Time: 22-Feb-2021 12:11 PM Tender Title: Provision of LED Facia Signage, Gantry Signboard and LED Pictograph Signage in Terminal Building at Imphal Airport Tender ID: 2021_AAI_67434_1
Tender Inviting Authority: AGM (E-E)-II
Name of Work: Provision of LED Facia Signage, Gantry Signboard & LED Pictograph Signage in Terminal Building at Imphal Airport.
Contract No: 2021_AAI_67434_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | POSHDECOR(GSTN-27AAAPL7043G1ZV) |  | Vinayak Infra Signs and Projects Pvt Ltd(GSTN-27AAGCV8668N1ZA) |  | STAR GLOW(GSTN-07AAZPK8709P2ZI)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design,Supply, Installation, Testing and Commissioning of Facia signboard to be mounted as per following. The signboard shall be fabricated with 3mm composite Aluminium panel of Eurobond /Alucobond /Renobond /Alubond /Alstone make. The matter shall be in 3 (Three) languages computer cut routed as per design approved by Engineer-in-charge. 5mm thick poly carbonate sheet shall be fixed with inner side of the board so as the lettering will glow white. The boxing will be formed after making U grove on back side of composite aluminium panel and it shall be folded with folding jig, press flat to ensure straight line. The corners at the edges shall be sealed with approved sealant. There shall be aluminium frame of 2" X 1" of 2 mm rectangular pipe inside the boxing & so to screw the structure and make it rigid. Suitable LED modules shall be provided so as to illuminate the signages text evenly from inside the boxing. Rear side/centre opening shall be provided on the boxing to carry out easy maintenance of sign board and there shall be bird spikes on top of the board etc., complete as required. (Exterior signages)
1.10 | Suitable to fix on the outside wall of building with necessary clamps & brackets. | 60.00 | Square Metre |  | 18000.00 | 1080000.00 | 12000.00 | 720000.00 | 13180.00 | 790800.00 | 720000.00 | Vinayak Infra Signs and Projects Pvt Ltd
1.20 | Suitable to install on existing pipe structure across the approach road with necessary clamps & brackets for fixing. | 24.00 | Square Metre |  | 12000.00 | 288000.00 | 12000.00 | 288000.00 | 13180.00 | 316320.00 | 288000.00 | POSHDECOR, Vinayak Infra Signs and Projects Pvt Ltd
2.00 | Design,Supply, Installation, Testing and Commissioning of illuminated, openable, easily maintainable vinyl slim signage board of following size (s) made out of 1.44mm thick aluminum extruded profiles with concealed hinged profile system, extrusions with 20 microns anodizing / epoxy powder coating of approved shade & colour and have necessary light proof ventilation arrangement. The text in 3/2 (three/two) languages, signage matter shall be electro cut computerized automated self-adhesive vinyl graphics of 3M/Avery make grey/black out film behind and white/yellow message created by using 3M /Avery make translucent film to be transferred on 5mm thick unbreakable Opal White polycarbonate sheet on the readable side of the box, non readable side shall have 1.5mm thick Aluminum sheet as per requirement of approved art works including supply of suitable ceiling mounting arrangement of 32 mm Dia SS pipe, gypsum board cutting, misc ceiling works (if required) and making good the damage or on the existing pole along with internal illumination using LED modules to achieve uniform illumination (LED make: Osram/philips/Nichila/Cree) complete with all internal wiring ,connectors etc .as required as per specifications.- (Interior signages)
2.10 | Single side signage board of size 1700mm (L) x 400mm (W) x 70mm [D] | 10.00 | Each |  | 27000.00 | 270000.00 | 27500.00 | 275000.00 | 19880.00 | 198800.00 | 198800.00 | STAR GLOW
2.20 | Double sided signage board of size 1700mm (L) x 400mm (W) x 100mm [D] | 23.00 | Each |  | 30000.00 | 690000.00 | 35000.00 | 805000.00 | 21680.00 | 498640.00 | 498640.00 | STAR GLOW
2.30 | Single side signage board of size 1700mm (L) x 600mm (W) x 70mm [D] | 3.00 | Each |  | 33000.00 | 99000.00 | 40000.00 | 120000.00 | 24880.00 | 74640.00 | 74640.00 | STAR GLOW
2.40 | Single side signage board of size 400mm (L) x 400mm (W) x 70mm [D] | 50.00 | Each |  | 8100.00 | 405000.00 | 12000.00 | 600000.00 | 8880.00 | 444000.00 | 405000.00 | POSHDECOR
3.00 | Design,Supply, Installation, Testing and Commissioning of illuminated, openable, easily maintainable vinyl slim signage board of following size (s) made out of 1.44mm thick aluminum extruded profiles with concealed hinged profile system, extrusions with 20 microns anodizing / epoxy powder coating of approved shade & colour and have necessary light proof ventilation arrangement. The text(in three/two languages as mentioned in Technical Specification) / signage matter shall be electro cut computerized automated self-adhesive vinyl graphics of 3M/Avery make grey/black out film behind and white/yellow message created by using 3M /Avery make translucent film to be transferred on 5mm thick unbreakable Opal White polycarbonate sheet on the readable side of the box, non readable side shall have 1.5mm thick Aluminum sheet as per requirement of approved art works including supply of suitable size Stand of 75 mm Dia GI pipe with painting of 2 coat emmaled paint of required colour along with internal illumination using LED modules to achieve uniform illumination (LED make: Osram/philips/Nichila/Cree) complete with all internal wiring ,connectors etc .as required as per specifications. - (Interior signages)
3.10 | Single side signage board of size 1250mm (L) x 1200mm (W) x 70mm [D] | 3.00 | Each |  | 21000.00 | 63000.00 | 42000.00 | 126000.00 | 31880.00 | 95640.00 | 63000.00 | POSHDECOR
4.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class Steel conduit as required. 2 x 2.5 sq.mm + 1 x 2.5 sq.mm earth wire | 150.00 | Metre |  | 120.00 | 18000.00 | 200.00 | 30000.00 | 380.00 | 57000.00 | 18000.00 | POSHDECOR
| Total in Figures |  |  |  |  | 2913000.00 |  | 2964000.00 |  | 2475840.00
Lowest Amount Quoted BY: STAR GLOW(2475840.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of LED Facia Signage, Gantry Signboard and LED Pictograph Signage in Terminal Building at Imphal Airport Tender ID: 2021_AAI_67434_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | STAR GLOW | 2475840.00 | L1
| 2 | POSHDECOR | 2913000.00 | L2
| 3 | Vinayak Infra Signs and Projects Pvt Ltd | 2964000.00 | L3