## BoQ1
Government eProcurement System Created By: RAMESHWAR GAUTAM Created Date/Time: 17-Feb-2021 11:22 AM Tender Title: Supply of Electrical Spares at LBSI Airport Varanasi Tender ID: 2021_AAI_67504_1
Tender Inviting Authority: Asstt. General Manager (Engg.-E), LBSI Airport Varanasi.
Name of Work: Supply of Electrical Spares at LBSI Airport Varanasi
Contract No: 2021_AAI_67504_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Bafna Electric Corp(GSTN-33AAAFB4879L1Z8) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | ANU ENGINEERING CORPORATION(GSTN-09AJDPK9181G1ZX) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | Industrial Traders(GSTN-09ACJPC1773F1ZQ) |  | SHREE NURSING TIMER AND ELECTRIC STORES(GSTN-22AAQFS7594F1ZP) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 180 Watt,230 V, 50 Hz AC Narrow beam LED Facade Light at statue installed at LBSI airport Varanasi. Make:Osram, Model: 830 10D ONOFF GS or equivalent as per approved make | 4.00 | Nos. |  | 84285.00 | 337140.00 | 59884.00 | 239536.00 | 130000.00 | 520000.00 | 7250.00 | 29000.00 | 11000.00 | 44000.00 | 16800.00 | 67200.00 | 24000.00 | 96000.00 | 29000.00 | VOLKS ENERGIE PVT LTD
2.00 | Supply of automatically operated stainless steel heavy duty Water splash proof (lPX1), Hand Driers complete with fan motor cum heater assembly for hot air blowing ,temperature over heat protection, sensor for auto operation, auto timer protection low noise and suitable for operation on 220/230 Volts , 50 Hz single phase AC supply complete as required. (Make:Anand Automatic System or equivalent as per approved make ) | 15.00 | Nos. |  | 10150.00 | 152250.00 | 9240.00 | 138600.00 | 16000.00 | 240000.00 | 12500.00 | 187500.00 | 8378.00 | 125670.00 | 12398.00 | 185970.00 | 14000.00 | 210000.00 | 125670.00 | Industrial Traders
3.00 | Supply of 180AH , 12Volt , Lead Acid Type, maintenance free, leak resistant Battery for DG sets installed at NPH, OPH and MSSR Make:Exide , Model: GOLD-180R or equivalent as per approved Make | 18.00 | Nos. |  | 13850.00 | 249300.00 | 13167.00 | 237006.00 | 14000.00 | 252000.00 | 12149.00 | 218682.00 | 13026.00 | 234468.00 | 12337.00 | 222066.00 | 15000.00 | 270000.00 | 218682.00 | VOLKS ENERGIE PVT LTD
4.00 | Supply of 150AH , 12Volt , Lead Acid maintenance free, leak resistant Battery for 30 KVA Mobile DG set. Make:Exide, Model: GOLD-150R or equivalent as per approved Make | 2.00 | Nos. |  | 12175.00 | 24350.00 | 10048.00 | 20096.00 | 11000.00 | 22000.00 | 9219.00 | 18438.00 | 10150.00 | 20300.00 | 9450.00 | 18900.00 | 13000.00 | 26000.00 | 18438.00 | VOLKS ENERGIE PVT LTD
5.00 | Supply of 150 AH , 12Volt , maintenance free, Rugged tubular Battery for Solar Application Make:Exide Model: 6LM150 or equivalent as per approved Make | 12.00 | Nos. |  | 13182.00 | 158184.00 | 10626.00 | 127512.00 | 11000.00 | 132000.00 | 10098.00 | 121176.00 | 10720.00 | 128640.00 | 12249.00 | 146988.00 | 8500.00 | 102000.00 | 102000.00 | Manish Electricals
6.00 | Supply of 65 AH,12 V valve regulated Sealed Lead Acid type Rechargeable Battery for Fire Fighting UPS at New Terminal Building Make:Exide, Model: EP-65 or equivalent as per approved Make | 2.00 | Nos. |  | 4175.00 | 8350.00 | 5544.00 | 11088.00 | 5000.00 | 10000.00 | 4159.00 | 8318.00 | 4700.00 | 9400.00 | 4462.00 | 8924.00 | 5500.00 | 11000.00 | 8318.00 | VOLKS ENERGIE PVT LTD
7.00 | Supply of 17 AH,12 V Sealed Lead Acid type Battery for Flag UPS Make:Exide , Model: EP-17 or equivalent as per approved Make | 12.00 | Nos. |  | 1700.00 | 20400.00 | 1963.00 | 23556.00 | 2100.00 | 25200.00 | 1714.00 | 20568.00 | 1833.00 | 21996.00 | 1662.00 | 19944.00 | 2500.00 | 30000.00 | 19944.00 | SHREE NURSING TIMER AND ELECTRIC STORES
8.00 | Supply of 7 AH,12 V Sealed Lead Acid type Battery for Fire alarm Control panel Make: Exide, Model:CS7/12 or equivalent as per approved Make | 12.00 | Nos. |  | 650.00 | 7800.00 | 710.00 | 8520.00 | 800.00 | 9600.00 | 618.00 | 7416.00 | 708.00 | 8496.00 | 656.00 | 7872.00 | 800.00 | 9600.00 | 7416.00 | VOLKS ENERGIE PVT LTD
9.00 | Supply of following range of MCCB with 25 KA breaking Capacity, Suitable to work on 440V,50Hz A/C 100 Amp, 4 pole, Make:Schneider ,Model:LV510317 | 6.00 | Nos. |  | 4860.00 | 29160.00 | 4882.00 | 29292.00 | 4800.00 | 28800.00 | 3841.00 | 23046.00 | 4987.00 | 29922.00 | 4583.00 | 27498.00 | 12000.00 | 72000.00 | 23046.00 | VOLKS ENERGIE PVT LTD
10.00 | Supply of following range of MCCB with 25 KA breaking Capacity, Suitable to work on 440V,50Hz A/C 200 Amp, 3 pole, Make:Schneider ,Model:LV525302 | 2.00 | Nos. |  | 8800.00 | 17600.00 | 8845.00 | 17690.00 | 8600.00 | 17200.00 | 7502.00 | 15004.00 | 9052.00 | 18104.00 | 8297.00 | 16594.00 | 20000.00 | 40000.00 | 15004.00 | VOLKS ENERGIE PVT LTD
11.00 | Supply of following range of MCCB with 25 KA breaking Capacity, Suitable to work on 440V,50Hz A/C 200 Amp, 4 pole, Make:Schneider ,Model:LV525312 | 6.00 | Nos. |  | 10900.00 | 65400.00 | 10926.00 | 65556.00 | 10600.00 | 63600.00 | 9064.00 | 54384.00 | 11162.00 | 66972.00 | 10250.00 | 61500.00 | 20000.00 | 120000.00 | 54384.00 | VOLKS ENERGIE PVT LTD
12.00 | Supply of electric ceiling fan in white colour having BEE 5 star rated, 1200 mm sweep, double ball bearing capacitor type, complete with upto 30 cm. down rod. canopies, hanging shackle & blades suitable to works on 230 volts, 50 Hz, single phase, AC Supply. Make:Orient ,Model: Hector 500 or equivalent as per approved make. | 150.00 | Nos. |  | 2050.00 | 307500.00 | 1801.00 | 270150.00 | 2000.00 | 300000.00 | 2079.00 | 311850.00 | 2260.00 | 339000.00 | 2240.00 | 336000.00 | 1400.00 | 210000.00 | 210000.00 | Manish Electricals
13.00 | Supply of Heavy duty Air circulator having 450 mm sweep, suitable to works on 50Hz, 230 Volt,1 Ph, AC supply.Make:Orient ,Model: Industrial Fan Thunderstorm or equivalent as per approved make. | 15.00 | Nos. |  | 5650.00 | 84750.00 | 4847.00 | 72705.00 | 4800.00 | 72000.00 | 5002.00 | 75030.00 | 4600.00 | 69000.00 | 4865.00 | 72975.00 | 3500.00 | 52500.00 | 52500.00 | Manish Electricals
14.00 | Supply of wall mounted fan having 400 mm sweep, suitable to works on 50Hz, 230 Volt,1 Ph, AC supply.Make: Orient ,Model:Wall 45 or equivalent as per approved make. | 25.00 | Nos. |  | 1800.00 | 45000.00 | 1615.00 | 40375.00 | 1600.00 | 40000.00 | 1692.00 | 42300.00 | 1650.00 | 41250.00 | 1724.00 | 43100.00 | 1800.00 | 45000.00 | 40000.00 | ANU ENGINEERING CORPORATION
15.00 | Supply of Self Primimg Monoset Pump of 1 Hp,750 W, head 6/39 M ,Speed 2780 RPM, Discharge 3000/750 LPH suitable for 230 V AC, 50 Hz. Make: Crompton, Model-Mini Marvel- I or equivalent as per approved make. | 4.00 | Nos. |  | 3800.00 | 15200.00 | 4418.00 | 17672.00 | 5000.00 | 20000.00 | 3810.00 | 15240.00 | 4212.00 | 16848.00 | 3360.00 | 13440.00 | 13000.00 | 52000.00 | 13440.00 | SHREE NURSING TIMER AND ELECTRIC STORES
16.00 | Supply of following sizes of Copper Thimble (Lugs) suitable for following Cable- 25 sqmm | 100.00 | Nos. |  | 15.00 | 1500.00 | 11.50 | 1150.00 | 18.00 | 1800.00 | 30.00 | 3000.00 | 21.50 | 2150.00 | 17.74 | 1774.00 | 10.00 | 1000.00 | 1000.00 | Manish Electricals
17.00 | Supply of following sizes of Al Thimble (Lugs) suitable for following Cable- 16 sqmm | 50.00 | Nos. |  | 3.00 | 150.00 | 1.75 | 87.50 | 5.00 | 250.00 | 5.00 | 250.00 | 10.00 | 500.00 | 4.00 | 200.00 | 8.00 | 400.00 | 87.50 | Yash Energy Pvt. Ltd
18.00 | Supply of following sizes of Al Thimble (Lugs) suitable for following Cable- 25 sqmm | 50.00 | Nos. |  | 4.00 | 200.00 | 2.50 | 125.00 | 7.00 | 350.00 | 5.00 | 250.00 | 3.00 | 150.00 | 5.00 | 250.00 | 8.00 | 400.00 | 125.00 | Yash Energy Pvt. Ltd
19.00 | Supply of Electrofibre 4 way ,63 Amp open connector complete as per site requirement or equivalent to existing connector | 100.00 | Nos. |  | 120.00 | 12000.00 | 501.00 | 50100.00 | 100.00 | 10000.00 | 488.00 | 48800.00 | 100.00 | 10000.00 | 112.00 | 11200.00 | 30.00 | 3000.00 | 3000.00 | Manish Electricals
20.00 | Supply of 20A &10A,Switch and socket combined unit with box, 2 fixing holes for fixing in wall, similar to cat 14616 of Anchor make (white colour) | 100.00 | Nos. |  | 115.00 | 11500.00 | 180.00 | 18000.00 | 130.00 | 13000.00 | 108.00 | 10800.00 | 110.00 | 11000.00 | 106.00 | 10600.00 | 80.00 | 8000.00 | 8000.00 | Manish Electricals
21.00 | Supply of 6 Amp,3 pin Plug Top suitable to work on 230V, 50Hz, AC Supply. | 100.00 | Nos. |  | 40.00 | 4000.00 | 37.00 | 3700.00 | 50.00 | 5000.00 | 38.00 | 3800.00 | 37.50 | 3750.00 | 37.00 | 3700.00 | 35.00 | 3500.00 | 3500.00 | Manish Electricals
22.00 | Supply of 16 Amp,3 pin Plug Top suitable to work on 230V, 50Hz, AC Supply. | 60.00 | Nos. |  | 53.00 | 3180.00 | 50.00 | 3000.00 | 62.00 | 3720.00 | 51.00 | 3060.00 | 50.00 | 3000.00 | 49.28 | 2956.80 | 40.00 | 2400.00 | 2400.00 | Manish Electricals
23.00 | Supply of 2.5 MFD Capacitor for fans/light with wire terminals suitable to work on 230V,50Hz, AC supply. | 600.00 | Nos. |  | 19.00 | 11400.00 | 15.00 | 9000.00 | 30.00 | 18000.00 | 22.00 | 13200.00 | 17.00 | 10200.00 | 24.64 | 14784.00 | 15.00 | 9000.00 | 9000.00 | Yash Energy Pvt. Ltd, Manish Electricals
24.00 | Supply of 10 Amps Modular switch suitable for 240 Volt. Make Anchor Roma.Product Code:21011 | 100.00 | Nos. |  | 24.00 | 2400.00 | 35.00 | 3500.00 | 40.00 | 4000.00 | 33.00 | 3300.00 | 35.00 | 3500.00 | 37.39 | 3739.00 | 20.00 | 2000.00 | 2000.00 | Manish Electricals
25.00 | Supply of 20 Amps Modular switch suitable for 240 Volt. Make Anchor Roma.Product Code:21066 | 100.00 | Nos. |  | 80.00 | 8000.00 | 80.00 | 8000.00 | 90.00 | 9000.00 | 79.00 | 7900.00 | 78.00 | 7800.00 | 84.29 | 8429.00 | 55.00 | 5500.00 | 5500.00 | Manish Electricals
26.00 | Supply of 6 Amps, 3 pin modular socket with safety shutter suitable for 240 Volt. Make Anchor Roma. Product Code:21102 | 100.00 | Nos. |  | 80.00 | 8000.00 | 77.00 | 7700.00 | 80.00 | 8000.00 | 71.00 | 7100.00 | 75.00 | 7500.00 | 82.50 | 8250.00 | 55.00 | 5500.00 | 5500.00 | Manish Electricals
27.00 | Supply of 20 & 10A Twin Socket (Heavy Duty) suitable for 240 Volt. Make Anchor Roma, Product Code: 30828 | 100.00 | Nos. |  | 145.00 | 14500.00 | 141.00 | 14100.00 | 140.00 | 14000.00 | 128.00 | 12800.00 | 135.00 | 13500.00 | 150.00 | 15000.00 | 120.00 | 12000.00 | 12000.00 | Manish Electricals
28.00 | Supply of 6 module white colour modular solid plate suitable to fit in Anchor roma modular switch socket.make Anchor Roma , Code: 30250WH | 50.00 | Nos. |  | 105.00 | 5250.00 | 104.00 | 5200.00 | 110.00 | 5500.00 | 103.00 | 5150.00 | 99.00 | 4950.00 | 111.00 | 5550.00 | 100.00 | 5000.00 | 4950.00 | Industrial Traders
29.00 | Supply of following Piano type Switches / Sockets suitable to work on 230V, 50Hz, AC Supply. 6A 1way Switch, Make:Anchor , Product Code:38014 or equivalent as per approved make. | 250.00 | Nos. |  | 13.00 | 3250.00 | 11.00 | 2750.00 | 15.00 | 3750.00 | 11.00 | 2750.00 | 11.00 | 2750.00 | 11.27 | 2817.50 | 25.00 | 6250.00 | 2750.00 | Yash Energy Pvt. Ltd, VOLKS ENERGIE PVT LTD, Industrial Traders
30.00 | Supply of following Piano type Switches / Sockets suitable to work on 230V, 50Hz, AC Supply. 20A 1way Switch, Make:Anchor,Product Code:39991 or equivalent as per approved make. | 50.00 | Nos. |  | 66.00 | 3300.00 | 71.00 | 3550.00 | 70.00 | 3500.00 | 58.00 | 2900.00 | 60.00 | 3000.00 | 57.57 | 2878.50 | 70.00 | 3500.00 | 2878.50 | SHREE NURSING TIMER AND ELECTRIC STORES
31.00 | Supply of following Piano type Switches / Sockets suitable to work on 230V, 50Hz, AC Supply. 6A, 5 Pin Socket, Make: Anchor,Product Code:38364 or equivalent as per approved make. | 150.00 | Nos. |  | 24.00 | 3600.00 | 21.00 | 3150.00 | 25.00 | 3750.00 | 21.00 | 3150.00 | 22.00 | 3300.00 | 20.77 | 3115.50 | 70.00 | 10500.00 | 3115.50 | SHREE NURSING TIMER AND ELECTRIC STORES
32.00 | Supply of following Piano type Switches / Sockets suitable to work on 230V, 50Hz, AC Supply. 20A, 5 pin Socket , Make: Anchor,Product Code:39994 or equivalent as per approved make. | 50.00 | Nos. |  | 69.00 | 3450.00 | 62.00 | 3100.00 | 75.00 | 3750.00 | 62.00 | 3100.00 | 62.00 | 3100.00 | 60.54 | 3027.00 | 130.00 | 6500.00 | 3027.00 | SHREE NURSING TIMER AND ELECTRIC STORES
33.00 | Supply of following Size of PVC Insulated Copper Conductor (Flexible) industrial cables PVC Sheathed Cables, 1100V,AC Supply,conforming to IS-694 with upto date ammendments. 3C X 1.5 Sq mm | 1000.00 | Mtr |  | 42.00 | 42000.00 | 43.00 | 43000.00 | 48.00 | 48000.00 | 45.00 | 45000.00 | 47.00 | 47000.00 | 39.93 | 39930.00 | 55.00 | 55000.00 | 39930.00 | SHREE NURSING TIMER AND ELECTRIC STORES
34.00 | Supply of following Size of PVC Insulated Copper Conductor (Flexible) industrial cables PVC Sheathed Cables, 1100V,AC Supply,conforming to IS-694 with upto date ammendments. 3C X 2.5 Sq mm | 500.00 | Mtr |  | 67.00 | 33500.00 | 68.00 | 34000.00 | 72.00 | 36000.00 | 73.00 | 36500.00 | 76.00 | 38000.00 | 63.10 | 31550.00 | 83.00 | 41500.00 | 31550.00 | SHREE NURSING TIMER AND ELECTRIC STORES
35.00 | Supply of following Size of PVC Insulated Copper Conductor (Flexible) industrial cables PVC Sheathed Cables, 1100V,AC Supply,conforming to IS-694 with upto date ammendments. 3C X 4 Sq mm | 400.00 | Mtr |  | 104.00 | 41600.00 | 105.00 | 42000.00 | 115.00 | 46000.00 | 111.00 | 44400.00 | 115.00 | 46000.00 | 99.53 | 39812.00 | 127.00 | 50800.00 | 39812.00 | SHREE NURSING TIMER AND ELECTRIC STORES
36.00 | Supply of following Size of single core FRLS PVC Insulated Copper Conductor (Flexible) industrial cables PVC unsheathed Cables, 1100V,AC Supply,conforming to IS-694 with upto date ammendments. 1.5 Sqmm | 1000.00 | Mtr |  | 12.00 | 12000.00 | 11.00 | 11000.00 | 16.00 | 16000.00 | 15.00 | 15000.00 | 14.00 | 14000.00 | 11.49 | 11490.00 | 20.00 | 20000.00 | 11000.00 | Yash Energy Pvt. Ltd
37.00 | Supply of following Size of single core FRLS PVC Insulated Copper Conductor (Flexible) industrial cables PVC unsheathed Cables, 1100V,AC Supply,conforming to IS-694 with upto date ammendments. 2.5 Sqmm | 500.00 | Mtr |  | 20.00 | 10000.00 | 19.00 | 9500.00 | 26.00 | 13000.00 | 22.00 | 11000.00 | 23.00 | 11500.00 | 20.89 | 10445.00 | 26.00 | 13000.00 | 9500.00 | Yash Energy Pvt. Ltd
38.00 | Supply of polycarbonate pendant holder suitable for 6 Amp , 240 Volt, 50 Hz AC Supply. | 50.00 | Nos. |  | 27.00 | 1350.00 | 21.00 | 1050.00 | 13.00 | 650.00 | 20.00 | 1000.00 | 23.00 | 1150.00 | 20.77 | 1038.50 | 20.00 | 1000.00 | 650.00 | ANU ENGINEERING CORPORATION
39.00 | Supply of polycarbonate batten holder (with metal ring)suitable for 6 Amp, 240 Volt ,50 Hz AC Supply. | 50.00 | Nos. |  | 27.00 | 1350.00 | 24.00 | 1200.00 | 25.00 | 1250.00 | 39.00 | 1950.00 | 24.00 | 1200.00 | 21.96 | 1098.00 | 20.00 | 1000.00 | 1000.00 | Manish Electricals
40.00 | Supply of following 'C' Series MCBs with 10 KA Breaking Capacity suitable for 240/415V, 50Hz AC supply. 20 A, SP | 30.00 | Nos. |  | 105.00 | 3150.00 | 118.00 | 3540.00 | 140.00 | 4200.00 | 127.00 | 3810.00 | 98.00 | 2940.00 | 109.40 | 3282.00 | 180.00 | 5400.00 | 2940.00 | Industrial Traders
41.00 | Supply of following 'C' Series MCBs with 10 KA Breaking Capacity suitable for 240/415V, 50Hz AC supply. 20A, DP | 30.00 | Nos. |  | 350.00 | 10500.00 | 366.00 | 10980.00 | 400.00 | 12000.00 | 389.00 | 11670.00 | 330.00 | 9900.00 | 338.00 | 10140.00 | 500.00 | 15000.00 | 9900.00 | Industrial Traders
42.00 | Supply of following 'C' Series MCBs with 10 KA Breaking Capacity suitable for 240/415V, 50Hz AC supply. 32 A, DP | 30.00 | Nos. |  | 350.00 | 10500.00 | 366.00 | 10980.00 | 400.00 | 12000.00 | 389.00 | 11670.00 | 330.00 | 9900.00 | 338.00 | 10140.00 | 500.00 | 15000.00 | 9900.00 | Industrial Traders
43.00 | Supply of 4 way surface/recess type TPN Double Door MCB Distribution Board for single phase outgoing and suitable for MCB/RCCB/Isolator as incomer. (Incomer+outgoing=4+12) | 10.00 | Nos. |  | 2050.00 | 20500.00 | 1524.00 | 15240.00 | 2000.00 | 20000.00 | 1824.00 | 18240.00 | 1800.00 | 18000.00 | 1758.00 | 17580.00 | 1200.00 | 12000.00 | 12000.00 | Manish Electricals
44.00 | Supply of Ding Dong call bell for 230V, 50Hz AC supply | 30.00 | Nos. |  | 117.00 | 3510.00 | 141.00 | 4230.00 | 150.00 | 4500.00 | 120.00 | 3600.00 | 100.00 | 3000.00 | 100.91 | 3027.30 | 200.00 | 6000.00 | 3000.00 | Industrial Traders
45.00 | Supply of Wireless ,remote control battery operated call bell, Make Anchor, Code:22740 | 50.00 | Nos. |  | 487.00 | 24350.00 | 456.00 | 22800.00 | 575.00 | 28750.00 | 448.00 | 22400.00 | 460.00 | 23000.00 | 417.89 | 20894.50 | 350.00 | 17500.00 | 17500.00 | Manish Electricals
46.00 | Supply of 6 Amps Bell Push switch suitable for 240 Volt. Make Anchor Roma.Product Code:21044 or equivalent as per approved make. | 60.00 | Nos. |  | 74.00 | 4440.00 | 74.00 | 4440.00 | 75.00 | 4500.00 | 73.00 | 4380.00 | 75.00 | 4500.00 | 78.35 | 4701.00 | 80.00 | 4800.00 | 4380.00 | VOLKS ENERGIE PVT LTD
47.00 | Supply of 4 pole, 100 Amp capacity on load changeover switch in SS/MS Enclosure suitable to operate on 415 Volt,50 Hz AC supply . | 4.00 | Nos. |  | 5367.00 | 21468.00 | 5850.00 | 23400.00 | 6500.00 | 26000.00 | 3370.00 | 13480.00 | 6363.00 | 25452.00 | 5597.00 | 22388.00 | 9000.00 | 36000.00 | 13480.00 | VOLKS ENERGIE PVT LTD
48.00 | Supply of prefilter suitable for smoke solution make smoke eliminator complete as required up to the satisfaction of EIC. | 8.00 | Nos. |  | 4163.00 | 33304.00 | 3212.00 | 25696.00 | 4000.00 | 32000.00 | 3180.00 | 25440.00 | 2400.00 | 19200.00 | 3265.00 | 26120.00 | 2500.00 | 20000.00 | 19200.00 | Industrial Traders
49.00 | Supply of HEPA filter sauitable for smoke solution make smoke eliminator complete as required up to the satisfaction of E-I-C. | 4.00 | Nos. |  | 25740.00 | 102960.00 | 23556.00 | 94224.00 | 27000.00 | 108000.00 | 23300.00 | 93200.00 | 3800.00 | 15200.00 | 23950.00 | 95800.00 | 2500.00 | 10000.00 | 10000.00 | Manish Electricals
50.00 | Supply of Activated carbon filter suitable for smoke solution make smoke eliminator complete as required up to the satifaction of E-I-C. | 2.00 | Nos. |  | 37050.00 | 74100.00 | 34383.00 | 68766.00 | 39000.00 | 78000.00 | 33999.00 | 67998.00 | 9500.00 | 19000.00 | 34957.00 | 69914.00 | 2500.00 | 5000.00 | 5000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 2068646.00 |  | 1881612.50 |  | 2350620.00 |  | 1710000.00 |  | 1573158.00 |  | 1766592.60 |  | 1759550.00
Lowest Amount Quoted BY: Industrial Traders(1573158.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of Electrical Spares at LBSI Airport Varanasi Tender ID: 2021_AAI_67504_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Industrial Traders | 1573158.00 | L1
| 2 | VOLKS ENERGIE PVT LTD | 1710000.00 | L2
| 3 | Manish Electricals | 1759550.00 | L3
| 4 | SHREE NURSING TIMER AND ELECTRIC STORES | 1766592.60 | L4
| 5 | Yash Energy Pvt. Ltd | 1881612.50 | L5
| 6 | Bafna Electric Corp | 2068646.00 | L6
| 7 | ANU ENGINEERING CORPORATION | 2350620.00 | L7