## BoQ1
Government eProcurement System Created By: Ram kesh Meena Created Date/Time: 05-Feb-2021 10:05 AM Tender Title: Miscellaneous electrical repair works at Kishangarh Airport, Ajmer. (2020-21) Tender ID: 2021_AAI_67508_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-E), Kishangarh Airport, Ajmer-305801
Name of Work: Miscellaneous electrical repair works at Kishangarh Airport, Ajmer (2020-21).
Tender ID: 2021_AAI_67508_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Trishul Enterprises(GSTN-07AQOPS2079M1Z0) |  | M/s Sogani Electrical(GSTN-08AGBPS1420R1Z3) |  | S K ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Repairing of LT control panel of fire fighting pumping system including replacement of 30 nos diffrent size Aluminium bus-bars, 02 nos L&T RTO-1 relay, 02 nos L&T MO-12 contactor, 02 nos L&T MO-9 contactor, 02 nos 60 sec time switch of 220 V AC supply and other accessories etc. complete as required. | 1.00 | Job | 10.00 | 23500.00 | 23500.00 | 27000.00 | 27000.00 | 196448.00 | 196448.00 | 23500.00 | Trishul Enterprises
2.00 | Dismanteling, Assembling, re-installation, testing & commissioning of existing Bajaj make, 20m height, old flood light mast system in three sections i/c supply & replacement of double drum double gear winch drive, 3 phase single speed high power reversible motor for raising & lowering, steel wire rope of 6mm dia (7/19 construction & made up of SS 316 grade), multi core trailing cable (5Cx 4sqmm copper conductor cable of 1.1 KV grade) and other control parts & accessories etc. complete as required. | 1.00 | Job | 10.00 | 145000.00 | 145000.00 | 155000.00 | 155000.00 | 57143.00 | 57143.00 | 57143.00 | S K ENTERPRISES
3.00 | Supply of 250 Watt LED flood light having IP-66 Protection, pressure die cast aluminium alloy housing and heat resistant toughened glass cover complete as required. | 8.00 | Each | 10.00 | 13500.00 | 108000.00 | 15000.00 | 120000.00 | 14850.00 | 118800.00 | 108000.00 | Trishul Enterprises
4.00 | Supply of 150 Watt LED street light having IP-66 Protection, pressure die cast aluminium alloy housing and heat resistant toughened glass cover complete as required. | 4.00 | Each | 10.00 | 9000.00 | 36000.00 | 8100.00 | 32400.00 | 8953.00 | 35812.00 | 32400.00 | M/s Sogani Electrical
5.00 | Installation, Testing & Commissioning of LED flood light/street light on existing 20 Mtr high mast/ 10 mtr street pole including all accessories, nut, bolt, washer, connections, dismantling of existing old luminaire etc complete as required. | 12.00 | Each | 10.00 | 400.00 | 4800.00 | 500.00 | 6000.00 | 1000.00 | 12000.00 | 4800.00 | Trishul Enterprises
6.00 | Servicing, overhauling of motorised trolley gate including repairing of minor defects, systematic improvement of system etc. complete as required. | 4.00 | Job | 10.00 | 4500.00 | 18000.00 | 9000.00 | 36000.00 | 1785.00 | 7140.00 | 7140.00 | S K ENTERPRISES
7.00 | Replacement of existing votage transformer (01 no) by providing new one for 33 KV HT breaker panel having following specification- i) Ratio of 33KV/RT3/110V/RT3/110V/RT3-110V/3, ii) Insulation class B iii) conforming to IS 3156:1992 Including testing & commissioning, dismantling the faulty PT unit etc. complete as required. | 1.00 | Job | 10.00 | 45000.00 | 45000.00 | 100000.00 | 100000.00 | 41428.00 | 41428.00 | 41428.00 | S K ENTERPRISES
8.00 | Replacement of existing Surge arrester by providing new one for 750 KVA (33/0.415 KV dry type) power transformer having following specifications- i)30 KV rated voltage ii) 5 KA discharge current iii) conforming to IS 3070-3/ IEC 60099-4 Including testing & commissioning, dismantling the faulty unit etc. complete as required. | 3.00 | Each | 10.00 | 9600.00 | 28800.00 | 9000.00 | 27000.00 | 14285.00 | 42855.00 | 27000.00 | M/s Sogani Electrical
9.00 | Re-programming of PLC card installed in CCR for synchronising with Airfield Lighting Control & Monitoring System of GLF complete as required. | 2.00 | Each | 10.00 | 4500.00 | 9000.00 | 6000.00 | 12000.00 | 35714.00 | 71428.00 | 9000.00 | Trishul Enterprises
10.00 | Servicing & maintenance of Godrej make Boom Barriers including repairing of minor defects etc. complete as required. | 4.00 | Each | 10.00 | 4000.00 | 16000.00 | 7000.00 | 28000.00 | 4167.00 | 16668.00 | 16000.00 | Trishul Enterprises
11.00 | Replacement of existing polycarbonate sheet by providing new for mandatory/informative signage having following specifications- i) supply of 4 mm thick polycarbonate sheet with UV protection glare free face, ii) computerised cut letters & symbol on self adhesive vinyl film applied on the inside face of polycarbonate sheet with required colouring meeting ICAO Annex 14, volume 1 including removing of old sheet etc complete as required. | 25.00 | SqM | 10.00 | 6500.00 | 162500.00 | 7000.00 | 175000.00 | 2328.00 | 58200.00 | 58200.00 | S K ENTERPRISES
12.00 | Supply and fixing of nominal 2.0 mm thick electric insulated synthetic mats conforming to IS:15652-2006 and meeting the requirement of IS:5216, IS:8437, IEC-479 Pub-1 along with suitable adhesive/chemibound, pu-resin, water proofing compound and other sealing materials as per service recomendations in IS:15652 & suitable for class-A 3.3 KV AC and 240 V DC supply without HT trolley movement, complete as required. | 70.00 | SqM | 10.00 | 625.00 | 43750.00 | 800.00 | 56000.00 | 470.00 | 32900.00 | 32900.00 | S K ENTERPRISES
13.00 | Repairing of earthing pit including replacement of pit cover & funnel, uplift/repair of concrete, painting etc complete as per site requirement. | 20.00 | Each | 10.00 | 720.00 | 14400.00 | 1000.00 | 20000.00 | 2643.00 | 52860.00 | 14400.00 | Trishul Enterprises
| Total in Figures |  |  |  |  | 654750.00 |  | 794400.00 |  | 743682.00
Lowest Amount Quoted BY: Trishul Enterprises(654750.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous electrical repair works at Kishangarh Airport, Ajmer. (2020-21) Tender ID: 2021_AAI_67508_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Trishul Enterprises | 654750.00 | L1
| 2 | S K ENTERPRISES | 743682.00 | L2
| 3 | M/s Sogani Electrical | 794400.00 | L3