## BoQ1
Government eProcurement System Created By: MAYANK YADAV Created Date/Time: 08-Mar-2021 12:22 PM Tender Title: R and M Electrical Installations at Kangra Airport. SH Supply of Electrical Spares Tender ID: 2021_AAI_67596_1
Tender Inviting Authority: Sr.Manager Engg.- E, Airports Authority of India, Kangra Airport, Kangra
Name of Work:- "R&M Electrical Installations at Kangra Airport. SH: Supply of Electrical Spares”
Contract No: 2021_AAI_67596_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Modern Agencies(GSTN-04AAWFM7893F1ZL) |  | SHREE NURSING TIMBER AND ELECTRIC STORES(GSTN-19AEPPM5719K1ZS) |  | Anil Kumar Sharma(GSTN-01AIWPS0647K1ZU) |  | Bafna Electric Corp(GSTN-33AAAFB4879L1Z8) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | electromach sales agencies(GSTN-NA) |  | M/s Mukesh Enterprises(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | 3 Core x 1.5 sq mm PVC insulated, FR PVC round sheathed bright annealed bare copper conductor multicore industrial Cables for voltage grade upto 1100 V as per IS 694:1990 (Coil of 100 Mtr) | 1.00 | Each |  | 3800.00 | 3800.00 | 4065.42 | 4065.42 | 5500.00 | 5500.00 | 4150.00 | 4150.00 | 5123.00 | 5123.00 | 7900.00 | 7900.00 | 6500.00 | 6500.00 | 3800.00 | Modern Agencies
2.00 | 3 Core x 2.5 sq mm PVC insulated, FR PVC round sheathed bright annealed bare copper conductor multicore industrial Cables for voltage grade upto 1100 V as per IS 694:1990 (Coil of 100 Mtr) | 1.00 | Each |  | 6300.00 | 6300.00 | 6422.98 | 6422.98 | 7000.00 | 7000.00 | 6650.00 | 6650.00 | 8100.00 | 8100.00 | 12200.00 | 12200.00 | 7500.00 | 7500.00 | 6300.00 | Modern Agencies
3.00 | 1.5 Sq. mm FR-LSH P.V.C. insulated unsheathed bright annealed bare copper conductor single core industrial cables (Coil of 90 Mtr) | 2.00 | Each |  | 1200.00 | 2400.00 | 1234.20 | 2468.40 | 1500.00 | 3000.00 | 1080.00 | 2160.00 | 1265.00 | 2530.00 | 1850.00 | 3700.00 | 1200.00 | 2400.00 | 2160.00 | Bafna Electric Corp
4.00 | 6A, One Way Switch, 240 V, 50Hz | 30.00 | Each |  | 12.00 | 360.00 | 11.47 | 344.10 | 50.00 | 1500.00 | 13.00 | 390.00 | 12.00 | 360.00 | 30.00 | 900.00 | 30.00 | 900.00 | 344.10 | SHREE NURSING TIMBER AND ELECTRIC STORES
5.00 | 6A, 2-in-1 Socket, 240 V, 50Hz | 30.00 | Each |  | 22.00 | 660.00 | 21.14 | 634.20 | 60.00 | 1800.00 | 24.00 | 720.00 | 22.00 | 660.00 | 35.00 | 1050.00 | 35.00 | 1050.00 | 634.20 | SHREE NURSING TIMBER AND ELECTRIC STORES
6.00 | 20A, One Way Switch, 240 V, 50Hz | 20.00 | Each |  | 60.00 | 1200.00 | 58.60 | 1172.00 | 100.00 | 2000.00 | 65.00 | 1300.00 | 60.00 | 1200.00 | 85.00 | 1700.00 | 60.00 | 1200.00 | 1172.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
7.00 | 20A & 10A, Uni Socket, 240 V, 50Hz | 20.00 | Each |  | 65.00 | 1300.00 | 61.62 | 1232.40 | 150.00 | 3000.00 | 69.00 | 1380.00 | 65.00 | 1300.00 | 90.00 | 1800.00 | 70.00 | 1400.00 | 1232.40 | SHREE NURSING TIMBER AND ELECTRIC STORES
8.00 | 6A 3 Pin Super Plug Top, 240 V, 50Hz | 20.00 | Each |  | 45.00 | 900.00 | 41.08 | 821.60 | 70.00 | 1400.00 | 40.00 | 800.00 | 43.00 | 860.00 | 40.00 | 800.00 | 20.00 | 400.00 | 400.00 | M/s Mukesh Enterprises
9.00 | 16A 3 Pin Super Plug Top, 240 V, 50Hz | 20.00 | Each |  | 55.00 | 1100.00 | 54.37 | 1087.40 | 100.00 | 2000.00 | 53.00 | 1060.00 | 57.00 | 1140.00 | 100.00 | 2000.00 | 45.00 | 900.00 | 900.00 | M/s Mukesh Enterprises
10.00 | Indication Lamp (Red), AC, 240V | 30.00 | Each |  | 70.00 | 2100.00 | 85.21 | 2556.30 | 50.00 | 1500.00 | 30.00 | 900.00 | 144.00 | 4320.00 | 220.00 | 6600.00 | 130.00 | 3900.00 | 900.00 | Bafna Electric Corp
11.00 | Indication Lamp (Green), AC, 240V | 15.00 | Each |  | 70.00 | 1050.00 | 85.21 | 1278.15 | 50.00 | 750.00 | 30.00 | 450.00 | 144.00 | 2160.00 | 220.00 | 3300.00 | 130.00 | 1950.00 | 450.00 | Bafna Electric Corp
12.00 | Indication Lamp (Blue), AC, 240V | 30.00 | Each |  | 70.00 | 2100.00 | 144.49 | 4334.70 | 50.00 | 1500.00 | 30.00 | 900.00 | 144.00 | 4320.00 | 250.00 | 7500.00 | 180.00 | 5400.00 | 900.00 | Bafna Electric Corp
13.00 | Indication Lamp (Yellow), AC, 240V | 30.00 | Each |  | 70.00 | 2100.00 | 85.21 | 2556.30 | 50.00 | 1500.00 | 30.00 | 900.00 | 144.00 | 4320.00 | 220.00 | 6600.00 | 130.00 | 3900.00 | 900.00 | Bafna Electric Corp
14.00 | Breakable Coupling for Youyang make fitting | 10.00 | Each |  | 750.00 | 7500.00 | 399.00 | 3990.00 | 100.00 | 1000.00 | 460.00 | 4600.00 | 920.00 | 9200.00 | 550.00 | 5500.00 | 900.00 | 9000.00 | 1000.00 | Anil Kumar Sharma
15.00 | ESSNA connector 6 Sq.mm | 10.00 | Each |  | 400.00 | 4000.00 | 370.50 | 3705.00 | 350.00 | 3500.00 | 350.00 | 3500.00 | 575.00 | 5750.00 | 350.00 | 3500.00 | 350.00 | 3500.00 | 3500.00 | electromach sales agencies, Anil Kumar Sharma, Bafna Electric Corp, M/s Mukesh Enterprises
16.00 | ESSNA connector 16 Sq.mm | 30.00 | Each |  | 500.00 | 15000.00 | 370.50 | 11115.00 | 400.00 | 12000.00 | 350.00 | 10500.00 | 575.00 | 17250.00 | 350.00 | 10500.00 | 350.00 | 10500.00 | 10500.00 | electromach sales agencies, Bafna Electric Corp, M/s Mukesh Enterprises
17.00 | Red glass filter for PAPI (AMA make) | 5.00 | Each |  | 3000.00 | 15000.00 | 3135.00 | 15675.00 | 2400.00 | 12000.00 | 3200.00 | 16000.00 | 4600.00 | 23000.00 | 2500.00 | 12500.00 | 2200.00 | 11000.00 | 11000.00 | M/s Mukesh Enterprises
18.00 | 180' filter- (Red) suitable for existing Fitting of Youyang make. | 20.00 | Each |  | 2200.00 | 44000.00 | 2565.00 | 51300.00 | 2400.00 | 48000.00 | 2300.00 | 46000.00 | 2875.00 | 57500.00 | 1200.00 | 24000.00 | 1800.00 | 36000.00 | 24000.00 | electromach sales agencies
19.00 | 180' filter- (Green) suitable for existing Fitting of Youyang make. | 20.00 | Each |  | 2200.00 | 44000.00 | 2565.00 | 51300.00 | 2400.00 | 48000.00 | 2300.00 | 46000.00 | 2875.00 | 57500.00 | 1200.00 | 24000.00 | 1800.00 | 36000.00 | 24000.00 | electromach sales agencies
20.00 | 180' filter- (Yellow) suitable for existing Fitting of Youyang make. | 30.00 | Each |  | 2200.00 | 66000.00 | 2565.00 | 76950.00 | 2400.00 | 72000.00 | 2300.00 | 69000.00 | 2875.00 | 86250.00 | 1200.00 | 36000.00 | 1800.00 | 54000.00 | 36000.00 | electromach sales agencies
21.00 | 360' Outer Clear Lens suitable for existing Fitting of Youyang make. | 50.00 | Each |  | 2600.00 | 130000.00 | 3135.00 | 156750.00 | 300.00 | 15000.00 | 2900.00 | 145000.00 | 3450.00 | 172500.00 | 1250.00 | 62500.00 | 2300.00 | 115000.00 | 15000.00 | Anil Kumar Sharma
22.00 | 150W, 6.6A Bi-Pin Halogen Lamp suitable for existing runway light fixtures of Youyang make. | 50.00 | Each |  | 700.00 | 35000.00 | 638.40 | 31920.00 | 800.00 | 40000.00 | 775.00 | 38750.00 | 920.00 | 46000.00 | 425.00 | 21250.00 | 400.00 | 20000.00 | 20000.00 | M/s Mukesh Enterprises
23.00 | 200W, 6.6A Bi-Pin Halogen Lamp suitable for existing PAPI of AMA and Youyang Make. | 10.00 | Each |  | 850.00 | 8500.00 | 393.30 | 3933.00 | 800.00 | 8000.00 | 850.00 | 8500.00 | 575.00 | 5750.00 | 425.00 | 4250.00 | 450.00 | 4500.00 | 3933.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
24.00 | Bi-Pin Lamp Holder for 200W, 6.6A Bi-Pin Halogen Lamp. | 10.00 | Each |  | 350.00 | 3500.00 | 285.00 | 2850.00 | 900.00 | 9000.00 | 620.00 | 6200.00 | 402.00 | 4020.00 | 270.00 | 2700.00 | 220.00 | 2200.00 | 2200.00 | M/s Mukesh Enterprises
25.00 | 200 W, 6.6 / 6.6 A Isolation Transformer | 10.00 | Each |  | 3900.00 | 39000.00 | 4389.00 | 43890.00 | 5000.00 | 50000.00 | 4350.00 | 43500.00 | 4600.00 | 46000.00 | 3300.00 | 33000.00 | 4200.00 | 42000.00 | 33000.00 | electromach sales agencies
26.00 | Pre Filter for Smoke Cabin (Make: Smoke Solution) | 4.00 | Each |  | 2200.00 | 8800.00 | 3324.00 | 13296.00 | 3500.00 | 14000.00 | 3300.00 | 13200.00 | 3353.00 | 13412.00 | 3300.00 | 13200.00 | 1500.00 | 6000.00 | 6000.00 | M/s Mukesh Enterprises
27.00 | HEPA Filter for Smoke Cabin (Make: Smoke Solution) | 2.00 | Each |  | 14500.00 | 29000.00 | 24377.00 | 48754.00 | 19500.00 | 39000.00 | 24600.00 | 49200.00 | 24590.00 | 49180.00 | 24000.00 | 48000.00 | 1800.00 | 3600.00 | 3600.00 | M/s Mukesh Enterprises
28.00 | Activated Carban Filter for Smoke Cabin (Make: Smoke Solution) | 2.00 | Each |  | 23000.00 | 46000.00 | 35581.00 | 71162.00 | 35000.00 | 70000.00 | 35900.00 | 71800.00 | 35890.00 | 71780.00 | 36000.00 | 72000.00 | 1800.00 | 3600.00 | 3600.00 | M/s Mukesh Enterprises
29.00 | LED Strip Driver for LED Signages (12V,1.5 A) | 10.00 | Each |  | 250.00 | 2500.00 | 68.40 | 684.00 | 75.00 | 750.00 | 575.00 | 5750.00 | 1380.00 | 13800.00 | 340.00 | 3400.00 | 800.00 | 8000.00 | 684.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
30.00 | LED Strip Driver for LED Signages (12V, 2 A) | 10.00 | Each |  | 300.00 | 3000.00 | 148.20 | 1482.00 | 125.00 | 1250.00 | 575.00 | 5750.00 | 1380.00 | 13800.00 | 340.00 | 3400.00 | 800.00 | 8000.00 | 1250.00 | Anil Kumar Sharma
31.00 | LED Strip Driver for LED Signages (12V, 3 A) | 10.00 | Each |  | 375.00 | 3750.00 | 433.20 | 4332.00 | 200.00 | 2000.00 | 575.00 | 5750.00 | 1495.00 | 14950.00 | 480.00 | 4800.00 | 800.00 | 8000.00 | 2000.00 | Anil Kumar Sharma
32.00 | LED Strip Driver for LED Signages (12V, 5A) | 10.00 | Each |  | 600.00 | 6000.00 | 433.20 | 4332.00 | 300.00 | 3000.00 | 575.00 | 5750.00 | 1610.00 | 16100.00 | 800.00 | 8000.00 | 800.00 | 8000.00 | 3000.00 | Anil Kumar Sharma
33.00 | LED Drivers for 15W recess LED light (Vout - 36 - 65V, Iout - 300mA) | 20.00 | Each |  | 220.00 | 4400.00 | 102.60 | 2052.00 | 110.00 | 2200.00 | 550.00 | 11000.00 | 1380.00 | 27600.00 | 800.00 | 16000.00 | 450.00 | 9000.00 | 2052.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
34.00 | LED Drivers for 12W recess LED light (Vout - 18 - 60V, Iout - 300mA) | 20.00 | Each |  | 235.00 | 4700.00 | 137.00 | 2740.00 | 90.00 | 1800.00 | 550.00 | 11000.00 | 1380.00 | 27600.00 | 800.00 | 16000.00 | 450.00 | 9000.00 | 1800.00 | Anil Kumar Sharma
35.00 | Drivers for 36W LED light panel (Vout - 36V, Iout - 1A) | 15.00 | Each |  | 550.00 | 8250.00 | 570.00 | 8550.00 | 400.00 | 6000.00 | 1100.00 | 16500.00 | 2300.00 | 34500.00 | 1200.00 | 18000.00 | 900.00 | 13500.00 | 6000.00 | Anil Kumar Sharma
36.00 | LED Drivers for 30W LED street light (Vout - 36-65V, Iout - 0.5A) | 15.00 | Each |  | 500.00 | 7500.00 | 1368.00 | 20520.00 | 500.00 | 7500.00 | 1400.00 | 21000.00 | 2875.00 | 43125.00 | 1200.00 | 18000.00 | 1200.00 | 18000.00 | 7500.00 | Modern Agencies, Anil Kumar Sharma
37.00 | LED Drivers for 90W LED street light (Vout - 36-65V, Iout - 0.5A) | 10.00 | Each |  | 1450.00 | 14500.00 | 2280.00 | 22800.00 | 1300.00 | 13000.00 | 1950.00 | 19500.00 | 3450.00 | 34500.00 | 1600.00 | 16000.00 | 1800.00 | 18000.00 | 13000.00 | Anil Kumar Sharma
38.00 | 02 Channel LED Drivers for 150W LED street light (Vout - 44-54V, Iout - 1.5A - per Channel) | 10.00 | Each |  | 1750.00 | 17500.00 | 3419.00 | 34190.00 | 1750.00 | 17500.00 | 3400.00 | 34000.00 | 2300.00 | 23000.00 | 1300.00 | 13000.00 | 2000.00 | 20000.00 | 13000.00 | electromach sales agencies
39.00 | Capacitor 2.5 MFD | 20.00 | Each |  | 20.00 | 400.00 | 19.38 | 387.60 | 50.00 | 1000.00 | 20.00 | 400.00 | 17.00 | 340.00 | 30.00 | 600.00 | 20.00 | 400.00 | 340.00 | Yash Energy Pvt. Ltd
40.00 | Capacitor 3.15 MFD | 20.00 | Each |  | 25.00 | 500.00 | 25.08 | 501.60 | 60.00 | 1200.00 | 25.00 | 500.00 | 20.00 | 400.00 | 35.00 | 700.00 | 30.00 | 600.00 | 400.00 | Yash Energy Pvt. Ltd
41.00 | 240V, 50 Hz, Deluxe Fan Regulator Rotatory Step | 10.00 | Each |  | 175.00 | 1750.00 | 154.67 | 1546.70 | 150.00 | 1500.00 | 186.00 | 1860.00 | 152.00 | 1520.00 | 240.00 | 2400.00 | 180.00 | 1800.00 | 1500.00 | Anil Kumar Sharma
42.00 | 240V, 50 Hz, Mini Fan Regulator Rotatory Step | 10.00 | Each |  | 160.00 | 1600.00 | 137.15 | 1371.50 | 200.00 | 2000.00 | 167.00 | 1670.00 | 170.00 | 1700.00 | 370.00 | 3700.00 | 150.00 | 1500.00 | 1371.50 | SHREE NURSING TIMBER AND ELECTRIC STORES
43.00 | MCB - Single Pole, 10 KA, C Curve , 6A | 20.00 | Each |  | 120.00 | 2400.00 | 121.47 | 2429.40 | 150.00 | 3000.00 | 106.00 | 2120.00 | 126.00 | 2520.00 | 189.00 | 3780.00 | 150.00 | 3000.00 | 2120.00 | Bafna Electric Corp
44.00 | MCB - Single Pole, 10 KA, C Curve , 10A | 20.00 | Each |  | 120.00 | 2400.00 | 121.47 | 2429.40 | 150.00 | 3000.00 | 106.00 | 2120.00 | 126.00 | 2520.00 | 189.00 | 3780.00 | 150.00 | 3000.00 | 2120.00 | Bafna Electric Corp
45.00 | MCB - Single Pole, 10 KA, C Curve , 16 A | 20.00 | Each |  | 125.00 | 2500.00 | 121.47 | 2429.40 | 150.00 | 3000.00 | 106.00 | 2120.00 | 126.00 | 2520.00 | 189.00 | 3780.00 | 150.00 | 3000.00 | 2120.00 | Bafna Electric Corp
46.00 | MCB - Double Pole, 10 KA, C Curve, 20 A | 10.00 | Each |  | 350.00 | 3500.00 | 375.00 | 3750.00 | 250.00 | 2500.00 | 106.00 | 1060.00 | 126.00 | 1260.00 | 640.00 | 6400.00 | 450.00 | 4500.00 | 1060.00 | Bafna Electric Corp
47.00 | MCB - Double Pole, 10 KA, C Curve, 25 A | 10.00 | Each |  | 350.00 | 3500.00 | 375.00 | 3750.00 | 250.00 | 2500.00 | 106.00 | 1060.00 | 126.00 | 1260.00 | 640.00 | 6400.00 | 450.00 | 4500.00 | 1060.00 | Bafna Electric Corp
48.00 | Insect Killer Blue Tube UV Pesto Flash Light | 40.00 | Each |  | 200.00 | 8000.00 | 160.00 | 6400.00 | 200.00 | 8000.00 | 250.00 | 10000.00 | 287.00 | 11480.00 | 500.00 | 20000.00 | 750.00 | 30000.00 | 6400.00 | SHREE NURSING TIMBER AND ELECTRIC STORES
49.00 | Supply of SMF Battery 12 Volt, 65 AH,(Make :- Amaron Quanta Model No. 12AL065 or equivalent) i/c credit for old batteries (2V, 65 AH) etc required | 2.00 | Each |  | 3500.00 | 7000.00 | 4542.00 | 9084.00 | 7000.00 | 14000.00 | 5300.00 | 10600.00 | 5520.00 | 11040.00 | 6300.00 | 12600.00 | 7000.00 | 14000.00 | 7000.00 | Modern Agencies
| Total in Figures |  |  |  |  | 626320.00 |  | 751325.55 |  | 570650.00 |  | 763020.00 |  | 987020.00 |  | 609690.00 |  | 580100.00
Lowest Amount Quoted BY: Anil Kumar Sharma(570650.00)

## BOQ Summary
BOQ Summary Details Tender Title: R and M Electrical Installations at Kangra Airport. SH Supply of Electrical Spares Tender ID: 2021_AAI_67596_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Anil Kumar Sharma | 570650.00 | L1
| 2 | M/s Mukesh Enterprises | 580100.00 | L2
| 3 | electromach sales agencies | 609690.00 | L3
| 4 | Modern Agencies | 626320.00 | L4
| 5 | SHREE NURSING TIMBER AND ELECTRIC STORES | 751325.55 | L5
| 6 | Bafna Electric Corp | 763020.00 | L6
| 7 | Yash Energy Pvt. Ltd | 987020.00 | L7