## BoQ1
Government eProcurement System Created By: PREMJITH LOHI Created Date/Time: 01-Mar-2021 04:56 PM Tender Title: R M of Power supply at Trivandrum Airport during 2020-21 SH Replacement of existing old Batteries at various Power Houses and for 3 x 100 kVA UPS at Trivandrum Airport Tender ID: 2021_AAI_67621_1
Tender Inviting Authority: Asst. General Manager Engg(Elect), EMD-I, Trivandrum Airport
Name of Work: R/M of Power supply at Trivandrum Airport during 2020-21. SH - Replacement of existing old Batteries at various Power Houses and for 3 x 100 kVA UPS at Trivandrum Airport
Contract No: <2021_AAI_67621>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LATTA INNOVATIONS PVT LTD(GSTN-32AADCL5149B1ZZ) |  | INFONPOWER SYSTEMS PVT LTD(GSTN-29AAECI5109D1ZS) |  | PERFECT ENERGY(GSTN-33ANWPP4426C1ZW)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
2.00 | Supply of fully charged 12 V ,100AH VRLA Battery (Type: SMF) fully charged condition containing 36 Nos in each bank, including interconnection of battery bank and UPS, nut & bolt etc complete as required. (36*3=108Nos). ( Make : Amara raja Model : Power stack or equivalent as per AAI approved makes | 108.00 | Nos |  | 6556.00 | 708048.00 | 6066.00 | 655128.00 | 5800.00 | 626400.00 | 626400.00 | PERFECT ENERGY
3.00 | Supply of fully charged 2 V ,100AH for use as 110V, 100Ah battery bank comprising of VRLA Battery (Type: SMF) including rack - acid resistant self stackable MS trays, interconnections with suitable size heavy duty lead plated copper connectors,nut & bolt etc complete as required. (Make : Amara raja Model : Power stack /Make : EXIDE Model : UPST 100 or equivalent as per AAI Approved Makes ) | 55.00 | Nos |  | 1661.00 | 91355.00 | 1980.00 | 108900.00 | 1800.00 | 99000.00 | 91355.00 | LATTA INNOVATIONS PVT LTD
4.00 | Supply of fully charged 2 V ,100AH for use as 30V, 100Ah battery bank comprising of VRLA Battery (Type: SMF) including rack - acid resistant self stackable MS trays, interconnections with suitable size heavy duty lead plated copper connectors,nut & bolt etc complete as required. (Make : Amara raja Model : Power stack /Make : EXIDE Model : UPST 100 or equivalent as per AAI Approved Makes ) | 15.00 | Nos |  | 1661.00 | 24915.00 | 1980.00 | 29700.00 | 1800.00 | 27000.00 | 24915.00 | LATTA INNOVATIONS PVT LTD
5.00 | Supply of fully charged 2 V ,100AH for use as 24V, 100Ah battery bank comprising of VRLA Battery (Type: SMF) including rack - acid resistant self stackable MS trays, interconnections with suitable size heavy duty lead plated copper connectors,nut & bolt etc complete as required. (Make : Amara raja Model : Power stack /Make : EXIDE Model : UPST 100 or equivalent as per AAI Approved Makes ) | 12.00 | Nos |  | 1661.00 | 19932.00 | 1980.00 | 23760.00 | 1800.00 | 21600.00 | 19932.00 | LATTA INNOVATIONS PVT LTD
6.00 | Supply of fully charged 12V , 26AH VRLA Battery (Type: SMF) for UPS System | 6.00 | Nos |  | 2175.00 | 13050.00 | 2070.00 | 12420.00 | 1825.00 | 10950.00 | 10950.00 | PERFECT ENERGY
7.00 | Supply of fully charged 12 V,42 AH , VRLA Battery (Type: SMF) for Fire Alarm system ups backup and Traffic signal lights at operational area. | 6.00 | Nos |  | 3333.00 | 19998.00 | 3060.00 | 18360.00 | 2800.00 | 16800.00 | 16800.00 | PERFECT ENERGY
8.00 | Supply of fully charged 12V 18 AH VRLA Battery (Type: SMF) for Lifts. | 9.00 | Nos |  | 1717.00 | 15453.00 | 1701.00 | 15309.00 | 1475.00 | 13275.00 | 13275.00 | PERFECT ENERGY
9.00 | Supply of fully charged 12V 7 AH VRLA Battery (Type: SMF) for Lifts. | 4.00 | Nos |  | 585.00 | 2340.00 | 810.00 | 3240.00 | 650.00 | 2600.00 | 2340.00 | LATTA INNOVATIONS PVT LTD
10.00 | Supply of fully charged 12V 180 AH VRLA Battery (Type: SMF) | 3.00 | Nos |  | 14250.00 | 42750.00 | 11700.00 | 35100.00 | 12700.00 | 38100.00 | 35100.00 | INFONPOWER SYSTEMS PVT LTD
11.00 | Less for buy back of old battery 12 V ,100AH VRLA Battery (Type: SMF)( Excluding Rack & Interconnection Cables). | 108.00 | Nos |  | 2250.00 | 243000.00 | 1890.00 | 204120.00 | 2050.00 | 221400.00 | 204120.00 | INFONPOWER SYSTEMS PVT LTD
12.00 | Less for buy back of old battery 2V,100 AH, VRLA Battery (Type: SMF) | 82.00 | Nos |  | 423.73 | 34745.86 | 243.00 | 19926.00 | 350.00 | 28700.00 | 19926.00 | INFONPOWER SYSTEMS PVT LTD
13.00 | Less for buy back of old battery 12V ,26AH VRLA Battery (Type: SMF) | 6.00 | Nos |  | 550.84 | 3305.04 | 405.00 | 2430.00 | 450.00 | 2700.00 | 2430.00 | INFONPOWER SYSTEMS PVT LTD
14.00 | Less for buy back of old battery 12V , 42 AH Battery (Type: SMF) | 2.00 | Nos |  | 932.20 | 1864.40 | 630.00 | 1260.00 | 900.00 | 1800.00 | 1260.00 | INFONPOWER SYSTEMS PVT LTD
15.00 | Less for buy back of old battery 12V 18 AH SMF battery (Type: SMF) | 9.00 | Nos |  | 296.61 | 2669.49 | 225.00 | 2025.00 | 250.00 | 2250.00 | 2025.00 | INFONPOWER SYSTEMS PVT LTD
16.00 | Less for buy back of old battery 12V 7 AH SMF battery (Type: SMF) | 4.00 | Nos |  | 101.70 | 406.80 | 72.00 | 288.00 | 100.00 | 400.00 | 288.00 | INFONPOWER SYSTEMS PVT LTD
17.00 | Less for buy back of old battery 12V ,180 AH Battery (Type: SMF) | 2.00 | Nos |  | 2116.84 | 4233.68 | 2970.00 | 5940.00 | 2500.00 | 5000.00 | 4233.68 | LATTA INNOVATIONS PVT LTD
| Total in Figures |  |  |  |  | 1228066.27 |  | 1137906.00 |  | 1117975.00
Lowest Amount Quoted BY: PERFECT ENERGY(1117975.00)

## BOQ Summary
BOQ Summary Details Tender Title: R M of Power supply at Trivandrum Airport during 2020-21 SH Replacement of existing old Batteries at various Power Houses and for 3 x 100 kVA UPS at Trivandrum Airport Tender ID: 2021_AAI_67621_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PERFECT ENERGY | 1117975.00 | L1
| 2 | INFONPOWER SYSTEMS PVT LTD | 1137906.00 | L2
| 3 | LATTA INNOVATIONS PVT LTD | 1228066.27 | L3