## BoQ1
Government eProcurement System Created By: KAMALAKANNAN RAVIKUMAR Created Date/Time: 10-Mar-2021 12:19 PM Tender Title: Provision of SCCTV System at Chennai Airport Tender ID: 2021_AAI_67744_1
Tender Inviting Authority: Jt.General Manager (AS), Department of Airport Systems, Opertaional Offices,Meenambakkam, Chennai-600027.
Name of Work: Provision of SCCTV System at Chennai Airport..
Contract No: AAM/AS/CH/SCCTV/2020
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | COMPUTER TRANSWORLD IT PVT LTD(GSTN-33AADCC4595N1Z9) |  | RG TECH SOLUTIONS(GSTN-33AAVFR7991Q1ZU) |  | Yercaud Electronics Pvt Ltd(GSTN-33AAACY0307R1Z8)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I:CCTV Systems at MT Section
2.00 | Supply of Out door HD colour IP Fixed Bullet Camera 2MP WDR 1/2.8" or 1/3" or better progressive scan CMOS, Day/Night, Varifocal/motorized Lens, POE Support, 30Meter IR, IP 66, POE/12V/24VAC as per specifications. | 6.00 | Nos | 1.00 | 13800.00 | 82800.00 | 15800.00 | 94800.00 | 13824.00 | 82944.00 | 82800.00 | COMPUTER TRANSWORLD IT PVT LTD
3.00 | Supply of 2.0 Megapixel Varifocal Indoor Fixed Colour Dome Camera with Indoor housing (IP54) and with necessary accessories etc., as per specifications | 6.00 | Nos | 1.00 | 13800.00 | 82800.00 | 15800.00 | 94800.00 | 13824.00 | 82944.00 | 82800.00 | COMPUTER TRANSWORLD IT PVT LTD
4.00 | Supply of 8 Channel NVR with VMS, populated with minimum 4 TB, Support of ONVIF protocal as per specifications. Note: NVR and Cameras are synonymous in these specifications. | 1.00 | No | 1.00 | 26000.00 | 26000.00 | 18800.00 | 18800.00 | 25218.00 | 25218.00 | 18800.00 | RG TECH SOLUTIONS
5.00 | Supply of 4 pair Cat 6 UTP Cable ISI certified, 305 Mtr/box. | 2.00 | Boxes | 1.00 | 6500.00 | 13000.00 | 5650.00 | 11300.00 | 5519.00 | 11038.00 | 11038.00 | Yercaud Electronics Pvt Ltd
6.00 | Supply of 6 core SMF optical fiber communication outdoor cable as per specifactions. | 600.00 | Mtrs | 1.00 | 45.00 | 27000.00 | 33.00 | 19800.00 | 23.00 | 13800.00 | 13800.00 | Yercaud Electronics Pvt Ltd
7.00 | Supply of 55" Full HD LED display ,VGA & HDMI Input with wall mount and accessories as required at site. | 1.00 | No | 1.00 | 65000.00 | 65000.00 | 73000.00 | 73000.00 | 120750.00 | 120750.00 | 65000.00 | COMPUTER TRANSWORLD IT PVT LTD
8.00 | Supply of 6U Rack with power manager, 3nos 5 AMP Socket with switch, Lock & key and necessary accessories as required at site. | 2.00 | Nos | 1.00 | 6500.00 | 13000.00 | 4550.00 | 9100.00 | 4509.00 | 9018.00 | 9018.00 | Yercaud Electronics Pvt Ltd
9.00 | Supply of 8 Port Gigabit POE switch with 2 x 1G Optical Interface SFP+ Ports, SFP populated with same OEM make. | 2.00 | Nos | 1.00 | 12500.00 | 25000.00 | 22500.00 | 45000.00 | 16658.00 | 33316.00 | 25000.00 | COMPUTER TRANSWORLD IT PVT LTD
10.00 | Supply of 24 Port Single Mode SC Type LIU Fully Loaded. | 2.00 | Nos | 1.00 | 11000.00 | 22000.00 | 9570.00 | 19140.00 | 8100.00 | 16200.00 | 16200.00 | Yercaud Electronics Pvt Ltd
11.00 | Supply of 1.5" PVC conduit/Casing capping , ISI Certified | 100.00 | Mtrs | 1.00 | 45.00 | 4500.00 | 50.00 | 5000.00 | 13.00 | 1300.00 | 1300.00 | Yercaud Electronics Pvt Ltd
12.00 | Supply of 600 VA UPS with Min15 minutes backup | 2.00 | Nos | 1.00 | 2500.00 | 5000.00 | 3950.00 | 7900.00 | 3240.00 | 6480.00 | 5000.00 | COMPUTER TRANSWORLD IT PVT LTD
13.00 | Fixing/Laying of 50 mm HDPE pipe on wall/surface/ ceiling/terrace/trench with necessary fixing accessories clamps ,screws, bolt/nuts, etc., as required at site. (AAI will provide 50mm HDPE pipe from AAI store) | 600.00 | Mtrs | 1.00 | 65.00 | 39000.00 | 45.00 | 27000.00 | 12.00 | 7200.00 | 7200.00 | Yercaud Electronics Pvt Ltd
14.00 | Laying of OFC Cable through HDPE on wall/surface/ceiling/terrace/trench with necessary fixing accessories clamps ,screws, bolt/nuts, etc.,as required at site. | 600.00 | Mtrs | 1.00 | 25.00 | 15000.00 | 20.00 | 12000.00 | 12.00 | 7200.00 | 7200.00 | Yercaud Electronics Pvt Ltd
15.00 | Installation, Fixing, Testing & Commissioning charges of Cameras, NVR, Monitors,Switches , Rack with necessary mount,Patch card,OFCTermination, accessories, supporting clamps ,screws, bolt/nuts, etc., as per site requirement for all the devices/equipments for complete CCTV Installation & functioning. | 1.00 | job | 1.00 | 17500.00 | 17500.00 | 15000.00 | 15000.00 | 44000.00 | 44000.00 | 15000.00 | RG TECH SOLUTIONS
16.00 | SH-II:CCTV for Gate No.03 & 08B
17.00 | Supply of Out door HD colour IP Fixed Bullet Camera 2MP WDR 1/2.8" or 1/3" or better progressive scan CMOS, Day/Night, Varifocal/motorized Lens, POE Support, 30Meter IR, IP 66, POE/12V/24VAC (prefered make: INFINOVA, AXIS,BOSCH, Panasonic, Honeywell,Tyco) as per specifications. | 4.00 | Nos | 1.00 | 13800.00 | 55200.00 | 15800.00 | 63200.00 | 13824.00 | 55296.00 | 55200.00 | COMPUTER TRANSWORLD IT PVT LTD
18.00 | Supply of 8 Channel NVR with VMS, populated with minimum 4 TB, Support of ONVIF protocal as per specifications. (prefered make : INFINOVA, AXIS,BOSCH, Panasonic, Honeywell,Tyco) Note: NVR and Cameras are synonymous in these specifications. | 2.00 | Nos | 1.00 | 26000.00 | 52000.00 | 18800.00 | 37600.00 | 25218.00 | 50436.00 | 37600.00 | RG TECH SOLUTIONS
19.00 | Supply of 8 Port Gigabit POE switch with 2 x 1G Optical Interface SFP+ Ports, SFP populated with same OEM make. | 2.00 | Nos | 1.00 | 12500.00 | 25000.00 | 22500.00 | 45000.00 | 16658.00 | 33316.00 | 25000.00 | COMPUTER TRANSWORLD IT PVT LTD
20.00 | Supply of 32" Full HD LED display, VGA & HDMI Input (preferred make: Sanyo, SONY, LG, Panasonic, Samsung, Philips) with wall mount accessories as required at site. | 2.00 | Nos | 1.00 | 32000.00 | 64000.00 | 24500.00 | 49000.00 | 23100.00 | 46200.00 | 46200.00 | Yercaud Electronics Pvt Ltd
21.00 | Supply of 600 VA UPS with Min15 minutes backup | 2.00 | Nos | 1.00 | 2500.00 | 5000.00 | 3950.00 | 7900.00 | 3240.00 | 6480.00 | 5000.00 | COMPUTER TRANSWORLD IT PVT LTD
22.00 | Supply of 4 pair Cat 6 UTP Cable ISI certified, 305 Mtr/box. | 2.00 | Boxes | 1.00 | 6500.00 | 13000.00 | 5650.00 | 11300.00 | 5519.00 | 11038.00 | 11038.00 | Yercaud Electronics Pvt Ltd
23.00 | Supply of 6U Rack with power manager, 3nos 5 AMP Socket with switch, Lock & key and necessary accessories as required at site. | 2.00 | Nos | 1.00 | 6500.00 | 13000.00 | 4550.00 | 9100.00 | 4509.00 | 9018.00 | 9018.00 | Yercaud Electronics Pvt Ltd
24.00 | Supply of 1 .5" PVC conduit/Casing capping , ISI Certified | 100.00 | Mtrs | 1.00 | 45.00 | 4500.00 | 50.00 | 5000.00 | 13.00 | 1300.00 | 1300.00 | Yercaud Electronics Pvt Ltd
25.00 | Installation, Fixing, Testing & Commissioning charges of Cameras, NVR, Monitors,Switches , Rack with necessary mount,Patch card,OFCTermination, accessories, supporting clamps ,screws, bolt/nuts, etc., as per site requirement for all the devices/equipments for complete CCTV Installation & functioning. | 1.00 | Job | 1.00 | 12500.00 | 12500.00 | 12500.00 | 12500.00 | 25000.00 | 25000.00 | 12500.00 | COMPUTER TRANSWORLD IT PVT LTD, RG TECH SOLUTIONS
| Total in Figures |  |  |  |  | 681800.00 |  | 693240.00 |  | 699492.00
Lowest Amount Quoted BY: COMPUTER TRANSWORLD IT PVT LTD(681800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of SCCTV System at Chennai Airport Tender ID: 2021_AAI_67744_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | COMPUTER TRANSWORLD IT PVT LTD | 681800.00 | L1
| 2 | RG TECH SOLUTIONS | 693240.00 | L2
| 3 | Yercaud Electronics Pvt Ltd | 699492.00 | L3