## BoQ1
Government eProcurement System Created By: ABHASH KUMAR GOSWAMI Created Date/Time: 18-Feb-2021 12:56 PM Tender Title: Provision of room in Basement of C-Block, Rajiv Gandhi Bhawan Tender ID: 2021_AAI_67787_1
Tender Inviting Authority: Asstt. General Manager (Engg.-Civil)-IMU
Name of Work: Execution of Project Affinity - Providing MPLS-VPN Services at Airports Authority of India. SH : Provision of room in Basement of C-Block, Rajiv Gandhi Bhawan, New Delhi.
Contract No: (2021_AAI_67787_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SAMTA INTERIORS(GSTN-07AALPB7815K1ZJ) |  | kailash chawla(GSTN-07ADYPC8838P1ZG) |  | BALVIR SINGH AND SONS(GSTN-NA) |  | MUKESH KUMAR VERMA(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : Civil Works
1.01 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately). (A) Kiln seasoned and chemically treated hollock wood | .06 | cum |  | 57000.00 | 3420.00 | 30000.00 | 1800.00 | 65000.00 | 3900.00 | 64000.00 | 3840.00 | 1800.00 | kailash chawla
1.02 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: (a) 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 2.50 | sqm |  | 1700.00 | 4250.00 | 950.00 | 2375.00 | 1900.00 | 4750.00 | 1400.00 | 3500.00 | 2375.00 | kailash chawla
1.03 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 6.00 | sqm |  | 130.00 | 780.00 | 100.00 | 600.00 | 360.00 | 2160.00 | 280.00 | 1680.00 | 600.00 | kailash chawla
1.04 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : (a) 300x16 mm | 2.00 | each |  | 150.00 | 300.00 | 100.00 | 200.00 | 257.00 | 514.00 | 168.00 | 336.00 | 200.00 | kailash chawla
1.05 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : (a) 250x10 mm | 2.00 | each |  | 60.00 | 120.00 | 50.00 | 100.00 | 135.00 | 270.00 | 73.00 | 146.00 | 100.00 | kailash chawla
1.06 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 1.00 | no. |  | 600.00 | 600.00 | 600.00 | 600.00 | 700.00 | 700.00 | 840.00 | 840.00 | 600.00 | SAMTA INTERIORS, kailash chawla
1.07 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : (a) 125 mm | 2.00 | no. |  | 35.00 | 70.00 | 35.00 | 70.00 | 97.00 | 194.00 | 25.00 | 50.00 | 50.00 | MUKESH KUMAR VERMA
1.08 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. (a) Twin rubber stopper | 2.00 | each |  | 40.00 | 80.00 | 40.00 | 80.00 | 85.00 | 170.00 | 46.00 | 92.00 | 80.00 | SAMTA INTERIORS, kailash chawla
1.09 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. (A) 75 mm overall thickness partition with 12.5 mm thick double skin fire rated board conforming to IS: 2095: part I | 100.00 | sqm |  | 1150.00 | 115000.00 | 1200.00 | 120000.00 | 1375.00 | 137500.00 | 1200.00 | 120000.00 | 115000.00 | SAMTA INTERIORS
1.10 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. (A) 1.0 mm thick | 200.00 | sqm |  | 520.00 | 104000.00 | 350.00 | 70000.00 | 525.00 | 105000.00 | 570.00 | 114000.00 | 70000.00 | kailash chawla
1.11 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. (a) Size of Tile 600x600 mm | 105.00 | sqm |  | 780.00 | 81900.00 | 900.00 | 94500.00 | 1015.00 | 106575.00 | 1000.00 | 105000.00 | 81900.00 | SAMTA INTERIORS
1.12 | Providing, assembling and placing in position of sliding tile based modular work station (of make Godrej /Durian) of size 1500 mm W1( + 10 mm ) X 1500 mm W2 ( + 10 mm ) x 595 mm D (+ 5 mm ) as approved by Engineer-in-Charge or his Authorized representative having free standing partition of 1200 mm height & minimum of 65 to 67 mm thick. Partition inner frame should be of 1.1 - 1.2 mm thick mild steel. Horizontal and vertical trims are made out of 1 mm thick extruded aluminium. All panels / trims shall have coating of 50 microns powder coating. Aluminium trims are elegantly fixed with special fixtures in the partition. The frame work shall be fitted with 9mm thick pre laminated particle tiles of approved shade. Partition shall have provision for pin up board with fabric / white marker / laminated of approved shade. Partition framework shall have adequate provisions for the movement of electric data cables at desired 2 levels, one at skirting and another above / below the table top. The complete partitioning work shall be carried out as per the approved drawing. Tabletop for the workstation made up of 2.5mm thick pre laminated particle board of approved shade. The worktop shall be supported on minimum 2mm thick powder coated CRCA brackets and side panels. Sides's panels should be made from 18mm thick pre laminated particle board of approved shade. All working or non woking edges shall be provided with machine pressed 2mm thick PVC edging using special hot melt glue at hot temprature. Provision of one PVC keyboard tray and metal CPU trolley with lockable castors for each seating. Also a provision of mobile pedestal unit (size L-400mm x D-450mm x H-600mm) with a combination of 2 drawer & one filing drawer. The pedastal storage unit shall be made of 18mm thick prelaminated particle board with provision of handles and central locking arrangement. Note: All partitions and side panels have levelling screws for adjustment in case of Uneven floor to take care of +/- 10mm of uneven flooring | 12.00 | each |  | 40000.00 | 480000.00 | 39500.00 | 474000.00 | 47297.00 | 567564.00 | 45000.00 | 540000.00 | 474000.00 | kailash chawla
1.13 | Providing and fixing of Dorset make rose finish door lock with handle set/cylinder/handleset of model NIKA (Dorset ) etc complete as directed by Engineer-in-charge. | 1.00 | Each |  | 2300.00 | 2300.00 | 1500.00 | 1500.00 | 2700.00 | 2700.00 | 1500.00 | 1500.00 | 1500.00 | MUKESH KUMAR VERMA, kailash chawla
2.00 | Supplying and installation of chairs at all floors as per requirement mention below to match with the respective tables complete as per manufacture specification and direction and satisfaction of Engineer-in-charge. The supplier shall have to submit one year guaranty for any defects and the defective chair is to be replaced with a new chair.
2.01 | High back revolving executive Meshback chair of model Pulse HB of Godrej / JORDON of Durian. | 2.00 | each |  | 11000.00 | 22000.00 | 10000.00 | 20000.00 | 13365.00 | 26730.00 | 10000.00 | 20000.00 | 20000.00 | MUKESH KUMAR VERMA, kailash chawla
2.02 | Medium back revolving Meshback chair of model Pulse MB of Godrej / JORDON of Durian | 16.00 | each |  | 10400.00 | 166400.00 | 7500.00 | 120000.00 | 12557.00 | 200912.00 | 8000.00 | 128000.00 | 120000.00 | kailash chawla
3.00 | SH-II : Electrical Works
3.01 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and Earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required Group C | 20.00 | Pt. |  | 1150.00 | 23000.00 | 935.00 | 18700.00 | 487.00 | 9740.00 | 700.00 | 14000.00 | 9740.00 | BALVIR SINGH AND SONS
3.02 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel/PVC conduit including dismantling as required. Group C | 20.00 | Pt. |  | 630.00 | 12600.00 | 575.00 | 11500.00 | 135.00 | 2700.00 | 850.00 | 17000.00 | 2700.00 | BALVIR SINGH AND SONS
3.03 | Wiring for light / power plug with 2 x 4 sq.mm, FRLS,PVC insulated, copper conductor, single core cable in surface / recessed steel conduit along with 1 no. 4.0 sq mm FRLS , PVC insulated copper wire for loop Earthing as required. | 80.00 | Mtr. |  | 245.00 | 19600.00 | 230.00 | 18400.00 | 155.00 | 12400.00 | 90.00 | 7200.00 | 7200.00 | MUKESH KUMAR VERMA
3.04 | Wiring for light / power plug with 4 x 4 sq.mm, FRLS,PVC insulated, copper conductor, single core cable in surface / recessed steel conduit along with 2 no. 4.0 sq mm FRLS , PVC insulated copper wire for loop Earthing as required. | 80.00 | Mtr. |  | 360.00 | 28800.00 | 350.00 | 28000.00 | 295.00 | 23600.00 | 130.00 | 10400.00 | 10400.00 | MUKESH KUMAR VERMA
4.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required
4.01 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 80.00 | Mtr. |  | 197.00 | 15760.00 | 165.00 | 13200.00 | 165.00 | 13200.00 | 70.00 | 5600.00 | 5600.00 | MUKESH KUMAR VERMA
4.02 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 120.00 | Mtr. |  | 215.00 | 25800.00 | 185.00 | 22200.00 | 305.00 | 36600.00 | 100.00 | 12000.00 | 12000.00 | MUKESH KUMAR VERMA
4.03 | 4 X 2.5 sq. mm + 2 X 2.5 sq. mm earth wire | 120.00 | Mtr. |  | 316.00 | 37920.00 | 285.00 | 34200.00 | 375.00 | 45000.00 | 160.00 | 19200.00 | 19200.00 | MUKESH KUMAR VERMA
5.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.
5.01 | 3 x 1.5 sq. mm | 100.00 | Mtr. |  | 50.00 | 5000.00 | 45.00 | 4500.00 | 120.00 | 12000.00 | 65.00 | 6500.00 | 4500.00 | kailash chawla
5.02 | 3x 2.5sq.mm. | 100.00 | Mtr. |  | 70.00 | 7000.00 | 60.00 | 6000.00 | 135.00 | 13500.00 | 90.00 | 9000.00 | 6000.00 | kailash chawla
5.03 | 3x 4sq.mm. | 100.00 | Mtr. |  | 106.00 | 10600.00 | 100.00 | 10000.00 | 207.00 | 20700.00 | 110.00 | 11000.00 | 10000.00 | kailash chawla
5.04 | 6x 1.5sq.mm. | 50.00 | Mtr. |  | 91.00 | 4550.00 | 85.00 | 4250.00 | 175.00 | 8750.00 | 140.00 | 7000.00 | 4250.00 | kailash chawla
5.05 | 6x 2.5sq.mm. | 50.00 | Mtr. |  | 128.00 | 6400.00 | 128.00 | 6400.00 | 255.00 | 12750.00 | 170.00 | 8500.00 | 6400.00 | SAMTA INTERIORS, kailash chawla
5.06 | 6x 4sq.mm. | 50.00 | Mtr. |  | 199.00 | 9950.00 | 190.00 | 9500.00 | 385.00 | 19250.00 | 200.00 | 10000.00 | 9500.00 | kailash chawla
6.00 | Supplying and fixing of following sizes and type of conduit along with the accessories in surface /recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.
6.01 | 20 mm, Steel Conduit | 50.00 | Mtr. |  | 139.00 | 6950.00 | 160.00 | 8000.00 | 85.00 | 4250.00 | 60.00 | 3000.00 | 3000.00 | MUKESH KUMAR VERMA
6.02 | 25 mm , Steel Conduit | 50.00 | Mtr. |  | 155.00 | 7750.00 | 175.00 | 8750.00 | 120.00 | 6000.00 | 65.00 | 3250.00 | 3250.00 | MUKESH KUMAR VERMA
6.03 | 32 mm , Steel Conduit | 50.00 | Mtr. |  | 190.00 | 9500.00 | 200.00 | 10000.00 | 185.00 | 9250.00 | 130.00 | 6500.00 | 6500.00 | MUKESH KUMAR VERMA
6.04 | 20 mm, PVC Conduit (Medium Mechanical Stress) | 50.00 | Mtr. |  | 82.00 | 4100.00 | 76.00 | 3800.00 | 55.00 | 2750.00 | 75.00 | 3750.00 | 2750.00 | BALVIR SINGH AND SONS
6.05 | 25 mm , PVC Conduit (Medium Mechanical Stress) | 50.00 | Mtr. |  | 88.00 | 4400.00 | 84.00 | 4200.00 | 85.00 | 4250.00 | 90.00 | 4500.00 | 4200.00 | kailash chawla
6.06 | 32 mm, PVC Conduit (Medium Mechanical Stress) | 50.00 | Mtr. |  | 90.00 | 4500.00 | 95.00 | 4750.00 | 150.00 | 7500.00 | 110.00 | 5500.00 | 4500.00 | SAMTA INTERIORS
7.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc. as required
7.01 | 01 or 02 module (75mmx75mm) | 5.00 | No. |  | 234.00 | 1170.00 | 250.00 | 1250.00 | 90.00 | 450.00 | 60.00 | 300.00 | 300.00 | MUKESH KUMAR VERMA
7.02 | 03 module (100mmx75mm) | 5.00 | No. |  | 256.00 | 1280.00 | 265.00 | 1325.00 | 160.00 | 800.00 | 70.00 | 350.00 | 350.00 | MUKESH KUMAR VERMA
7.03 | 04 module (125mmx75mm) | 10.00 | No. |  | 273.00 | 2730.00 | 299.00 | 2990.00 | 220.00 | 2200.00 | 80.00 | 800.00 | 800.00 | MUKESH KUMAR VERMA
7.04 | 06 module (200mmx75mm) | 10.00 | No. |  | 314.00 | 3140.00 | 440.00 | 4400.00 | 255.00 | 2550.00 | 90.00 | 900.00 | 900.00 | MUKESH KUMAR VERMA
7.05 | 08 module (125mmx125mm) | 2.00 | No. |  | 357.00 | 714.00 | 500.00 | 1000.00 | 300.00 | 600.00 | 110.00 | 220.00 | 220.00 | MUKESH KUMAR VERMA
7.06 | 12 module (200mmx150mm) | 2.00 | No. |  | 402.00 | 804.00 | 570.00 | 1140.00 | 350.00 | 700.00 | 140.00 | 280.00 | 280.00 | MUKESH KUMAR VERMA
8.00 | Supply and fixing of following modular switch/ socket/ accessories on the existing modular plate and switch box i/c connection but excluding modular plate etc. as required.
8.01 | 01 module telephone jack with shutter | 10.00 | No. |  | 110.00 | 1100.00 | 175.00 | 1750.00 | 225.00 | 2250.00 | 210.00 | 2100.00 | 1100.00 | SAMTA INTERIORS
8.02 | 01 module blanking plate | 10.00 | No. |  | 30.00 | 300.00 | 58.00 | 580.00 | 60.00 | 600.00 | 25.00 | 250.00 | 250.00 | MUKESH KUMAR VERMA
8.03 | 10 Amp. One way module switch | 10.00 | No. |  | 115.00 | 1150.00 | 95.00 | 950.00 | 130.00 | 1300.00 | 50.00 | 500.00 | 500.00 | MUKESH KUMAR VERMA
8.04 | 16 Amp. One way module switch | 40.00 | No. |  | 122.00 | 4880.00 | 185.00 | 7400.00 | 150.00 | 6000.00 | 75.00 | 3000.00 | 3000.00 | MUKESH KUMAR VERMA
8.05 | 6 Amp. Modular type socket | 10.00 | No. |  | 81.00 | 810.00 | 145.00 | 1450.00 | 95.00 | 950.00 | 70.00 | 700.00 | 700.00 | MUKESH KUMAR VERMA
8.06 | 6/16 Amp. Modular type socket | 40.00 | No. |  | 160.00 | 6400.00 | 235.00 | 9400.00 | 125.00 | 5000.00 | 100.00 | 4000.00 | 4000.00 | MUKESH KUMAR VERMA
9.00 | Supplying & fixing suitable size GI box with modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, "C" curve including connections, painting etc. as required. | 10.00 | No. |  | 545.00 | 5450.00 | 140.00 | 1400.00 | 1900.00 | 19000.00 | 160.00 | 1600.00 | 1400.00 | kailash chawla
10.00 | Providing & fixing of following size of DLP plastic U-PVC trunking (Make: Legrand) of following items i/c accessories as required.
10.01 | Plastic trunking without cover 105 mm X 50 mm | 115.00 | Mtr. |  | 450.00 | 51750.00 | 600.00 | 69000.00 | 495.00 | 56925.00 | 270.00 | 31050.00 | 31050.00 | MUKESH KUMAR VERMA
10.02 | Flexible cover 85mm width | 110.00 | Mtr. |  | 203.00 | 22330.00 | 240.00 | 26400.00 | 330.00 | 36300.00 | 100.00 | 11000.00 | 11000.00 | MUKESH KUMAR VERMA
10.03 | Separation (suitable for trunking size 105mmx50mm) | 50.00 | Mtr. |  | 118.00 | 5900.00 | 185.00 | 9250.00 | 175.00 | 8750.00 | 300.00 | 15000.00 | 5900.00 | SAMTA INTERIORS
10.04 | End caps (suitable for trunking size 105mmx50mm) | 20.00 | each |  | 92.00 | 1840.00 | 150.00 | 3000.00 | 275.00 | 5500.00 | 70.00 | 1400.00 | 1400.00 | MUKESH KUMAR VERMA
10.05 | Flat Angle (suitable for trunking size 105mmx50mm) | 10.00 | each |  | 370.00 | 3700.00 | 490.00 | 4900.00 | 400.00 | 4000.00 | 80.00 | 800.00 | 800.00 | MUKESH KUMAR VERMA
10.06 | Internal angle, adjustable from 80° to 100° (suitable for trunking size 150mmx50mm) | 10.00 | each |  | 256.00 | 2560.00 | 330.00 | 3300.00 | 400.00 | 4000.00 | 350.00 | 3500.00 | 2560.00 | SAMTA INTERIORS
10.07 | Plastic trunking with cover & without central partition 32 mm X 20 mm | 50.00 | Mtr. |  | 88.00 | 4400.00 | 140.00 | 7000.00 | 345.00 | 17250.00 | 55.00 | 2750.00 | 2750.00 | MUKESH KUMAR VERMA
10.08 | End caps (suitable for trunking size 32mmx20mm) | 20.00 | each |  | 69.00 | 1380.00 | 125.00 | 2500.00 | 120.00 | 2400.00 | 50.00 | 1000.00 | 1000.00 | MUKESH KUMAR VERMA
10.09 | Flat Angle (suitable for trunking size 32mmx20mm) | 5.00 | each |  | 66.00 | 330.00 | 102.00 | 510.00 | 125.00 | 625.00 | 60.00 | 300.00 | 300.00 | MUKESH KUMAR VERMA
10.10 | Internal external Angle (suitable for trunking size 32mmx20mm) | 5.00 | each |  | 52.00 | 260.00 | 120.00 | 600.00 | 110.00 | 550.00 | 55.00 | 275.00 | 260.00 | SAMTA INTERIORS
11.00 | Supplying and fixing following Modular base , cover plate & insulation unit DLP trunking (for 85 mm cover) etc. as required. (MAKE: Legrand)
11.01 | 1 or 2 Module (Cat No. 0109 22) | 30.00 | Each |  | 88.00 | 2640.00 | 135.00 | 4050.00 | 175.00 | 5250.00 | 110.00 | 3300.00 | 2640.00 | SAMTA INTERIORS
11.02 | 3 Module (Cat No. 0109 32) | 10.00 | Each |  | 129.00 | 1290.00 | 172.00 | 1720.00 | 185.00 | 1850.00 | 140.00 | 1400.00 | 1290.00 | SAMTA INTERIORS
11.03 | 4 Module (Cat No. 0109 42) | 20.00 | Each |  | 132.00 | 2640.00 | 170.00 | 3400.00 | 215.00 | 4300.00 | 180.00 | 3600.00 | 2640.00 | SAMTA INTERIORS
11.04 | 6 Module (Cat No. 0109 62) | 20.00 | Each |  | 174.00 | 3480.00 | 240.00 | 4800.00 | 295.00 | 5900.00 | 210.00 | 4200.00 | 3480.00 | SAMTA INTERIORS
12.00 | Supply and fixing of following modular switch/socket/accessories on the existing DLP trunking i/c connection but excluding modular plate & cover etc. as required.
12.01 | 01 module telephone jack with shutter (make: Legrand, cat no. 5734 26) | 5.00 | No. |  | 98.00 | 490.00 | 170.00 | 850.00 | 145.00 | 725.00 | 160.00 | 800.00 | 490.00 | SAMTA INTERIORS
12.02 | 01 module blanking plate (make: Legrand, cat no. 5734 49) | 20.00 | No. |  | 20.00 | 400.00 | 45.00 | 900.00 | 55.00 | 1100.00 | 65.00 | 1300.00 | 400.00 | SAMTA INTERIORS
12.03 | 1 module RJ45 port (Cat 6 UTP) (make: Legrand, cat no. 5734 28) | 20.00 | No. |  | 365.00 | 7300.00 | 615.00 | 12300.00 | 465.00 | 9300.00 | 160.00 | 3200.00 | 3200.00 | MUKESH KUMAR VERMA
12.04 | 6 Amp. One way module switch (make: Legrand, Cat no. 5734 00 ) | 20.00 | No. |  | 79.00 | 1580.00 | 140.00 | 2800.00 | 155.00 | 3100.00 | 55.00 | 1100.00 | 1100.00 | MUKESH KUMAR VERMA
12.05 | 20 Amp. One way module switch (make: Legrand, Cat no. 5734 10 ) | 40.00 | No. |  | 146.00 | 5840.00 | 238.00 | 9520.00 | 275.00 | 11000.00 | 90.00 | 3600.00 | 3600.00 | MUKESH KUMAR VERMA
12.06 | 20/10 Amp. Twin socket heavy duty (2 module) (make: Legrand, cat no. 5734 71) | 40.00 | No. |  | 192.00 | 7680.00 | 230.00 | 9200.00 | 375.00 | 15000.00 | 150.00 | 6000.00 | 6000.00 | MUKESH KUMAR VERMA
12.07 | 6 Amp. Modular type socket (two module) (make: Legrand, Cat no. 5734 70) | 20.00 | No. |  | 145.00 | 2900.00 | 230.00 | 4600.00 | 215.00 | 4300.00 | 100.00 | 2000.00 | 2000.00 | MUKESH KUMAR VERMA
13.00 | Supply of LED type recess light fixtures 2'x2' type with wattage of 36 W (Max.) with system lumen- 100 lumens/watt (Min.) having housing made of CRCA powder coated sheet/ PDC Aluminium with poly carbonate/ opal/ PMMA acrylic diffuser with life expectancy of min 50,000 burning hrs for LEDs and suitable built in/external LED Driver as per tender specifications & special conditions complete in all respect etc. as required. (Refer Technical specifications for LED lights in SCC for quoting the rate) | 20.00 | Each |  | 1320.00 | 26400.00 | 2200.00 | 44000.00 | 3975.00 | 79500.00 | 3400.00 | 68000.00 | 26400.00 | SAMTA INTERIORS
14.00 | Installation testing and commissioning of above fittings by fixing fasteners on ceiling /surface/recess by drilling holes, supplying and fixing chain/clamp for fixing of fitting complete as reqd at site. | 20.00 | Each |  | 150.00 | 3000.00 | 135.00 | 2700.00 | 305.00 | 6100.00 | 130.00 | 2600.00 | 2600.00 | MUKESH KUMAR VERMA
| Total in Figures |  |  |  |  | 1415418.00 |  | 1394510.00 |  | 1749954.00 |  | 1386059.00
Lowest Amount Quoted BY: MUKESH KUMAR VERMA(1386059.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of room in Basement of C-Block, Rajiv Gandhi Bhawan Tender ID: 2021_AAI_67787_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MUKESH KUMAR VERMA | 1386059.00 | L1
| 2 | kailash chawla | 1394510.00 | L2
| 3 | SAMTA INTERIORS | 1415418.00 | L3
| 4 | BALVIR SINGH AND SONS | 1749954.00 | L4