## BoQ1
Government eProcurement System Created By: DOMA JAWALEKAR Created Date/Time: 12-Feb-2021 05:25 PM Tender Title: Provision of Geyser , Refrigerator and Other Items for Guest House at Aurangabad Airport . Tender ID: 2021_AAI_67813_1
Tender Inviting Authority: Asstt. Gen.Manager (Engg.-Electrical), Airports Authority of India, Aurangabad Airport, Aurangabad - 431007 (Maharashtra).
Name of Work: Provision of Geyser , Refrigerator and Other Items for Guest House at Aurangabad Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Ganga Enterprises(GSTN-23EHHPS2413F1ZL) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Energy efficient Wall fan-450mm sweep suitable to operate on single phase , 230 V, 50Hz, AC supply etc. as required. | 10.00 | Each |  | 1800.00 | 18000.00 | 2600.00 | 26000.00 | 3750.00 | 37500.00 | 18000.00 | Manish Electricals
2.00 | Supply of Energy efficient Wall fan-300mm sweep,suitable to operate on single phase , 230 V, 50Hz, AC supply etc. as required. | 15.00 | Each |  | 1300.00 | 19500.00 | 2200.00 | 33000.00 | 2000.00 | 30000.00 | 19500.00 | Manish Electricals
3.00 | Supply of Energy efficient Pedestal fan-450mm sweep suitable to operate on single phase , 230 V, 50Hz, AC supply etc. as required. | 10.00 | Each |  | 2300.00 | 23000.00 | 3000.00 | 30000.00 | 4100.00 | 41000.00 | 23000.00 | Manish Electricals
4.00 | Supply of 300 mm sweep, heavy duty energy efficient metal body exhaust fan IP-55 protected, ISI marked having free airflow minimum 1950 Cub. Mtr./Hr and noise level maximum up to 45-50 db, suitable for single phase 230 volts, 50 Hz AC supply complete with motor, capacitor, louvers/ shutters and all accessories confirms to IS: 2312-1967 complete as required. | 15.00 | Each |  | 1500.00 | 22500.00 | 3400.00 | 51000.00 | 2710.00 | 40650.00 | 22500.00 | Manish Electricals
5.00 | Supply of 190 Ltr. Direct cool , single door, 4 star, refrigerator with built in voltage stabilizer , toughened glass shelves with 1 year warranty on product and 5 year warranty on compressor etc. suitable to operate on single phase 230 V, 50 Hz etc. as required. | 4.00 | Each |  | 13000.00 | 52000.00 | 13000.00 | 52000.00 | 16100.00 | 64400.00 | 52000.00 | Manish Electricals, Ganga Enterprises
6.00 | Supply of 3 Ltr. Instant water Geyser , >6 bar pressure bearing capacity, vertical mounted ,with 2 year warranty on product , suitable to operate on single phase, 230 V, 50 Hz etc. as required. | 4.00 | Each |  | 2600.00 | 10400.00 | 4000.00 | 16000.00 | 2930.00 | 11720.00 | 10400.00 | Manish Electricals
7.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 2.00 | Each |  | 6500.00 | 13000.00 | 6000.00 | 12000.00 | 4000.00 | 8000.00 | 8000.00 | Awasthi Electric Works
8.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 40.00 | Metre |  | 550.00 | 22000.00 | 100.00 | 4000.00 | 450.00 | 18000.00 | 4000.00 | Ganga Enterprises
9.00 | Supply of high efficiency LED post top made in cast aluninimum housing with decorative clear opal acrylic diffuser complete with 25 Watt LED having minimum efficiency 110 lumens per watt, minimum life of LED light fitting 50000, CRI minimum 70, THD less than 10% , for outdoor application > IP 65, surge protection >4 KV, conforming to relevant IS standard with clear manufacture lable, power factor more than 0.95, power consumption not more than 110% of rated capacity with 5 years warrantee complete product etc. as required. | 8.00 | Each |  | 3800.00 | 30400.00 | 3300.00 | 26400.00 | 4800.00 | 38400.00 | 26400.00 | Ganga Enterprises
10.00 | Supply of Energy Efficient Electric Kettle of SS body , 1.5 ltr. Capacity, operating on 230 V, 50 Hz, 1 Ph AC supply with thermostat , Steam sensor, dry boiling and overheating prevention, conforming to IS : 367/1993 with 02 years warrantee on complete product etc. as required. | 4.00 | Each |  | 1800.00 | 7200.00 | 800.00 | 3200.00 | 1265.00 | 5060.00 | 3200.00 | Ganga Enterprises
| Total in Figures |  |  |  |  | 218000.00 |  | 253600.00 |  | 294730.00
Lowest Amount Quoted BY: Manish Electricals(218000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Geyser , Refrigerator and Other Items for Guest House at Aurangabad Airport . Tender ID: 2021_AAI_67813_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 218000.00 | L1
| 2 | Ganga Enterprises | 253600.00 | L2
| 3 | Awasthi Electric Works | 294730.00 | L3