## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 12-Feb-2021 05:05 PM Tender Title: Provision of Firefighting system for Electrical CNS installation at Goa Airport SH Provision of clean gas based fire extinguishers and surge diverters Tender ID: 2021_AAI_67856_1
Tender Inviting Authority: Asst. Gen. Manager (Engg-E), AAI, Goa Airport, Goa.
Name of Work: Provision of Firefighting system for Electrical / CNS installation at Goa Airport. SH: Provision of clean gas-based fire extinguishers and surge diverters.
Contract No: 2021_AAI_67856 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Unex Power Point Pvt Ltd(GSTN-07AAACU1740J1ZG) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, testing and commissioning of Self Operated Aerosol based fire Extinguishers for the protection of 0.1 cubic mtrs of space using minimum 8 gms of Aerosol including mounting provision as per OEM standards as required. Model: Tor 0.02A of EPOTOS or equivalent of FCDT SOYUZ/PYROGEN as required as per the Engineer - In- Charge. | 350.00 | Each |  | 3960.00 | 1386000.00 | 4050.00 | 1417500.00 | 1386000.00 | Unex Power Point Pvt Ltd
2.00 | Supply, installation, testing and commissioning of Self Operated Aerosol based fire Extinguishers for the protection of 0.2 cubic mtrs of space using minimum 20 gms of Aerosol including mounting provision as per OEM standards as required. Model: Doping 2.02t of EPOTOS or equivalent of FCDT SOYUZ/PYROGEN as required as per the Engineer - In- Charge. | 225.00 | Each |  | 9240.00 | 2079000.00 | 9650.00 | 2171250.00 | 2079000.00 | Unex Power Point Pvt Ltd
3.00 | Supply, installation, testing and commissioning of Self Operated Aerosol based fire Extinguishers for the protection of 1 cubic mtrs of space using minimum 100 gms of Aerosol including mounting provision as per OEM standards as required. Model: Doping 2R 100 of EPOTOS or equivalent of FCDT SOYUZ/PYROGEN as required as per the Engineer - In- Charge. | 29.00 | Each |  | 18900.00 | 548100.00 | 19000.00 | 551000.00 | 548100.00 | Unex Power Point Pvt Ltd
4.00 | Supply, installation, testing and commissioning of Self Operated Aerosol based fire Extinguishers for the protection of 2 cubic mtrs of space using minimum 200 gms of Aerosol including mounting provision as per OEM standards as required. Model: MAG 3 of FCDT SOYUZ or equivalent of EPOTOS/PYROGEN as required as per the Engineer- In- Charge. | 10.00 | Each |  | 25600.00 | 256000.00 | 27500.00 | 275000.00 | 256000.00 | Unex Power Point Pvt Ltd
5.00 | Supply, installation, testing and commissioning of Self Operated Impulse Dry Powder Module Fire Extinguishers (min. dry powder mass - 1.9kg) for the protection of 18 cubic mtrs of space & or 7 square mtrs area including mounting provision as per OEM standards as required. Model: Buran 2.5 of FCDT SOYUZ or equivalent of EPOTOS/PYROGEN as required as per the Engineer - In - Charge. | 12.00 | Each |  | 28100.00 | 337200.00 | 28000.00 | 336000.00 | 336000.00 | JCC ENGINEERS PRIVATE LIMITED
6.00 | Supply, installation, testing and commissioning of Thermal Activation Device (TAD) including mounting provision as per OEM standards as required. Model: USP 101 of EPOTOS or equivalent of FCDT SOYUZ/PYROGEN as required as per the Engineer - In- Charge. | 15.00 | Each |  | 13450.00 | 201750.00 | 14500.00 | 217500.00 | 201750.00 | Unex Power Point Pvt Ltd
7.00 | Supply, Installation, Testing and Commissioning of Three Phase Surge Protection Device (SPD) of total Lightning Impulse of 500kA at 10/350 micro seconds compromising of 100 kA (10/350 micro sec) between Line To Neutral & 100 kA (10/350 micro sec) between Neutral to Earth with protection level of 1.5 kV, shall be provided on the mains power entry point at the incomers in Parallel modes and shall be of plug in type including 16 sq. mm copper wire of approximate length 12 mtrs. for connecting surge protection device in parallel to the busbar of the main electrical panel, 63 Amp 4 pole 3 phase MCB with enclosure with all accessories as required for installing SPD etc complete as required. | 2.00 | Each |  | 135000.00 | 270000.00 | 142300.00 | 284600.00 | 270000.00 | Unex Power Point Pvt Ltd
| Total in Figures |  |  |  |  | 5078050.00 |  | 5252850.00
Lowest Amount Quoted BY: Unex Power Point Pvt Ltd(5078050.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Firefighting system for Electrical CNS installation at Goa Airport SH Provision of clean gas based fire extinguishers and surge diverters Tender ID: 2021_AAI_67856_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Unex Power Point Pvt Ltd | 5078050.00 | L1
| 2 | JCC ENGINEERS PRIVATE LIMITED | 5252850.00 | L2