## BoQ1
Government eProcurement System Created By: THIRUNAVUKKARASU M Created Date/Time: 18-Feb-2021 04:13 PM Tender Title: Replacement of Fire Alarm System at MSSR Operational Area, RHQ-SR, Chennai Airport Tender ID: 2021_AAI_67953_1
Tender Inviting Authority: Asst. General Manager (Engg-Electrical), AAI, RHQ SR, Chennai Airport, Chennai - 600027
Name of Work: REPLACEMENT OF FIRE ALARM SYSTEM AT MSSR OPERATIONAL AREA, RHQ-SR, CHENNAI AIRPORT.
Contract No: 2021_AAI_67953_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | RPN Systems And Solutions(GSTN-33AMEPL3915B1ZM) |  | OASIS ENGINEERS(GSTN-27AKCPD8929P1ZK) |  | Ponmani International (India) Pvt Ltd(GSTN-33AADCP6242R2ZZ) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | SITC of UL Listed Intelligent Microprocessor Based Addressable Fire Alarm Panel with 2 Loops of each loop accessing at least 100 Detectors and 100 Devices (excluding spare of 20%) having own micro controller, memory, communication module, fire device loop interface cards for intelligent initiation and indication, battery backup [12/24 Volts/As per OEM Recommendations Sealed Lead Acid Battery sufficient for 24 Hrs] with Batterry Charger, Keypad Operation Facility, LCD Unit to indicate Fire/Fault Signal of individual unit, Facility to AC Switching Off, operation of Fire Hooter, Provison to connect to PCs and external printers, Programming of software with modbus and bacnet protocol etc., as required. | 1.00 | Job | Item No.1 | 175000.00 | 206500.00 | 180000.00 | 212400.00 | 137186.00 | 161879.00 | 92999.00 | 109739.00 | 92999.00 | DElite System Engineering (India) Pvt. Ltd. | 109739.00 | DElite System Engineering (India) Pvt. Ltd.
2.00 | SITC of Repeater Panel with Piezo sounder LCD alpha numeraic character display with accept reset buttons, connected with field devices through Main Fire Alarm Panel including all necessary accessories, etc. as required. | 1.00 | Job | Item No.2 | 35000.00 | 41300.00 | 65000.00 | 76700.00 | 27300.00 | 32214.00 | 69999.00 | 82599.00 | 27300.00 | Ponmani International (India) Pvt Ltd | 32214.00 | Ponmani International (India) Pvt Ltd
3.00 | SITC of UL Listed Intellegent Addressable type Optical Smoke cum Heat Detector complete with all accessories like base, base box etc., to be installed under/above false ceiling - roof/concealed space etc., including interconnecting with loop cable complete as required. | 90.00 | Each | Item No.3 | 189000.00 | 223020.00 | 288000.00 | 339840.00 | 206100.00 | 243198.00 | 242910.00 | 286634.00 | 189000.00 | RPN Systems And Solutions | 223020.00 | RPN Systems And Solutions
4.00 | Supply and fixing of UL Listed Addressable Hooter cum Strobe complete with address switch including base plate, box, necessary accessories etc., as required. | 5.00 | Each | Item No.4 | 10000.00 | 11800.00 | 12500.00 | 14750.00 | 11330.00 | 13369.00 | 19995.00 | 23594.00 | 10000.00 | RPN Systems And Solutions | 11800.00 | RPN Systems And Solutions
5.00 | SITC of UL Listed Addressable type Manual Call Point (Pull Station Type) complete with Input Module, Push Botton, enclosed in box with provision for cable or conduit coupling, painted as required. | 5.00 | Each | Item No.5 | 10500.00 | 12390.00 | 24000.00 | 28320.00 | 12420.00 | 14656.00 | 14995.00 | 17694.00 | 10500.00 | RPN Systems And Solutions | 12390.00 | RPN Systems And Solutions
6.00 | SITC of UL Listed Intelligent Analogue addressable Control Module suitable for Single output activation complete with termination etc., as required. | 15.00 | Each | Item No.6 | 28500.00 | 33630.00 | 72000.00 | 84960.00 | 33990.00 | 40108.00 | 44985.00 | 53082.00 | 28500.00 | RPN Systems And Solutions | 33630.00 | RPN Systems And Solutions
7.00 | SITC of UL Listed Intelligent Analogue addressable Hooter Control Module suitable for Single output activation complete with termination etc. as required. | 5.00 | Each | Item No.7 | 10000.00 | 11800.00 | 21000.00 | 24780.00 | 11330.00 | 13369.00 | 14995.00 | 17694.00 | 10000.00 | RPN Systems And Solutions | 11800.00 | RPN Systems And Solutions
8.00 | SITC of UL Listed Addressable Loop/Fault Isolator with base with termination etc. as required. | 2.00 | Each | Item No.8 | 4000.00 | 4720.00 | 5200.00 | 6136.00 | 4532.00 | 5348.00 | 5998.00 | 7078.00 | 4000.00 | RPN Systems And Solutions | 4720.00 | RPN Systems And Solutions
9.00 | SITC of UL Listed Response Indicators for getting fire indications of detectors installed above false ceiling/below false ceiling area as required. | 45.00 | Each | Item No.9 | 11250.00 | 13275.00 | 13500.00 | 15930.00 | 9000.00 | 10620.00 | 14805.00 | 17470.00 | 9000.00 | Ponmani International (India) Pvt Ltd | 10620.00 | Ponmani International (India) Pvt Ltd
10.00 | Laying and fixing of one number 2 C X 1.5 Sqmm Copper Conductor PVC insulated PVC sheathed control cable on surface including Terminations at Devices/Panel as required | 500.00 | Meter | Item No.10 | 47500.00 | 56050.00 | 49000.00 | 57820.00 | 52000.00 | 61360.00 | 15000.00 | 17700.00 | 15000.00 | DElite System Engineering (India) Pvt. Ltd. | 17700.00 | DElite System Engineering (India) Pvt. Ltd.
11.00 | Supply, Installation testing & commissioning of Auto dialer with all necessry accessories including connections etc as required. | 1.00 | Each | Item No.11 | 10000.00 | 11800.00 | 9800.00 | 11564.00 | 3200.00 | 3776.00 | 9000.00 | 10620.00 | 3200.00 | Ponmani International (India) Pvt Ltd | 3776.00 | Ponmani International (India) Pvt Ltd
12.00 | Providing & fixing of First Aid Box as approved by St. John Ambulance Brigade/ Indian Red Cross conforming to IS 2217-1963 as required | 1.00 | Each | Item No.12 | 2500.00 | 2950.00 | 2500.00 | 2950.00 | 4000.00 | 4720.00 | 4999.00 | 5899.00 | 2500.00 | RPN Systems And Solutions, OASIS ENGINEERS | 2950.00 | RPN Systems And Solutions, OASIS ENGINEERS
13.00 | Dismantling the exisitng Fire Alarm Panels, Detectors, Manual Call Points, Hooters etc as required. | 1.00 | Job | Item No.13 | 2500.00 | 2950.00 | 10000.00 | 11800.00 | 10000.00 | 11800.00 | 2500.00 | 2950.00 | 2500.00 | RPN Systems And Solutions, DElite System Engineering (India) Pvt. Ltd. | 2950.00 | RPN Systems And Solutions, DElite System Engineering (India) Pvt. Ltd.
| Total in Figures |  |  |  | 535750.00 | 632185.00 | 752500.00 | 887950.00 | 522388.00 | 616417.00 | 553180.00 | 652753.00

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Fire Alarm System at MSSR Operational Area, RHQ-SR, Chennai Airport Tender ID: 2021_AAI_67953_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ponmani International (India) Pvt Ltd | 616417.00 | L1
| 2 | RPN Systems And Solutions | 632185.00 | L2
| 3 | DElite System Engineering (India) Pvt. Ltd. | 652753.00 | L3
| 4 | OASIS ENGINEERS | 887950.00 | L4