## BoQ1
Government eProcurement System Created By: Vivek Katara Created Date/Time: 19-Feb-2021 11:55 AM Tender Title: ARMO of GLF installations conveyor belts and External E and M installations at Jammu Airport for the year 2021-22. Tender ID: 2021_AAI_68113_1
Tender Inviting Authority: Airports Authority of India, Jammu Airport, Jammu
Name of Work: Name of Work: ARMO of GLF installations, conveyer belts and External E & M installations at Jammu Airport for the year 2021-22.
Contract No: AAI/Jammu/Elect/W-07/ARMO/20-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anil Kumar Sharma(GSTN-01AIWPS0647K1ZU) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT) |  | ASHWANI REFRIGERATION AND ELECTRICALS(GSTN-36ACAPG1851D1Z7) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | M/S B.A.G ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH(I):- Shift Operation and Maintenance Management - GLF, DG Sets, Conveyor belt, CCRs, NAV-AIDS,INRESS etc.
1.01 | Periodical Maintenance of operational area Installations of GLF, NAV-AIDs, external E&M installation and operation of DG sets and Conveyor belt involving repairs & maintenance & attending to complaints/ faults/ breakdowns and taking rectification action, ensuring serviceability/ satisfactory working condition of the systems, preventive maintenance, maintenance of records/ documentations etc., as per the detailed specifications, terms & conditions covered under this contract & deputation of minimum manpower on all days including sundays & holidays etc as reqd as per technical specification, complete as required.
1.02 | Supervisor (Highly Skilled)- 02 No ( 1 person/shift for 2 shifts) | 24.00 | Job | 24302.00 | 20950.00 | 502800.00 | 24444.00 | 586656.00 | 20202.00 | 484848.00 | 21000.00 | 504000.00 | 24000.00 | 576000.00 | 484848.00 | ASHWANI REFRIGERATION AND ELECTRICALS
1.03 | Electrician(Skilled) - 07 Nos (2 person/shift for 3 shifts & 1 person in general shift) | 84.00 | Job | 25878.00 | 19950.00 | 1675800.00 | 23777.00 | 1997268.00 | 18352.00 | 1541568.00 | 22000.00 | 1848000.00 | 21000.00 | 1764000.00 | 1541568.00 | ASHWANI REFRIGERATION AND ELECTRICALS
1.04 | Belt Operator(Semi-Skilled) - 04 Nos (2 person/shift for 2 shifts) | 48.00 | Job | 22146.00 | 16950.00 | 813600.00 | 20333.00 | 975984.00 | 15678.00 | 752544.00 | 16300.00 | 782400.00 | 18090.00 | 868320.00 | 752544.00 | ASHWANI REFRIGERATION AND ELECTRICALS
1.05 | Helper(Un-Skilled) - 8 Nos (2 person/shift for 3 shifts & 2 in general shift) | 96.00 | Job | 18889.00 | 15450.00 | 1483200.00 | 18000.00 | 1728000.00 | 13884.00 | 1332864.00 | 16300.00 | 1564800.00 | 16000.00 | 1536000.00 | 1332864.00 | ASHWANI REFRIGERATION AND ELECTRICALS
1.06 | Providing of Documentation Assistant/Computer Operator(Skilled)(1No in General Shift) for maintenance of office records/documentations etc., as per the detailed specifications, terms & conditions covered under this contract on working days excluding sundays & holidays etc as reqd. | 12.00 | Job | 22045.00 | 19450.00 | 233400.00 | 20500.00 | 246000.00 | 18352.00 | 220224.00 | 21000.00 | 252000.00 | 18000.00 | 216000.00 | 216000.00 | M/S B.A.G ENTERPRISES
2.00 | SH (II):- Procurement of GLF Spares
2.01 | Gasket for Base Plate | 60.00 | Each | 164.00 | 140.00 | 8400.00 | 95.00 | 5700.00 | 121.00 | 7260.00 | 85.00 | 5100.00 | 500.00 | 30000.00 | 5100.00 | M K ENTERPRISES
2.02 | Al clamp for Lens Holding in HIRL fitting | 100.00 | Each | 180.00 | 140.00 | 14000.00 | 145.00 | 14500.00 | 101.00 | 10100.00 | 295.00 | 29500.00 | 100.00 | 10000.00 | 10000.00 | M/S B.A.G ENTERPRISES
2.03 | Supply of following isolating transformer a) 200W, 20A/6.6A | 10.00 | Each | 3431.00 | 3000.00 | 30000.00 | 3650.00 | 36500.00 | 2525.00 | 25250.00 | 3900.00 | 39000.00 | 1500.00 | 15000.00 | 15000.00 | M/S B.A.G ENTERPRISES
2.04 | b) 150W, 6.6A/6.6A | 60.00 | Each | 4023.00 | 3500.00 | 210000.00 | 3650.00 | 219000.00 | 2525.00 | 151500.00 | 3900.00 | 234000.00 | 1800.00 | 108000.00 | 108000.00 | M/S B.A.G ENTERPRISES
2.05 | Plug receptical connector 5 KV grade
2.06 | a) 6 sq.mm | 50.00 | Each | 438.00 | 350.00 | 17500.00 | 320.00 | 16000.00 | 444.00 | 22200.00 | 400.00 | 20000.00 | 200.00 | 10000.00 | 10000.00 | M/S B.A.G ENTERPRISES
2.07 | b) 16 sq.mm | 50.00 | Each | 438.00 | 350.00 | 17500.00 | 320.00 | 16000.00 | 444.00 | 22200.00 | 425.00 | 21250.00 | 210.00 | 10500.00 | 10500.00 | M/S B.A.G ENTERPRISES
2.08 | 150W Approach lamp with holder | 20.00 | Each | 839.00 | 700.00 | 14000.00 | 235.00 | 4700.00 | 599.00 | 11980.00 | 570.00 | 11400.00 | 3000.00 | 60000.00 | 4700.00 | ABHISHEK ASSOCIATES
2.09 | Supply of following lens suitable for AMA HIRL fitting as specified.
2.10 | a)180° Filter-Red for AMA AUN runway fitting | 10.00 | Each | 1678.00 | 1500.00 | 15000.00 | 1250.00 | 12500.00 | 2002.00 | 20020.00 | 2400.00 | 24000.00 | 4000.00 | 40000.00 | 12500.00 | ABHISHEK ASSOCIATES
2.11 | b)180° Filter-Green for AMA AUN Runway fitting | 5.00 | Each | 1678.00 | 1500.00 | 7500.00 | 1250.00 | 6250.00 | 2002.00 | 10010.00 | 2400.00 | 12000.00 | 4000.00 | 20000.00 | 6250.00 | ABHISHEK ASSOCIATES
2.12 | c) Red Filter for PAPI | 5.00 | Each | 3622.00 | 3000.00 | 15000.00 | 2750.00 | 13750.00 | 2525.00 | 12625.00 | 2750.00 | 13750.00 | 3000.00 | 15000.00 | 12625.00 | ASHWANI REFRIGERATION AND ELECTRICALS
2.13 | Supply of following size airfield cable 5KV grade PVC insulated & PVC sheathed standard copper conductor singel core Airport Lighting cable confirming IS 1554 (Part-II) with upto date amendment as required. Confirming to particular specification etc as required. a) 6 sq.mm | 2500.00 | Mtr | 93.00 | 100.00 | 250000.00 | 115.00 | 287500.00 | 60.00 | 150000.00 | 70.00 | 175000.00 | 35.00 | 87500.00 | 87500.00 | M/S B.A.G ENTERPRISES
3.00 | SH(III):- REWINDING, PAINTING OF MOTORS.
3.01 | Repairing of following fans including rewinding, replacement of bearing & capacitors and including assembling testing, transportation charges etc, as and when required. a) Ceiling fan up to 1400mm | 15.00 | Job | 250.00 | 200.00 | 3000.00 | 300.00 | 4500.00 | 202.00 | 3030.00 | 800.00 | 12000.00 | 300.00 | 4500.00 | 3000.00 | Anil Kumar Sharma
3.02 | b) Pedestal fan up to 600mm | 10.00 | Job | 500.00 | 350.00 | 3500.00 | 400.00 | 4000.00 | 255.00 | 2550.00 | 700.00 | 7000.00 | 250.00 | 2500.00 | 2500.00 | M/S B.A.G ENTERPRISES
3.03 | c) Wall Mounting fan up to 450mm | 15.00 | Job | 440.00 | 350.00 | 5250.00 | 300.00 | 4500.00 | 303.00 | 4545.00 | 700.00 | 10500.00 | 200.00 | 3000.00 | 3000.00 | M/S B.A.G ENTERPRISES
3.04 | d) Exhaust fan/ Desert cooler fan up to 450mm | 20.00 | Job | 600.00 | 350.00 | 7000.00 | 200.00 | 4000.00 | 355.00 | 7100.00 | 1250.00 | 25000.00 | 200.00 | 4000.00 | 4000.00 | ABHISHEK ASSOCIATES, M/S B.A.G ENTERPRISES
3.05 | e) Air circulator fan up to 600mm | 10.00 | Job | 600.00 | 400.00 | 4000.00 | 700.00 | 7000.00 | 404.00 | 4040.00 | 1450.00 | 14500.00 | 250.00 | 2500.00 | 2500.00 | M/S B.A.G ENTERPRISES
3.06 | Identifying the cable fault location at Airport premises in both operational and non operational area along with cable fault detention instrument including arranging necessary labours for excavation of soil at suspected location etc, as and when required. i) First fault | 2.00 | Job | 15150.00 | 9000.00 | 18000.00 | 10000.00 | 20000.00 | 14444.00 | 28888.00 | 16000.00 | 32000.00 | 20000.00 | 40000.00 | 18000.00 | Anil Kumar Sharma
3.07 | ii) Subsequent fault | 5.00 | Job | 10100.00 | 5000.00 | 25000.00 | 8000.00 | 40000.00 | 8888.00 | 44440.00 | 12000.00 | 60000.00 | 10000.00 | 50000.00 | 25000.00 | Anil Kumar Sharma
4.00 | SH(IV):- MOTOR PUMP SETs.
4.01 | Lifting and lowering of upto 15 HP submersible pump set along with column pipe detaching one length of column pipe from rest of column pipe by opening nut and bolts in this manner taking out entire pump system and lowering of entire pump system in the reverse order of the above process including chain block and supporting pipes transportation, testing and commissioning etc as required (up to 3 inch G.I. Pipe) | 520.00 | Feet | 33.00 | 25.00 | 13000.00 | 10.00 | 5200.00 | 22.00 | 11440.00 | 45.00 | 23400.00 | 30.00 | 15600.00 | 5200.00 | ABHISHEK ASSOCIATES
4.02 | Rewinding of upto15 HP, 3 phase submersible motor set including transporatation charges etc., as and when required. | 1.00 | Job | 5500.00 | 4000.00 | 4000.00 | 4000.00 | 4000.00 | 2307.00 | 2307.00 | 13000.00 | 13000.00 | 2000.00 | 2000.00 | 2000.00 | M/S B.A.G ENTERPRISES
4.03 | Servicing of 15 HP, 15 stage submersible motor pump set's including replacement of motor bushes, thrust bearings, pump body casting bush, distance pices, steady bush upper and lower, 15 nos gun metal impllers, painting including transportation charges etc, as and when required. | 1.00 | Job | 2700.00 | 2000.00 | 2000.00 | 9000.00 | 9000.00 | 2222.00 | 2222.00 | 9000.00 | 9000.00 | 5000.00 | 5000.00 | 2000.00 | Anil Kumar Sharma
4.04 | Rewinding of 10 HP, 3 phase centrifugal pump including transporatation charges etc, as and when required. | 1.00 | Job | 4500.00 | 4000.00 | 4000.00 | 8000.00 | 8000.00 | 4555.00 | 4555.00 | 9000.00 | 9000.00 | 1800.00 | 1800.00 | 1800.00 | M/S B.A.G ENTERPRISES
4.05 | Servicing of 10 HP, centrifugal motor pump set's including replacement of motor bushes, bearings, paitnting including transportation charges etc, as and when required. | 1.00 | Job | 2300.00 | 2000.00 | 2000.00 | 8000.00 | 8000.00 | 2333.00 | 2333.00 | 3000.00 | 3000.00 | 4800.00 | 4800.00 | 2000.00 | Anil Kumar Sharma
4.06 | Rewinding and servicing of Fire Main Pump - 45KW/ 60HP 50Hz 3 Phase 415V, 75A induction motor type pump of water Head range 25-55m (Kirloskar Make)- 2965 rpm including transporatation charges etc., as and when required. | 1.00 | Job | 18000.00 | 14000.00 | 14000.00 | 20000.00 | 20000.00 | 5999.00 | 5999.00 | 35000.00 | 35000.00 | 1000.00 | 1000.00 | 1000.00 | M/S B.A.G ENTERPRISES
4.07 | Rewinding and servicing of Jockey Pump - 11 KW/ 15 HP 50Hz 3 Phase 415V ,20A induction motor type pump of Head range 16-170 (Kirloskar Make)- 2900 rpm including transporatation charges etc., as and when required. | 1.00 | Job | 10000.00 | 8000.00 | 8000.00 | 15000.00 | 15000.00 | 4999.00 | 4999.00 | 12500.00 | 12500.00 | 8000.00 | 8000.00 | 4999.00 | ASHWANI REFRIGERATION AND ELECTRICALS
5.00 | SH(V):- Procrument of Electrical Spares
5.01 | Supply of following Piano type switches / socket / Plug Top of following rating suitable for operation on single phase, 220/240 V, 50 Hz AC Supply.
5.02 | a) 5/6 Amps, 3 Pin socket | 10.00 | Each | 38.00 | 30.00 | 300.00 | 24.00 | 240.00 | 33.00 | 330.00 | 75.00 | 750.00 | 50.00 | 500.00 | 240.00 | ABHISHEK ASSOCIATES
5.03 | b) 15/16 Amps, 3 Pin socket | 15.00 | Each | 86.00 | 75.00 | 1125.00 | 58.00 | 870.00 | 55.00 | 825.00 | 75.00 | 1125.00 | 90.00 | 1350.00 | 825.00 | ASHWANI REFRIGERATION AND ELECTRICALS
5.04 | c) 5/6 Amps switch ( 1 Way) | 30.00 | Each | 17.00 | 15.00 | 450.00 | 11.00 | 330.00 | 33.00 | 990.00 | 25.00 | 750.00 | 30.00 | 900.00 | 330.00 | ABHISHEK ASSOCIATES
5.05 | d) 20 Amps switch ( 1 Way) | 20.00 | Each | 80.00 | 60.00 | 1200.00 | 56.00 | 1120.00 | 66.00 | 1320.00 | 70.00 | 1400.00 | 50.00 | 1000.00 | 1000.00 | M/S B.A.G ENTERPRISES
6.00 | Supply of following rating MCBs confirming to IS/IEC 60898-1 suitable for operation on 240 / 415V,50Hz AC supply.
6.01 | a) MCB SP C Series 6-32A | 10.00 | Each | 172.00 | 120.00 | 1200.00 | 110.00 | 1100.00 | 101.00 | 1010.00 | 180.00 | 1800.00 | 150.00 | 1500.00 | 1010.00 | ASHWANI REFRIGERATION AND ELECTRICALS
6.02 | b) MCB DP C Series 40A | 10.00 | Each | 816.00 | 600.00 | 6000.00 | 528.00 | 5280.00 | 101.00 | 1010.00 | 800.00 | 8000.00 | 250.00 | 2500.00 | 1010.00 | ASHWANI REFRIGERATION AND ELECTRICALS
6.03 | c) MCB DP C Series 63A | 2.00 | Each | 930.00 | 700.00 | 1400.00 | 570.00 | 1140.00 | 505.00 | 1010.00 | 800.00 | 1600.00 | 1500.00 | 3000.00 | 1010.00 | ASHWANI REFRIGERATION AND ELECTRICALS
6.04 | d) MCB FP C Series 63A | 5.00 | Each | 1599.00 | 1300.00 | 6500.00 | 1074.00 | 5370.00 | 1212.00 | 6060.00 | 1400.00 | 7000.00 | 2000.00 | 10000.00 | 5370.00 | ABHISHEK ASSOCIATES
6.05 | e) MCB FP C Series 40A | 3.00 | Each | 1522.00 | 1300.00 | 3900.00 | 1025.00 | 3075.00 | 1010.00 | 3030.00 | 1400.00 | 4200.00 | 2000.00 | 6000.00 | 3030.00 | ASHWANI REFRIGERATION AND ELECTRICALS
7.00 | Supply of plastic insulation self adhesive tape of 1.90cm width and 10mtrs length of following colours.
7.01 | a) Red | 60.00 | Roll | 11.00 | 10.00 | 600.00 | 10.00 | 600.00 | 11.00 | 660.00 | 10.00 | 600.00 | 15.00 | 900.00 | 600.00 | Anil Kumar Sharma, ABHISHEK ASSOCIATES, M K ENTERPRISES
7.02 | b) Blue | 60.00 | Roll | 11.00 | 10.00 | 600.00 | 10.00 | 600.00 | 11.00 | 660.00 | 10.00 | 600.00 | 15.00 | 900.00 | 600.00 | Anil Kumar Sharma, ABHISHEK ASSOCIATES, M K ENTERPRISES
7.03 | c) Yellow | 60.00 | Roll | 11.00 | 10.00 | 600.00 | 10.00 | 600.00 | 11.00 | 660.00 | 10.00 | 600.00 | 15.00 | 900.00 | 600.00 | Anil Kumar Sharma, ABHISHEK ASSOCIATES, M K ENTERPRISES
7.04 | d) Black | 60.00 | Roll | 11.00 | 10.00 | 600.00 | 10.00 | 600.00 | 11.00 | 660.00 | 10.00 | 600.00 | 15.00 | 900.00 | 600.00 | Anil Kumar Sharma, ABHISHEK ASSOCIATES, M K ENTERPRISES
7.05 | e) Green | 60.00 | Roll | 11.00 | 10.00 | 600.00 | 10.00 | 600.00 | 11.00 | 660.00 | 10.00 | 600.00 | 15.00 | 900.00 | 600.00 | Anil Kumar Sharma, ABHISHEK ASSOCIATES, M K ENTERPRISES
8.00 | Supply of following size Aluminium in-line crimping connectors (ferrules) (Make: Dowells or similar from list of Approved Make)
8.01 | a) 35 Sq. mm | 10.00 | Each | 4.00 | 3.00 | 30.00 | 3.00 | 30.00 | 15.00 | 150.00 | 15.00 | 150.00 | 20.00 | 200.00 | 30.00 | Anil Kumar Sharma, ABHISHEK ASSOCIATES
8.02 | b) 50 Sq. mm | 10.00 | Each | 7.00 | 5.00 | 50.00 | 5.00 | 50.00 | 21.00 | 210.00 | 18.00 | 180.00 | 25.00 | 250.00 | 50.00 | Anil Kumar Sharma, ABHISHEK ASSOCIATES
8.03 | c) 70 Sq. mm | 10.00 | Each | 10.00 | 5.00 | 50.00 | 8.00 | 80.00 | 25.00 | 250.00 | 25.00 | 250.00 | 35.00 | 350.00 | 50.00 | Anil Kumar Sharma
8.04 | d) 95 Sq. mm | 10.00 | Each | 12.00 | 5.00 | 50.00 | 9.00 | 90.00 | 33.00 | 330.00 | 45.00 | 450.00 | 45.00 | 450.00 | 50.00 | Anil Kumar Sharma
8.05 | e)120 Sq. mm | 15.00 | Each | 16.00 | 8.00 | 120.00 | 12.00 | 180.00 | 44.00 | 660.00 | 35.00 | 525.00 | 60.00 | 900.00 | 120.00 | Anil Kumar Sharma
8.06 | f) 150 Sq. mm | 10.00 | Each | 22.00 | 15.00 | 150.00 | 16.00 | 160.00 | 55.00 | 550.00 | 55.00 | 550.00 | 70.00 | 700.00 | 150.00 | Anil Kumar Sharma
8.07 | g) 185Sq. mm | 30.00 | Each | 28.00 | 18.00 | 540.00 | 21.00 | 630.00 | 66.00 | 1980.00 | 55.00 | 1650.00 | 90.00 | 2700.00 | 540.00 | Anil Kumar Sharma
8.08 | h) 240Sq. mm | 30.00 | Each | 44.00 | 25.00 | 750.00 | 33.00 | 990.00 | 69.00 | 2070.00 | 65.00 | 1950.00 | 100.00 | 3000.00 | 750.00 | Anil Kumar Sharma
9.00 | Supply of following type Gang Box suitable for operation on 1-phase 220 / 240V 50Hz AC supply.
9.01 | a) 4 Way Gang Box (Make: Anchor / Code: 7043) | 10.00 | Each | 37.00 | 35.00 | 350.00 | 25.00 | 250.00 | 444.00 | 4440.00 | 75.00 | 750.00 | 150.00 | 1500.00 | 250.00 | ABHISHEK ASSOCIATES
9.02 | b) 6 Way Gang Box (Make: Anchor / Code: 7065) | 10.00 | Each | 55.00 | 50.00 | 500.00 | 37.00 | 370.00 | 499.00 | 4990.00 | 100.00 | 1000.00 | 200.00 | 2000.00 | 370.00 | ABHISHEK ASSOCIATES
10.00 | Supply of Door Bell (Ding Dong) suitable to operate on 230V,50hz AC Supply. | 5.00 | Each | 105.00 | 90.00 | 450.00 | 144.00 | 720.00 | 199.00 | 995.00 | 125.00 | 625.00 | 400.00 | 2000.00 | 450.00 | Anil Kumar Sharma
11.00 | Supply of PVC Casing Capping for cover of flexible copper wire of following sizes.
11.01 | a) 20 mm (Standard Length) | 30.00 | Mtr | 17.00 | 20.00 | 600.00 | 14.00 | 420.00 | 39.00 | 1170.00 | 30.00 | 900.00 | 30.00 | 900.00 | 420.00 | ABHISHEK ASSOCIATES
11.02 | b) 25mm (Standard Length) | 30.00 | Mtr | 23.00 | 20.00 | 600.00 | 16.00 | 480.00 | 55.00 | 1650.00 | 45.00 | 1350.00 | 40.00 | 1200.00 | 480.00 | ABHISHEK ASSOCIATES
11.03 | c) 32mm (Standard Length) | 30.00 | Mtr | 39.00 | 35.00 | 1050.00 | 20.00 | 600.00 | 66.00 | 1980.00 | 45.00 | 1350.00 | 50.00 | 1500.00 | 600.00 | ABHISHEK ASSOCIATES
12.00 | Supply of folowor ing size Aluminium tube terminals (Lugs/ thimbles) for conductors (Make: Dowells or similar from list of Approved Make)
12.01 | a) 35 Sq. mm | 15.00 | Each | 6.00 | 5.00 | 75.00 | 7.00 | 105.00 | 33.00 | 495.00 | 20.00 | 300.00 | 10.00 | 150.00 | 75.00 | Anil Kumar Sharma
12.02 | b) 50 Sq. mm | 15.00 | Each | 8.00 | 6.00 | 90.00 | 11.00 | 165.00 | 33.00 | 495.00 | 25.00 | 375.00 | 20.00 | 300.00 | 90.00 | Anil Kumar Sharma
12.03 | c) 70 Sq. mm | 15.00 | Each | 13.00 | 10.00 | 150.00 | 15.00 | 225.00 | 44.00 | 660.00 | 25.00 | 375.00 | 30.00 | 450.00 | 150.00 | Anil Kumar Sharma
12.04 | d) 95 Sq. mm | 15.00 | Each | 14.00 | 12.00 | 180.00 | 24.00 | 360.00 | 55.00 | 825.00 | 30.00 | 450.00 | 40.00 | 600.00 | 180.00 | Anil Kumar Sharma
12.05 | e) 120 Sq.mm | 15.00 | Each | 20.00 | 15.00 | 225.00 | 29.00 | 435.00 | 55.00 | 825.00 | 30.00 | 450.00 | 50.00 | 750.00 | 225.00 | Anil Kumar Sharma
12.06 | f) 150 Sq.mm | 10.00 | Each | 25.00 | 18.00 | 180.00 | 41.00 | 410.00 | 55.00 | 550.00 | 35.00 | 350.00 | 60.00 | 600.00 | 180.00 | Anil Kumar Sharma
12.07 | g) 185 Sq.mm | 30.00 | Each | 32.00 | 20.00 | 600.00 | 55.00 | 1650.00 | 66.00 | 1980.00 | 35.00 | 1050.00 | 70.00 | 2100.00 | 600.00 | Anil Kumar Sharma
12.08 | h) 240 Sq. mm | 30.00 | Each | 54.00 | 40.00 | 1200.00 | 77.00 | 2310.00 | 69.00 | 2070.00 | 40.00 | 1200.00 | 100.00 | 3000.00 | 1200.00 | Anil Kumar Sharma, M K ENTERPRISES
13.00 | Supply of Pedestal fan with Sweep 400 mm. (Make: Havells or similar from list of Approved Make) | 5.00 | Each | 2853.00 | 2500.00 | 12500.00 | 2100.00 | 10500.00 | 2525.00 | 12625.00 | 3100.00 | 15500.00 | 2500.00 | 12500.00 | 10500.00 | ABHISHEK ASSOCIATES
14.00 | Supply of following parts of KAPSUN make Air Coolers (Product code : AK12LC/ AK09LC )
14.01 | a) Motor | 2.00 | Each | 12435.00 | 10500.00 | 21000.00 | 1200.00 | 2400.00 | 2222.00 | 4444.00 | 7600.00 | 15200.00 | 5000.00 | 10000.00 | 2400.00 | ABHISHEK ASSOCIATES
14.02 | b) Pad | 5.00 | Each | 6100.00 | 5000.00 | 25000.00 | 200.00 | 1000.00 | 499.00 | 2495.00 | 5000.00 | 25000.00 | 3000.00 | 15000.00 | 1000.00 | ABHISHEK ASSOCIATES
14.03 | c) Pump | 2.00 | Each | 1408.00 | 1200.00 | 2400.00 | 800.00 | 1600.00 | 555.00 | 1110.00 | 1700.00 | 3400.00 | 4000.00 | 8000.00 | 1110.00 | ASHWANI REFRIGERATION AND ELECTRICALS
15.00 | SH(VI):- DSR items
15.01 | Execution of the item of work as per requirement of site from the CPWD schedule of rates (Electrical DSR - 2018) As per CPWD specification complete as required (Total amount of Rs. 1,00,000.00 (exclusive of GST) is kept for –DSR item-2018) Percentage above or below CPWD schedule of rates E&M 2018. (Items will be executed as per requirement). (If bidder wants to quote above 10%, then write 1.10, similarly if Bidder wants to quote below 10%, write 0.90) in rate column. | 100000.00 | DSR E&M-18 | 100000.00 | .60 | 60000.00 | .90 | 90000.00 | .80 | 80000.00 | .80 | 80000.00 | .50 | 50000.00 | 50000.00 | M/S B.A.G ENTERPRISES
| Total in Figures |  |  |  |  | 5574415.00 |  | 6457243.00 |  | 5052525.00 |  | 5987055.00 |  | 5663370.00
Lowest Amount Quoted BY: ASHWANI REFRIGERATION AND ELECTRICALS(5052525.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of GLF installations conveyor belts and External E and M installations at Jammu Airport for the year 2021-22. Tender ID: 2021_AAI_68113_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ASHWANI REFRIGERATION AND ELECTRICALS | 5052525.00 | L1
| 2 | Anil Kumar Sharma | 5574415.00 | L2
| 3 | M/S B.A.G ENTERPRISES | 5663370.00 | L3
| 4 | M K ENTERPRISES | 5987055.00 | L4
| 5 | ABHISHEK ASSOCIATES | 6457243.00 | L5