## BoQ1
Government eProcurement System Created By: kamlesh anand Created Date/Time: 03-Mar-2021 03:42 PM Tender Title: ARMO of E and M installations at Kullu Manali Airport (2020-22) Tender ID: 2021_AAI_68144_1
Tender Inviting Authority: Sr. Manager (Engg-E), AAI, RHQ-NR, New Delhi
Name of Work: ARMO of Electrical and Mechanical Installations at Kullu Manali Airport 2020-22.
Contract No: AAI/Kullu/ Manali/ ARMO/2020
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S TURBO POWER AND INFRASTRUCTURE(GSTN-09AAMFT5683N1Z5) |  | Modern Agencies(GSTN-04AAWFM7893F1ZL) |  | SRS ENGINEERS(GSTN-07AETPG0981P1ZR) |  | K B S ELECTRICALS(GSTN-07ASBPS3251L1ZJ) |  | R. D. ENGINEERS(GSTN-07AAOPG1416G1ZZ) |  | R.K. Enterprises(GSTN-07AAHFR6825P1ZI) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | Anil Kumar Sharma(GSTN-01AIWPS0647K1ZU) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Periodical Maintenance of Electrical & Mechanical Installations as specified in the Special conditions of the contract involving repairs & maintenance & attending to complaints / faults/ breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems, preventive maintenance, maintenance of records / documentations etc., as per the detailed specifications, terms & conditions covered under this contract by providing following manpower- a) Highly skilled person - 01 No. b) Skilled (Wireman) - 06Nos. c) Semi-Skilled ( DG Operator) -02 Nos. d) Un-Skilled (Helper) -06 Nos. | 24.00 | Month | 0.00 | 244000.00 | 5856000.00 | 225000.00 | 5400000.00 | 226404.00 | 5433696.00 | 243000.00 | 5832000.00 | 211575.00 | 5077800.00 | 237750.00 | 5706000.00 | 273135.00 | 6555240.00 | 230000.00 | 5520000.00 | 241000.00 | 5784000.00 | 232000.00 | 5568000.00 | 245000.00 | 5880000.00 | 5077800.00 | R. D. ENGINEERS
2.00 | Repair and maintenance of Hand drier i/c replacement of necessary spares by required new spares, dismantling, transportation to workshop & bring back to the site and reinstallation, testing & commissioning as required (Dismantled material shall be the property of tenderer). | 20.00 | Job | 0.00 | 1000.00 | 20000.00 | 450.00 | 9000.00 | 500.00 | 10000.00 | 200.00 | 4000.00 | 500.00 | 10000.00 | 475.00 | 9500.00 | 100.00 | 2000.00 | 4000.00 | 80000.00 | 550.00 | 11000.00 | 1000.00 | 20000.00 | 1000.00 | 20000.00 | 2000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
3.00 | Repair and maintenance of heat convector i/c replacement of necessary spares by required new spares,, dismantling, transportation to workshop & bring back to the site and reinstallation, testing & commissioning as required (Dismantled material shall be the property of tenderer). | 20.00 | Job | 0.00 | 1000.00 | 20000.00 | 450.00 | 9000.00 | 400.00 | 8000.00 | 100.00 | 2000.00 | 500.00 | 10000.00 | 600.00 | 12000.00 | 100.00 | 2000.00 | 1000.00 | 20000.00 | 490.00 | 9800.00 | 1000.00 | 20000.00 | 1000.00 | 20000.00 | 2000.00 | K B S ELECTRICALS, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
4.00 | Rewinding of the following ceiling/ exhaust/ wall mounted/ pedestal fan motors including dismantling, transportation to workshop & bring back to the site and reinstallation, testing & commissioning as required (Dismantled material shall be the property of tenderer). a) Light weight Ceiling fan/ Exhaust fan upto 300mm/ Wall bracket fan upto 300mm/ Pedestal fan upto 300mm | 40.00 | Each | 0.00 | 500.00 | 20000.00 | 350.00 | 14000.00 | 350.00 | 14000.00 | 350.00 | 14000.00 | 100.00 | 4000.00 | 400.00 | 16000.00 | 100.00 | 4000.00 | 400.00 | 16000.00 | 600.00 | 24000.00 | 800.00 | 32000.00 | 500.00 | 20000.00 | 4000.00 | R. D. ENGINEERS, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
5.00 | Rewinding of the following ceiling/ exhaust/ wall mounted/ pedestal fan motors including dismantling, transportation to workshop & bring back to the site and reinstallation, testing & commissioning as required (Dismantled material shall be the property of tenderer). a) Medium weight ceiling fan/ More than 300mm but less than 450mm Exhaust fan/ More than 300mm but less than 450mm wall mounted fan/ More than 300mm but less than 450mm pedestal fan | 20.00 | Each | 0.00 | 650.00 | 13000.00 | 550.00 | 11000.00 | 450.00 | 9000.00 | 300.00 | 6000.00 | 100.00 | 2000.00 | 500.00 | 10000.00 | 100.00 | 2000.00 | 500.00 | 10000.00 | 650.00 | 13000.00 | 1000.00 | 20000.00 | 500.00 | 10000.00 | 2000.00 | R. D. ENGINEERS, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
6.00 | Rewinding of the following ceiling/ exhaust/ wall mounted/ pedestal fan motors including dismantling, transportation to workshop & bring back to the site and reinstallation, testing & commissioning as required (Dismantled material shall be the property of tenderer). a) Heavy weight ceiling fan/ More than 450mm but less than 600mm Exhaust fan/ More than 450mm but less than 600mm wall mounted fan/ More than 450mm but less than 600mm pedestal fan | 10.00 | Each | 0.00 | 700.00 | 7000.00 | 650.00 | 6500.00 | 550.00 | 5500.00 | 540.00 | 5400.00 | 100.00 | 1000.00 | 600.00 | 6000.00 | 100.00 | 1000.00 | 500.00 | 5000.00 | 700.00 | 7000.00 | 1000.00 | 10000.00 | 600.00 | 6000.00 | 1000.00 | R. D. ENGINEERS, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
7.00 | Rewinding and repairing of 1 to 1.5 HP Single phase submersible Motor and repairing of pump, to and fro transportation to workshop including testing complete as required (Agency shall be responsible for rewinding and repairing of motor-pump set for 06 months and dismantled material shall be the property of tenderer). | 2.00 | Each | 0.00 | 4500.00 | 9000.00 | 1800.00 | 3600.00 | 1800.00 | 3600.00 | 540.00 | 1080.00 | 100.00 | 200.00 | 2244.00 | 4488.00 | 1000.00 | 2000.00 | 3000.00 | 6000.00 | 5500.00 | 11000.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 200.00 | R. D. ENGINEERS
8.00 | Labour charges for lifting, dismantling of different sizes and capacity submersible motor-pump set along with pipe lines, cable from the existing bore well as & when required and re-installing/lowering the new/repaired motor-pump set as required at site (Charges for repairing or rectification of fault of pump/ motor will be paid separately). | 2.00 | Job | 0.00 | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 12000.00 | 24000.00 | 4500.00 | 9000.00 | 100.00 | 200.00 | 2000.00 | 4000.00 | 3500.00 | 7000.00 | 6000.00 | 12000.00 | 3500.00 | 7000.00 | 4000.00 | 8000.00 | 5000.00 | 10000.00 | 200.00 | R. D. ENGINEERS
9.00 | Replacement of burnt out 25 KVAR,415 V(AC), 3PH, 50 Hz heavy duty square capacitor by required new capacitor in existing capacitor bank of APFC panel etc. Complete as required. | 10.00 | Each | 0.00 | 1000.00 | 10000.00 | 8000.00 | 80000.00 | 4000.00 | 40000.00 | 2100.00 | 21000.00 | 5985.00 | 59850.00 | 3500.00 | 35000.00 | 4500.00 | 45000.00 | 7500.00 | 75000.00 | 8999.00 | 89990.00 | 1000.00 | 10000.00 | 5000.00 | 50000.00 | 10000.00 | M/S TURBO POWER AND INFRASTRUCTURE, Anil Kumar Sharma
10.00 | Replacement of burnt out 10 KVAR,415 V(AC), 3PH, 50 Hz heavy duty square capacitor by required new capacitor in existing capacitor bank of APFC panel etc. Complete as required. | 10.00 | Each | 0.00 | 1000.00 | 10000.00 | 4000.00 | 40000.00 | 1500.00 | 15000.00 | 1800.00 | 18000.00 | 2600.00 | 26000.00 | 1750.00 | 17500.00 | 1800.00 | 18000.00 | 3800.00 | 38000.00 | 4700.00 | 47000.00 | 1000.00 | 10000.00 | 2000.00 | 20000.00 | 10000.00 | M/S TURBO POWER AND INFRASTRUCTURE, Anil Kumar Sharma
11.00 | Replacement of burnt out 5 KVAR,415 V(AC), 3PH, 50 Hz heavy duty square capacitor by required new capacitor in existing capacitor bank of APFC panel etc. Complete as required. | 8.00 | Each | 0.00 | 1000.00 | 8000.00 | 2500.00 | 20000.00 | 700.00 | 5600.00 | 1200.00 | 9600.00 | 1300.00 | 10400.00 | 1250.00 | 10000.00 | 900.00 | 7200.00 | 2500.00 | 20000.00 | 2800.00 | 22400.00 | 1000.00 | 8000.00 | 1000.00 | 8000.00 | 5600.00 | SRS ENGINEERS
12.00 | Servicing and cleaning of following 11KV 400 Amps HT OCB, 11KV PT including filtration and dehydration of oil up to required dielectric strength etc as required. a)OCB's-03 b)P.T. 11KV/110V - 01 Nos. | 2.00 | Job | 0.00 | 12000.00 | 24000.00 | 14000.00 | 28000.00 | 10000.00 | 20000.00 | 4500.00 | 9000.00 | 30000.00 | 60000.00 | 9500.00 | 19000.00 | 5000.00 | 10000.00 | 22000.00 | 44000.00 | 20000.00 | 40000.00 | 11000.00 | 22000.00 | 25000.00 | 50000.00 | 9000.00 | K B S ELECTRICALS
13.00 | Calibration & Setting of following OTI / WTI of transformer & existing IDMT over current & earth fault relays with different injection kits (Primary & Secondary Injection Kit ) as per site requirement from approved agency including rewiring between Transformer & OCB if required for proper relay operation. IDMT relays - 15 Nos. OTI/WTI - 04 Nos. | 2.00 | Job | 0.00 | 12000.00 | 24000.00 | 14000.00 | 28000.00 | 7500.00 | 15000.00 | 5400.00 | 10800.00 | 20000.00 | 40000.00 | 16000.00 | 32000.00 | 20000.00 | 40000.00 | 55000.00 | 110000.00 | 22000.00 | 44000.00 | 40000.00 | 80000.00 | 10000.00 | 20000.00 | 10800.00 | K B S ELECTRICALS
14.00 | Filtration & dehydration of transformer oil of 02 nos. of 11 KV/415V, 500 KVA transformers up to required dielectric strength as per IS standard requirement. | 2.00 | Job | 0.00 | 10000.00 | 20000.00 | 15000.00 | 30000.00 | 10000.00 | 20000.00 | 8100.00 | 16200.00 | 10000.00 | 20000.00 | 25000.00 | 50000.00 | 15000.00 | 30000.00 | 10000.00 | 20000.00 | 26000.00 | 52000.00 | 12000.00 | 24000.00 | 10000.00 | 20000.00 | 16200.00 | K B S ELECTRICALS
15.00 | Servicing and cleaning of LT Air circuit breaker (ACB) of 1.1 KV grade and upto 800 Amps. Rating by OEM or their authorized service representative including submission of test reports as per the standard practice of OEM and direction of Engineer -in- Charge complete as per actual site requirements. Make-GE | 6.00 | Each | 0.00 | 6000.00 | 36000.00 | 3000.00 | 18000.00 | 4000.00 | 24000.00 | 3000.00 | 18000.00 | 1900.00 | 11400.00 | 15000.00 | 90000.00 | 4500.00 | 27000.00 | 4500.00 | 27000.00 | 3000.00 | 18000.00 | 3000.00 | 18000.00 | 5000.00 | 30000.00 | 11400.00 | R. D. ENGINEERS
16.00 | Repair & maintenance of 2 nos. of solar water heating system consisting of Solar flat plate collectors/Vaccum Heat Glass Tube Collection Technology, Collector stand assembly made of MS angle of suitable size, insulated hot water storage tank of 500 Ltrs capacity with MS angle iron tank stand assembly, cage type heat exchanger having interconnected piping system of GI Pipes, make up tank of capacity 8 liters, 02 nos. of 2/ 3 KW each rating electrical heaters for back up and 2 Nos valves each for Inlet, Outlet and make up tank (System must be suitable for cold region area where ambient temperature reach 0°C or below) including descaling of panels etc. complete as required. (Per Visit =01 Job) | 4.00 | Job | 0.00 | 4000.00 | 16000.00 | 8000.00 | 32000.00 | 7500.00 | 30000.00 | 1500.00 | 6000.00 | 10000.00 | 40000.00 | 9000.00 | 36000.00 | 5000.00 | 20000.00 | 25000.00 | 100000.00 | 8000.00 | 32000.00 | 5000.00 | 20000.00 | 5000.00 | 20000.00 | 6000.00 | K B S ELECTRICALS
17.00 | Supply of 12 volt 180AH sealed maintenance free battery for DG set, with 18 months replacement warrantee Make: Exide, Model: MHD 1800 | 4.00 | Each | 0.00 | 13500.00 | 54000.00 | 14000.00 | 56000.00 | 13000.00 | 52000.00 | 11000.00 | 44000.00 | 12000.00 | 48000.00 | 14000.00 | 56000.00 | 13500.00 | 54000.00 | 18000.00 | 72000.00 | 10250.00 | 41000.00 | 12000.00 | 48000.00 | 16000.00 | 64000.00 | 41000.00 | M K ENTERPRISES
18.00 | Supply of 5/6 amp 3 pin Plug Top, ISI marked suitable working on 230 volt, 50 Hz AC Supply complete as required. Make- Anchor, cat..38626 | 50.00 | Each | 0.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 35.00 | 1750.00 | 55.00 | 2750.00 | 50.00 | 2500.00 | 40.00 | 2000.00 | 1.00 | 50.00 | 30.00 | 1500.00 | 40.00 | 2000.00 | 70.00 | 3500.00 | 50.00 | 2500.00 | 50.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
19.00 | Supply of 15/16 amp 3 pin Plug Top, ISI mark suitable working on 230 volt, 50 Hz AC Supply complete as required. Make- Anchor, cat. 38637 | 50.00 | Each | 0.00 | 55.00 | 2750.00 | 60.00 | 3000.00 | 45.00 | 2250.00 | 99.00 | 4950.00 | 60.00 | 3000.00 | 75.00 | 3750.00 | 1.00 | 50.00 | 70.00 | 3500.00 | 50.00 | 2500.00 | 100.00 | 5000.00 | 50.00 | 2500.00 | 50.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
20.00 | Supply of 6 Amp, 5 pin Piano type socket, ISI marked suitable working on 230 volt, 50 Hz AC Supply complete as required. Make- Anchor, cat. 38364 | 50.00 | Each | 0.00 | 15.00 | 750.00 | 30.00 | 1500.00 | 20.00 | 1000.00 | 55.00 | 2750.00 | 30.00 | 1500.00 | 35.00 | 1750.00 | 1.00 | 50.00 | 30.00 | 1500.00 | 40.00 | 2000.00 | 70.00 | 3500.00 | 50.00 | 2500.00 | 50.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
21.00 | Supply of 20 Amp Piano type switch, ISI mark suitable working on 230 volt, 50 Hz AC Supply complete as required. Make- Anchor, cat. 39989 | 50.00 | Each | 0.00 | 50.00 | 2500.00 | 80.00 | 4000.00 | 50.00 | 2500.00 | 99.00 | 4950.00 | 60.00 | 3000.00 | 75.00 | 3750.00 | 1.00 | 50.00 | 75.00 | 3750.00 | 65.00 | 3250.00 | 110.00 | 5500.00 | 100.00 | 5000.00 | 50.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.00 | Supply of 20/10 Amp, 6 pin Piano type socket, ISI mark suitable working on 230 volt, 50 Hz AC Supply complete as required. Make- Anchor, cat. 39994 | 50.00 | Each | 0.00 | 50.00 | 2500.00 | 80.00 | 4000.00 | 50.00 | 2500.00 | 65.00 | 3250.00 | 80.00 | 4000.00 | 85.00 | 4250.00 | 1.00 | 50.00 | 80.00 | 4000.00 | 65.00 | 3250.00 | 110.00 | 5500.00 | 100.00 | 5000.00 | 50.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
23.00 | Supply of 6 Amp Piano type switch, ISI marked suitable working on 230 volt, 50 Hz AC Supply complete as required. Make- Anchor, cat. 38014 | 50.00 | Each | 0.00 | 15.00 | 750.00 | 20.00 | 1000.00 | 10.00 | 500.00 | 65.00 | 3250.00 | 20.00 | 1000.00 | 15.00 | 750.00 | 1.00 | 50.00 | 20.00 | 1000.00 | 65.00 | 3250.00 | 70.00 | 3500.00 | 50.00 | 2500.00 | 50.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
24.00 | Supply of 10 Amp 1 way modular type switch with neon-1M, ISI mark suitable working on 230 volt, 50 Hz AC Supply complete as required. Make: Anchor- Roma Cat: 21033 | 50.00 | Each | 0.00 | 30.00 | 1500.00 | 80.00 | 4000.00 | 38.00 | 1900.00 | 110.00 | 5500.00 | 25.00 | 1250.00 | 80.00 | 4000.00 | 1.00 | 50.00 | 120.00 | 6000.00 | 85.00 | 4250.00 | 150.00 | 7500.00 | 100.00 | 5000.00 | 50.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
25.00 | Supply of 16 Amp 1 way modular type switch with neon-1M, ISI mark suitable working on 230 volt, 50 Hz AC Supply complete as required. Make: Anchor- Roma Cat: 21077 | 50.00 | Each | 0.00 | 55.00 | 2750.00 | 90.00 | 4500.00 | 85.00 | 4250.00 | 99.00 | 4950.00 | 50.00 | 2500.00 | 120.00 | 6000.00 | 1.00 | 50.00 | 120.00 | 6000.00 | 120.00 | 6000.00 | 150.00 | 7500.00 | 100.00 | 5000.00 | 50.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
26.00 | Supply of 20 & 10 Amp, 6 pin modular type socket-2M, ISI mark suitable working on 230 volt, 50 Hz AC Supply complete as required. Make: Anchor- Roma Cat: 30828 | 50.00 | Each | 0.00 | 55.00 | 2750.00 | 120.00 | 6000.00 | 120.00 | 6000.00 | 80.00 | 4000.00 | 150.00 | 7500.00 | 155.00 | 7750.00 | 1.00 | 50.00 | 120.00 | 6000.00 | 145.00 | 7250.00 | 150.00 | 7500.00 | 100.00 | 5000.00 | 50.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
27.00 | Supply of 100W, fan step modular type fan regulator-2M, ISI mark suitable working on 230 volt, 50 Hz AC Supply complete as required. Make: Anchor- Roma Cat: 21496S | 20.00 | Each | 0.00 | 190.00 | 3800.00 | 220.00 | 4400.00 | 220.00 | 4400.00 | 150.00 | 3000.00 | 200.00 | 4000.00 | 275.00 | 5500.00 | 1.00 | 20.00 | 160.00 | 3200.00 | 140.00 | 2800.00 | 200.00 | 4000.00 | 300.00 | 6000.00 | 20.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
28.00 | Supply of 3 Module PVC cover plates with base frame suitable for existing concealed 3M module GI sheet metal box etc. complete as required. Make: Anchor- Roma Model : 30238WH | 30.00 | Each | 0.00 | 70.00 | 2100.00 | 65.00 | 1950.00 | 55.00 | 1650.00 | 96.00 | 2880.00 | 60.00 | 1800.00 | 110.00 | 3300.00 | 1.00 | 30.00 | 60.00 | 1800.00 | 120.00 | 3600.00 | 100.00 | 3000.00 | 50.00 | 1500.00 | 30.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
29.00 | Supply of 4 Module PVC cover plates with base frame suitable for existing concealed 4M module GI sheet metal box etc. complete as required. Make: Anchor- Roma Model : 30249WH | 30.00 | Each | 0.00 | 80.00 | 2400.00 | 110.00 | 3300.00 | 62.00 | 1860.00 | 99.00 | 2970.00 | 70.00 | 2100.00 | 125.00 | 3750.00 | 1.00 | 30.00 | 70.00 | 2100.00 | 145.00 | 4350.00 | 150.00 | 4500.00 | 60.00 | 1800.00 | 30.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
30.00 | Supply of 6 Module PVC cover plates with base frame suitable for existing concealed 6M module GI sheet metal box etc. complete as required. Make: Anchor- Roma Model : 30250WH | 30.00 | Each | 0.00 | 100.00 | 3000.00 | 120.00 | 3600.00 | 85.00 | 2550.00 | 110.00 | 3300.00 | 100.00 | 3000.00 | 145.00 | 4350.00 | 1.00 | 30.00 | 90.00 | 2700.00 | 135.00 | 4050.00 | 150.00 | 4500.00 | 100.00 | 3000.00 | 30.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
31.00 | Supply of 8 Module PVC cover plates with base frame suitable for existing concealed 8M module GI sheet metal box etc. complete as required. Make: Anchor- Roma Model : 30384WH | 30.00 | Each | 0.00 | 150.00 | 4500.00 | 140.00 | 4200.00 | 110.00 | 3300.00 | 150.00 | 4500.00 | 130.00 | 3900.00 | 165.00 | 4950.00 | 1.00 | 30.00 | 120.00 | 3600.00 | 210.00 | 6300.00 | 150.00 | 4500.00 | 100.00 | 3000.00 | 30.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
32.00 | Supply of 12 Module PVC cover plates with base frame suitable for existing concealed 8M module GI sheet metal box etc. complete as required. Make: Anchor- Roma Model : 30271WH | 10.00 | Each | 0.00 | 190.00 | 1900.00 | 150.00 | 1500.00 | 135.00 | 1350.00 | 200.00 | 2000.00 | 160.00 | 1600.00 | 185.00 | 1850.00 | 1.00 | 10.00 | 150.00 | 1500.00 | 210.00 | 2100.00 | 200.00 | 2000.00 | 100.00 | 1000.00 | 10.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
33.00 | Supply of 3 Module of size 79 mm x 99 mm GI sheet metal box, ISI marked etc. complete as required. Make: Anchor- Roma Model : 35 650 | 10.00 | Each | 0.00 | 80.00 | 800.00 | 50.00 | 500.00 | 45.00 | 450.00 | 299.00 | 2990.00 | 100.00 | 1000.00 | 75.00 | 750.00 | 1.00 | 10.00 | 90.00 | 900.00 | 55.00 | 550.00 | 250.00 | 2500.00 | 100.00 | 1000.00 | 10.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
34.00 | Supply of 4 Module size 79 mm x 135 mm GI sheet metal box, ISI marked etc. complete as required. Make: Anchor- Roma Model : 35661 | 10.00 | Each | 0.00 | 90.00 | 900.00 | 60.00 | 600.00 | 55.00 | 550.00 | 299.00 | 2990.00 | 100.00 | 1000.00 | 90.00 | 900.00 | 1.00 | 10.00 | 120.00 | 1200.00 | 55.00 | 550.00 | 300.00 | 3000.00 | 100.00 | 1000.00 | 10.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
35.00 | Supply of 6 Module size 79 mm x 207 mm GI sheet metal box, ISI marked etc. complete as required. Make: Anchor- Roma Model :35 672 | 10.00 | Each | 0.00 | 100.00 | 1000.00 | 80.00 | 800.00 | 75.00 | 750.00 | 29.00 | 290.00 | 100.00 | 1000.00 | 110.00 | 1100.00 | 1.00 | 10.00 | 80.00 | 800.00 | 75.00 | 750.00 | 300.00 | 3000.00 | 100.00 | 1000.00 | 10.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
36.00 | Supply of 8 Module size 79 mm x 230 mm GI sheet metal box, ISI marked etc. complete as required. Make: Anchor- Roma Model :35683 | 10.00 | Each | 0.00 | 150.00 | 1500.00 | 120.00 | 1200.00 | 75.00 | 750.00 | 200.00 | 2000.00 | 100.00 | 1000.00 | 135.00 | 1350.00 | 1.00 | 10.00 | 120.00 | 1200.00 | 40.00 | 400.00 | 350.00 | 3500.00 | 100.00 | 1000.00 | 10.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
37.00 | Supply of 3 Core 1.5 Sqmm pvc insulated, FR PVC round sheathed copper conductor (flexible) industrial cable, 1100 Volts conforming IS: 694:1990 etc. complete as required. | 300.00 | Meter | 0.00 | 13.00 | 3900.00 | 42.00 | 12600.00 | 42.00 | 12600.00 | 20.00 | 6000.00 | 70.00 | 21000.00 | 55.00 | 16500.00 | 1.00 | 300.00 | 40.00 | 12000.00 | 45.00 | 13500.00 | 70.00 | 21000.00 | 75.00 | 22500.00 | 300.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
38.00 | Supply of 3 Core 2.5 Sqmm pvc insulated, FR PVC round sheathed copper conductor (flexible) industrial cable, 1100 Volts conforming IS: 694:1990 etc. complete as required. | 300.00 | Meter | 0.00 | 28.00 | 8400.00 | 80.00 | 24000.00 | 65.00 | 19500.00 | 25.00 | 7500.00 | 100.00 | 30000.00 | 75.00 | 22500.00 | 1.00 | 300.00 | 60.00 | 18000.00 | 50.00 | 15000.00 | 110.00 | 33000.00 | 100.00 | 30000.00 | 300.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
39.00 | Supply of 4 Core 4 Sqmm pvc insulated, FR PVC round sheathed copper conductor (flexible) industrial cable, 1100 Volts conforming IS: 694:1990 etc. complete as required. | 300.00 | Meter | 0.00 | 40.00 | 12000.00 | 150.00 | 45000.00 | 128.00 | 38400.00 | 35.00 | 10500.00 | 200.00 | 60000.00 | 150.00 | 45000.00 | 1.00 | 300.00 | 80.00 | 24000.00 | 85.00 | 25500.00 | 150.00 | 45000.00 | 150.00 | 45000.00 | 300.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
40.00 | Supply of room heater rod of 1000 watt with nickel chrome plated mesh grid/wire wound on refractory suitable for working on 230 volt 50 Hz single phase AC supply etc. complete as required.ISI marked. | 50.00 | Each | 0.00 | 300.00 | 15000.00 | 100.00 | 5000.00 | 450.00 | 22500.00 | 700.00 | 35000.00 | 500.00 | 25000.00 | 225.00 | 11250.00 | 1.00 | 50.00 | 270.00 | 13500.00 | 90.00 | 4500.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 50.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
41.00 | Supply of 750 watt Quartz heating element rod suitable for heat pillar and working on 230 volt 50 Hz single phase AC supply etc. complete as required. ISI marked. | 50.00 | Each | 0.00 | 200.00 | 10000.00 | 280.00 | 14000.00 | 400.00 | 20000.00 | 250.00 | 12500.00 | 400.00 | 20000.00 | 375.00 | 18750.00 | 1.00 | 50.00 | 50.00 | 2500.00 | 290.00 | 14500.00 | 300.00 | 15000.00 | 100.00 | 5000.00 | 50.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
42.00 | Supply of 1000 watt heating element suitable for 2KW heat convector room heater and working on 230 volt 50 Hz single phase AC supply etc. complete as required. ISI marked. | 30.00 | Each | 0.00 | 700.00 | 21000.00 | 280.00 | 8400.00 | 550.00 | 16500.00 | 200.00 | 6000.00 | 480.00 | 14400.00 | 350.00 | 10500.00 | 1.00 | 30.00 | 70.00 | 2100.00 | 300.00 | 9000.00 | 250.00 | 7500.00 | 100.00 | 3000.00 | 30.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
43.00 | Supply of 500 watt heating element suitable for 1KW carbon room heater and working on 230 volt 50 Hz single phase AC supply etc. complete as required. ISI marked. | 20.00 | Each | 0.00 | 300.00 | 6000.00 | 300.00 | 6000.00 | 275.00 | 5500.00 | 441.00 | 8820.00 | 380.00 | 7600.00 | 300.00 | 6000.00 | 1.00 | 20.00 | 100.00 | 2000.00 | 290.00 | 5800.00 | 250.00 | 5000.00 | 100.00 | 2000.00 | 20.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
44.00 | Supply of 2000 watt triangle heating element suitable for 2KW Electric Geyser and working on 230 volt 50 Hz single phase AC supply etc. complete as required. ISI marked. | 5.00 | Each | 0.00 | 400.00 | 2000.00 | 650.00 | 3250.00 | 1000.00 | 5000.00 | 350.00 | 1750.00 | 900.00 | 4500.00 | 700.00 | 3500.00 | 1.00 | 5.00 | 2000.00 | 10000.00 | 300.00 | 1500.00 | 1000.00 | 5000.00 | 200.00 | 1000.00 | 5.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
45.00 | To Carry out the complete items of work on CPWD schedule of rates (DSR-2018 - E&M) as per CPWD specifications as required. (Note : Rate of DSR items shall be calculated by deducting GST component from schedule rate on account of GST and the quantity. Rs 100000.00 is after deducting the GST component) Also the rate of DSR item against the quantity Rs.1,00,000.00 (Rupees One Lac) shall be quoted in the percentage (above/ below) according to which the amount of DSR item shall be calculated excluding GST) NOTE: The rate may be quoted in the following manner- (I) If quoted Rate is Rs. 50000/- then the percentage will considered as 50% below DSR 2018. (II) If quoted Rate is Rs. 1,00,000/- then percentage will considered as 0% above/below DSR 2018. (III) If quoted Rate is Rs. 1,50,000/- then percentage will considered as 50% above DSR 2018. | 100000.00 | Job | 0.00 | .80 | 80000.00 | 1.00 | 100000.00 | 1.00 | 100000.00 | .90 | 90000.00 | 1.00 | 100000.00 | .70 | 70000.00 | 1.00 | 100000.00 | .70 | 70000.00 | .80 | 80000.00 | .50 | 50000.00 | 1.25 | 125000.00 | 50000.00 | Anil Kumar Sharma
| Total in Figures |  |  |  |  | 6349950.00 |  | 6058900.00 |  | 6009656.00 |  | 6267420.00 |  | 5750000.00 |  | 6379288.00 |  | 6928135.00 |  | 6381350.00 |  | 6481690.00 |  | 6198000.00 |  | 6547800.00
Lowest Amount Quoted BY: R. D. ENGINEERS(5750000.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M installations at Kullu Manali Airport (2020-22) Tender ID: 2021_AAI_68144_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | R. D. ENGINEERS | 5750000.00 | L1
| 2 | SRS ENGINEERS | 6009656.00 | L2
| 3 | Modern Agencies | 6058900.00 | L3
| 4 | Anil Kumar Sharma | 6198000.00 | L4
| 5 | K B S ELECTRICALS | 6267420.00 | L5
| 6 | M/S TURBO POWER AND INFRASTRUCTURE | 6349950.00 | L6
| 7 | R.K. Enterprises | 6379288.00 | L7
| 8 | Manish Electricals | 6381350.00 | L8
| 9 | M K ENTERPRISES | 6481690.00 | L9
| 10 | JCC ENGINEERS PRIVATE LIMITED | 6547800.00 | L10
| 11 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 6928135.00 | L11