## BoQ1
Government eProcurement System Created By: Keishing Honpam Created Date/Time: 12-Feb-2021 04:04 PM Tender Title: C/O ASTI-Electrical work for Prov. of External E.I., FADS, A/C and Power Supply and other associated Misc. Works (SH Provision of Intelligent Addressable Fire Alarm and Detection System at ASTI and AAI Mess Institute at AAI Colony, Guwahati) Tender ID: 2021_AAI_68202_1
Tender Inviting Authority:
Name of Work: C/O ASTI-Electrical work for Prov. of External E.I., FADS, A/C & Power Supply and other associated Misc. Works (SH: Provision of Intelligent Addressable Fire Alarm & Detection System at ASTI and AAI Mess Institute at AAI Colony, Guwahati).
Contract No: 2021_AAI_68202_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DOGRA AND DOGRA ENTERPRISES(GSTN-07AIFPD1861P2Z1) |  | SUPER INDIA BUILDPRO PRIVATE LIMITED(GSTN-22AASCS8674F1ZU) |  | GLYPTIC(GSTN-19AAMFG0478J1ZY) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | COOLTEK INDIA(GSTN-19ADXPB3581D1ZC)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : ASTI
2.00 | Supply, Installation, Testing & Commissioning of UL /EN listed (latest version) Modular Microprocessor based expandable intellegent Addressable Type Fire Alarm Control Panel , with minimum 320 character graphics / LCD display with touch screen or other keypad and minimum 4000 events history log in the non volatile memory (EPROM) ,The panel should be equiped with loop capacity to take minimum 240 intellegent addressable detectors/ devices (In any combination ) in one loop. Four access levels, capable of taking Protocol Devices, Graphical Display, sufficient numbers of programmable relay controls for controlling ventilation fan, fire pump room, monitoring of fire sprinkler and fire hydrant pump, 230 volts, 50 Hz AC power supply, automatic battery charger, 24 volts sealed maintenance free lead acid batteries sufficient for 2 hours normal working and then be capable of operating the system for 30 minutes during an emergency / fault conditions along with battery stand as required. The panel shall have facility for seamless integration with PA system (For Giving triger Signal to Start pre-recorded Digital Voice Evacuation from PA system in case of fire ). The panel shall be compatible for Building Management System with open protocol BACNET / MODBUS etc. as per specification, complete as required.-1-loop card | 1.00 | Each | 0.00 | 113481.00 | 113481.00 | 136055.00 | 136055.00 | 80026.00 | 80026.00 | 165000.00 | 165000.00 | 211840.00 | 211840.00 | 80026.00 | GLYPTIC
3.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable multi criteria detector {Smoke + heat }with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors) | 85.00 | Each | 0.00 | 4210.00 | 357850.00 | 3500.00 | 297500.00 | 2477.00 | 210545.00 | 3000.00 | 255000.00 | 2347.00 | 199495.00 | 199495.00 | COOLTEK INDIA
4.00 | Supply, installation, testing and commissioning of UL / EN listed (Latest Version) intelligent Addressable type Heat Detector (Fixed cum-rate of rise type) with inbuilt fault isolator / isolator base with max. triggering temperature programable from 58 degree C to 69 degree C complete with all fixing accessories like base, base box, self adhesive sticker indicating loop number and address etc. to be installed below / above false ceiling, roof and concealed space, etc. interconnecting to loop cable, etc. as per specification complete as required. | 3.00 | Each | 0.00 | 3800.00 | 11400.00 | 3500.00 | 10500.00 | 1800.00 | 5400.00 | 3000.00 | 9000.00 | 2110.00 | 6330.00 | 5400.00 | GLYPTIC
5.00 | Supply, installation, testing and commissioning of UL /EN listed (latest version) Intelligent addressable Control Module/ Relay Module (output module) with inbuilt fault isolator / isolator module for tripping of AHU & Ventilation / pressurisation fans / hooter complete with termination etc. complete as required and as per enclosed specifications. | 9.00 | Each | 0.00 | 4275.00 | 38475.00 | 1000.00 | 9000.00 | 5300.00 | 47700.00 | 3000.00 | 27000.00 | 4390.00 | 39510.00 | 9000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
6.00 | Supply, installation, testing and commissioning of UL / EN listed (Latest Version) Response Indicators for getting fire indications of detectors i/c mounting boxes installed above false ceiling area interconnecting to loop cable etc. as per specification complete as required. | 43.00 | Each | 0.00 | 252.00 | 10836.00 | 1000.00 | 43000.00 | 130.00 | 5590.00 | 200.00 | 8600.00 | 125.00 | 5375.00 | 5375.00 | COOLTEK INDIA
7.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable Manual call station (Resetable pull / push type) suitable for semi flus mounting, IP 54 for indoor use & IP 65 for outdoor use with inbuilt fault isolator / isolator module with doublegang outlet box, equip ent for key operated test reset lock, electronic or rotary switches for address setting. Manual pull station shall be connected with two wire to SLC loop of Fire Control Panel. Cover shall be made out of LEXAN (or polycarbonate equivalent) with clear operating instruction and the word Fire appearing on the front complete with connections etc. as required and as per enclosed specifications. | 6.00 | Each | 0.00 | 4750.00 | 28500.00 | 3000.00 | 18000.00 | 3540.00 | 21240.00 | 3000.00 | 18000.00 | 3975.00 | 23850.00 | 18000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED, CENTRE TAP ENGINEERING
8.00 | Supply, installation, testing and commissioning of UL / EN listed (latest version) loop powered addressable Hooter-cum- strobe with inbuilt fault isolator / isolator module with adjustable sound level in the range of min. 90 db to Max. 120 db at 1M distance complete with termination etc. as required and as per enclosed specification. | 2.00 | Each | 0.00 | 4275.00 | 8550.00 | 4000.00 | 8000.00 | 8162.00 | 16324.00 | 8000.00 | 16000.00 | 4715.00 | 9430.00 | 8000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
9.00 | Providing, installation, testing & commissioning of UL / EN listed (Latest Version) Monitor Module / input module with inbuilt fault isolator / isolator module (for monitoring different electrical / mechanical device etc) as per specifications. | 2.00 | Each | 0.00 | 4275.00 | 8550.00 | 1000.00 | 2000.00 | 2219.00 | 4438.00 | 3000.00 | 6000.00 | 2730.00 | 5460.00 | 2000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
10.00 | Supplying & drawing of 2 x 1.5 sqmm FRLS unarmoured cable, 600 / 1000V rated with annealed copper conductor as per applicable IS standared complete in existing surface / recessed steel / PVC conduit as required. | 120.00 | Metre | 0.00 | 106.00 | 12720.00 | 148.00 | 17760.00 | 97.00 | 11640.00 | 80.00 | 9600.00 | 174.00 | 20880.00 | 9600.00 | CENTRE TAP ENGINEERING
11.00 | Supply, installation, testing and commissioning ISI marked (IS:15683) Fire Extinguisher, Carbon-di-oxide type capacity 4.5 Kg. Flat base including valve, discharge hose of not less than 10 mm dia, 1M long and complete in all respects including initial fill with CO2 gas conforming to IS:307-1966 and walll suspension braket complete as required & as per specifications. | 3.00 | Each | 0.00 | 7500.00 | 22500.00 | 8000.00 | 24000.00 | 5570.00 | 16710.00 | 6500.00 | 19500.00 | 8675.00 | 26025.00 | 16710.00 | GLYPTIC
12.00 | Supply, installation, testing and commissioning ISI marked (IS:15683) portable fire extinguisher, water (gas pressure) type capacity 9 kg with gun metal cap and nozzle and complete in all respects including initial fill and wall suspension brackets complete as required & as per specifications. | 3.00 | Each | 0.00 | 3100.00 | 9300.00 | 8000.00 | 24000.00 | 1782.00 | 5346.00 | 3000.00 | 9000.00 | 3060.00 | 9180.00 | 5346.00 | GLYPTIC
13.00 | Supply, installation, testing and commissioning of 6kg ABC (Powder Type) Fire Extinguisher, Mild Steel Cylinders ISI marked fitted with pressure indicating gauge, internal tube, squeeze lever type valve fully charged with ABC 90 powder (Mono Ammonium Phosphate) pressured by Nitrogen complete in all respects including wall suspensionbracket complete and conforming to IS:15683 as required and as per specifications. | 6.00 | Each | 0.00 | 2900.00 | 17400.00 | 5000.00 | 30000.00 | 2188.00 | 13128.00 | 4500.00 | 27000.00 | 3560.00 | 21360.00 | 13128.00 | GLYPTIC
14.00 | SH-II : AAI MESS INSTITUTE
15.00 | Supply, Installation, Testing & Commissioning of UL / EN listed (latest version) Modular Microprocessor based expandable intellegent Addressable Type Fire Alarm Control Panel , with minimum 320 character graphics / LCD display with touch screen or other keypad and minimum 4000 events history log in the non volatile memory (EPROM) ,The panel should be equiped with loop capacity to take minimum 240 intellegent addressable detectors/ devices (In any combination ) in one loop. Four access levels, capable of taking Protocol Devices, Graphical Display, sufficient numbers of programmable relay controls for controlling ventilation fan, fire pump room, monitoring of fire sprinkler and fire hydrant pump, 230 volts, 50 Hz AC power supply, automatic battery charger, 24 volts sealed maintenance free lead acid batteries sufficient for 2 hours normal working and then be capable of operating the system for 30 minutes during an emergency / fault conditions along with battery stand as required. The panel shall have facility for seamless integration with PA system (For Giving triger Signal to Start pre-recorded Digital Voice Evacuation from PA system in case of fire ). The panel shall be compatible for Building Management System with open protocol BACNET / MODBUS etc. as per specification, complete as required.-1-loop card | 1.00 | Each | 0.00 | 113481.00 | 113481.00 | 136055.00 | 136055.00 | 80026.00 | 80026.00 | 165000.00 | 165000.00 | 211840.00 | 211840.00 | 80026.00 | GLYPTIC
16.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable multi criteria detector {Smoke + heat }with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors) | 56.00 | Each | 0.00 | 4210.00 | 235760.00 | 3500.00 | 196000.00 | 2488.00 | 139328.00 | 3000.00 | 168000.00 | 2347.00 | 131432.00 | 131432.00 | COOLTEK INDIA
17.00 | Supply, installation, testing and commissioning of UL / EN listed (Latest Version) intelligent Addressable type Heat Detector (Fixed cum-rate of rise type) with inbuilt fault isolator / isolator base with max. triggering temperature programable from 58 degree C to 69 degree C complete with all fixing accessories like base, base box, self adhesive sticker indicating loop number and address etc. to be installed below / above false ceiling, roof and concealed space, etc. interconnecting to loop cable, etc. as per specification complete as required. | 6.00 | Each | 0.00 | 3800.00 | 22800.00 | 3500.00 | 21000.00 | 1800.00 | 10800.00 | 3000.00 | 18000.00 | 2110.00 | 12660.00 | 10800.00 | GLYPTIC
18.00 | Supply, installation, testing and commissioning of UL / EN listed (latest version) Intelligent addressable Control Module/ Relay Module (output module) with inbuilt fault isolator / isolator module for tripping of AHU & Ventilation / pressurisation fans / hooter complete with termination etc. complete as required and as per enclosed specifications. | 3.00 | Each | 0.00 | 4275.00 | 12825.00 | 1000.00 | 3000.00 | 5300.00 | 15900.00 | 3000.00 | 9000.00 | 4390.00 | 13170.00 | 3000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
19.00 | Supply, installation, testing and commissioning of UL / EN listed (Latest Version) Response Indicators for getting fire indications of detectors i/c mounting boxes installed above false ceiling area interconnecting to loop cable etc. as per specification complete as required. | 24.00 | Each | 0.00 | 252.00 | 6048.00 | 1000.00 | 24000.00 | 130.00 | 3120.00 | 200.00 | 4800.00 | 125.00 | 3000.00 | 3000.00 | COOLTEK INDIA
20.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable Manual call station (Resetable pull / push type) suitable for semi flus mounting, IP 54 for indoor use & IP 65 for outdoor use with inbuilt fault isolator / isolator module with doublegang outlet box, equip ent for key operated test reset lock, electronic or rotary switches for address setting. Manual pull station shall be connected with two wire to SLC loop of Fire Control Panel. Cover shall be made out of LEXAN (or polycarbonate equivalent) with clear operating instruction and the word Fire appearing on the front complete with connections etc. as required and as per enclosed specifications. | 4.00 | Each | 0.00 | 4750.00 | 19000.00 | 3000.00 | 12000.00 | 3540.00 | 14160.00 | 3000.00 | 12000.00 | 3975.00 | 15900.00 | 12000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED, CENTRE TAP ENGINEERING
21.00 | Supply, installation, testing and commissioning of UL / EN listed (latest version) loop powered addressable Hooter-cum- strobe with inbuilt fault isolator / isolator module with adjustable sound level in the range of min. 90 db to Max. 120 db at 1M distance complete with termination etc. as required and as per enclosed specification. | 2.00 | Each | 0.00 | 4750.00 | 9500.00 | 4000.00 | 8000.00 | 8162.00 | 16324.00 | 8000.00 | 16000.00 | 4715.00 | 9430.00 | 8000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
22.00 | Providing, installation, testing & commissioning of UL / EN listed (Latest Version) Monitor Module / input module with inbuilt fault isolator / isolator module (for monitoring different electrical / mechanical device etc) as per specifications. | 2.00 | Each | 0.00 | 4275.00 | 8550.00 | 1000.00 | 2000.00 | 2219.00 | 4438.00 | 3000.00 | 6000.00 | 2730.00 | 5460.00 | 2000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
23.00 | Supplying & drawing of 2 x 1.5 sqmm FRLS unarmoured cable, 600 / 1000V rated with annealed copper conductor as per applicable IS standared complete in existing surface / recessed steel / PVC conduit as required. | 110.00 | Metre | 0.00 | 106.00 | 11660.00 | 148.00 | 16280.00 | 97.00 | 10670.00 | 80.00 | 8800.00 | 174.00 | 19140.00 | 8800.00 | CENTRE TAP ENGINEERING
24.00 | Supply, installation, testing and commissioning ISI marked (IS:15683) Fire Extinguisher, Carbon-di-oxide type capacity 4.5 Kg. Flat base including valve, discharge hose of not less than 10 mm dia, 1M long and complete in all respects including initial fill with CO2 gas conforming to IS:307-1966 and walll suspension braket complete as required & as per specifications. | 3.00 | Each | 0.00 | 7500.00 | 22500.00 | 8000.00 | 24000.00 | 5570.00 | 16710.00 | 6500.00 | 19500.00 | 8675.00 | 26025.00 | 16710.00 | GLYPTIC
25.00 | Supply, installation, testing and commissioning ISI marked (IS:15683) portable fire extinguisher, water (gas pressure) type capacity 9 kg with gun metal cap and nozzle and complete in all respects including initial fill and wall suspension brackets complete as required & as per specifications. | 3.00 | Each | 0.00 | 3100.00 | 9300.00 | 8000.00 | 24000.00 | 1782.00 | 5346.00 | 3000.00 | 9000.00 | 3060.00 | 9180.00 | 5346.00 | GLYPTIC
26.00 | Supply, installation, testing and commissioning of 6kg ABC (Powder Type) Fire Extinguisher, Mild Steel Cylinders ISI marked fitted with pressure indicating gauge, internal tube, squeeze lever type valve fully charged with ABC 90 powder (Mono Ammonium Phosphate) pressured by Nitrogen complete in all respects including wall suspensionbracket complete and conforming to IS:15683 as required and as per specifications. | 6.00 | Each | 0.00 | 2900.00 | 17400.00 | 5000.00 | 30000.00 | 2188.00 | 13128.00 | 4500.00 | 27000.00 | 3560.00 | 21360.00 | 13128.00 | GLYPTIC
| Total in Figures |  |  |  |  | 1128386.00 |  | 1116150.00 |  | 768037.00 |  | 1032800.00 |  | 1057332.00
Lowest Amount Quoted BY: GLYPTIC(768037.00)

## BOQ Summary
BOQ Summary Details Tender Title: C/O ASTI-Electrical work for Prov. of External E.I., FADS, A/C and Power Supply and other associated Misc. Works (SH Provision of Intelligent Addressable Fire Alarm and Detection System at ASTI and AAI Mess Institute at AAI Colony, Guwahati) Tender ID: 2021_AAI_68202_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GLYPTIC | 768037.00 | L1
| 2 | CENTRE TAP ENGINEERING | 1032800.00 | L2
| 3 | COOLTEK INDIA | 1057332.00 | L3
| 4 | SUPER INDIA BUILDPRO PRIVATE LIMITED | 1116150.00 | L4
| 5 | DOGRA AND DOGRA ENTERPRISES | 1128386.00 | L5