## BoQ1
Government eProcurement System Created By: Keishing Honpam Created Date/Time: 16-Feb-2021 05:07 PM Tender Title: C/O ASTI-Electrical work for Prov. of External E.I., FADS, A/C and Power Supply and other associated Misc. Works (SH Provision of Split A/C and Associated Misc. Electrical Works at ASTI and AAI Mess Institute at AAI Colony, Guwahati) Tender ID: 2021_AAI_68253_1
Tender Inviting Authority:
Name of Work: C/O ASTI-Electrical work for Prov. of External E.I., FADS, A/C & Power Supply and other associated Misc. Works. (SH: Provision of split A/C and Associated Misc. Electrical works at ASTI & AAI Mess Institute at AAI Colony, Guwahati".
Contract No: 2021_AAI_68253_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | NAQVI BROTHERS(GSTN-09ADHPN6210D1ZT) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | Ace Alliance (P) Ltd.(GSTN-18AACCA9039L1ZB) |  | M/S Saturn Electricals(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : ASTI (A/C)
2.00 | Supply of 5 Star ( inverter type) rated Split Type Air-conditoners 1.45-1.5 TR/17000-18000 BTU fitted with heremetically sealed compressor operating on Refrigerant R-32/R-410A (Green Gas)/Non CFC suitable for wall mounting as per manufacturer recommendation, suitable for operation on 230V, 50Hz Single phase AC supply capable of performing following functions complete as required at site:- a) Cooling. b) Dehumidifying. c) Air Circulating. d) Filtering. e) Remote Controlling including providing standard length of refrigerent Pipe, Drainage pipe and wires. | 1.00 | Each | 0.00 | 42000.00 | 42000.00 | 35000.00 | 35000.00 | 33000.00 | 33000.00 | 32500.00 | 32500.00 | 40702.64 | 40702.64 | 32500.00 | Ace Alliance (P) Ltd.
3.00 | Supply of 5 Star (inverter type) rated Split Type Air-conditoners 1.8-2TR/22000-24000 BTU fitted with heremetically sealed compressor operating on Refrigerant R-32/R-410A (Green Gas)/Non CFC suitable for wall mounting as per manufacturer recommendation, suitable for operation on 230V, 50Hz Single phase AC supply capable of performing following functions complete as required at site as per AAI approved make:- a) Cooling. b) Dehumidifying. c) Air Circulating. d) Filtering.e) Remote Controlling including providing standard length of refrigerent Pipe, Drainage pipe and wires. | 3.00 | Each | 0.00 | 55000.00 | 165000.00 | 40000.00 | 120000.00 | 42000.00 | 126000.00 | 42000.00 | 126000.00 | 55811.00 | 167433.00 | 120000.00 | NAQVI BROTHERS
4.00 | Supply of 3 Star (invertor type) rated Cassette Type Air-conditoners 1.45-1.5TR/17000-18000 BTU fitted with heremetically sealed compressor operating on Refrigerant R-32/R-410A (Green Gas)/Non CFC suitable for ceiling mounting as per manufacturer recommendation, suitable for operation on 230V, 50Hz Single phase AC supply capable of performing following functions complete as required at site:- a) Cooling. b) Dehumidifying. c) Air Circulating. d) Filtering.e) Remote Controlling including providing standard length of refrigerent Pipe, Drainage pipe and wires. | 3.00 | Each | 0.00 | 77900.00 | 233700.00 | 50000.00 | 150000.00 | 60000.00 | 180000.00 | 59500.00 | 178500.00 | 63594.08 | 190782.24 | 150000.00 | NAQVI BROTHERS
5.00 | Supply of 3 Star (invertor type) rated Cassette Type Air-conditoners 1.8-2TR/22000-24000 BTU fitted with heremetically sealed compressor operating on Refrigerant R-32/R-410A (Green Gas)/Non CFC suitable for ceiling mounting as per manufacturer recommendation, suitable for operation on 230V, 50Hz Single phase AC supply capable of performing following functions complete as required at site:- a) Cooling. b) Dehumidifying. c) Air Circulating. d) Filtering.e) Remote Controlling including providing standard length of refrigerent Pipe, Drainage pipe and wires. | 15.00 | Each | 0.00 | 87550.00 | 1313250.00 | 60000.00 | 900000.00 | 63000.00 | 945000.00 | 65500.00 | 982500.00 | 67747.68 | 1016215.20 | 900000.00 | NAQVI BROTHERS
6.00 | Installation, testing and commissioning of different capacity split type AC's units i/c fitting of indoor and outdoor unit, pipe, wires, L-clamp etc. at their approved locations, drilling holes with power tool in the wall and providing 80 mm dia PVC pipe sleeve acrod wall for routing pipe & wires, 19mm thick weather proof plyboard of suitable size dully laminated with minimum 0.8 mm thick laminates of approved shade/colour for fixing the indoor unit with suitable fixing hardwares, ceiling supporting arrangement, leak testing of entire system, charging refrigerant gas in the unit, making good the surface as per requirement of the site and to the satisfaction of AAI. | 4.00 | Each | 0.00 | 1250.00 | 5000.00 | 1500.00 | 6000.00 | 2800.00 | 11200.00 | 4000.00 | 16000.00 | 1738.80 | 6955.20 | 5000.00 | jaydeep agency corporation
7.00 | Installation, testing and commissioning of different capacities of Cassette type AC's units i/c fitting of indoor and outdoor unit, pipes, wires etc. at their approved locations, drilling holes in the wall using suitable power tools providing fixing hardwares, ceiling supporting arrangement, leak testing of entire system, charging refrigerant gas in the unit, making good the ceiling surface to the original shape and deisgn as per requirement of the site and to the satisfaction of AAI. | 18.00 | Each | 0.00 | 1500.00 | 27000.00 | 3000.00 | 54000.00 | 4500.00 | 81000.00 | 3500.00 | 63000.00 | 2067.00 | 37206.00 | 27000.00 | jaydeep agency corporation
8.00 | Supply and fixing of 25mm dia PVC drain pipe from the respective units, clamping on different surface like wall/floor etc. i/c sealing the joints with making of openings as per site condition. | 110.00 | Metre | 0.00 | 40.00 | 4400.00 | 150.00 | 16500.00 | 90.00 | 9900.00 | 195.00 | 21450.00 | 121.00 | 13310.00 | 4400.00 | jaydeep agency corporation
9.00 | Supply and fixing of duly approved colour painted M.S. angle iron frame and mounting of outdoor A.C. units of different capacity on stand complete as reqd. a) Out door unit stand | 22.00 | Each | 0.00 | 350.00 | 7700.00 | 1000.00 | 22000.00 | 380.00 | 8360.00 | 1500.00 | 33000.00 | 797.44 | 17543.68 | 7700.00 | jaydeep agency corporation
10.00 | Supply & fixing of suitable size Copper Refrigerant piping (Supply and return) with expanded polythene foam insulation tubing covering for different rating and type of A/c units. (Measurement of 1 R.Mtr. Will include both supply & return Cu. Piping with insulation). | 66.00 | Metre | 0.00 | 1550.00 | 102300.00 | 750.00 | 49500.00 | 650.00 | 42900.00 | 900.00 | 59400.00 | 832.00 | 54912.00 | 42900.00 | VOLKS ENERGIE PVT LTD
11.00 | Supply & fixing of 4Cx2.5sqmm flexible copper wire for control wiring between indoor to outdoor unit for 2.0 TR & 1.5 TR spilt/casette type unit etc as required. | 66.00 | Metre | 0.00 | 85.00 | 5610.00 | 150.00 | 9900.00 | 110.00 | 7260.00 | 150.00 | 9900.00 | 81.00 | 5346.00 | 5346.00 | M/S Saturn Electricals
12.00 | SITC of water cooler cum purifier made of Food grade stainless steel having two taps confirming to IS:1475 (part-1)/(with upto date amendments)suitable for operation on 180-260 VAC 1-phase supply having features/functions like, 2 cold water and 1 normal water faucets; minimum water flow rate 1.5 LPM; minmum 3 stage purification of SF+ ACF+ UV; purifier fault indication; control LED; SS 304 body and tank materials and having refrigerent R134-a or bettter with Capacity as mentioned below:- a)120 Ltr Storage/60 Lts cooling | 1.00 | Each | 0.00 | 55000.00 | 55000.00 | 120000.00 | 120000.00 | 80000.00 | 80000.00 | 87000.00 | 87000.00 | 62625.20 | 62625.20 | 55000.00 | jaydeep agency corporation
13.00 | SITC of table top/floor mounted online hot and cold water purifier with external prefilter and internal SF+RO+UV filtration of 08-11 lts header tank capacity, 0.6-4.0 ltrs hot tank, 1.5-3.0 Ltrs cold tank, 15lts /hr water flow rate suitable for operation on 230 VAC, 50HZ and using on Municipal Water/Corporation Water/Bore Well Water/Tube Well Water etc. | 2.00 | Each | 0.00 | 30000.00 | 60000.00 | 25000.00 | 50000.00 | 45000.00 | 90000.00 | 45000.00 | 90000.00 | 26787.20 | 53574.40 | 50000.00 | NAQVI BROTHERS
14.00 | SH-I : AAI MESS INSTITUTE
15.00 | Supply of 5 Star ( inverter type) rated Split Type Air-conditoners 1.45-1.5 TR/17000-18000 BTU fitted with heremetically sealed compressor operating on Refrigerant R-32/R-410A (Green Gas)/Non CFC suitable for wall mounting as per manufacturer recommendation, suitable for operation on 230V, 50Hz Single phase AC supply capable of performing following functions complete as required at site:- a) Cooling. b) Dehumidifying. c) Air Circulating. d) Filtering. e) Remote Controlling including providing standard length of refrigerent Pipe, Drainage pipe and wires. | 4.00 | Each | 0.00 | 39230.00 | 156920.00 | 35000.00 | 140000.00 | 33000.00 | 132000.00 | 32500.00 | 130000.00 | 40729.04 | 162916.16 | 130000.00 | Ace Alliance (P) Ltd.
16.00 | Supply of 5 Star (inverter type) rated Split Type Air-conditoners 1.8-2TR/22000-24000 BTU fitted with heremetically sealed compressor operating on Refrigerant R-32/R-410A (Green Gas)/Non CFC suitable for wall mounting as per manufacturer recommendation, suitable for operation on 230V, 50Hz Single phase AC supply capable of performing following functions complete as required at site as per AAI approved make:- a) Cooling. b) Dehumidifying. c) Air Circulating. d) Filtering.e) Remote Controlling including providing standard length of refrigerent Pipe, Drainage pipe and wires. | 11.00 | Each | 0.00 | 47824.00 | 526064.00 | 40000.00 | 440000.00 | 42000.00 | 462000.00 | 42000.00 | 462000.00 | 55811.36 | 613924.96 | 440000.00 | NAQVI BROTHERS
17.00 | Installation, testing and commissioning of different capacity split type AC's units i/c fitting of indoor and outdoor unit, pipe, wires, L-clamp etc. at their approved locations, drilling holes with power tool in the wall and providing 80 mm dia PVC pipe sleeve acrodd wall for routing pipe & wires, 19mm thick weather proof plyboard of suitable size dully laminated with minimum 0.8 mm thick laminates of approved shade/colour for fixing the indoor unit with suitable fixing hardwares, ceiling supporting arrangement, leak testing of entire system, charging refrigerant gas in the unit, making good the surface as per requirement of the site and to the satisfaction of AAI. | 15.00 | Each | 0.00 | 1500.00 | 22500.00 | 1500.00 | 22500.00 | 3000.00 | 45000.00 | 4000.00 | 60000.00 | 1719.48 | 25792.20 | 22500.00 | jaydeep agency corporation, NAQVI BROTHERS
18.00 | Supply and fixing of 25mm dia PVC drain pipe from the respective units, clamping on different surface like wall/floor etc. i/c sealing the joints with making of openings as per site condition. | 75.00 | Metre | 0.00 | 40.00 | 3000.00 | 150.00 | 11250.00 | 90.00 | 6750.00 | 195.00 | 14625.00 | 118.00 | 8850.00 | 3000.00 | jaydeep agency corporation
19.00 | Supply and fixing of duly approved colour painted M.S. angle iron frame and mounting of outdoor A.C. units of different capacity on stand complete as reqd. a) Out door unit stand | 15.00 | Each | 0.00 | 350.00 | 5250.00 | 1000.00 | 15000.00 | 380.00 | 5700.00 | 1500.00 | 22500.00 | 806.40 | 12096.00 | 5250.00 | jaydeep agency corporation
20.00 | Supply & fixing of suitable size Copper Refrigerant piping (Supply and return) with expanded polythene foam insulation tubing covering for different rating and type of A/c units. (Measurement of 1 R.Mtr. Will include both supply & return Cu. Piping with insulation). | 45.00 | Metre | 0.00 | 1550.00 | 69750.00 | 750.00 | 33750.00 | 650.00 | 29250.00 | 900.00 | 40500.00 | 759.00 | 34155.00 | 29250.00 | VOLKS ENERGIE PVT LTD
21.00 | Supply & fixing of 4Cx2.5sqmm flexible copper wire for control wiring between indoor to outdoor unit for 2.0 TR & 1.5 TR spilt/casette type unit etc as required. | 45.00 | Metre | 0.00 | 85.00 | 3825.00 | 150.00 | 6750.00 | 110.00 | 4950.00 | 150.00 | 6750.00 | 86.45 | 3890.25 | 3825.00 | jaydeep agency corporation
22.00 | SITC of water cooler cum purifier made of Food grade stainless steel having two taps confirming to IS:1475 (part-1)/(with upto date amendments)suitable for operation on 180-260 VAC 1-phase supply having features/functions like, 2 cold water and 1 normal water faucets; minimum water flow rate 1.5 LPM; minmum 3 stage purification of SF+ ACF+ UV; purifier fault indication; control LED; SS 304 body and tank materials and having refrigerent R134-a or bettter with Capacity as mentioned below:- a)120 Ltr Storage/60 Lts cooling | 1.00 | Each | 0.00 | 55000.00 | 55000.00 | 120000.00 | 120000.00 | 80000.00 | 80000.00 | 87000.00 | 87000.00 | 67787.00 | 67787.00 | 55000.00 | jaydeep agency corporation
23.00 | SITC of table top/floor mounted online hot and cold water purifier with external prefilter and internal SF+RO+UV filtration of 08-11 lts header tank capacity, 0.6-4.0 ltrs hot tank, 1.5-3.0 Ltrs cold tank, 15lts /hr water flow rate suitable for operation on 230 VAC, 50HZ and using on Municipal Water/Corporation Water/Bore Well Water/Tube Well Water etc. | 1.00 | Each | 0.00 | 30000.00 | 30000.00 | 25000.00 | 25000.00 | 45000.00 | 45000.00 | 45000.00 | 45000.00 | 26787.20 | 26787.20 | 25000.00 | NAQVI BROTHERS
24.00 | SH-II : Power supply
25.00 | Supply of following size of 1.1 KV grade, Armoured XLPE insulated PVC sheathed Aluminium conductor cable confirming to IS: 7098 part -I amended upto date. A. 3.5C x 120 sqmm ( Service Connection) | 150.00 | Metre | 0.00 | 470.00 | 70500.00 | 900.00 | 135000.00 | 475.00 | 71250.00 | 675.00 | 101250.00 | 467.25 | 70087.50 | 70087.50 | M/S Saturn Electricals
26.00 | Supply of following size of 1.1 KV grade, Armoured XLPE insulated PVC sheathed Aluminium conductor cable confirming to IS: 7098 part -I amended upto date. A. 3.5C x 70 sqmm ( Service Connection) | 70.00 | Metre | 0.00 | 302.00 | 21140.00 | 550.00 | 38500.00 | 310.00 | 21700.00 | 450.00 | 31500.00 | 312.39 | 21867.30 | 21140.00 | jaydeep agency corporation
27.00 | Supply of following size of 1.1 KV grade, Armoured XLPE insulated PVC sheathed Aluminium conductor cable confirming to IS: 7098 part -I amended upto date. b. 4C x 16 sqmm (periphery Lighting) | 281.00 | Metre | 0.00 | 115.00 | 32315.00 | 129.00 | 36249.00 | 120.00 | 33720.00 | 175.00 | 49175.00 | 190.00 | 53390.00 | 32315.00 | jaydeep agency corporation
28.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. a. 50mm dia | 212.00 | Metre | 0.00 | 130.00 | 27560.00 | 450.00 | 95400.00 | 230.00 | 48760.00 | 325.00 | 68900.00 | 94.00 | 19928.00 | 19928.00 | M/S Saturn Electricals
29.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. b. 110mm dia | 138.00 | Metre | 0.00 | 207.00 | 28566.00 | 750.00 | 103500.00 | 365.00 | 50370.00 | 450.00 | 62100.00 | 443.00 | 61134.00 | 28566.00 | jaydeep agency corporation
30.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/METAL pipe as required. a. Upto 35 sq.mm. | 212.00 | Metre | 0.00 | 25.00 | 5300.00 | 35.00 | 7420.00 | 50.00 | 10600.00 | 150.00 | 31800.00 | 24.03 | 5094.36 | 5094.36 | M/S Saturn Electricals
31.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/METAL pipe as required. b. Above 35 sq. mm and upto 95 sq. mm | 40.00 | Metre | 0.00 | 30.00 | 1200.00 | 95.00 | 3800.00 | 65.00 | 2600.00 | 225.00 | 9000.00 | 36.49 | 1459.60 | 1200.00 | jaydeep agency corporation
32.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/METAL pipe as required. c. Above 95 sq. mm and upto 185 sq. mm | 98.00 | Metre | 0.00 | 40.00 | 3920.00 | 185.00 | 18130.00 | 80.00 | 7840.00 | 300.00 | 29400.00 | 50.00 | 4900.00 | 3920.00 | jaydeep agency corporation
33.00 | Laying & fixing of one No XLPE insulated & PVC sheathed Aluminium/Copper Cable of 1.1 KV grade of following sizes on surface/ cable tray etc. as required. a. Upto 35 sqmm | 20.00 | Metre | 0.00 | 25.00 | 500.00 | 35.00 | 700.00 | 50.00 | 1000.00 | 175.00 | 3500.00 | 26.00 | 520.00 | 500.00 | jaydeep agency corporation
34.00 | Laying & fixing of one No XLPE insulated & PVC sheathed Aluminium/Copper Cable of 1.1 KV grade of following sizes on surface/ cable tray etc. as required. b. Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 10.00 | Metre | 0.00 | 30.00 | 300.00 | 95.00 | 950.00 | 100.00 | 1000.00 | 250.00 | 2500.00 | 46.28 | 462.80 | 300.00 | jaydeep agency corporation
35.00 | Laying & fixing of one No XLPE insulated & PVC sheathed Aluminium/Copper Cable of 1.1 KV grade of following sizes on surface/ cable tray etc. as required. c. Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 20.00 | Metre | 0.00 | 40.00 | 800.00 | 185.00 | 3700.00 | 120.00 | 2400.00 | 325.00 | 6500.00 | 60.00 | 1200.00 | 800.00 | jaydeep agency corporation
36.00 | Laying of one number PVC insulated and PVC sheathed /XLPE power cable of 1.1 KV grade of following sizes direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required. a. Upto 35 sqmm | 20.00 | Metre | 0.00 | 200.00 | 4000.00 | 35.00 | 700.00 | 360.00 | 7200.00 | 250.00 | 5000.00 | 317.00 | 6340.00 | 700.00 | NAQVI BROTHERS
37.00 | Laying of one number PVC insulated and PVC sheathed /XLPE power cable of 1.1 KV grade of following sizes direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required. b. Above 35 sq. mm and upto 95 sq. mm | 8.00 | Metre | 0.00 | 250.00 | 2000.00 | 95.00 | 760.00 | 410.00 | 3280.00 | 325.00 | 2600.00 | 328.00 | 2624.00 | 760.00 | NAQVI BROTHERS
38.00 | Laying of one number PVC insulated and PVC sheathed /XLPE power cable of 1.1 KV grade of following sizes direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required. c. Above 95 sq. mm and upto 185 sq. mm | 10.00 | Metre | 0.00 | 260.00 | 2600.00 | 185.00 | 1850.00 | 460.00 | 4600.00 | 375.00 | 3750.00 | 338.20 | 3382.00 | 1850.00 | NAQVI BROTHERS
39.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 3.00 | Cum | 0.00 | 550.00 | 1650.00 | 7500.00 | 22500.00 | 1600.00 | 4800.00 | 1500.00 | 4500.00 | 902.00 | 2706.00 | 1650.00 | jaydeep agency corporation
40.00 | Supplying and making end termination with heavy duty type brass single compression gland and aluminium lugs for following size of XLPE insulated aluminium conductor cable of 1.1 kV grade as required. a. 3.5 x 120 sqmm | 2.00 | Each | 0.00 | 450.00 | 900.00 | 360.00 | 720.00 | 1000.00 | 2000.00 | 1150.00 | 2300.00 | 1295.00 | 2590.00 | 720.00 | NAQVI BROTHERS
41.00 | Supplying and making end termination with heavy duty type brass single compression gland and aluminium lugs for following size of XLPE insulated aluminium conductor cable of 1.1 kV grade as required. b. 3.5 x 70 sqmm | 2.00 | Each | 0.00 | 300.00 | 600.00 | 210.00 | 420.00 | 1000.00 | 2000.00 | 650.00 | 1300.00 | 1088.00 | 2176.00 | 420.00 | NAQVI BROTHERS
42.00 | Supplying and making end termination with heavy duty type brass single compression gland and aluminium lugs for following size of XLPE insulated aluminium conductor cable of 1.1 kV grade as required. c. 4 x 16 sqmm | 20.00 | Each | 0.00 | 125.00 | 2500.00 | 100.00 | 2000.00 | 500.00 | 10000.00 | 325.00 | 6500.00 | 138.33 | 2766.60 | 2000.00 | NAQVI BROTHERS
43.00 | Supplying and fixing of 4 way, 4 pole 250A MCCB panel board i/c cable alley, VAF meter, indication lamp, tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. a. 160A 4P, 35kA, Ics=100%Icu MCCB-1 nos (incomer) b. 63A 4P, 35kA, Ics=100%Icu MCCB- 4 nos (outgoing) | 2.00 | Each | 0.00 | 65000.00 | 130000.00 | 55000.00 | 110000.00 | 91000.00 | 182000.00 | 115000.00 | 230000.00 | 71469.06 | 142938.12 | 110000.00 | NAQVI BROTHERS
44.00 | Supplying and fixing of VTPN MCCB TPN cable end box ( horizontal type ), suitable for 240 and 415 volts, on surface/ recess, completed as per site required. | 4.00 | Each | 0.00 | 3800.00 | 15200.00 | 5000.00 | 20000.00 | 2800.00 | 11200.00 | 14750.00 | 59000.00 | 2631.00 | 10524.00 | 10524.00 | M/S Saturn Electricals
45.00 | SH-III: Miscellenous Works
46.00 | Supply of 400mm sweep wall fan suitable for operation at 230±10% Volts, 50 Hz. | 35.00 | Each | 0.00 | 2800.00 | 98000.00 | 2000.00 | 70000.00 | 2040.00 | 71400.00 | 2950.00 | 103250.00 | 2215.00 | 77525.00 | 70000.00 | NAQVI BROTHERS
47.00 | Supply of 45 W ±5 %, 5400K, energy efficient LED street light / roadway light luminaire suitable for pole mount applications with minimum system efficient lumen output of 110 lm/W, IP 65/66 protected single piece pressure die-cast aluminium alloy housing with corrosion resistance powder coating suitable to operate on 230 V, 50 Hz AC complete as specified in Technical specification complete as required. | 10.00 | Each | 0.00 | 2250.00 | 22500.00 | 3500.00 | 35000.00 | 2200.00 | 22000.00 | 2650.00 | 26500.00 | 3622.08 | 36220.80 | 22000.00 | VOLKS ENERGIE PVT LTD
48.00 | Supply and installation of 8 meter octagonal GI Pole of 3 mm thickness, including 1.5 meter single arm bracket of 40 mm dia B -class, civil RCC foundation, foundation nut bolts of appropiate length & size i/c interconnection between MCB to light fitting with 3 x 1.5sqmm single core FRLS copper wire, i/c supply & fixing of B-0.5A 10kA SP MCB with rail & 25A 4 way cable termination block, suitable to operate on 230V,50Hz AC supply etc. complete i/c interconnection, earthing, end termination with lugs/thimble etc. as required. | 10.00 | Each | 0.00 | 18900.00 | 189000.00 | 10000.00 | 100000.00 | 27500.00 | 275000.00 | 17500.00 | 175000.00 | 17601.00 | 176010.00 | 100000.00 | NAQVI BROTHERS
49.00 | Supply of 253- 260 ltrs,3 star rated,inverter type, stabilizer free operation Energy efficient Refrigerator, double door,Frost free,MOC-Stainless steel suitable for operation at 230+10% volts, 50 Hz. | 1.00 | Each | 0.00 | 17800.00 | 17800.00 | 45000.00 | 45000.00 | 28000.00 | 28000.00 | 35900.00 | 35900.00 | 21578.00 | 21578.00 | 17800.00 | jaydeep agency corporation
50.00 | SITC of 4/5 star rated 10 ltrs Geyser, 2000 Watts complete with AC power cord, incoming & outgoing pipings with stainless steel 304 grade pipe of chrome finish or better and having visual triped & power ON indication suitable for operation at 230+10% volts, 50 Hz. | 1.00 | Each | 0.00 | 10200.00 | 10200.00 | 10000.00 | 10000.00 | 6200.00 | 6200.00 | 13000.00 | 13000.00 | 6588.00 | 6588.00 | 6200.00 | VOLKS ENERGIE PVT LTD
51.00 | Supply and fixing DLP PVC trunking of size 105x50mm on the wall using suitable screws/fastener on the horizontal formation along the refrigerant copper piping of indoor AC unit to Outdoor AC Unit. | 90.00 | Metre | 0.00 | 650.00 | 58500.00 | 900.00 | 81000.00 | 750.00 | 67500.00 | 1500.00 | 135000.00 | 751.00 | 67590.00 | 58500.00 | jaydeep agency corporation
| Total in Figures |  |  |  |  | 3640820.00 |  | 3290449.00 |  | 3373690.00 |  | 3766850.00 |  | 3424406.41
Lowest Amount Quoted BY: NAQVI BROTHERS(3290449.00)

## BOQ Summary
BOQ Summary Details Tender Title: C/O ASTI-Electrical work for Prov. of External E.I., FADS, A/C and Power Supply and other associated Misc. Works (SH Provision of Split A/C and Associated Misc. Electrical Works at ASTI and AAI Mess Institute at AAI Colony, Guwahati) Tender ID: 2021_AAI_68253_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NAQVI BROTHERS | 3290449.00 | L1
| 2 | VOLKS ENERGIE PVT LTD | 3373690.00 | L2
| 3 | M/S Saturn Electricals | 3424406.41 | L3
| 4 | jaydeep agency corporation | 3640820.00 | L4
| 5 | Ace Alliance (P) Ltd. | 3766850.00 | L5