## BoQ1
Government eProcurement System Created By: Rahul S Mankar Created Date/Time: 15-Feb-2021 03:35 PM Tender Title: Bi-Annual CMC of Window - Split - Tower - Cassette AC Units, Water Dispensers, Water Coolers and RO Water Purifiers at AAI Installations, DBAI Airport, Nagpur Year- 2020-22 Tender ID: 2021_AAI_68351_1
Tender Inviting Authority: Asstt. General Manager (Engg-Elect), AAI, Nagpur
Name of Work :- Bi-Annual CMC of Window / Split / Tower / Cassette AC Units, Water Dispensers, Water Coolers & RO Water Purifiers at AAI Installations, DBAI Airport, Nagpur (Year: 2020-22).
Contract No: AAI/NGP/E-E/2020-21/09/AC-CMC/NIT-06 Date: 01.02.2021
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ROSHAN REFRIGERATION AND ELECTRICALS(GSTN-23AAJFR9192B1Z5) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | HVAC System and Solutions(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Bi-Annual comprehensive maintenance contract of following Air Conditioners which involves comprehensive maintenance of Air conditioners of different makes at different locations including supply of spares and consumables as per the contract terms & conditions and instructions of Engineer-in-charge as required.
1.01 | 1.5 TR Split type A/C unit - 1st Year | 56.00 | Rate / Unit / Year | 2146.00 | 1600.00 | 89600.00 | 1400.00 | 78400.00 | 900.00 | 50400.00 | 1700.00 | 95200.00 | 50400.00 | Manish Electricals
1.02 | 1.5 TR Split type A/C unit - 2nd Year | 56.00 | Rate / Unit / Year | 3005.00 | 1700.00 | 95200.00 | 1400.00 | 78400.00 | 900.00 | 50400.00 | 1800.00 | 100800.00 | 50400.00 | Manish Electricals
1.03 | 2.0 TR. Split type A/C unit - 1st Year | 3.00 | Rate / Unit / Year | 3005.00 | 2900.00 | 8700.00 | 1500.00 | 4500.00 | 1000.00 | 3000.00 | 3000.00 | 9000.00 | 3000.00 | Manish Electricals
1.04 | 2.0 TR. Split type A/C unit - 2nd Year | 3.00 | Rate / Unit / Year | 3434.00 | 2900.00 | 8700.00 | 1500.00 | 4500.00 | 1000.00 | 3000.00 | 3200.00 | 9600.00 | 3000.00 | Manish Electricals
1.05 | 2.5 TR. Tower type A/C unit - 1st Year | 14.00 | Rate / Unit / Year | 4035.00 | 3800.00 | 53200.00 | 2000.00 | 28000.00 | 2000.00 | 28000.00 | 3200.00 | 44800.00 | 28000.00 | M K ENTERPRISES, Manish Electricals
1.06 | 2.5 TR. Tower type A/C unit - 2nd Year | 14.00 | Rate / Unit / Year | 4550.00 | 3800.00 | 53200.00 | 2000.00 | 28000.00 | 2000.00 | 28000.00 | 3500.00 | 49000.00 | 28000.00 | M K ENTERPRISES, Manish Electricals
1.07 | 3.0 TR. Verticool tower type A/C unit - 1st Year | 16.00 | Rate / Unit / Year | 4722.00 | 3900.00 | 62400.00 | 2500.00 | 40000.00 | 2500.00 | 40000.00 | 4000.00 | 64000.00 | 40000.00 | M K ENTERPRISES, Manish Electricals
1.08 | 3.0 TR. Verticool tower type A/C unit - 2nd Year | 16.00 | Rate / Unit / Year | 5151.00 | 3900.00 | 62400.00 | 2500.00 | 40000.00 | 2500.00 | 40000.00 | 4500.00 | 72000.00 | 40000.00 | M K ENTERPRISES, Manish Electricals
1.09 | 3.0 TR. Mega Split type A/C unit - 1st Year | 41.00 | Rate / Unit / Year | 4722.00 | 4000.00 | 164000.00 | 2200.00 | 90200.00 | 2000.00 | 82000.00 | 4200.00 | 172200.00 | 82000.00 | Manish Electricals
1.10 | 3.0 TR. Mega Split type A/C unit - 2nd Year | 41.00 | Rate / Unit / Year | 5151.00 | 4000.00 | 164000.00 | 2200.00 | 90200.00 | 2000.00 | 82000.00 | 4500.00 | 184500.00 | 82000.00 | Manish Electricals
1.11 | 2.8 TR. Inverter Cassette type A/C unit - 1st Year | 2.00 | Rate / Unit / Year | 5580.00 | 4200.00 | 8400.00 | 3500.00 | 7000.00 | 1100.00 | 2200.00 | 6300.00 | 12600.00 | 2200.00 | Manish Electricals
1.12 | 2.8 TR. Inverter Cassette type A/C unit - 2nd Year | 2.00 | Rate / Unit / Year | 5752.00 | 4200.00 | 8400.00 | 3500.00 | 7000.00 | 1100.00 | 2200.00 | 6500.00 | 13000.00 | 2200.00 | Manish Electricals
1.13 | 3.0 TR. Cassette type A/C unit - 1st Year | 2.00 | Rate / Unit / Year | 4722.00 | 4200.00 | 8400.00 | 3000.00 | 6000.00 | 4500.00 | 9000.00 | 5000.00 | 10000.00 | 6000.00 | M K ENTERPRISES
1.14 | 3.0 TR. Cassette type A/C unit - 2nd Year | 2.00 | Rate / Unit / Year | 5580.00 | 4200.00 | 8400.00 | 3000.00 | 6000.00 | 4500.00 | 9000.00 | 5500.00 | 11000.00 | 6000.00 | M K ENTERPRISES
1.15 | 3.5 TR. Verticool Tower Split type A/C unit - 1st Year | 13.00 | Rate / Unit / Year | 5580.00 | 4200.00 | 54600.00 | 2800.00 | 36400.00 | 3000.00 | 39000.00 | 5500.00 | 71500.00 | 36400.00 | M K ENTERPRISES
1.16 | 3.5 TR. Verticool Tower Split type A/C unit - 2nd Year | 13.00 | Rate / Unit / Year | 5924.00 | 4200.00 | 54600.00 | 2800.00 | 36400.00 | 3000.00 | 39000.00 | 6000.00 | 78000.00 | 36400.00 | M K ENTERPRISES
1.17 | 4.0 TR. Verticool Tower Split type A/C unit - 1st Year | 1.00 | Rate / Unit / Year | 6868.00 | 4500.00 | 4500.00 | 8000.00 | 8000.00 | 12000.00 | 12000.00 | 6500.00 | 6500.00 | 4500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
1.18 | 4.0 TR. Verticool Tower Split type A/C unit - 2nd Year | 1.00 | Rate / Unit / Year | 6868.00 | 4500.00 | 4500.00 | 8000.00 | 8000.00 | 12000.00 | 12000.00 | 7500.00 | 7500.00 | 4500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
2.00 | Bi-Annual comprehensive maintenance contract of following water coolers / water dispensers which involves comprehensive maintenance of water coolers / dispensers of different makes at different locations including supply of spares & consumables as per the contract terms and conditions and instructions of Engineer-in-charge as required.
2.01 | Water Cooler - 60 Litres Capacity - 1st Year | 2.00 | Rate / Unit / Year | 3005.00 | 1700.00 | 3400.00 | 3500.00 | 7000.00 | 20000.00 | 40000.00 | 7000.00 | 14000.00 | 3400.00 | ROSHAN REFRIGERATION AND ELECTRICALS
2.02 | Water Cooler - 60 Litres Capacity - 2nd Year | 2.00 | Rate / Unit / Year | 3606.00 | 1800.00 | 3600.00 | 3500.00 | 7000.00 | 20000.00 | 40000.00 | 8000.00 | 16000.00 | 3600.00 | ROSHAN REFRIGERATION AND ELECTRICALS
2.03 | Water Dispenser (Hot/Normal/Cold) - Bottle Top - 1st Year | 12.00 | Rate / Unit / Year | 1202.00 | 1500.00 | 18000.00 | 2000.00 | 24000.00 | 1500.00 | 18000.00 | 3500.00 | 42000.00 | 18000.00 | ROSHAN REFRIGERATION AND ELECTRICALS, Manish Electricals
2.04 | Water Dispenser (Hot/Normal/Cold) - Bottle Top - 2nd Year | 12.00 | Rate / Unit / Year | 1374.00 | 1500.00 | 18000.00 | 2000.00 | 24000.00 | 1500.00 | 18000.00 | 4000.00 | 48000.00 | 18000.00 | ROSHAN REFRIGERATION AND ELECTRICALS, Manish Electricals
3.00 | Bi-Annual comprehensive maintenance contract of following RO Water Purifier cum Water Coolers including replacement of all components & parts (excluding supply of all type of filter cartridges / RO membrane cartridges) as per the contract terms & conditions and instructions of Engineer-in-charge as required.
3.01 | RO Water Purifier cum Water Cooler - Make: BLUESTAR / SWCSDLX6080UVROE - 1st Year | 1.00 | Rate / Unit / Year | 4293.00 | 5500.00 | 5500.00 | 3000.00 | 3000.00 | 20000.00 | 20000.00 | 8000.00 | 8000.00 | 3000.00 | M K ENTERPRISES
3.02 | RO Water Purifier cum Water Cooler - Make: BLUESTAR / SWCSDLX6080UVROE - 2nd Year | 1.00 | Rate / Unit / Year | 5151.00 | 6000.00 | 6000.00 | 3000.00 | 3000.00 | 20000.00 | 20000.00 | 9000.00 | 9000.00 | 3000.00 | M K ENTERPRISES
3.03 | RO Water Purifier cum Water Cooler - Make: EUREKA FORBES / ABSOLUTE RO+UV - 1st Year | 1.00 | Rate / Unit / Year | 4293.00 | 5500.00 | 5500.00 | 3000.00 | 3000.00 | 20000.00 | 20000.00 | 3500.00 | 3500.00 | 3000.00 | M K ENTERPRISES
3.04 | RO Water Purifier cum Water Cooler - Make: EUREKA FORBES / ABSOLUTE RO+UV - 2nd Year | 1.00 | Rate / Unit / Year | 4722.00 | 6000.00 | 6000.00 | 3000.00 | 3000.00 | 20000.00 | 20000.00 | 4000.00 | 4000.00 | 3000.00 | M K ENTERPRISES
3.05 | RO Water Purifier cum Water Cooler - Make: KENT / PERK - 1st Year | 3.00 | Rate / Unit / Year | 2146.00 | 5500.00 | 16500.00 | 3000.00 | 9000.00 | 20000.00 | 60000.00 | 3500.00 | 10500.00 | 9000.00 | M K ENTERPRISES
3.06 | RO Water Purifier cum Water Cooler - Make: KENT / PERK - 2nd Year | 3.00 | Rate / Unit / Year | 3005.00 | 5500.00 | 16500.00 | 3000.00 | 9000.00 | 20000.00 | 60000.00 | 4000.00 | 12000.00 | 9000.00 | M K ENTERPRISES
4.00 | Dismantling of existing split type air conditioners of 1.5 TR/ 2.0 TR capacity & shifting the complete unit up to the AAI's store or as directed by Engineer-in-charge. | 10.00 | Nos. | 687.00 | 150.00 | 1500.00 | 400.00 | 4000.00 | 2000.00 | 20000.00 | 750.00 | 7500.00 | 1500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
5.00 | Dismantling of existing tower type / mega split type air conditioners of 2.5/3.0/3.5 TR capacity & shifting the complete unit up to the AAI's store or as directed by Engineer-in-charge. | 10.00 | Nos. | 687.00 | 150.00 | 1500.00 | 400.00 | 4000.00 | 3000.00 | 30000.00 | 1000.00 | 10000.00 | 1500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
6.00 | Reinstallation of 1.5 TR/ 2.0 TR split type air-conditioners including providing cabling between indoor & outdoor units, gas charging with leak testing (excluding the refrigerant piping with insulation & drain piping), connections complete etc. as required. | 10.00 | Nos. | 1030.00 | 200.00 | 2000.00 | 500.00 | 5000.00 | 3500.00 | 35000.00 | 3000.00 | 30000.00 | 2000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
7.00 | Reinstallation of 2.5/3.0/3.5 TR tower type/ mega split type) air-conditioners including providing cabling between indoor & outdoor units, gas charging with leak testing (excluding the refrigerant piping with insulation & drain piping), connections complete etc. as required. | 10.00 | Nos. | 2146.00 | 200.00 | 2000.00 | 800.00 | 8000.00 | 5000.00 | 50000.00 | 4500.00 | 45000.00 | 2000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
8.00 | Supply & fixing of copper piping (suction & discharge) for 1.5/2.0 TR split type air-conditioners i/c. necessary insulation, tape complete etc. as required. | 30.00 | Metre | 575.00 | 250.00 | 7500.00 | 340.00 | 10200.00 | 450.00 | 13500.00 | 850.00 | 25500.00 | 7500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
9.00 | Supply & fixing of copper piping (suction & discharge) for 2.5/3.0/3.5 TR tower type / mega split type air-conditioners i/c. necessary insulation, tape complete etc. as required. | 30.00 | Metre | 575.00 | 250.00 | 7500.00 | 400.00 | 12000.00 | 650.00 | 19500.00 | 1050.00 | 31500.00 | 7500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
10.00 | Supply & fixing 25 mm dia. size UPVC drain pipe along with accessories including cutting the wall, jointing and making good the same in case of recessed conduit with approved solvent cement compound in surface / recess etc. complete as required. | 60.00 | Metre | 194.00 | 75.00 | 4500.00 | 75.00 | 4500.00 | 750.00 | 45000.00 | 135.00 | 8100.00 | 4500.00 | ROSHAN REFRIGERATION AND ELECTRICALS, M K ENTERPRISES
11.00 | Supply of following cartridges for RO Water Purifier cum Water Cooler - Make: BLUESTAR / SWCSDLX6080UVROE from OEM / Authorised dealer as & when required as per instructions of Engineer-in-Charge.
11.01 | RO Membrane 75 GPD (Make - Eureka Forbes) | 8.00 | Nos. | 2273.00 | 450.00 | 3600.00 | 3000.00 | 24000.00 | 900.00 | 7200.00 | 2400.00 | 19200.00 | 3600.00 | ROSHAN REFRIGERATION AND ELECTRICALS
11.02 | Sediment Filter (Make - Eureka Forbes) | 2.00 | Nos. | 477.00 | 560.00 | 1120.00 | 700.00 | 1400.00 | 900.00 | 1800.00 | 390.00 | 780.00 | 780.00 | HVAC System and Solutions
11.03 | Carbon Filter (Make - Eureka Forbes) | 4.00 | Nos. | 682.00 | 700.00 | 2800.00 | 700.00 | 2800.00 | 900.00 | 3600.00 | 410.00 | 1640.00 | 1640.00 | HVAC System and Solutions
11.04 | PP Filter 20X2" (Make - Eureka Forbes) | 2.00 | Nos. | 273.00 | 550.00 | 1100.00 | 600.00 | 1200.00 | 900.00 | 1800.00 | 310.00 | 620.00 | 620.00 | HVAC System and Solutions
11.05 | CTO Filter (Make - Eureka Forbes) | 2.00 | Nos. | 273.00 | 180.00 | 360.00 | 600.00 | 1200.00 | 900.00 | 1800.00 | 410.00 | 820.00 | 360.00 | ROSHAN REFRIGERATION AND ELECTRICALS
11.06 | GAC Filter (Make - Eureka Forbes) | 2.00 | Nos. | 273.00 | 550.00 | 1100.00 | 600.00 | 1200.00 | 900.00 | 1800.00 | 410.00 | 820.00 | 820.00 | HVAC System and Solutions
12.00 | Supply of following cartridges for RO Water Purifier cum Water Cooler - Make: EUREKA FORBES / ABSOLUTE RO+UV from OEM / Authorised dealer as & when required as per instructions of Engineer-in-Charge.
12.01 | RO Membrane 100 GPD (Make - Eureka Forbes) | 2.00 | Nos. | 2273.00 | 650.00 | 1300.00 | 3200.00 | 6400.00 | 900.00 | 1800.00 | 2400.00 | 4800.00 | 1300.00 | ROSHAN REFRIGERATION AND ELECTRICALS
12.02 | Sediment Filter (Make - Eureka Forbes) | 2.00 | Nos. | 477.00 | 450.00 | 900.00 | 700.00 | 1400.00 | 900.00 | 1800.00 | 360.00 | 720.00 | 720.00 | HVAC System and Solutions
12.03 | Carbon Filter (Make - Eureka Forbes) | 4.00 | Nos. | 682.00 | 550.00 | 2200.00 | 700.00 | 2800.00 | 900.00 | 3600.00 | 370.00 | 1480.00 | 1480.00 | HVAC System and Solutions
12.04 | UF Membrane (Make - Eureka Forbes) | 2.00 | Nos. | 545.00 | 550.00 | 1100.00 | 2900.00 | 5800.00 | 900.00 | 1800.00 | 900.00 | 1800.00 | 1100.00 | ROSHAN REFRIGERATION AND ELECTRICALS
12.05 | PP Filter (Make - Eureka Forbes) | 2.00 | Nos. | 273.00 | 650.00 | 1300.00 | 600.00 | 1200.00 | 900.00 | 1800.00 | 310.00 | 620.00 | 620.00 | HVAC System and Solutions
13.00 | Supply of following cartridges for RO Water Purifier cum Water Cooler - Make: KENT / PERK from OEM / Authorised dealer as & when required as per instructions of Engineer-in-Charge.
13.01 | RO Membrane 100 GPD (Make - Kent) | 4.00 | Nos. | 2273.00 | 550.00 | 2200.00 | 2500.00 | 10000.00 | 900.00 | 3600.00 | 2500.00 | 10000.00 | 2200.00 | ROSHAN REFRIGERATION AND ELECTRICALS
13.02 | Sediment Filter (Make - Kent) | 2.00 | Nos. | 455.00 | 550.00 | 1100.00 | 500.00 | 1000.00 | 900.00 | 1800.00 | 410.00 | 820.00 | 820.00 | HVAC System and Solutions
13.03 | Carbon Filter (Make - Kent) | 2.00 | Nos. | 455.00 | 550.00 | 1100.00 | 500.00 | 1000.00 | 900.00 | 1800.00 | 450.00 | 900.00 | 900.00 | HVAC System and Solutions
13.04 | UF Membrane (Make - Kent) | 2.00 | Nos. | 727.00 | 550.00 | 1100.00 | 1000.00 | 2000.00 | 900.00 | 1800.00 | 900.00 | 1800.00 | 1100.00 | ROSHAN REFRIGERATION AND ELECTRICALS
14.00 | Supply of following spares for 100 LPH RO Water Filtration Plant as & when required as per instructions of Engineer-in-Charge.
14.01 | Booster pump 300 GPD (Hitech/BNQS or similar) | 1.00 | Nos. | 2391.00 | 2600.00 | 2600.00 | 3500.00 | 3500.00 | 2000.00 | 2000.00 | 3100.00 | 3100.00 | 2000.00 | Manish Electricals
14.02 | PP Filter 20"X4" (Hitech or Similar) | 3.00 | Nos. | 682.00 | 550.00 | 1650.00 | 600.00 | 1800.00 | 2000.00 | 6000.00 | 610.00 | 1830.00 | 1650.00 | ROSHAN REFRIGERATION AND ELECTRICALS
14.03 | PP Filter 20X2" (Hitech or similar) | 3.00 | Nos. | 273.00 | 550.00 | 1650.00 | 450.00 | 1350.00 | 2000.00 | 6000.00 | 225.00 | 675.00 | 675.00 | HVAC System and Solutions
14.04 | GAC Filter 20"X2" (Hitech or Similar) | 3.00 | Nos. | 273.00 | 550.00 | 1650.00 | 500.00 | 1500.00 | 2000.00 | 6000.00 | 480.00 | 1440.00 | 1440.00 | HVAC System and Solutions
14.05 | Post Carbon Filter 10" (Hitech or Similar) | 3.00 | Nos. | 409.00 | 180.00 | 540.00 | 500.00 | 1500.00 | 2000.00 | 6000.00 | 360.00 | 1080.00 | 540.00 | ROSHAN REFRIGERATION AND ELECTRICALS
14.06 | CTO Filter 20"X2" (Hitech or Similar) | 3.00 | Nos. | 273.00 | 550.00 | 1650.00 | 500.00 | 1500.00 | 2000.00 | 6000.00 | 480.00 | 1440.00 | 1440.00 | HVAC System and Solutions
14.07 | SMPS 2.5 Amps (Hitech or similar) | 2.00 | Nos. | 636.00 | 951.00 | 1902.00 | 1000.00 | 2000.00 | 2000.00 | 4000.00 | 480.00 | 960.00 | 960.00 | HVAC System and Solutions
14.08 | Membrane 300 GPD (Hitech or similar) | 6.00 | Nos. | 2227.00 | 1300.00 | 7800.00 | 3400.00 | 20400.00 | 2000.00 | 12000.00 | 2700.00 | 16200.00 | 7800.00 | ROSHAN REFRIGERATION AND ELECTRICALS
15.00 | Supply of following spares for 100 LPH RO Water Filtration Plant as & when required as per instructions of Engineer-in-Charge.
15.01 | Booster pump 300 GPD (Hitech/BNQS or similar) | 12.00 | Nos. | 2273.00 | 400.00 | 4800.00 | 3500.00 | 42000.00 | 2000.00 | 24000.00 | 3100.00 | 37200.00 | 4800.00 | ROSHAN REFRIGERATION AND ELECTRICALS
15.02 | PP Filter 20"X4" (Hitech or Similar) | 2.00 | Nos. | 3182.00 | 2600.00 | 5200.00 | 600.00 | 1200.00 | 2000.00 | 4000.00 | 610.00 | 1220.00 | 1200.00 | M K ENTERPRISES
15.03 | PP Filter 20X2" (Hitech or similar) | 1.00 | Nos. | 818.00 | 749.00 | 749.00 | 450.00 | 450.00 | 2000.00 | 2000.00 | 225.00 | 225.00 | 225.00 | HVAC System and Solutions
15.04 | GAC Filter 20"X2" (Hitech or Similar) | 12.00 | Nos. | 477.00 | 450.00 | 5400.00 | 500.00 | 6000.00 | 2000.00 | 24000.00 | 480.00 | 5760.00 | 5400.00 | ROSHAN REFRIGERATION AND ELECTRICALS
15.05 | Post Carbon Filter 10" (Hitech or Similar) | 12.00 | Nos. | 682.00 | 180.00 | 2160.00 | 500.00 | 6000.00 | 2000.00 | 24000.00 | 360.00 | 4320.00 | 2160.00 | ROSHAN REFRIGERATION AND ELECTRICALS
15.06 | CTO Filter 20"X2" (Hitech or Similar) | 12.00 | Nos. | 636.00 | 450.00 | 5400.00 | 500.00 | 6000.00 | 2000.00 | 24000.00 | 460.00 | 5520.00 | 5400.00 | ROSHAN REFRIGERATION AND ELECTRICALS
15.07 | SMPS 2.5 Amps (Hitech or similar) | 12.00 | Nos. | 273.00 | 450.00 | 5400.00 | 1000.00 | 12000.00 | 2000.00 | 24000.00 | 480.00 | 5760.00 | 5400.00 | ROSHAN REFRIGERATION AND ELECTRICALS
15.08 | Membrane 300 GPD (Hitech or similar) | 4.00 | Nos. | 227.00 | 370.00 | 1480.00 | 3400.00 | 13600.00 | 2000.00 | 8000.00 | 2700.00 | 10800.00 | 1480.00 | ROSHAN REFRIGERATION AND ELECTRICALS
| Total in Figures |  |  |  |  | 1111111.00 |  | 920900.00 |  | 1280000.00 |  | 1480150.00
Lowest Amount Quoted BY: M K ENTERPRISES(920900.00)

## BOQ Summary
BOQ Summary Details Tender Title: Bi-Annual CMC of Window - Split - Tower - Cassette AC Units, Water Dispensers, Water Coolers and RO Water Purifiers at AAI Installations, DBAI Airport, Nagpur Year- 2020-22 Tender ID: 2021_AAI_68351_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M K ENTERPRISES | 920900.00 | L1
| 2 | ROSHAN REFRIGERATION AND ELECTRICALS | 1111111.00 | L2
| 3 | Manish Electricals | 1280000.00 | L3
| 4 | HVAC System and Solutions | 1480150.00 | L4