## BoQ1
Government eProcurement System Created By: K SANTHOSH KUMAR Created Date/Time: 22-Feb-2021 04:10 PM Tender Title: ARMO of 11 KV Sub Station, Internal and External EI Tender ID: 2021_AAI_68668_1
Tender Inviting Authority: Asstt. Gen. Mgr. (E-E), NATS Complex, IGI Airport, New Delhi
Name of Work : ARMO of 11 KV Sub-Station, Internal and External E.I., in Operational Area at IGI Airport for 02 Years (2021-23).
Contract No/Tender ID : 2021_AAI_68668_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s T and C ENGINEERS PVT LTD(GSTN-33AADCT6406B1ZV) |  | ANAND AND COMPANTY(GSTN-07ADWPA8366N1ZP) |  | Metropolitan Infrabuild Development And Services Pvt Ltd(GSTN-09AAHCM2436Q1ZW) |  | R. D. ENGINEERS(GSTN-07AAOPG1416G1ZZ) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA) |  | SPARK UTILITY SERVICES PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SUB - HEAD : I : R/O/M
2.00 | 1. Providing of manpower for Preventive Maintenance of Electrical and Mechanical installations of 11KV Sub- Station at ASR 28/10, ASR/MSSR, ASR 29/11 in Operational Area round the clock (24*7), Seven days in a week for shift duty (including reliever) (One Month)
2.01 | (a) Electrician - 4 No. for Shift Duty | 24.00 | Job | 100.00 | 91000.00 | 2184000.00 | 90000.00 | 2160000.00 | 76580.00 | 1837920.00 | 100000.00 | 2400000.00 | 75000.00 | 1800000.00 | 102000.00 | 2448000.00 | 1800000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
2.02 | (b) Khallasi - 4 No. for Shift Duty | 24.00 | Job | 100.00 | 67000.00 | 1608000.00 | 75000.00 | 1800000.00 | 58213.00 | 1397112.00 | 75000.00 | 1800000.00 | 58000.00 | 1392000.00 | 82000.00 | 1968000.00 | 1392000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
3.00 | 2. Providing of manpower for Maintenance of Electrical and Mechanical installations including attending of emergency breakdowns of all critical NAV-Aids sites, A-SMGCS units etc. in Operational Area in GENERAL SHIFT or as decided by EIC (Six Days in a week i/c holidays). (One Month)
3.01 | (a) Electrician - 03 Nos. in General Shift | 24.00 | Job | 100.00 | 72000.00 | 1728000.00 | 69000.00 | 1656000.00 | 57587.00 | 1382088.00 | 70000.00 | 1680000.00 | 55000.00 | 1320000.00 | 76500.00 | 1836000.00 | 1320000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
3.02 | (b) Khallasi - 03 No. in General Shift | 24.00 | Job | 10.00 | 55000.00 | 1320000.00 | 57000.00 | 1368000.00 | 43660.00 | 1047840.00 | 55000.00 | 1320000.00 | 40000.00 | 960000.00 | 61500.00 | 1476000.00 | 960000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
4.00 | 3. Preparation & submission of various reports related to schedule and breakdown maintenance for electrical operation & maintenance as required. Computer shall be provided by AAI. The job is to be carried out as & when required. (One Month) | 24.00 | Job | 100.00 | 9000.00 | 216000.00 | 24000.00 | 576000.00 | 21568.00 | 517632.00 | 22000.00 | 528000.00 | 22000.00 | 528000.00 | 500.00 | 12000.00 | 12000.00 | SPARK UTILITY SERVICES PRIVATE LIMITED
5.00 | 4 (a) Providing of Service Engineer for visiting & servicing of 02 Nos 25 LPH & 01 No. 50 LPH capacity RO in Operational Area (ASR 28/10 & 29/11). | 24.00 | Job | 100.00 | 5000.00 | 120000.00 | 1000.00 | 24000.00 | 2000.00 | 48000.00 | 500.00 | 12000.00 | 500.00 | 12000.00 | 2000.00 | 48000.00 | 12000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, R. D. ENGINEERS
6.00 | (b) Supply of following items for RO Maintenance as required.
6.01 | (i) RO Booster Pump | 3.00 | Each | 10.00 | 2500.00 | 7500.00 | 500.00 | 1500.00 | 850.00 | 2550.00 | 2800.00 | 8400.00 | 1000.00 | 3000.00 | 400.00 | 1200.00 | 1200.00 | SPARK UTILITY SERVICES PRIVATE LIMITED
6.02 | (ii) RO Membrane | 15.00 | Each | 10.00 | 550.00 | 8250.00 | 3000.00 | 45000.00 | 3000.00 | 45000.00 | 2800.00 | 42000.00 | 1000.00 | 15000.00 | 700.00 | 10500.00 | 8250.00 | M/s T and C ENGINEERS PVT LTD
6.03 | (iii) Carbon Filter | 8.00 | Each | 10.00 | 450.00 | 3600.00 | 500.00 | 4000.00 | 900.00 | 7200.00 | 700.00 | 5600.00 | 1000.00 | 8000.00 | 300.00 | 2400.00 | 2400.00 | SPARK UTILITY SERVICES PRIVATE LIMITED
6.04 | (iv) Sponge Filter | 16.00 | Each | 10.00 | 550.00 | 8800.00 | 300.00 | 4800.00 | 750.00 | 12000.00 | 600.00 | 9600.00 | 100.00 | 1600.00 | 150.00 | 2400.00 | 1600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
6.05 | (v) Anti Scalant balls | 2.00 | Kg | 10.00 | 90.00 | 180.00 | 100.00 | 200.00 | 350.00 | 700.00 | 800.00 | 1600.00 | 100.00 | 200.00 | 200.00 | 400.00 | 180.00 | M/s T and C ENGINEERS PVT LTD
6.06 | (vi) Solenoid Valve | 2.00 | Each | 10.00 | 180.00 | 360.00 | 600.00 | 1200.00 | 8500.00 | 17000.00 | 500.00 | 1000.00 | 70.00 | 140.00 | 350.00 | 700.00 | 140.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
6.07 | (vii) SMPS | 4.00 | Each | 10.00 | 400.00 | 1600.00 | 600.00 | 2400.00 | 1400.00 | 5600.00 | 1200.00 | 4800.00 | 80.00 | 320.00 | 200.00 | 800.00 | 320.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
6.08 | (viii) Sediment filter | 20.00 | Each | 10.00 | 350.00 | 7000.00 | 500.00 | 10000.00 | 850.00 | 17000.00 | 400.00 | 8000.00 | 80.00 | 1600.00 | 300.00 | 6000.00 | 1600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
6.09 | (ix) Pipe 1/4" | 2.00 | Mtr. | 10.00 | 150.00 | 300.00 | 50.00 | 100.00 | 80.00 | 160.00 | 300.00 | 600.00 | 80.00 | 160.00 | 150.00 | 300.00 | 100.00 | ANAND AND COMPANTY
6.10 | (x) Flow Restricter (FR) | 20.00 | Each | 10.00 | 200.00 | 4000.00 | 150.00 | 3000.00 | 450.00 | 9000.00 | 400.00 | 8000.00 | 80.00 | 1600.00 | 300.00 | 6000.00 | 1600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
7.00 | SUB - HEAD : II : Misc. Electrical repair and maintenance works
8.00 | 1. Rewinding of 1- Phase, 230 V, 50 Hz, Motor of the capacity upto 3 HP with suitable gauge and insulation grading copper wire i/c transportation from site to workshop & back i/c Impeller, Bearing & servicing of pump sets (as & when reqd). | 2.00 | Each | 10.00 | 1500.00 | 3000.00 | 2500.00 | 5000.00 | 2150.00 | 4300.00 | 200.00 | 400.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 400.00 | R. D. ENGINEERS
9.00 | 2. Rewinding of Exhaust fans/ pedestal fan/wallmounted fan of following sizes with super enameled copper wire of suitable gauge & insulation grade i/c replacement of ball bearing, shaft etc. as reqd. Dismantling, transportation to workshop and back reinstallation, testing, commissioning, making connection, providing and fixing of necessary nut & bolts etc. (As & when required).(Old winding material will be retained by agency.)
9.01 | (a) 600 mm | 2.00 | Each | 10.00 | 4500.00 | 9000.00 | 500.00 | 1000.00 | 250.00 | 500.00 | 200.00 | 400.00 | 400.00 | 800.00 | 400.00 | 800.00 | 400.00 | R. D. ENGINEERS
9.02 | (b) 450 mm | 2.00 | Each | 10.00 | 3500.00 | 7000.00 | 500.00 | 1000.00 | 250.00 | 500.00 | 200.00 | 400.00 | 400.00 | 800.00 | 400.00 | 800.00 | 400.00 | R. D. ENGINEERS
9.03 | © 380 / 400 mm | 4.00 | Each | 10.00 | 3500.00 | 14000.00 | 400.00 | 1600.00 | 250.00 | 1000.00 | 200.00 | 800.00 | 350.00 | 1400.00 | 400.00 | 1600.00 | 800.00 | R. D. ENGINEERS
9.04 | (d) 300 mm | 2.00 | Each | 10.00 | 3000.00 | 6000.00 | 200.00 | 400.00 | 250.00 | 500.00 | 200.00 | 400.00 | 300.00 | 600.00 | 400.00 | 800.00 | 400.00 | ANAND AND COMPANTY, R. D. ENGINEERS
9.05 | (e) 250 mm | 2.00 | Each | 10.00 | 3000.00 | 6000.00 | 200.00 | 400.00 | 250.00 | 500.00 | 200.00 | 400.00 | 300.00 | 600.00 | 400.00 | 800.00 | 400.00 | ANAND AND COMPANTY, R. D. ENGINEERS
10.00 | 3. Rewinding of ceiling fans of 1200/1400 mm with super enamelled copper wire of suitable gauge & insulation grade i/c replacement of ball bearing, shaft etc. as reqd. Dismantling, transportation to workshop & back and re-installation i/c connection, testing & commissioning (as & when required ). (Old winding material will be retained by agency). | 5.00 | Each | 100.00 | 950.00 | 4750.00 | 400.00 | 2000.00 | 350.00 | 1750.00 | 200.00 | 1000.00 | 350.00 | 1750.00 | 1000.00 | 5000.00 | 1000.00 | R. D. ENGINEERS
11.00 | 4. Rewinding of 3-Phase, 440 V, 50 Hz Submersible Pump Set of the capacity of 5 HP with suitable gauge and insulation grading copper wire i/c transportation from site to workshop & back i/c Impeller, Bearing & Servicing of Pump Sets (as & when reqd.). | 1.00 | Each | 10.00 | 5500.00 | 5500.00 | 3500.00 | 3500.00 | 8500.00 | 8500.00 | 200.00 | 200.00 | 1000.00 | 1000.00 | 4000.00 | 4000.00 | 200.00 | R. D. ENGINEERS
12.00 | 5. Rewinding of Single-Phase, 440 V, 50 Hz Submersible Pump Set of the capacity of 3 HP with suitable gauge and insulation grading copper wire i/c transportation from site to workshop & back i/c Impeller, Bearing & Servicing of Pump Sets (as & when reqd.). | 1.00 | Each | 10.00 | 2500.00 | 2500.00 | 2500.00 | 2500.00 | 4500.00 | 4500.00 | 200.00 | 200.00 | 1000.00 | 1000.00 | 2500.00 | 2500.00 | 200.00 | R. D. ENGINEERS
13.00 | 6. Labour charge for dismantling of different size Submersible Pump Set / Pipe from the existing bore, as & when reqd, along with pipe lines, cable etc. and lowering/re-installation of the same after rectification of the defect. (As & when required) | 2.00 | Each | 10.00 | 1500.00 | 3000.00 | 4500.00 | 9000.00 | 2500.00 | 5000.00 | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 1000.00 | 2000.00 | 2000.00 | SPARK UTILITY SERVICES PRIVATE LIMITED
14.00 | 7. Dehydration /Centrifuging of Transformer oil including Testing of Dilectric Strength before and after Dehydration Process i/c hiring charges of filteration machine, labour, drums etc. as required for existing Transformers. (As & when required) | 4300.00 | Ltr. | 10.00 | 5.00 | 21500.00 | 9.00 | 38700.00 | 10.00 | 43000.00 | 12.00 | 51600.00 | 6.00 | 25800.00 | 10.00 | 43000.00 | 21500.00 | M/s T and C ENGINEERS PVT LTD
15.00 | 8. Service charges for locating/ pin pointing of fault in 11/ 33 KV underground power cables of different size i/c carrying out the high potential test after each fault finding etc. (as & when reqd.) | 12.00 | Job | 10.00 | 1500.00 | 18000.00 | 5000.00 | 60000.00 | 5500.00 | 66000.00 | 15000.00 | 180000.00 | 5000.00 | 60000.00 | 1500.00 | 18000.00 | 18000.00 | M/s T and C ENGINEERS PVT LTD, SPARK UTILITY SERVICES PRIVATE LIMITED
16.00 | 9. Service charges for locating/ pin pointing of fault in LT under ground power cables of different size i/c carrying out the high potential test after each fault finding etc. as reqd. (as & when required) | 15.00 | Job | 10.00 | 1500.00 | 22500.00 | 4500.00 | 67500.00 | 3500.00 | 52500.00 | 10000.00 | 150000.00 | 5000.00 | 75000.00 | 1500.00 | 22500.00 | 22500.00 | M/s T and C ENGINEERS PVT LTD, SPARK UTILITY SERVICES PRIVATE LIMITED
17.00 | 10. Testing and Calibration of 01 no. Over Current & 01 no.E/F Relay installed in LT Distribution panel and AMF Panels at ASR Sub-Station as per the approved Relay testing format and submission of Reports for the same to E-I-C. | 5.00 | Job | 10.00 | 1500.00 | 7500.00 | 900.00 | 4500.00 | 1800.00 | 9000.00 | 1200.00 | 6000.00 | 1500.00 | 7500.00 | 1000.00 | 5000.00 | 4500.00 | ANAND AND COMPANTY
18.00 | Sub - Head : III : Supply of Material/Spare/Accessories (As & when required)
19.00 | (Note:- The Material/Spare/Accessories shall be as per AAI Approved List of Makes and as approved by E-I-C as per site requirement )
20.00 | Part (A)
21.00 | 1. Supply of 18-20 watt LED T8 tube with minimum light 1650Lm with prior approval of EIC. | 200.00 | Each | 10.00 | 350.00 | 70000.00 | 120.00 | 24000.00 | 200.00 | 40000.00 | 100.00 | 20000.00 | 800.00 | 160000.00 | 200.00 | 40000.00 | 20000.00 | R. D. ENGINEERS
22.00 | 2. Supply of 36W, base 2G-11, 4 Pin CFL useful for 230 V, 50 Hz | 10.00 | Each | 10.00 | 250.00 | 2500.00 | 120.00 | 1200.00 | 350.00 | 3500.00 | 90.00 | 900.00 | 200.00 | 2000.00 | 150.00 | 1500.00 | 900.00 | R. D. ENGINEERS
23.00 | 3. Supply of LED (Ordinary Lamp holder type ) suitable for 220 V 50 Hz.
23.01 | (a) 10 Watt LED ADORE B22 CDL 3 Star Ball Lamp or Equivalent | 10.00 | Each | 100.00 | 30.00 | 300.00 | 100.00 | 1000.00 | 70.00 | 700.00 | 200.00 | 2000.00 | 150.00 | 1500.00 | 500.00 | 5000.00 | 300.00 | M/s T and C ENGINEERS PVT LTD
23.02 | (b) 15 Watt LED ADORE B22 CDL 3 Star Ball Lamp or Equivalent | 10.00 | Each | 10.00 | 40.00 | 400.00 | 110.00 | 1100.00 | 70.00 | 700.00 | 200.00 | 2000.00 | 350.00 | 3500.00 | 500.00 | 5000.00 | 400.00 | M/s T and C ENGINEERS PVT LTD
23.03 | © 20 Watt LED ADORE B22 CDL 3 Star Ball Lamp or Equivalent | 3.00 | Nos. | 10.00 | 50.00 | 150.00 | 120.00 | 360.00 | 70.00 | 210.00 | 300.00 | 900.00 | 450.00 | 1350.00 | 600.00 | 1800.00 | 150.00 | M/s T and C ENGINEERS PVT LTD
24.00 | 4. Supply of 1x36 Watts FTL (HPF) Electronic Ballast for use on 240 V, 50 Hz, single phase, AC supply for Fluorescent Tubular Lamps of above rated wattage and confirming to IS : 1534 part I/77 . | 10.00 | Each | 100.00 | 150.00 | 1500.00 | 125.00 | 1250.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 160.00 | 1600.00 | 200.00 | 2000.00 | 1250.00 | ANAND AND COMPANTY
25.00 | 5. Supply of Fluorescent Tube Light Universal starter for 230/240 V, 18/20/36/40 watt. | 20.00 | Nos. | 10.00 | 55.00 | 1100.00 | 20.00 | 400.00 | 250.00 | 5000.00 | 300.00 | 6000.00 | 9.00 | 180.00 | 150.00 | 3000.00 | 180.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
26.00 | 6. Supply of ISI marked self adhesive PVC Insulating Tape (confirming to IS : 7809 part 3 / section-I having 7.5 meter length and 17/19 mm width. | 200.00 | Each | 10.00 | 7.00 | 1400.00 | 15.00 | 3000.00 | 8.50 | 1700.00 | 20.00 | 4000.00 | 8.00 | 1600.00 | 13.00 | 2600.00 | 1400.00 | M/s T and C ENGINEERS PVT LTD
27.00 | 7. Supply of Self Adhesive (HT) Tape suitable for Cable Joints of size 1" x 10 mtr. (Permacel-P-966) | 10.00 | Each | 100.00 | 150.00 | 1500.00 | 100.00 | 1000.00 | 350.00 | 3500.00 | 600.00 | 6000.00 | 200.00 | 2000.00 | 45.00 | 450.00 | 450.00 | SPARK UTILITY SERVICES PRIVATE LIMITED
28.00 | 8. Supply of Distilled Water suitable for top up the Electrolyte level of heavy duty Batteries used for DG Sets. | 400.00 | Ltr | 100.00 | 15.00 | 6000.00 | 12.00 | 4800.00 | 10.00 | 4000.00 | 25.00 | 10000.00 | 3.00 | 1200.00 | 10.00 | 4000.00 | 1200.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
29.00 | 9. Supply of Flexible Wire 1.5 sqmm, PVC insulated copper conductor and PVC sheathed cables of 1.1 KV grade as per IS :694
29.01 | (a) 2 Core (100 Mtr) | 1.00 | Roll | 10.00 | 2500.00 | 2500.00 | 2200.00 | 2200.00 | 3200.00 | 3200.00 | 1350.00 | 1350.00 | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 1350.00 | R. D. ENGINEERS
29.02 | (b) 3 Core (100 Mtr) | 1.00 | Roll | 10.00 | 4500.00 | 4500.00 | 3500.00 | 3500.00 | 4519.00 | 4519.00 | 1450.00 | 1450.00 | 3000.00 | 3000.00 | 3800.00 | 3800.00 | 1450.00 | R. D. ENGINEERS
30.00 | 10. Supply of following sizes XLPE insulated, PVC sheathed Aluminium Conductor armoured Power Cable, 1.1 KV grade confirming to IS : 7098 (Part-I) with upto date amendments (as & when reqd.)
30.01 | (a) 4 x 16 sqmm | 100.00 | Mtr | 100.00 | 528.00 | 52800.00 | 200.00 | 20000.00 | 122.00 | 12200.00 | 300.00 | 30000.00 | 80.00 | 8000.00 | 250.00 | 25000.00 | 8000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
30.02 | (b) 3½ x 25 sqmm | 100.00 | Mtr | 100.00 | 130.00 | 13000.00 | 200.00 | 20000.00 | 148.00 | 14800.00 | 300.00 | 30000.00 | 130.00 | 13000.00 | 350.00 | 35000.00 | 13000.00 | M/s T and C ENGINEERS PVT LTD, CIS GLOBAL INFRATECH PRIVATE LIMITED
30.03 | © 3½ x 35 sqmm | 100.00 | Mtr | 10.00 | 150.00 | 15000.00 | 250.00 | 25000.00 | 184.00 | 18400.00 | 300.00 | 30000.00 | 170.00 | 17000.00 | 400.00 | 40000.00 | 15000.00 | M/s T and C ENGINEERS PVT LTD
30.04 | (d) 3½ x 50 sqmm | 100.00 | Mtr | 10.00 | 220.00 | 22000.00 | 300.00 | 30000.00 | 235.00 | 23500.00 | 300.00 | 30000.00 | 200.00 | 20000.00 | 475.00 | 47500.00 | 20000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
31.00 | 11. Supplying of old Cotton Dhoties for cleaning of all Electrical Installations, Panel etc. | 200.00 | Kg | 100.00 | 60.00 | 12000.00 | 50.00 | 10000.00 | 55.00 | 11000.00 | 30.00 | 6000.00 | 50.00 | 10000.00 | 10.00 | 2000.00 | 2000.00 | SPARK UTILITY SERVICES PRIVATE LIMITED
32.00 | 12. Supplying of CRC 2-26, weight - 415 ml/ 300 gms, Make - Danmet Chemicals OR equivalent as per AAI approved make. | 20.00 | Nos | 100.00 | 350.00 | 7000.00 | 150.00 | 3000.00 | 450.00 | 9000.00 | 600.00 | 12000.00 | 140.00 | 2800.00 | 500.00 | 10000.00 | 2800.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
33.00 | 13. Supply of MCB, 63 Amps, 4 Pole, (Breaking Capacity 10 KA, 'C' series), Make : Havells or Equivalent. | 5.00 | Each | 10.00 | 1700.00 | 8500.00 | 750.00 | 3750.00 | 1340.00 | 6700.00 | 1100.00 | 5500.00 | 150.00 | 750.00 | 1800.00 | 9000.00 | 750.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
34.00 | 14. Replacement (i/c Supply) of Digital Power factor Meter, 3 Phase, (as per sample) (As & when required) | 8.00 | Each | 100.00 | 1000.00 | 8000.00 | 9000.00 | 72000.00 | 4500.00 | 36000.00 | 2400.00 | 19200.00 | 300.00 | 2400.00 | 2000.00 | 16000.00 | 2400.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
35.00 | 15. Replacement (i/c supply) of LED Type Indicator for R,Y,B Phase of Red, Blue, Yellow colour and green suitable for 240/110 Volt AC as per sample, as per AAI approved Make.
35.01 | (a) Red | 6.00 | Each | 10.00 | 25.00 | 150.00 | 90.00 | 540.00 | 150.00 | 900.00 | 80.00 | 480.00 | 20.00 | 120.00 | 100.00 | 600.00 | 120.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
35.02 | (b) Yellow | 6.00 | Each | 100.00 | 25.00 | 150.00 | 90.00 | 540.00 | 150.00 | 900.00 | 80.00 | 480.00 | 20.00 | 120.00 | 100.00 | 600.00 | 120.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
35.03 | © Green | 6.00 | Each | 100.00 | 25.00 | 150.00 | 90.00 | 540.00 | 150.00 | 900.00 | 110.00 | 660.00 | 20.00 | 120.00 | 100.00 | 600.00 | 120.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
35.04 | (d) Blue | 6.00 | Each | 10.00 | 25.00 | 150.00 | 125.00 | 750.00 | 150.00 | 900.00 | 150.00 | 900.00 | 20.00 | 120.00 | 100.00 | 600.00 | 120.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
36.00 | 16. Replacement (i/c supply) of LED Type Indicator lamp complete with accessories suitable for 110 DC Volt. Suitable for existing panel Make : L&T or equivalent. | 8.00 | Each | 100.00 | 50.00 | 400.00 | 120.00 | 960.00 | 650.00 | 5200.00 | 120.00 | 960.00 | 20.00 | 160.00 | 300.00 | 2400.00 | 160.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
37.00 | 17. Replacement (i/c supply) of LED based rechargeable Emergency Light suitable for single phase, 50 Hz, 5W alongwith 3.7 V, 4.4 Ah rechargeable battery, complete as reqd. (Model : LHEXTEP7HN1R005), Make : Havells or equivalent with approval of E-I-C. | 2.00 | Each | 10.00 | 1800.00 | 3600.00 | 1800.00 | 3600.00 | 1800.00 | 3600.00 | 2200.00 | 4400.00 | 300.00 | 600.00 | 300.00 | 600.00 | 600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, SPARK UTILITY SERVICES PRIVATE LIMITED
38.00 | 18. Replacement (i/c supply) of LED torch 3 watt rechargeable , battery capacity 4V, 2000 mAh battery backup 5 Hrs approx. as approved by EIC. | 2.00 | Each | 10.00 | 1500.00 | 3000.00 | 500.00 | 1000.00 | 1500.00 | 3000.00 | 2200.00 | 4400.00 | 300.00 | 600.00 | 300.00 | 600.00 | 600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, SPARK UTILITY SERVICES PRIVATE LIMITED
39.00 | 19. Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 8.00 | Set | 100.00 | 12000.00 | 96000.00 | 5000.00 | 40000.00 | 6500.00 | 52000.00 | 2200.00 | 17600.00 | 2000.00 | 16000.00 | 4500.00 | 36000.00 | 16000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
40.00 | 20. Repairing of earth pit with plaster as per direction o EIC. | 20.00 | Each | 100.00 | 2500.00 | 50000.00 | 300.00 | 6000.00 | 550.00 | 11000.00 | 1000.00 | 20000.00 | 200.00 | 4000.00 | 800.00 | 16000.00 | 4000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
41.00 | 21. Supply and fixing CI/MS cover plate for earth pit hinged with locking arrangement upto satisfaction of EIC. | 10.00 | Each | 10.00 | 2500.00 | 25000.00 | 250.00 | 2500.00 | 250.00 | 2500.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 400.00 | 4000.00 | 2500.00 | ANAND AND COMPANTY, Metropolitan Infrabuild Development And Services Pvt Ltd
42.00 | 22. Replacement(i/c supply) of 2x36 watt surface mounting, Powder Coated Industrial type Luminaire suitable for industrial application 240 V, 50 Hz supply with high performance Electronic Ballast (02 Nos.) of THD<10%, Top Cover, HF type with 2x36 watt FTL complete in all respect (i/c Supply) as required.(As an when required) | 5.00 | Each | 100.00 | 3500.00 | 17500.00 | 850.00 | 4250.00 | 450.00 | 2250.00 | 12000.00 | 60000.00 | 600.00 | 3000.00 | 1800.00 | 9000.00 | 2250.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
43.00 | 23. Supply of HRC fuse link of following ratings 80 KA breaking capacity 415 Volt suitable for existing panel switchgear. Make : L & T or equivalent
43.01 | (a) 2 Amps round type | 10.00 | Each | 100.00 | 55.00 | 550.00 | 80.00 | 800.00 | 150.00 | 1500.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 550.00 | M/s T and C ENGINEERS PVT LTD
43.02 | (b) 6 Amps offset | 10.00 | Each | 10.00 | 75.00 | 750.00 | 90.00 | 900.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 750.00 | M/s T and C ENGINEERS PVT LTD
43.03 | © 32 Amps (A1) | 10.00 | Each | 10.00 | 105.00 | 1050.00 | 90.00 | 900.00 | 350.00 | 3500.00 | 600.00 | 6000.00 | 100.00 | 1000.00 | 200.00 | 2000.00 | 900.00 | ANAND AND COMPANTY
43.04 | (d) 63 Amp (A1L) | 10.00 | Each | 100.00 | 250.00 | 2500.00 | 125.00 | 1250.00 | 450.00 | 4500.00 | 700.00 | 7000.00 | 100.00 | 1000.00 | 250.00 | 2500.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
43.05 | (e) 125 Amp | 10.00 | Each | 10.00 | 200.00 | 2000.00 | 150.00 | 1500.00 | 850.00 | 8500.00 | 800.00 | 8000.00 | 100.00 | 1000.00 | 250.00 | 2500.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
43.06 | (f) 250 Amp (slim knife type) | 10.00 | Each | 10.00 | 350.00 | 3500.00 | 250.00 | 2500.00 | 1050.00 | 10500.00 | 1000.00 | 10000.00 | 100.00 | 1000.00 | 300.00 | 3000.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
44.00 | 24. Supply of work place First Aid Kit with large plastic box designed as per minimum no. of component given in industrial act (Make: St. Johns First Aid Kit or equivalent as per AAI approved make.) | 2.00 | Each | 10.00 | 2500.00 | 5000.00 | 1000.00 | 2000.00 | 450.00 | 900.00 | 2000.00 | 4000.00 | 100.00 | 200.00 | 500.00 | 1000.00 | 200.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
45.00 | Part (B)
46.00 | 25. Replacement (i/c supply) of Lead Acid heavy duty Battery of 12V 25P 180AH capacity in full charged condition.(Make: Exide Express or equivalent as per AAI approved make) as & when reqd. (Note: The contractor shall quote the rate for the above item by considering the discount for existing old batteries which shall be taken away by the contractor) | 8.00 | Each | 10.00 | 18000.00 | 144000.00 | 15000.00 | 120000.00 | 18000.00 | 144000.00 | 10000.00 | 80000.00 | 10000.00 | 80000.00 | 9000.00 | 72000.00 | 72000.00 | SPARK UTILITY SERVICES PRIVATE LIMITED
47.00 | 26. Replacement (i/c supply) of DPX Cube ready to installed ATS, complete with factory fitted assembly of supply Inverter Plate, inter connecting Bus Bar Motor Operators, Connectors and other accessories with in built Mechanical & Electrical Inter Locking, should be suitable to equip DPX Cube MCCBs of 160 to 250 Amps. (Make Legrand : Cat No: 625381 or equivalent as per AAI approved make ) (As & when required) | 6.00 | Each | 100.00 | 16000.00 | 96000.00 | 15000.00 | 90000.00 | 98500.00 | 591000.00 | 90000.00 | 540000.00 | 30000.00 | 180000.00 | 8000.00 | 48000.00 | 48000.00 | SPARK UTILITY SERVICES PRIVATE LIMITED
48.00 | 27. Replacement (i/c supply) of DPX cube 630 Amp., 4 Pole Thermal Magnatic MCCB with breaking capacity of 36 kA (Make-Legrand, Cat No. 422007 or equivalent as per site requirement of AAI approved make) (As & when required) | 6.00 | Each | 10.00 | 22000.00 | 132000.00 | 35000.00 | 210000.00 | 15545.00 | 93270.00 | 15000.00 | 90000.00 | 12000.00 | 72000.00 | 12000.00 | 72000.00 | 72000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, SPARK UTILITY SERVICES PRIVATE LIMITED
49.00 | 28. Replacement (i/c supply) of DPX cube 250 Amp., 4 Pole Thermal Magnatic MCCB with breaking capacity of 36 kA (Make-Legrand, Cat No. 420249 or equivalent as per site requirement of AAI approved make) (As & when required) | 6.00 | Each | 10.00 | 16000.00 | 96000.00 | 15000.00 | 90000.00 | 14633.00 | 87798.00 | 12000.00 | 72000.00 | 8000.00 | 48000.00 | 15000.00 | 90000.00 | 48000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
50.00 | 29. Replacement (i/c supply) of DPX cube 125 Amp., 4 Pole Thermal Magnatic MCCB with breaking capacity of 25 kA (Make-Legrand, Cat No. 420056 or equivalent as per site requirement of AAI approved make) (As & when required) | 5.00 | Each | 10.00 | 14000.00 | 70000.00 | 10000.00 | 50000.00 | 5346.00 | 26730.00 | 9000.00 | 45000.00 | 6000.00 | 30000.00 | 18000.00 | 90000.00 | 26730.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
51.00 | 30. Replacement (i/c supply) of DPX cube 100 Amp., 4 Pole Thermal Magnatic MCCB with breaking capacity of 25 kA (Make-Legrand, Cat No. 420215 or equivalent as per site requirement of AAI approved make) (As & when required) | 3.00 | Each | 10.00 | 8500.00 | 25500.00 | 6000.00 | 18000.00 | 3963.00 | 11889.00 | 5000.00 | 15000.00 | 5000.00 | 15000.00 | 14000.00 | 42000.00 | 11889.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
52.00 | 31. Replacement (i/c Supply) of Automation Control Unit for existing Automatic Transfer Switch (Make- Legrand, Cat No. 422680or equivalent as per site requirement of AAI approved make) (As & when required) | 6.00 | Each | 100.00 | 15000.00 | 90000.00 | 9000.00 | 54000.00 | 13667.00 | 82002.00 | 14000.00 | 84000.00 | 1000.00 | 6000.00 | 15000.00 | 90000.00 | 6000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
53.00 | Sub - Head : IV :Replacement of Parts/accessories(i/c supply) 11 KV HT Panel/compact substation (As & when required)
54.00 | 1. CSS-1, CSS-II and CSS-III
54.01 | (a) Transformer Protection relay ADR 24 IS (SCHNEIDER MAKE) | 5.00 | Nos. | 10.00 | 19500.00 | 97500.00 | 8500.00 | 42500.00 | 8000.00 | 40000.00 | 10000.00 | 50000.00 | 1000.00 | 5000.00 | 2000.00 | 10000.00 | 5000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
54.02 | (b) Voltmeter Digital | 8.00 | Nos. | 10.00 | 2500.00 | 20000.00 | 2000.00 | 16000.00 | 1800.00 | 14400.00 | 1000.00 | 8000.00 | 1000.00 | 8000.00 | 700.00 | 5600.00 | 5600.00 | SPARK UTILITY SERVICES PRIVATE LIMITED
54.03 | © Ameter digital | 8.00 | Nos. | 10.00 | 2500.00 | 20000.00 | 2000.00 | 16000.00 | 14000.00 | 112000.00 | 1000.00 | 8000.00 | 1000.00 | 8000.00 | 700.00 | 5600.00 | 5600.00 | SPARK UTILITY SERVICES PRIVATE LIMITED
55.00 | 2. VMX Panel Board - SCHNEIDER MAKE (FORMERLY AREVA/ ALSTOM)-Substaion 28
55.01 | (a) Closing Coil 30V | 3.00 | Nos. | 100.00 | 5500.00 | 16500.00 | 1000.00 | 3000.00 | 8500.00 | 25500.00 | 3000.00 | 9000.00 | 500.00 | 1500.00 | 2000.00 | 6000.00 | 1500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
55.02 | (b) Tripping Coil 30V | 3.00 | Nos. | 10.00 | 5500.00 | 16500.00 | 1500.00 | 4500.00 | 6500.00 | 19500.00 | 3000.00 | 9000.00 | 500.00 | 1500.00 | 2000.00 | 6000.00 | 1500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
55.03 | © Motor 240V AC/DC | 2.00 | Nos. | 10.00 | 500.00 | 1000.00 | 5000.00 | 10000.00 | 6500.00 | 13000.00 | 3000.00 | 6000.00 | 500.00 | 1000.00 | 2200.00 | 4400.00 | 1000.00 | M/s T and C ENGINEERS PVT LTD, CIS GLOBAL INFRATECH PRIVATE LIMITED
55.04 | (d) Buffer | 1.00 | Nos. | 10.00 | 1000.00 | 1000.00 | 3000.00 | 3000.00 | 22000.00 | 22000.00 | 3000.00 | 3000.00 | 500.00 | 500.00 | 2200.00 | 2200.00 | 500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
55.05 | (e) Shutter Assembly | 2.00 | Nos. | 10.00 | 750.00 | 1500.00 | 2000.00 | 4000.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 500.00 | 1000.00 | 2600.00 | 5200.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
56.00 | 3. FBX RMU (SCHNEIDER MAKE) Sub-Station 29/11
56.01 | (a) Protection Relay DPX-1 | 5.00 | Nos. | 10.00 | 5500.00 | 27500.00 | 3000.00 | 15000.00 | 5500.00 | 27500.00 | 3000.00 | 15000.00 | 2000.00 | 10000.00 | 3500.00 | 17500.00 | 10000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
56.02 | (b) Power Pack (24 Volt DC) | 4.00 | Nos. | 10.00 | 1500.00 | 6000.00 | 15000.00 | 60000.00 | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 2000.00 | 8000.00 | 6000.00 | 24000.00 | 6000.00 | M/s T and C ENGINEERS PVT LTD
57.00 | Sub Head - V : Misc. Electrical works :-
58.00 | Execution of works as per CPWD schedule of work and specification for an amount of Rs. 3,00,000/- as and when reqd.
58.01 | Schedule of works 2018. (Note : 1. The rate has been considered as per the DSR 2018 Rates after deducting indirect taxes from the DSR rates. 2. Agency will quote % above/below in "Rate Column" and accordingly will derive amount in ''Amount Column" against Rs. 3,00,000/-(After deducting indirect taxes) | 1.00 | Job | 10.00 | 310000.00 | 310000.00 | 200000.00 | 200000.00 | 390000.00 | 390000.00 | 300000.00 | 300000.00 | 150000.00 | 150000.00 | 200000.00 | 200000.00 | 150000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
| Total in Figures |  |  |  |  | 8960440.00 |  | 9157390.00 |  | 8578120.00 |  | 9965580.00 |  | 7143290.00 |  | 9059150.00
Lowest Amount Quoted BY: CIS GLOBAL INFRATECH PRIVATE LIMITED(7143290.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of 11 KV Sub Station, Internal and External EI Tender ID: 2021_AAI_68668_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 7143290.00 | L1
| 2 | Metropolitan Infrabuild Development And Services Pvt Ltd | 8578120.00 | L2
| 3 | M/s T and C ENGINEERS PVT LTD | 8960440.00 | L3
| 4 | SPARK UTILITY SERVICES PRIVATE LIMITED | 9059150.00 | L4
| 5 | ANAND AND COMPANTY | 9157390.00 | L5
| 6 | R. D. ENGINEERS | 9965580.00 | L6