## BoQ1
Government eProcurement System Created By: Sudhir Tripathi Created Date/Time: 05-Mar-2021 04:38 PM Tender Title: SITC of OFC Cable for interconnectivity of Old Terminal Building and New Integrated terminal building and providing CCTV camera with Integrated LAN at New Isolation bay through OFC and other Interconnected Works. Tender ID: 2021_AAI_68860_3
Tender Inviting Authority: Airports Authority of India, Agartala Airport.
Name of Work: Supply Installation Testing and Commissioning (SITC) of OFC Cable for interconnectivity of Old Terminal Building and New Integrated terminal building and providing CCTV camera with Integrated LAN at New Isolation bay through OFC and other Interconnected Works.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.(GSTN-07AABCI1558D1ZW) |  | Trade and technology Pvt Ltd(GSTN-18AAACT7167L1ZT)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SUBHEAD: A (Supply of items) Supply of 12-core SM OFC Cable as per specification mentioned in technical specifications of this work | 3000.00 | Meter | 120.00 | 65.80 | 197400.00 | 60.00 | 180000.00 | 180000.00 | Trade and technology Pvt Ltd
2.00 | 24 Port LIU Loaded with SM pigtails | 5.00 | Nos. | 20000.00 | 17220.00 | 86100.00 | 8500.00 | 42500.00 | 42500.00 | Trade and technology Pvt Ltd
3.00 | LC-LC type SM OFC Patch Cord, 3 Meter long. | 7.00 | Nos. | 1500.00 | 1568.00 | 10976.00 | 1000.00 | 7000.00 | 7000.00 | Trade and technology Pvt Ltd
4.00 | Supply of 50mm Dia HDPE pipe of PN 10 and PE80 as specified in technical specification of this work and as per IS4984- 1995 as amended up to date | 4500.00 | Meter | 90.00 | 77.00 | 346500.00 | 112.00 | 504000.00 | 346500.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
5.00 | Supply of 150mm dia NP-3 Reinforced Hume Pipe as per IS 458-2003 as amended up to date, | 100.00 | Meter | 1500.00 | 1680.00 | 168000.00 | 4500.00 | 450000.00 | 168000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
6.00 | Supply of 6-core SM OFC Cable as per specification mentioned in technical specifications of this work | 1500.00 | Meter | 100.00 | 112.00 | 168000.00 | 35.00 | 52500.00 | 52500.00 | Trade and technology Pvt Ltd
7.00 | 12 Port LIU Loaded with SM pigtails | 2.00 | Nos. | 15000.00 | 11053.00 | 22106.00 | 4500.00 | 9000.00 | 9000.00 | Trade and technology Pvt Ltd
8.00 | Supply of IP Cameras (PTZ) as per specification mentioned in technical specifications of this work | 3.00 | Nos. | 250000.00 | 105000.00 | 315000.00 | 150000.00 | 450000.00 | 315000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
9.00 | SUBHEAD: B Laying of OFC Cable in exiting HDPE Pipe etc as required and as specified in the specifications of this work. | 4500.00 | Meter | 100.00 | 42.00 | 189000.00 | 350.00 | 1575000.00 | 189000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
10.00 | Fixing of LIU on the Rack in the Hub/Server Room | 5.00 | Job | 1000.00 | 700.00 | 3500.00 | 1000.00 | 5000.00 | 3500.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
11.00 | Termination of Pigtails in the LIU | 5.00 | Nos. | 5000.00 | 10080.00 | 50400.00 | 1000.00 | 5000.00 | 5000.00 | Trade and technology Pvt Ltd
12.00 | Laying of HDPE Pipe in soft/hard soil through Horizontal drilling method coverd in the item no. 2.5 below. | 4500.00 | Meter | 100.00 | 71.68 | 322560.00 | 216.00 | 972000.00 | 322560.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
13.00 | Digging of Soft/Hard soil using Horizontal Direction Digging methos to lay HDPE pipe and OFC .etc as required and as specified in the specifications of this work. | 4500.00 | Meter | 600.00 | 1190.00 | 5355000.00 | 350.00 | 1575000.00 | 1575000.00 | Trade and technology Pvt Ltd
14.00 | SUBHEAD: C Establishment of CCTV inter-connectivity/ Integration between NITB, ATS Block and OTB through OFC including all required hardware and software to make & run the system perfectly. | 1.00 | Lot | 600000.00 | 210000.00 | 210000.00 | 210000.00 | 210000.00 | 210000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD., Trade and technology Pvt Ltd
15.00 | Establishment of FIDS inter-connectivity/ Integration between NITB and ATS Block through OFC including all required hardware and software to make & run the system perfectly. | 1.00 | Lot | 1200000.00 | 210000.00 | 210000.00 | 400000.00 | 400000.00 | 210000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
16.00 | Establishment of AAI LAN/WAN link between ATS Block, OTB and NITB through OFC including all required hardware and software to make & run the system perfectly. | 1.00 | Lot | 900000.00 | 70000.00 | 70000.00 | 261000.00 | 261000.00 | 70000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
17.00 | Establishment of inter-connectivity/ Integration of IP based EPABX connection of NITB and Non-IP based EPABX system installed at ATS block and Old terminal Building including providing and fixing all required hardware and software as required to make & run the system perfactly. | 1.00 | Lot | 750000.00 | 210000.00 | 210000.00 | 150000.00 | 150000.00 | 150000.00 | Trade and technology Pvt Ltd
18.00 | SUBHEAD: D Provision of CCTV camera at New Isolation Bay Installation of IP Cameras on required support including all accessories at site | 3.00 | Nos. | 2000.00 | 28000.00 | 84000.00 | 5000.00 | 15000.00 | 15000.00 | Trade and technology Pvt Ltd
19.00 | Integration of IP Cameras with CCTV System installed at NITB including hardware and software to make & run the system healthy. | 1.00 | Lot | 500000.00 | 210000.00 | 210000.00 | 25888.00 | 25888.00 | 25888.00 | Trade and technology Pvt Ltd
| Total in Figures |  |  |  |  | 8228542.00 |  | 6888888.00
Lowest Amount Quoted BY: Trade and technology Pvt Ltd(6888888.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of OFC Cable for interconnectivity of Old Terminal Building and New Integrated terminal building and providing CCTV camera with Integrated LAN at New Isolation bay through OFC and other Interconnected Works. Tender ID: 2021_AAI_68860_3
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Trade and technology Pvt Ltd | 6888888.00 | L1
| 2 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD. | 8228542.00 | L2