## BoQ1
Government eProcurement System Created By: Ravindra singh Mehrok Created Date/Time: 22-Feb-2021 04:54 PM Tender Title: Operation and Maintenance contract of E and M Installations at NITB, water supply system, Fire alarm and fire fighting system, Operation of Conveyor system and supply of electrical spares at Vadodara Airport.(For 02 Year period)(Yr2020-21and 2021-22) Tender ID: 2021_AAI_68898_1
Tender Inviting Authority: Asst.Gen. Manager(E-E), AAI, CA, Vadodara
Name of Work: Operation and Maintenance Contract of Electrical & Mechanical Installations at New Terminal Building, Water supply system, Fire alarm and firefighting system, operation of Conveyour system & Supply of Electrical Spares at Vadodara Airport, (For 02 year period) (Year 2020-21 & 2021-22).
Contract No: AAI/BO/E-E/NIT-09/AMC-NITB/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-37ABZFS0350H1ZR) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT) |  | SOPAN O AND M CO PVT KTD(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I :- Operation and Maintenance of E & M installations of NITB. Operation and Preventive Maintenance of Electrical / Mechanical Installations at NITB and associated ancillary buildings by attending complaints / faults / breakdown & ensuring serviceability, satisfactory working condition of all the systems, up keeping all records as per preventive maintenance schedule etc. by providing the adequate & suitable man power with tools & tackles in shifts as mentioned in the special conditions of contract complete as required on all days including sundays & holidays. | 24.00 | Month |  | 276713.00 | 6641112.00 | 250000.00 | 6000000.00 | 281385.00 | 6753240.00 | 260444.00 | 6250656.00 | 425816.72 | 10219601.28 | 276900.00 | 6645600.00 | 6000000.00 | Techno Electricals
2.10 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis. Hi-Skilled | 100.00 | Hour |  | 855.00 | 85500.00 | 90.00 | 9000.00 | 100.00 | 10000.00 | 1.00 | 100.00 | 307.27 | 30727.00 | 106.00 | 10600.00 | 100.00 | ABHISHEK ASSOCIATES
2.20 | Skilled | 100.00 | Hour |  | 778.00 | 77800.00 | 80.00 | 8000.00 | 92.00 | 9200.00 | 1.00 | 100.00 | 257.98 | 25798.00 | 97.00 | 9700.00 | 100.00 | ABHISHEK ASSOCIATES
2.30 | Un-skilled | 100.00 | Hour |  | 587.00 | 58700.00 | 60.00 | 6000.00 | 70.00 | 7000.00 | 1.00 | 100.00 | 202.83 | 20283.00 | 80.00 | 8000.00 | 100.00 | ABHISHEK ASSOCIATES
3.10 | Rewinding of following Motors with original no.of turn and wire gauge i/c repairing of bush, replacement of bearing, termination of connecting lead, connection, testing & commissioning complete as required. (Dismantled copper wire need not to return). a) 0.5 to 2HP Motor | 10.00 | Each |  | 1600.00 | 16000.00 | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 3750.94 | 37509.40 | 1000.00 | 10000.00 | 10000.00 | Techno Electricals, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, ABHISHEK ASSOCIATES, CIS GLOBAL INFRATECH PRIVATE LIMITED
3.20 | b) 3 HP Motor | 2.00 | Each |  | 2500.00 | 5000.00 | 1200.00 | 2400.00 | 3000.00 | 6000.00 | 1500.00 | 3000.00 | 4376.09 | 8752.18 | 2000.00 | 4000.00 | 2400.00 | Techno Electricals
3.30 | c) 7.5 HP Motor | 4.00 | Each |  | 6000.00 | 24000.00 | 2000.00 | 8000.00 | 4000.00 | 16000.00 | 3000.00 | 12000.00 | 7501.88 | 30007.52 | 4000.00 | 16000.00 | 8000.00 | Techno Electricals
3.40 | d) 10HP Motor | 4.00 | Each |  | 6500.00 | 26000.00 | 3000.00 | 12000.00 | 6000.00 | 24000.00 | 4000.00 | 16000.00 | 9377.34 | 37509.36 | 6000.00 | 24000.00 | 12000.00 | Techno Electricals
4.00 | Execution / carryout the work for items covered / listed in CPWD Scheduled of rates (Electrical)-2018 published by CPWD as per CPWD specifications for an amount of Rs.3,00,000/- [Excluding GST] as required. (Agency has to execute schedule item listed in CPWD S/R(Electrical) 2018 as and when required by AAI. May please refer NIT clause 23 (e) (ii), page no.NIT -4&5 for quoting of rate for this item no.4) | 1.00 | Job |  | 300000.00 | 300000.00 | 235000.00 | 235000.00 | 300000.00 | 300000.00 | 255000.00 | 255000.00 | 412603.15 | 412603.15 | 250000.00 | 250000.00 | 235000.00 | Techno Electricals
5.00 | SH-II :- Operation and Maintenance of Water supply Pumps Operation of different type of water supply pumps, drainage pumps, mutigrade media filters, activated carbon filters, softeners, RO plant etc. including Backwash, Rinse & Clean-in-place (CIP) of the same as required with deployment of minimum manpower as per special conditions of contract. | 24.00 | Month |  | 139321.00 | 3343704.00 | 121000.00 | 2904000.00 | 137566.00 | 3301584.00 | 128111.00 | 3074664.00 | 193451.17 | 4642828.08 | 145000.00 | 3480000.00 | 2904000.00 | Techno Electricals
6.00 | Descaling of RO Plant with recommended chemical / desclaing treatment by using Acidic cleaner and Antiscalant of reputed make as approved by Engineer-in-charge and as per the recommendation of OEM.. | 8.00 | Job |  | 5000.00 | 40000.00 | 3000.00 | 24000.00 | 850.00 | 6800.00 | 9236.00 | 73888.00 | 3855.13 | 30841.04 | 10000.00 | 80000.00 | 6800.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
7.00 | Regular Antiscalant dosing by TITAN ASD or equivelent Antiscalant to maintain performance of RO Plant as per OEM recommendation (0.3Kg x 31 day )= 10kg/month x 02 year | 240.00 | Kg |  | 300.00 | 72000.00 | 150.00 | 36000.00 | 15.00 | 3600.00 | 288.00 | 69120.00 | 162.54 | 39009.60 | 100.00 | 24000.00 | 3600.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
8.00 | Recharging (Regenerate) of softener by ion exchange method (minimum 250 KG common salt/ non iodised salt) including preparation of brine solution as and when required. | 96.00 | Job |  | 1000.00 | 96000.00 | 750.00 | 72000.00 | 950.00 | 91200.00 | 1250.00 | 120000.00 | 1250.31 | 120029.76 | 1500.00 | 144000.00 | 72000.00 | Techno Electricals
9.00 | Supply & mixing of liquid Sodium Hypochlorite in water as and when required. | 50.00 | Kg |  | 20.00 | 1000.00 | 200.00 | 10000.00 | 60.00 | 3000.00 | 40.00 | 2000.00 | 25.01 | 1250.50 | 200.00 | 10000.00 | 1000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
10.00 | Taking samples of drinking water from different locations and submit report of potability test from Govt. laboratory / Govt. Approved laboratory . | 96.00 | Job |  | 1500.00 | 144000.00 | 3000.00 | 288000.00 | 1500.00 | 144000.00 | 700.00 | 67200.00 | 1250.31 | 120029.76 | 4000.00 | 384000.00 | 67200.00 | ABHISHEK ASSOCIATES
11.00 | Supply of 20" Spun Filter suitable for 1150 LPH RO plant installed at Vadodara Airport | 24.00 | Each |  | 150.00 | 3600.00 | 150.00 | 3600.00 | 850.00 | 20400.00 | 335.00 | 8040.00 | 187.55 | 4501.20 | 2000.00 | 48000.00 | 3600.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, Techno Electricals
12.00 | Supply of 10", 5 Micron, Pre Filter for RO outlet point at provided in NITB. | 96.00 | Each |  | 150.00 | 14400.00 | 65.00 | 6240.00 | 1500.00 | 144000.00 | 87.00 | 8352.00 | 62.52 | 6001.92 | 4000.00 | 384000.00 | 6001.92 | SOPAN O AND M CO PVT KTD
13.00 | Supply of 8.5", 900IV carbon Filter for RO outlet point at provided in NITB. | 24.00 | Each |  | 150.00 | 3600.00 | 85.00 | 2040.00 | 1250.00 | 30000.00 | 53.00 | 1272.00 | 150.04 | 3600.96 | 4000.00 | 96000.00 | 1272.00 | ABHISHEK ASSOCIATES
14.00 | Supply of 40'' membrane for RO Plant (Make- Matrix /DOW/Permionics ) | 4.00 | Each |  | 4500.00 | 18000.00 | 12500.00 | 50000.00 | 2500.00 | 10000.00 | 7152.00 | 28608.00 | 12503.13 | 50012.52 | 7000.00 | 28000.00 | 10000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
15.00 | SH:III:- AMC of Fire Alarm & Fire Fighting system Operation and preventive maintenance contract of Fire Alarm system, Fire hydrant system,Fire alarm with auto dialar system ,Sprinkler system and Aspiration system at different locations as detailed given below in three shifts involving attending to complaints/ faults/ breakdowns and taking rectification action with deployment of minimum man power as per special condition of contract, ensuring serviceability / satisfactory working conditions of the system and maintain records / documentation etc. Half yearly Inspection of the fire alarm and Aspiration system by OEM/ Authorised service dealer of OEM with submission of reports as per the detailed specifications, terms & conditions covered under this contract on all days including sunday and holidays. a) For New Terminal Building :-Addressable fire alarm & fire hydrant system, Sprinkler system & Aspiration system b) For Old Terminal building :-Conventional fire alarm system & Fire hydrant system c) For ATC cum Technical block :-Conventional fire alarm system & Fire hydrant system d) For NAV-AIDS :-Fire alarm and auto dialer system. (Note :- This item does not include supply of spares, overhaluling/ servicing of diesel engine,rewinding of motors and repairing of pumps.) | 24.00 | Month |  | 111942.00 | 2686608.00 | 91000.00 | 2184000.00 | 104360.00 | 2504640.00 | 97222.00 | 2333328.00 | 147931.62 | 3550358.88 | 103405.00 | 2481720.00 | 2184000.00 | Techno Electricals
16.00 | Supply of addressable Photoelectric Smoke Detector (Make :Honeywell, Part no. 851 ) | 10.00 | Each |  | 1700.00 | 17000.00 | 2300.00 | 23000.00 | 1250.00 | 12500.00 | 1965.00 | 19650.00 | 4734.93 | 47349.30 | 1200.00 | 12000.00 | 12000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
17.00 | Supply of addressable Control Module etc. for Directional Sounder, Sounder with Flasher etc complete as required.(Make : Notifire, Model FCM-1) | 5.00 | Each |  | 2100.00 | 10500.00 | 2600.00 | 13000.00 | 1500.00 | 7500.00 | 2260.00 | 11300.00 | 5481.37 | 27406.85 | 4000.00 | 20000.00 | 7500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
18.00 | Supply of addressable Relay Module etc. for AHU, Fire dampars , Smoke ventilation etc complete as required.(Make : Notifire, Model FRM-1) | 5.00 | Each |  | 2000.00 | 10000.00 | 2600.00 | 13000.00 | 1500.00 | 7500.00 | 2260.00 | 11300.00 | 5481.37 | 27406.85 | 3000.00 | 15000.00 | 7500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
19.00 | Supply of Addressable type manual call (Glass Break) Station complete with all accessories. (Make : Notifire, Model -F/MCC/GLASS-1) | 5.00 | Each |  | 2000.00 | 10000.00 | 2100.00 | 10500.00 | 1500.00 | 7500.00 | 1550.00 | 7750.00 | 4564.89 | 22824.45 | 3000.00 | 15000.00 | 7500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
20.00 | Supply of Addressable type Monitor module to take signal from thirdparty device to fire panel can detect with all accessories. (Make : Notifire, Model FMM-1) | 5.00 | Each |  | 2250.00 | 11250.00 | 2200.00 | 11000.00 | 2500.00 | 12500.00 | 2260.00 | 11300.00 | 5500.13 | 27500.65 | 10000.00 | 50000.00 | 11000.00 | Techno Electricals
21.00 | Painting, of fire alarm and fire fighting system installation, RO Plant installation including associated internal and exposed pipe lines, Motors, Pumps, associated valves, fittings and supports of all associated installations at service block, trench and NITB area with two coats of anti-rust paint etc.complete as per site requirement [ Approximate 300 sqmtr in 01 Job] | 2.00 | Job |  | 20000.00 | 40000.00 | 40000.00 | 80000.00 | 10000.00 | 20000.00 | 15000.00 | 30000.00 | 75018.75 | 150037.50 | 9000.00 | 18000.00 | 18000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
22.00 | SH:IV:- Operation of Departure conveyor system (01 set) and Arrival carousals conveyor system (03 sets) Operation and preventive maintenance of Departure conveyor system (01 set) and Arrival carousals conveyor system (03 sets) in two shifts as by deploying adequate & suitable man power with tools & tackles in shifts as mentioned in the special conditions of contract complete as required on all days including sundays & holidays. | 24.00 | Month |  | 86957.00 | 2086968.00 | 90000.00 | 2160000.00 | 102304.00 | 2455296.00 | 92888.00 | 2229312.00 | 137516.40 | 3300393.60 | 100000.00 | 2400000.00 | 2086968.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
23.10 | SH:V:- Supply of Electrical spares. Supply of following sizes (Nominal cross sectional area based on CR Value as per IS) FRLS insulated Stranded copper conductor, wiring cable of approved make and different colour (90 Mtr length of each Roll) a) Single core,1.5Sqmm Wire | 8.00 | Coil |  | 1100.00 | 8800.00 | 1250.00 | 10000.00 | 1100.00 | 8800.00 | 1260.00 | 10080.00 | 28.93 | 231.44 | 1800.00 | 14400.00 | 231.44 | SOPAN O AND M CO PVT KTD
23.20 | b) Single core,2.5Sqmm Wire | 6.00 | Coil |  | 2100.00 | 12600.00 | 2000.00 | 12000.00 | 1732.00 | 10392.00 | 1980.00 | 11880.00 | 46.64 | 279.84 | 3000.00 | 18000.00 | 279.84 | SOPAN O AND M CO PVT KTD
23.30 | c) Single core,4Sqmm Wire | 8.00 | Coil |  | 2850.00 | 22800.00 | 3000.00 | 24000.00 | 2535.00 | 20280.00 | 3060.00 | 24480.00 | 71.77 | 574.16 | 4000.00 | 32000.00 | 574.16 | SOPAN O AND M CO PVT KTD
23.40 | d) Single core,6Sqmm Wire | 4.00 | Coil |  | 4100.00 | 16400.00 | 4300.00 | 17200.00 | 3784.00 | 15136.00 | 4500.00 | 18000.00 | 107.13 | 428.52 | 7000.00 | 28000.00 | 428.52 | SOPAN O AND M CO PVT KTD
24.10 | Supply of following Size Three Core Unsheathed Industrial Flexible FRLS Stranded copper conductor,insulated cable conforming IS 694:1990 with Flexible bright Annealed Copper conductor, for Voltage Grade upto 1100V.(Make - AAI approved make list) and (100 Mtr length of each Roll). a) 3 core x 1.5 Sqmm | 4.00 | Coil |  | 4200.00 | 16800.00 | 4000.00 | 16000.00 | 4372.00 | 17488.00 | 4700.00 | 18800.00 | 102.33 | 409.32 | 5000.00 | 20000.00 | 409.32 | SOPAN O AND M CO PVT KTD
24.20 | b) 3 core x 2.5 Sqmm | 2.00 | Coil |  | 6500.00 | 13000.00 | 6250.00 | 12500.00 | 7095.00 | 14190.00 | 7425.00 | 14850.00 | 166.04 | 332.08 | 7000.00 | 14000.00 | 332.08 | SOPAN O AND M CO PVT KTD
24.30 | c) 3 core x 4 sqmm | 4.00 | Coil |  | 12500.00 | 50000.00 | 9950.00 | 39800.00 | 10560.00 | 42240.00 | 11550.00 | 46200.00 | 253.64 | 1014.56 | 12000.00 | 48000.00 | 1014.56 | SOPAN O AND M CO PVT KTD
25.01 | Supply of following types of Ballast, LED Driver & LED lamp as complete as per site requirement. (Make: AAI approved make) Electronic Ballast :- a) 36W,Electronics ballast (Make : Philips, EB-T136TLD) | 25.00 | Each |  | 300.00 | 7500.00 | 310.00 | 7750.00 | 250.00 | 6250.00 | 125.00 | 3125.00 | 170.67 | 4266.75 | 200.00 | 5000.00 | 3125.00 | ABHISHEK ASSOCIATES
25.02 | b) 1 x 54W,T5 Electronics ballast (Make : Philips) | 50.00 | Each |  | 400.00 | 20000.00 | 700.00 | 35000.00 | 450.00 | 22500.00 | 300.00 | 15000.00 | 649.85 | 32492.50 | 18000.00 | 900000.00 | 15000.00 | ABHISHEK ASSOCIATES
25.03 | LED Drivers:- a) LED Strip Driver, 2A,12V,24W Output,220-240 Input,(Make: Philips, Model:LSD2A) | 50.00 | Each |  | 350.00 | 17500.00 | 310.00 | 15500.00 | 250.00 | 12500.00 | 325.00 | 16250.00 | 378.09 | 18904.50 | 1000.00 | 50000.00 | 12500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
25.04 | b) LED strip Driver, 5A,12V,24W Output,220-240 Input. | 50.00 | Each |  | 450.00 | 22500.00 | 500.00 | 25000.00 | 280.00 | 14000.00 | 650.00 | 32500.00 | 512.00 | 25600.00 | 1000.00 | 50000.00 | 14000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
25.05 | c) LED Driver, 24W,AC 180V to 280V, (Make: Osram, Model no.OTi DALI 50/220-240/24) | 20.00 | Each |  | 450.00 | 9000.00 | 300.00 | 6000.00 | 250.00 | 5000.00 | 3250.00 | 65000.00 | 564.52 | 11290.40 | 1000.00 | 20000.00 | 5000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
25.06 | d) LED Driver 0.70A,16/26W for 25W LED Fitting (Make: Philips, Part no.25W/700mA) | 100.00 | Each |  | 350.00 | 35000.00 | 500.00 | 50000.00 | 250.00 | 25000.00 | 250.00 | 25000.00 | 413.54 | 41354.00 | 1000.00 | 100000.00 | 25000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, ABHISHEK ASSOCIATES
25.07 | e) LED Driver,160W for 300W LED Flood light fitting (Make: Bajaj, Model no.BRFLED 160W) | 10.00 | Each |  | 900.00 | 9000.00 | 2000.00 | 20000.00 | 450.00 | 4500.00 | 3400.00 | 34000.00 | 1693.55 | 16935.50 | 1000.00 | 10000.00 | 4500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
25.08 | Lamps:- a) 9W LED Lamp (Make: As per list of approved make of tender) | 100.00 | Each |  | 100.00 | 10000.00 | 125.00 | 12500.00 | 180.00 | 18000.00 | 90.00 | 9000.00 | 124.72 | 12472.00 | 1200.00 | 120000.00 | 9000.00 | ABHISHEK ASSOCIATES
25.09 | b) 150W MHN -TD Lamp (Make: As per list of approved make of tender) | 70.00 | Each |  | 750.00 | 52500.00 | 400.00 | 28000.00 | 280.00 | 19600.00 | 375.00 | 26250.00 | 708.93 | 49625.10 | 700.00 | 49000.00 | 19600.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
25.10 | c) GLS ,40W Threaded type (Make: As per list of approved make of tender) | 100.00 | Each |  | 150.00 | 15000.00 | 20.00 | 2000.00 | 180.00 | 18000.00 | 11.00 | 1100.00 | 19.69 | 1969.00 | 800.00 | 80000.00 | 1100.00 | ABHISHEK ASSOCIATES
25.11 | d) 54W T5 Lamp (Make: As per list of approved make of tender) | 50.00 | Each |  | 120.00 | 6000.00 | 160.00 | 8000.00 | 120.00 | 6000.00 | 150.00 | 7500.00 | 229.74 | 11487.00 | 900.00 | 45000.00 | 6000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
25.12 | e) LED Strip (Make: As per list of approved make of tender) | 100.00 | Mtr |  | 150.00 | 15000.00 | 160.00 | 16000.00 | 450.00 | 45000.00 | 170.00 | 17000.00 | 85.33 | 8533.00 | 1000.00 | 100000.00 | 8533.00 | SOPAN O AND M CO PVT KTD
25.13 | f) 1000W Halogen lamp (Make: As per list of approved make of tender) | 100.00 | Each |  | 450.00 | 45000.00 | 80.00 | 8000.00 | 54.00 | 5400.00 | 65.00 | 6500.00 | 118.15 | 11815.00 | 500.00 | 50000.00 | 5400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
25.14 | g) 50W spot type halogen lamp (Make: Philips/ as per list of approved make of tender) | 10.00 | Each |  | 225.00 | 2250.00 | 150.00 | 1500.00 | 50.00 | 500.00 | 1600.00 | 16000.00 | 380.72 | 3807.20 | 20000.00 | 200000.00 | 500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
26.10 | Supply of following type of MCCB (In Accordance with IS/IEC 60898-1) 240/415V, 50Hz, Suitable for motor & other Inductive loads etc. as required. a) 630A,4P,50KA MCCB, 'C' Series, (DN3-630N) (Make: L&T, Cat no.CM94104OOT1OG ) | 1.00 | Each |  | 21000.00 | 21000.00 | 20000.00 | 20000.00 | 19854.00 | 19854.00 | 22060.00 | 22060.00 | 38780.95 | 38780.95 | 22000.00 | 22000.00 | 19854.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
26.20 | b) 400A,4P,50KA MCCB, 'C' Series, (DN3-400N) (Make: L&T, Cat no.CM94103OOr1OG ) | 1.00 | Each |  | 19800.00 | 19800.00 | 16000.00 | 16000.00 | 14880.00 | 14880.00 | 16535.00 | 16535.00 | 32505.63 | 32505.63 | 23000.00 | 23000.00 | 14880.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
26.30 | c) 250A,4P,36KA MCCB, 'C' Series, (DN2-250D) (Make: L&T, Cat no.CM92109OOP1OG ) | 1.00 | Each |  | 9800.00 | 9800.00 | 12000.00 | 12000.00 | 11439.00 | 11439.00 | 12710.00 | 12710.00 | 23250.19 | 23250.19 | 23000.00 | 23000.00 | 9800.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
26.40 | d) 160A,4P,36KA MCCB, 'C' Series, (DN2-250D) (Make: L&T, Cat no.CM92109OON1OG ) | 1.00 | Each |  | 10500.00 | 10500.00 | 10000.00 | 10000.00 | 12600.00 | 12600.00 | 11460.00 | 11460.00 | 10699.55 | 10699.55 | 23000.00 | 23000.00 | 10000.00 | Techno Electricals
26.50 | e) 125A,4P,36KA MCCB, 'C' Series, (DN2-250D) (Make: L&T, Cat no.CM92108OOM1OG ) | 1.00 | Each |  | 9800.00 | 9800.00 | 10000.00 | 10000.00 | 8176.00 | 8176.00 | 9085.00 | 9085.00 | 10043.14 | 10043.14 | 23000.00 | 23000.00 | 8176.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
27.10 | Supply of following type of RCCB (In Accordance with IS12640-1 & IEC 61008-1) 240/415V,50Hz,10KA short circuit withstand capacity as required. a) 63A,4P,300 mA RCCB (Make : Legrand) | 40.00 | Each |  | 2200.00 | 88000.00 | 2200.00 | 88000.00 | 2395.00 | 95800.00 | 2381.00 | 95240.00 | 7441.11 | 297644.40 | 20000.00 | 800000.00 | 88000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, Techno Electricals
28.01 | Supply of Piano / modular type Switch / Socket / Plug Top of following type and rating suitable to operate on 240V,50Hz AC Supply (as per list of approved make of tender) a) 6A,3pin,240V, Piano type Socket | 100.00 | Each |  | 120.00 | 12000.00 | 35.00 | 3500.00 | 90.00 | 9000.00 | 24.00 | 2400.00 | 59.08 | 5908.00 | 110.00 | 11000.00 | 2400.00 | ABHISHEK ASSOCIATES
28.02 | b) 16A,5pin,240V,Piano type Socket | 100.00 | Each |  | 150.00 | 15000.00 | 65.00 | 6500.00 | 75.00 | 7500.00 | 59.00 | 5900.00 | 216.62 | 21662.00 | 120.00 | 12000.00 | 5900.00 | ABHISHEK ASSOCIATES
28.03 | c) 15/16A,1way,240V Piano type Switch | 100.00 | Each |  | 130.00 | 13000.00 | 65.00 | 6500.00 | 15.00 | 1500.00 | 53.00 | 5300.00 | 95.84 | 9584.00 | 120.00 | 12000.00 | 1500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
28.04 | d) 5/6A,1way,240V Piano type Switch | 200.00 | Each |  | 100.00 | 20000.00 | 15.00 | 3000.00 | 45.00 | 9000.00 | 11.00 | 2200.00 | 59.08 | 11816.00 | 50.00 | 10000.00 | 2200.00 | ABHISHEK ASSOCIATES
28.05 | e) 10A,240V,Modular Switch | 50.00 | Each |  | 120.00 | 6000.00 | 40.00 | 2000.00 | 65.00 | 3250.00 | 34.00 | 1700.00 | 59.08 | 2954.00 | 50.00 | 2500.00 | 1700.00 | ABHISHEK ASSOCIATES
28.06 | f) 20A,240V,Modular Switch | 30.00 | Each |  | 160.00 | 4800.00 | 85.00 | 2550.00 | 61.00 | 1830.00 | 76.00 | 2280.00 | 120.78 | 3623.40 | 70.00 | 2100.00 | 1830.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
28.07 | g) 15A,240V, Plug Top | 75.00 | Each |  | 70.00 | 5250.00 | 65.00 | 4875.00 | 61.00 | 4575.00 | 48.00 | 3600.00 | 95.84 | 7188.00 | 70.00 | 5250.00 | 3600.00 | ABHISHEK ASSOCIATES
28.08 | h) 32A-6H/380-415V, 3P+N+E, 50Hz industrial socket with box | 10.00 | Each |  | 300.00 | 3000.00 | 2200.00 | 22000.00 | 1100.00 | 11000.00 | 1360.00 | 13600.00 | 1772.32 | 17723.20 | 110.00 | 1100.00 | 1100.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
28.09 | I) Supply of Ding dong bell | 25.00 | Each |  | 160.00 | 4000.00 | 150.00 | 3750.00 | 110.00 | 2750.00 | 102.00 | 2550.00 | 380.72 | 9518.00 | 300.00 | 7500.00 | 2550.00 | ABHISHEK ASSOCIATES
28.10 | J) Supply of Remote bell | 25.00 | Each |  | 200.00 | 5000.00 | 400.00 | 10000.00 | 350.00 | 8750.00 | 423.00 | 10575.00 | 512.00 | 12800.00 | 400.00 | 10000.00 | 5000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
29.10 | Supply of Following type Capacitor / Condenser for ceiling fan / exhaust fan, APFC Panel suitable for 240V,50Hz AC supply (Make-Epcos, Neptune) a) 2.5 MFD for Ceiling Fan Capacitor | 200.00 | Each |  | 40.00 | 8000.00 | 27.00 | 5400.00 | 25.00 | 5000.00 | 18.00 | 3600.00 | 31.51 | 6302.00 | 35.00 | 7000.00 | 3600.00 | ABHISHEK ASSOCIATES
29.20 | b) 5KVAR,415Volt,50Hz, Super Heavy Duty Cylinder Type capacitor | 5.00 | Each |  | 1500.00 | 7500.00 | 1200.00 | 6000.00 | 900.00 | 4500.00 | 925.00 | 4625.00 | 1378.47 | 6892.35 | 8000.00 | 40000.00 | 4500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
29.30 | c) 10KVAR,415Volt,50Hz, Super Heavy Duty Cylinder Type capacitor | 10.00 | Each |  | 2500.00 | 25000.00 | 2500.00 | 25000.00 | 1800.00 | 18000.00 | 1850.00 | 18500.00 | 2756.94 | 27569.40 | 12000.00 | 120000.00 | 18000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
30.10 | Supply of following size PVC casing capping as reqd. (Precision / AKG / AAI approved make) a) Casing caping 25mm | 120.00 | Mtr |  | 50.00 | 6000.00 | 25.00 | 3000.00 | 35.00 | 4200.00 | 13.00 | 1560.00 | 36.76 | 4411.20 | 100.00 | 12000.00 | 1560.00 | ABHISHEK ASSOCIATES
30.20 | b) Casing caping 20mm | 200.00 | Mtr |  | 42.00 | 8400.00 | 22.00 | 4400.00 | 25.00 | 5000.00 | 16.00 | 3200.00 | 34.13 | 6826.00 | 90.00 | 18000.00 | 3200.00 | ABHISHEK ASSOCIATES
31.00 | Supply of 22.5 mm size flush mounted type LED indicators suitable for 240V,50Hz AC Supply .(Make:- AAI approved make List). | 150.00 | Each |  | 220.00 | 33000.00 | 80.00 | 12000.00 | 75.00 | 11250.00 | 84.00 | 12600.00 | 118.15 | 17722.50 | 4000.00 | 600000.00 | 11250.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
32.00 | Supply of 4W,220-440Volt,50Hz Emergency Light(Make:-Philips / as per list of approved make of tender) | 15.00 | Each |  | 500.00 | 7500.00 | 1200.00 | 18000.00 | 1250.00 | 18750.00 | 1470.00 | 22050.00 | 2126.78 | 31901.70 | 2000.00 | 30000.00 | 7500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
33.00 | Supply of PVC Extention Board with 4way socket with individual switch (Make:Anchor/ or similar of Legrand / L&T/ Havells) | 10.00 | Each |  | 400.00 | 4000.00 | 600.00 | 6000.00 | 80.00 | 800.00 | 407.00 | 4070.00 | 1115.90 | 11159.00 | 1000.00 | 10000.00 | 800.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
34.00 | Supply of fuses (As per list of approved make of tender) a) 100A,80KA,415V,Bolt type,HRC Fuse Links | 2.00 | Each |  | 300.00 | 600.00 | 300.00 | 600.00 | 150.00 | 300.00 | 153.00 | 306.00 | 603.90 | 1207.80 | 500.00 | 1000.00 | 300.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
35.10 | Supply of following contactor a) ML-3, 415V,50Hz Power Contactor (Make: L&T) | 2.00 | Each |  | 980.00 | 1960.00 | 5500.00 | 11000.00 | 4958.00 | 9916.00 | 5702.00 | 11404.00 | 5205.36 | 10410.72 | 9000.00 | 18000.00 | 1960.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
35.20 | b) ML-4 , 415V,50Hz Power Contactor (Make: L&T) | 2.00 | Each |  | 1020.00 | 2040.00 | 1000.00 | 2000.00 | 8167.00 | 16334.00 | 9324.00 | 18648.00 | 7286.20 | 14572.40 | 9000.00 | 18000.00 | 2000.00 | Techno Electricals
36.00 | 9W Aviation obstruction light Single dome (Make: Bajaj,Model no.BGAV 302 / as per list of approved make of tender) | 5.00 | Each |  | 1500.00 | 7500.00 | 2700.00 | 13500.00 | 3400.00 | 17000.00 | 3400.00 | 17000.00 | 5579.52 | 27897.60 | 4000.00 | 20000.00 | 7500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
37.00 | Supply of 22W LED, 4 Feet, aluminium base batten Tube light fitting,suitable for operation on 230V, 50Hz, single phase AC Supply (Make: Philips / Bajaj/ Crompton / Halonix ) | 60.00 | Each |  | 500.00 | 30000.00 | 250.00 | 15000.00 | 450.00 | 27000.00 | 350.00 | 21000.00 | 275.69 | 16541.40 | 3000.00 | 180000.00 | 15000.00 | Techno Electricals
38.00 | Supply of Float switch sensor for vertical submersible pump | 20.00 | Each |  | 99.00 | 1980.00 | 200.00 | 4000.00 | 450.00 | 9000.00 | 150.00 | 3000.00 | 722.06 | 14441.20 | 500.00 | 10000.00 | 1980.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
39.00 | Supply of 6A Auto manual selector switch (AC23A,440V,3KW-3.8A) (Make : L&T) | 20.00 | Each |  | 320.00 | 6400.00 | 200.00 | 4000.00 | 250.00 | 5000.00 | 231.00 | 4620.00 | 301.95 | 6039.00 | 300.00 | 6000.00 | 4000.00 | Techno Electricals
40.00 | Supply of 32A/660V AC/DC, Trip & close type TNC Control switch (Make: L&T ) | 10.00 | Each |  | 1300.00 | 13000.00 | 700.00 | 7000.00 | 2500.00 | 25000.00 | 852.00 | 8520.00 | 1129.03 | 11290.30 | 3000.00 | 30000.00 | 7000.00 | Techno Electricals
41.00 | 360 degree, Surface mount, PIR sensor for auto control of light (Make :- MK Honeywell, Model- K5016 ) | 15.00 | Each |  | 3000.00 | 45000.00 | 2000.00 | 30000.00 | 2350.00 | 35250.00 | 1710.00 | 25650.00 | 5957.61 | 89364.15 | 2000.00 | 30000.00 | 25650.00 | ABHISHEK ASSOCIATES
42.00 | Supply of 16A. 6 Pin male & Female connector for BAJAJ make high mast tower. | 6.00 | Each |  | 180.00 | 1080.00 | 3000.00 | 18000.00 | 450.00 | 2700.00 | 3350.00 | 20100.00 | 4201.05 | 25206.30 | 800.00 | 4800.00 | 1080.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
43.00 | Supply of Glass for BARFEG 300W (Make: Bajaj) LED Fitting. | 5.00 | Each |  | 300.00 | 1500.00 | 250.00 | 1250.00 | 150.00 | 750.00 | 159.00 | 795.00 | 6564.14 | 32820.70 | 1200.00 | 6000.00 | 750.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
44.00 | Supply of LED Chip, LED MCPCB 350 x 230MM (96 LED) for Bajaj make, Model:,BARFEG 300W LED) 300W LED Fitting | 5.00 | Each |  | 1500.00 | 7500.00 | 2200.00 | 11000.00 | 350.00 | 1750.00 | 2135.00 | 10675.00 | 11159.04 | 55795.20 | 2000.00 | 10000.00 | 1750.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
| Total in Figures |  |  |  |  | 16714302.00 |  | 14965355.00 |  | 16687640.00 |  | 15501673.00 |  | 24182067.56 |  | 20779270.00
Lowest Amount Quoted BY: Techno Electricals(14965355.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance contract of E and M Installations at NITB, water supply system, Fire alarm and fire fighting system, Operation of Conveyor system and supply of electrical spares at Vadodara Airport.(For 02 Year period)(Yr2020-21and 2021-22) Tender ID: 2021_AAI_68898_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Techno Electricals | 14965355.00 | L1
| 2 | ABHISHEK ASSOCIATES | 15501673.00 | L2
| 3 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 16687640.00 | L3
| 4 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 16714302.00 | L4
| 5 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 20779270.00 | L5
| 6 | SOPAN O AND M CO PVT KTD | 24182067.56 | L6