## BoQ1
Government eProcurement System Created By: BHAITHI DEVARAJU Created Date/Time: 11-Mar-2021 11:25 AM Tender Title: Operation and Maintenance of Fire Detection, Alarm and Fighting System for two years (2021-2023) at VSS Airport, Jharsuguda. Tender ID: 2021_AAI_69103_1
Tender Inviting Authority: Asst. Gen. Manager (Engg-Elect), VSS Airport, Jharsuguda.
Name of Work: Operation and Maintenance of Fire Detection, Alarm and Fighting System for two years (2021-2023) at VSS Airport, Jharsuguda.
Contract No: AAI/JH/AGMEE/eNIT6/AMC/2020-21 ( Tender Id : 2020_AAI_69103_1).
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
0.00 | SH : I : Operation and Maintenance
1.00 | Job contract for round the clock ( 24X7) operation & daily maintenance of Fire Hydrant system, Novec- 1230 Gas Suppression System, Sprinkler System, Down Comers and analogue addressable fire detection & alarm system with all accessories / units /wiring viz like Pumps, Engines, Control Panel, valves , pipe lines, Alarm Panels, repeater panel,auto dialers,detectors, MCPs, hooters etc. for Terminal Building, ATC Tower Cum Technical Block,DVOR,NDB,MSSR, Glide path,Localiser and Fire Station (as detailed in the inventory) on all days including sunday / holidays etc complete as required as per the special condition of the contract excluding spare parts. | 24.00 | MON | 3933950.00 | 228000.00 | 5472000.00 | 280000.00 | 6720000.00 | 5472000.00 | Youngmen Traders
2.00 | Monthly Service Contract through specilization engineer / agency for preventive/periodical/unlimited break down maintenance of Fire Hydrant system, Novec- 1230 Gas Suppression System, Sprinkler System, Down Comers and analogue addressable fire detection & alarm system with all accessories / units /wiring viz like Pumps, Engines, Control Panel, valves , pipe lines, Alarm Panels, repeater panel,auto dialers,detectors, MCPs,hooters etc. for Terminal Building, ATC Tower Cum Technical block,DVOR,NDB,MSSR and Fire Station (as detailed in the inventory) etc complete as required as per the special condition of the contract excluding spare parts. | 24.00 | MON | 3933950.00 | 24975.00 | 599400.00 | 400.00 | 9600.00 | 9600.00 | CENTRE TAP ENGINEERING
3.00 | Carrying out of Monthly Maintenance of Diesel Engine ( 72 BHP Engine make : KOEL, Model: 4R1040T) through the OEM/authorized Service Dealer etc. complete as required including replacement of B -check maintenanace by providing all spares like oil filters, fuel filters, Lub oil and coolant at every six months etc as required | 24.00 | MON | 3933950.00 | 2500.00 | 60000.00 | 500.00 | 12000.00 | 12000.00 | CENTRE TAP ENGINEERING
4.00 | Monthly maintenance of 1 No x 125 KVA Greaves Cotton Ltd make DG set ( Model no.TD4L4 ) for preventive ( monthly) and break down ( unlimited) maintence through OEM/ authorized service dealer including reapiring / replacing and adjustment of elements assemblies and sub-assemblies etc. but excluding major overhauling, top overhauling and rewinding and spare parts etc. complete as required. ( Spares parts excluded) | 36.00 | MON | 3933950.00 | 3000.00 | 108000.00 | 400.00 | 14400.00 | 14400.00 | CENTRE TAP ENGINEERING
4.01 | Supply of following B/C-check spraes for item no - 4 as and when required
4.10 | L.O.FLTR+ELEMENT V8/V6 | 16.00 | EA | 3933950.00 | 700.00 | 11200.00 | 200.00 | 3200.00 | 3200.00 | CENTRE TAP ENGINEERING
4.20 | FILT. ELEMENT WITH O RING | 16.00 | EA | 3933950.00 | 800.00 | 12800.00 | 200.00 | 3200.00 | 3200.00 | CENTRE TAP ENGINEERING
4.30 | FILTR. INSRT WITH O RING | 16.00 | EA | 3933950.00 | 800.00 | 12800.00 | 200.00 | 3200.00 | 3200.00 | CENTRE TAP ENGINEERING
4.40 | GASKET-CYL.HEAD COVER | 40.00 | EA | 3933950.00 | 700.00 | 28000.00 | 100.00 | 4000.00 | 4000.00 | CENTRE TAP ENGINEERING
4.50 | OUTER ELEMENT TD4L4 | 8.00 | EA | 3933950.00 | 1200.00 | 9600.00 | 200.00 | 1600.00 | 1600.00 | CENTRE TAP ENGINEERING
4.60 | INNER ELEMENT TD4L4 | 8.00 | EA | 3933950.00 | 1200.00 | 9600.00 | 200.00 | 1600.00 | 1600.00 | CENTRE TAP ENGINEERING
4.70 | GREAVES LUB OIL 20Ltr. CI-4 | 12.00 | EA | 3933950.00 | 6000.00 | 72000.00 | 4000.00 | 48000.00 | 48000.00 | CENTRE TAP ENGINEERING
4.80 | COOLANT ADDITIVE 5LT PACK | 8.00 | EA | 3933950.00 | 500.00 | 4000.00 | 400.00 | 3200.00 | 3200.00 | CENTRE TAP ENGINEERING
4.90 | SH : II : Supply of following Spare Parts for existing Edward/Siemens make fire alarm system as and when required
5.00 | Supply of auto dialer to connect to existing fire alarm system. | 1.00 | EA | 3933950.00 | 7490.00 | 7490.00 | 1600.00 | 1600.00 | 1600.00 | CENTRE TAP ENGINEERING
6.00 | Supply of Analogue Addressable type Optical Smoke Detector as per UL / LPCB / FM / EN-54 complete with all accessories like base etc. to be installed under/above false ceiling, roof and concealed space, etc.suitable to connect in existing system complete as required. ( Make : EST/Siemens ) | 74.00 | EA | 3933950.00 | 2195.00 | 162430.00 | 600.00 | 44400.00 | 44400.00 | CENTRE TAP ENGINEERING
7.00 | Supply of Analogue Addressable type Heat Detector (Fixed cum-rate of rise type) with range upto 60oC , as per UL / LPCB / FM / EN-54 complete with all fixing accessories like base, etc. to be installed under/above false ceiling, roof and concealed space, etc.suitable to connect in existing system complete as required.( Make EST/Siemens). | 1.00 | EA | 3933950.00 | 2195.00 | 2195.00 | 600.00 | 600.00 | 600.00 | CENTRE TAP ENGINEERING
8.00 | Supply of Analogue Addressable type Manual call point , as per UL / LPCB / FM / EN-54 complete with all fixing accessories like base, etc. to be installed under/above false ceiling, roof and concealed space, etc. complete as required.( Make : EST/ Siemens) | 7.00 | EA | 3933950.00 | 3500.00 | 24500.00 | 600.00 | 4200.00 | 4200.00 | CENTRE TAP ENGINEERING
9.00 | Supply of Hooter as per UL / LPCB / FM / EN-54 complete with all fixing accessories like base, etc. to be installed under/above false ceiling, roof and concealed space, etc. complete as required. | 5.00 | EA | 3933950.00 | 2500.00 | 12500.00 | 600.00 | 3000.00 | 3000.00 | CENTRE TAP ENGINEERING
10.00 | Supply of Response Indicator as per UL / LPCB / FM / EN-54 complete with all fixing accessories like base, etc. to be installed under/above false ceiling, roof and concealed space, etc. complete as required. | 6.00 | EA | 3933950.00 | 95.00 | 570.00 | 40.00 | 240.00 | 240.00 | CENTRE TAP ENGINEERING
11.00 | Supply of Control module / loop isolator / input output module for analogue addressable fire detection and alarm System , as per UL / LPCB / FM / EN-54 complete with all fixing accessories like base, etc. to be installed under/above false ceiling, roof and concealed space, etc. complete as required. | 14.00 | EA | 3933950.00 | 3195.00 | 44730.00 | 800.00 | 11200.00 | 11200.00 | CENTRE TAP ENGINEERING
12.00 | Supplying of 20 mm medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit with extra bends on surface as required: | 100.00 | Mtr. | 3933950.00 | 40.00 | 4000.00 | 10.00 | 1000.00 | 1000.00 | CENTRE TAP ENGINEERING
13.00 | Supplying of 2 x 1.5 sqmm FRLS unarmoured cable, 600 / 1000V rated with annealed copper conductor as per applicable IS standared complete in existing surface / recessed steel / PVC conduit as required. | 100.00 | Mtr. | 3933950.00 | 48.00 | 4800.00 | 12.00 | 1200.00 | 1200.00 | CENTRE TAP ENGINEERING
14.10 | Supply of Base Card suitable for existing Seimens make fire alarm addressable panel (Model : FHD 2002 R3) | 2.00 | EA | 3933950.00 | 45900.00 | 91800.00 | 20000.00 | 40000.00 | 40000.00 | CENTRE TAP ENGINEERING
14.20 | Supply of Display Card suitable for existing Seimens make fire alarm addressable panel (Model : FHD 2002 R3) | 2.00 | EA | 3933950.00 | 25975.00 | 51950.00 | 30000.00 | 60000.00 | 51950.00 | Youngmen Traders
14.30 | Supply of Power Card suitable for existing Seimens make fire alarm addressable panel (Model : FHD 2002 R3) | 2.00 | EA | 3933950.00 | 22000.00 | 44000.00 | 10000.00 | 20000.00 | 20000.00 | CENTRE TAP ENGINEERING
14.40 | Supply of External Loop Card suitable for existing Seimens make fire alarm addressable panel (Model : FHD 2002 R3) | 2.00 | EA | 3933950.00 | 5990.00 | 11980.00 | 10000.00 | 20000.00 | 11980.00 | Youngmen Traders
14.50 | Supply of Base Card suitable for existing Edward make fire alarm addressable panel (Model : EST 3X/ EST 3) | 2.00 | EA | 3933950.00 | 52990.00 | 105980.00 | 20000.00 | 40000.00 | 40000.00 | CENTRE TAP ENGINEERING
14.60 | Supply of Display Card suitable for existing Edward make fire alarm addressable panel (Model : EST 3X/ EST 3) | 2.00 | EA | 3933950.00 | 32970.00 | 65940.00 | 10000.00 | 20000.00 | 20000.00 | CENTRE TAP ENGINEERING
14.70 | Supply of Power Card suitable for existing Edward make fire alarm addressable panel (Model : EST 3X/ EST 3) | 2.00 | EA | 3933950.00 | 46250.00 | 92500.00 | 10000.00 | 20000.00 | 20000.00 | CENTRE TAP ENGINEERING
14.80 | Supply of External Loop Card suitable for existing Edward make fire alarm addressable panel (Model : EST 3X/ EST 3) | 2.00 | EA | 3933950.00 | 19985.00 | 39970.00 | 8000.00 | 16000.00 | 16000.00 | CENTRE TAP ENGINEERING
14.90 | SH : III : Supply of Spare Parts for fire fighting system as and when required
15.00 | Refilling of following type Fire extinguishers including painting, repairing as needed, with necessary tests along with hydraulic tests etc. as required for smooth functioning of extinguishers including To & fro transportation.
15.10 | CO2 - 4KG | 6.00 | EA | 3933950.00 | 1200.00 | 7200.00 | 160.00 | 960.00 | 960.00 | CENTRE TAP ENGINEERING
16.00 | ABC- 6 KG | 7.00 | EA | 3933950.00 | 1000.00 | 7000.00 | 100.00 | 700.00 | 700.00 | CENTRE TAP ENGINEERING
17.00 | Water -9 ltr | 2.00 | EA | 3933950.00 | 975.00 | 1950.00 | 100.00 | 200.00 | 200.00 | CENTRE TAP ENGINEERING
18.00 | Foam - 9 ltr | 6.00 | EA | 3933950.00 | 1200.00 | 7200.00 | 100.00 | 600.00 | 600.00 | CENTRE TAP ENGINEERING
19.00 | Hydraulic Testing of 80 ltr/ 120 ltr seamless cylinder for Novec 1230 gas suppression system from CCOE approved factory including unloading and reloading the gas and make up the loss, transportation, insurance etc. complete as required. | 2.00 | EA | 3933950.00 | 2190.00 | 4380.00 | 20000.00 | 40000.00 | 4380.00 | Youngmen Traders
20.00 | Hydraulic Testing of 46.7 ltr seamless cylinder for Novec 1230 gas suppression system from CCOE approved factory including unloading and reloading the gas and make up the loss, transportation, insurance etc. complete as required. | 2.00 | EA | 3933950.00 | 2190.00 | 4380.00 | 16000.00 | 32000.00 | 4380.00 | Youngmen Traders
21.00 | Supply of pressure guage 0-200 PSI (0 - 14 Kg ) range, 3/8" BSP bottom entry, 4" dial weather proof with stainless steel internals, siphon tube amd ball valve including fittings, etc. complete as required | 6.00 | EA | 3933950.00 | 2675.00 | 16050.00 | 600.00 | 3600.00 | 3600.00 | CENTRE TAP ENGINEERING
22.00 | Supply of industrial type pressure switch having 1/4" BSP(F) connection IP:32 enclosure protection, phosphor bronze bellows as sensing element, SDPT contact system, switch rating 6A Inductive/lOA resistive 380 V AC, 0.2A Inductive/10A resistive 250V DC suit with ball valve etc. complete as required. | 3.00 | EA | 3933950.00 | 4000.00 | 12000.00 | 600.00 | 1800.00 | 1800.00 | CENTRE TAP ENGINEERING
23.00 | Providing, of 15mm dia pendent quartzoid bulb type sprinklers of rating 68 degree centigrade with required accessories : | 3.00 | EA | 3933950.00 | 295.00 | 885.00 | 100.00 | 300.00 | 300.00 | CENTRE TAP ENGINEERING
24.00 | Supplying of 150mm dia double flanged sluice valve of rating PN 1.6 with non rising spindle, bronze/gun metal seat, ISI marked complete with nuts, bolts,washers, gaskets and conforming to IS 780 of following sizes as required | 2.00 | EA | 3933950.00 | 21100.00 | 42200.00 | 3000.00 | 6000.00 | 6000.00 | CENTRE TAP ENGINEERING
25.00 | Supplying of 80 mm dia double flanged sluice valve of rating PN 1.6 with non rising spindle, bronze/gun metal seat, ISI marked complete with nuts, bolts,washers, gaskets and conforming to IS 780 of following sizes as required | 2.00 | EA | 3933950.00 | 15990.00 | 31980.00 | 1600.00 | 3200.00 | 3200.00 | CENTRE TAP ENGINEERING
26.00 | Supplying of 65 mm dia double flanged sluice valve of rating PN 1.6 with non rising spindle, bronze/gun metal seat, ISI marked complete with nuts, bolts,washers, gaskets and conforming to IS 780 of following sizes as required | 1.00 | EA | 3933950.00 | 12975.00 | 12975.00 | 1200.00 | 1200.00 | 1200.00 | CENTRE TAP ENGINEERING
27.00 | Providing, 150 mm dia of non-return valve of confirming to IS: 5312 complete with rubber gasket, GI bolts, nuts, washers etc.as required : | 1.00 | EA | 3933950.00 | 12100.00 | 12100.00 | 2000.00 | 2000.00 | 2000.00 | CENTRE TAP ENGINEERING
28.00 | Providing 80 mm dia of non-return valve of confirming to IS: 5312 complete with rubber gasket, GI bolts, nuts, washers etc.as required : | 1.00 | EA | 3933950.00 | 5000.00 | 5000.00 | 1600.00 | 1600.00 | 1600.00 | CENTRE TAP ENGINEERING
29.00 | Supplying and fixing 63 mm dia, 15 m long RRL hose pipe with 63 mm dia male and female couplings gunmetal duly bound with GI wire, rivets etc. conforming to IS 636 (type-A) as required | 2.00 | EA | 3933950.00 | 6000.00 | 12000.00 | 1600.00 | 3200.00 | 3200.00 | CENTRE TAP ENGINEERING
30.00 | Providing, laying, testing and commissioning of following C class heavy duty MS pipe conforming to IS: 1239 / IS: 3589 part - I including MS fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets etc. with welded joints at water leakage places in the under ground with excvation of soil/hard stand/cement road/bituminous road etc or MS angle support on the surface including two coats of painting complete as per technical specifications.
30.10 | 80 mm dia | 25.00 | Mtr. | 3933950.00 | 650.00 | 16250.00 | 1000.00 | 25000.00 | 16250.00 | Youngmen Traders
30.20 | 150 mm dia | 25.00 | Mtr. | 3933950.00 | 1300.00 | 32500.00 | 2000.00 | 50000.00 | 32500.00 | Youngmen Traders
30.30 | SH : IV : Miscellanous items
31.00 | Providing temporary illumination with standard coloured serial LED lamps sets on different occassions for the Terminal building, statue, trees and car parking garden with required cables as directed by the Engineer-In - Charge.(Containing minimum 50 Nos of lamps per set and quantiy of sets are required for each occassions will be decided by EIC). | 7200.00 | Set / Day | 3933950.00 | 20.00 | 144000.00 | 8.00 | 57600.00 | 57600.00 | CENTRE TAP ENGINEERING
32.00 | Providing temporary multi coloured LED Flood light fitting on different occassions for the Terminal building, and statue with required cables as directed by the Engineer-In - Charge.(The quantity required for each occassion will be decided by E-I-C) | 600.00 | Each / Day | 3933950.00 | 350.00 | 210000.00 | 20.00 | 12000.00 | 12000.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 7746785.00 |  | 7369400.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(7369400.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance of Fire Detection, Alarm and Fighting System for two years (2021-2023) at VSS Airport, Jharsuguda. Tender ID: 2021_AAI_69103_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 7369400.00 | L1
| 2 | Youngmen Traders | 7746785.00 | L2