## BoQ1
Government eProcurement System Created By: Pravin Jadhav Created Date/Time: 09-Mar-2021 05:12 PM Tender Title: Construction of Cargo Shed and other allied works at Pune Airport. Sub Head- Civil works. Tender ID: 2021_AAI_69128_1
Tender Inviting Authority: AGM(Engg-Civil)-III, AAI, Pune Airport, Pune-411032
Name of Work: Construction of Cargo Shed and other allied works at Pune Airport. SH: Civil Works.
Tender ID No: 2021_AAI_69128_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s Kirti Enterprises(GSTN-27AAMPW2393J1ZY) |  | Ms Ambaji Corporation(GSTN-27AAGFA0235KIZO) |  | SAMEER GLAZING SYSTEM PRIVATE LIMITED(GSTN-23AARCS0124P1Z3) |  | rohan construction(GSTN-27AALPV7725L1ZU) |  | HLK Infrastructure Pvt Ltd(GSTN-07AACCH5773N1Z2) |  | Fermium Constructions LLP(GSTN-06AADFF1864C1ZU) |  | Yogesh builders(GSTN-NA) |  | Panchratna Decorators(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5m, as directed by Engineer-in-charge. All kinds of soil | 217.00 | Cum |  | 406.00 | 88102.00 | 125.00 | 27125.00 | 100.00 | 21700.00 | 149.00 | 32333.00 | 148.35 | 32191.95 | 100.00 | 21700.00 | 223.00 | 48391.00 | 250.00 | 54250.00 | 21700.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED, Fermium Constructions LLP
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead upto 50 m and lift upto 1.5 m. | 212.00 | Cum |  | 145.00 | 30740.00 | 150.00 | 31800.00 | 70.00 | 14840.00 | 149.00 | 31588.00 | 179.19 | 37988.28 | 200.00 | 42400.00 | 196.00 | 41552.00 | 125.00 | 26500.00 | 14840.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
3.00 | Supplying and filling in plinth with manufactured sand under floors, including watering, ramming, consolidating and dressing complete. | 174.00 | Cum |  | 1450.00 | 252300.00 | 1300.00 | 226200.00 | 500.00 | 87000.00 | 390.00 | 67860.00 | 1593.28 | 277230.72 | 600.00 | 104400.00 | 1400.00 | 243600.00 | 1200.00 | 208800.00 | 67860.00 | rohan construction
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 83.00 | Cum |  | 5050.00 | 419150.00 | 4300.00 | 356900.00 | 3500.00 | 290500.00 | 3890.00 | 322870.00 | 4723.09 | 392016.47 | 4500.00 | 373500.00 | 5850.00 | 485550.00 | 5250.00 | 435750.00 | 290500.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
5.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | 34.00 | Cum |  | 5500.00 | 187000.00 | 5700.00 | 193800.00 | 5250.00 | 178500.00 | 5500.00 | 187000.00 | 5538.07 | 188294.38 | 5000.00 | 170000.00 | 6084.00 | 206856.00 | 7000.00 | 238000.00 | 170000.00 | Fermium Constructions LLP
6.00 | Providing and laying in position ready mixed M-25 grade concrete for reinforced cement concrete work, using cement content as per approved design mix, manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads, having continuous agitated mixer, manufactured as per mix design of specified grade for reinforced cement concrete work, including pumping of R.M.C. from transit mixer to site of laying , excluding the cost of centering, shuttering finishing and reinforcement, including cost of admixtures in recommended proportions as per IS : 9103 to accelerate/ retard setting of concrete, improve workability without impairing strength and durability as per direction of the Engineer-in-charge. (Note :- Cement content considered in this item is @ 330 kg/ cum.Excess/less cement used as per design mix is payable/recoverable separately). All works upto plinth level | 69.00 | Cum |  | 7300.00 | 503700.00 | 6500.00 | 448500.00 | 6500.00 | 448500.00 | 6499.00 | 448431.00 | 6851.53 | 472755.57 | 6000.00 | 414000.00 | 6318.00 | 435942.00 | 7800.00 | 538200.00 | 414000.00 | Fermium Constructions LLP
7.00 | Extra for providing richer mixes at all floor levels. Note:- Excess/less cement over the specified cement content used is payable /recoverable separately. Providing M-30 grade concrete instead of M-25 grade BMC/RMC. (Note:- Cement content considered in M-30 is @ 340 kg/cum) | 69.00 | Cum |  | 550.00 | 37950.00 | 60.00 | 4140.00 | 425.00 | 29325.00 | 69.00 | 4761.00 | 56.90 | 3926.10 | 1000.00 | 69000.00 | 200.00 | 13800.00 | 700.00 | 48300.00 | 3926.10 | HLK Infrastructure Pvt Ltd
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete. | 213.00 | Sqm |  | 370.00 | 78810.00 | 300.00 | 63900.00 | 240.00 | 51120.00 | 249.00 | 53037.00 | 232.38 | 49496.94 | 400.00 | 85200.00 | 500.00 | 106500.00 | 450.00 | 95850.00 | 49496.94 | HLK Infrastructure Pvt Ltd
9.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 5520.00 | Kg |  | 82.00 | 452640.00 | 75.00 | 414000.00 | 65.00 | 358800.00 | 69.00 | 380880.00 | 68.12 | 376022.40 | 70.00 | 386400.00 | 76.00 | 419520.00 | 77.00 | 425040.00 | 358800.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
10.00 | Brick work with Flyash (non modular) bricks of size 210mm x 110mm x 70mm of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 30.00 | Cum |  | 5950.00 | 178500.00 | 5800.00 | 174000.00 | 7500.00 | 225000.00 | 5900.00 | 177000.00 | 5201.68 | 156050.40 | 5500.00 | 165000.00 | 6240.00 | 187200.00 | 6000.00 | 180000.00 | 156050.40 | HLK Infrastructure Pvt Ltd
11.00 | 62 mm thick cement concrete flooring with concrete hardener topping, under layer 50 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) and top layer 12mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate, 6mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacture’s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 570.00 | Sqm |  | 586.00 | 334020.00 | 600.00 | 342000.00 | 520.00 | 296400.00 | 599.00 | 341430.00 | 696.93 | 397250.10 | 700.00 | 399000.00 | 803.00 | 457710.00 | 475.00 | 270750.00 | 270750.00 | Panchratna Decorators
12.00 | Providing and fixing 18 mm thick commercial plywood of approved quality with necessary Adhesive, screws, nails, etc. in line and level in flooring complete as per direction of Engineer-in-Charge. | 114.00 | Sqm |  | 1270.00 | 144780.00 | 1600.00 | 182400.00 | 1000.00 | 114000.00 | 1599.00 | 182286.00 | 1550.00 | 176700.00 | 2500.00 | 285000.00 | 1200.00 | 136800.00 | 1200.00 | 136800.00 | 114000.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
13.00 | Providing & Fixing 2 mm thick PVC safety flooring sheets conforming to relevant BIS code of approved make, quality, colour, shade & design. The rate shall include fixing, Transport, carriage etc. complete : as per directions of Engineer in charge. | 114.00 | Sqm |  | 1540.00 | 175560.00 | 1750.00 | 199500.00 | 350.00 | 39900.00 | 1600.00 | 182400.00 | 644.47 | 73469.58 | 500.00 | 57000.00 | 500.00 | 57000.00 | 68.00 | 7752.00 | 7752.00 | Panchratna Decorators
14.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : Powder coated aluminium (minimum thickness of powder coating 50 micron) | 400.00 | Kg |  | 424.00 | 169600.00 | 405.00 | 162000.00 | 320.00 | 128000.00 | 429.00 | 171600.00 | 372.24 | 148896.00 | 500.00 | 200000.00 | 490.00 | 196000.00 | 440.00 | 176000.00 | 128000.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
15.00 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 72.00 | Kg |  | 460.00 | 33120.00 | 410.00 | 29520.00 | 410.00 | 29520.00 | 449.00 | 32328.00 | 445.71 | 32091.12 | 500.00 | 36000.00 | 513.00 | 36936.00 | 460.00 | 33120.00 | 29520.00 | Ms Ambaji Corporation, SAMEER GLAZING SYSTEM PRIVATE LIMITED
16.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 54.00 | Sqm |  | 910.00 | 49140.00 | 800.00 | 43200.00 | 795.00 | 42930.00 | 999.00 | 53946.00 | 1057.59 | 57109.86 | 1000.00 | 54000.00 | 1075.00 | 58050.00 | 840.00 | 45360.00 | 42930.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
17.00 | Providing and fixing Etching Design Film on glass surface in aluminum doors, windows shutters and partition frames etc. complete as per directions of engineer-in-charge. Etching Design Film | 54.00 | Sqm |  | 730.00 | 39420.00 | 600.00 | 32400.00 | 410.00 | 22140.00 | 599.00 | 32346.00 | 1598.95 | 86343.30 | 800.00 | 43200.00 | 400.00 | 21600.00 | 325.00 | 17550.00 | 17550.00 | Panchratna Decorators
18.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer in-charge. Pre-laminated particle board with decorative lamination on both sides | 59.00 | Sqm |  | 910.00 | 53690.00 | 1100.00 | 64900.00 | 525.00 | 30975.00 | 799.00 | 47141.00 | 854.05 | 50388.95 | 1000.00 | 59000.00 | 940.00 | 55460.00 | 860.00 | 50740.00 | 30975.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
19.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 11010.00 | kg |  | 110.80 | 1219908.00 | 90.00 | 990900.00 | 70.00 | 770700.00 | 80.00 | 880800.00 | 83.01 | 913940.10 | 100.00 | 1101000.00 | 105.00 | 1156050.00 | 92.00 | 1012920.00 | 770700.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
20.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Electric resistance or induction butt welded tubes | 8124.00 | kg |  | 120.70 | 980566.80 | 102.00 | 828648.00 | 72.00 | 584928.00 | 109.00 | 885516.00 | 105.52 | 857244.48 | 100.00 | 812400.00 | 120.00 | 974880.00 | 110.00 | 893640.00 | 584928.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
21.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 1709.00 | Kg |  | 110.80 | 189357.20 | 90.00 | 153810.00 | 72.00 | 123048.00 | 89.00 | 152101.00 | 76.40 | 130567.60 | 100.00 | 170900.00 | 105.00 | 179445.00 | 98.00 | 167482.00 | 123048.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
22.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 2233.00 | Kg |  | 110.80 | 247416.40 | 90.00 | 200970.00 | 72.00 | 160776.00 | 89.00 | 198737.00 | 106.87 | 238640.71 | 100.00 | 223300.00 | 105.00 | 234465.00 | 98.00 | 218834.00 | 160776.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
23.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 500.00 | Sqm |  | 82.00 | 41000.00 | 80.00 | 40000.00 | 65.00 | 32500.00 | 70.00 | 35000.00 | 99.16 | 49580.00 | 90.00 | 45000.00 | 125.00 | 62500.00 | 100.00 | 50000.00 | 32500.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
24.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 366.00 | Sqm |  | 730.00 | 267180.00 | 590.00 | 215940.00 | 2050.00 | 750300.00 | 749.00 | 274134.00 | 511.95 | 187373.70 | 600.00 | 219600.00 | 1200.00 | 439200.00 | 700.00 | 256200.00 | 187373.70 | HLK Infrastructure Pvt Ltd
25.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron ‘Y’ shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 150.00 | Mtr |  | 820.00 | 123000.00 | 280.00 | 42000.00 | 175.00 | 26250.00 | 449.00 | 67350.00 | 238.08 | 35712.00 | 400.00 | 60000.00 | 570.00 | 85500.00 | 725.00 | 108750.00 | 26250.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
26.00 | Providing Engineering Consultancy Services for "Construction of G+1 steel structure of approx. size 18m X 6m and RCC foundation for self supported wide span roof of approx. size 19m X 20m at Pune Airport, Pune". Scope of work includes :- Planning, Designing & Detailing, Structural design with relevant seismic considerations for Civil Works. The structural drawings and designs shall have to got vetted from Government Engineering College, Pune. Note:- i) Consultant has to provide Engineering Consultancy for above design. ii) The cost as incurred towards vetting of the structural drawings and designs is included in this item hence no extra payment shall be made in this regard. | 1.00 | Job |  | 300700.00 | 300700.00 | 150000.00 | 150000.00 | 125000.00 | 125000.00 | 109000.00 | 109000.00 | 232500.00 | 232500.00 | 100000.00 | 100000.00 | 100000.00 | 100000.00 | 59800.00 | 59800.00 | 59800.00 | Panchratna Decorators
27.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dashfastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I.wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : a) 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) : 2011 (Board with BIS certification marks) | 80.00 | Sqm |  | 1252.00 | 100160.00 | 1100.00 | 88000.00 | 550.00 | 44000.00 | 1099.00 | 87920.00 | 911.40 | 72912.00 | 1000.00 | 80000.00 | 1500.00 | 120000.00 | 870.00 | 69600.00 | 44000.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
28.00 | Supply and installation of 50mm thick PUF insulated panel for wall having density of 40 Kg + 2% tolerance with 0.5 mm Thick inner & outer panel PPGI sheet with ridge to fixed to panel of approved make including labour charges, transportation etc. all complete as per direction of EIC. | 42.30 | Sqm |  | 1720.00 | 72756.00 | 3200.00 | 135360.00 | 1300.00 | 54990.00 | 2999.00 | 126857.70 | 1813.50 | 76711.05 | 2500.00 | 105750.00 | 2000.00 | 84600.00 | 1750.00 | 74025.00 | 54990.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
| Total in Figures |  |  |  |  | 6770266.40 |  | 5841913.00 |  | 5081642.00 |  | 5566652.70 |  | 5803403.76 |  | 5882750.00 |  | 6645107.00 |  | 5900013.00
Lowest Amount Quoted BY: SAMEER GLAZING SYSTEM PRIVATE LIMITED(5081642.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Cargo Shed and other allied works at Pune Airport. Sub Head- Civil works. Tender ID: 2021_AAI_69128_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAMEER GLAZING SYSTEM PRIVATE LIMITED | 5081642.00 | L1
| 2 | rohan construction | 5566652.70 | L2
| 3 | HLK Infrastructure Pvt Ltd | 5803403.76 | L3
| 4 | Ms Ambaji Corporation | 5841913.00 | L4
| 5 | Fermium Constructions LLP | 5882750.00 | L5
| 6 | Panchratna Decorators | 5900013.00 | L6
| 7 | Yogesh builders | 6645107.00 | L7
| 8 | M/s Kirti Enterprises | 6770266.40 | L8