## BoQ1
Government eProcurement System Created By: SREEDHAR P V Created Date/Time: 24-Feb-2021 03:45 PM Tender Title: Provision of Addressable Fire Alarm System at AAI Technical Block, HAL Airport , Bangalore. Tender ID: 2021_AAI_69147_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, Bangalore
Name of Work: Provision of Addressable fire alarm system at HAL Airport, Bengaluru.
Contract No: 2021_AAI_69147_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Ponmani International (India) Pvt Ltd(GSTN-33AADCP6242R2ZZ) |  | OASIS ENGINEERS(GSTN-27AKCPD8929P1ZK) |  | SUPER INDIA BUILDPRO PRIVATE LIMITED(GSTN-22AASCS8674F1ZU) |  | Nexus Fire And Security Systems(GSTN-07AAKFN7125K1ZY) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | DOGRA AND DOGRA ENTERPRISES(GSTN-07AIFPD1861P2Z1) |  | GLYPTIC(GSTN-19AAMFG0478J1ZY) |  | SALIMAX SYSTEMS AND CONTROLS ENGG(GSTN-33AFKPR7224N1ZY) |  | Sacaya Technologies Pvt Ltd(GSTN-29AAMCS5985R1ZX) |  | PRIASHA ENTERPRISES(GSTN-09BGKPS2335H1Z4) |  | RPN Systems And Solutions(GSTN-33AMEPL3915B1ZM) |  | Safe India Hi-Tech Systems(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing & Commissioning of UL / EN listed (latest version) Modular Microprocessor based expandable intellegent Addressable Type Fire Alarm Control Panel of following loops, with minimum 320 character graphics / LCD display with touch screen or other keypad and minimum 4000 events history log in the non volatile memory (EPROM) ,The panel should be equiped with loop capacity to take minimum 240 intellegent addressable detectors/ devices (In any combination ) in one loop, 230 volts, 50 Hz AC power supply, automatic battery charger, 24 volts sealed maintenance free lead acid batteries sufficient for 2 hours normal working and then be capable of operating the system for 30 minutes during an emergency / fault conditions along with battery stand as required. | 1.00 | Nos |  | 139613.00 | 139613.00 | 229500.00 | 229500.00 | 140000.00 | 140000.00 | 200000.00 | 200000.00 | 120000.00 | 120000.00 | 98700.00 | 98700.00 | 95747.00 | 95747.00 | 180000.00 | 180000.00 | 175000.00 | 175000.00 | 239221.00 | 239221.00 | 175000.00 | 175000.00 | 160600.00 | 160600.00 | 95747.00 | GLYPTIC
2.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable multi criteria detector {Smoke + heat } with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors) | 155.00 | Nos |  | 3378.00 | 523590.00 | 3990.00 | 618450.00 | 3000.00 | 465000.00 | 2600.00 | 403000.00 | 3000.00 | 465000.00 | 2750.00 | 426250.00 | 2500.00 | 387500.00 | 2500.00 | 387500.00 | 2400.00 | 372000.00 | 2751.00 | 426405.00 | 3280.00 | 508400.00 | 2302.00 | 356810.00 | 356810.00 | Safe India Hi-Tech Systems
3.00 | Supply, installation, testing and commissioning of UL / EN listed (latest version) Intelligent addressable Control Module/ Relay Module (output module) with inbuilt fault isolator /hooter complete with termination etc. complete as required and as per enclosed specifications. | 1.00 | Nos |  | 2765.00 | 2765.00 | 5035.00 | 5035.00 | 3900.00 | 3900.00 | 3600.00 | 3600.00 | 3000.00 | 3000.00 | 5734.00 | 5734.00 | 5300.00 | 5300.00 | 2560.00 | 2560.00 | 2700.00 | 2700.00 | 2589.00 | 2589.00 | 2900.00 | 2900.00 | 3890.00 | 3890.00 | 2560.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
4.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable Manual call station (Resetable pull / push type) suitable for semi flush mounting, IP 54 for indoor use & IP 65 for outdoor use with inbuilt fault isolator / isolator module with double gang outlet box, equipment for key operated test-reset lock, electronic or rotary switches for address setting.Manual pull station shall be connected with two wire to SLC loop of Fire Control Panel. Cover shall be made out of LEXAN (or polycarbonate equivalent) with clear operating instruction and the word Fire appearing on the front complete with connections etc. as required and as per enclosed specifications. | 6.00 | Nos |  | 2685.00 | 16110.00 | 5000.00 | 30000.00 | 3000.00 | 18000.00 | 6000.00 | 36000.00 | 3500.00 | 21000.00 | 3500.00 | 21000.00 | 3730.00 | 22380.00 | 2570.00 | 15420.00 | 9500.00 | 57000.00 | 2591.00 | 15546.00 | 4500.00 | 27000.00 | 3550.00 | 21300.00 | 15420.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
5.00 | Supply, installation, testing and commissioning of UL / EN listed (latest version) loop powered addressable Hooter-cum- strobe with inbuilt fault isolator / isolator module with adjustable sound level in the range of min. 90 db to Max. 120 db at 1M distance complete with termination etc. as required and as per enclosed specification. | 6.00 | Nos |  | 4593.00 | 27558.00 | 6460.00 | 38760.00 | 3500.00 | 21000.00 | 5400.00 | 32400.00 | 5500.00 | 33000.00 | 5700.00 | 34200.00 | 8262.00 | 49572.00 | 5660.00 | 33960.00 | 4450.00 | 26700.00 | 4081.00 | 24486.00 | 4900.00 | 29400.00 | 4250.00 | 25500.00 | 21000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
6.00 | Providing, installation, testing & commissioning of UL / EN listed (Latest Version) Monitor Module / input module with inbuilt fault isolator / isolator module (for monitoring different electrical / mechanical device etc) as per specifications. | 6.00 | Nos |  | 2447.00 | 14682.00 | 3300.00 | 19800.00 | 5000.00 | 30000.00 | 2900.00 | 17400.00 | 3500.00 | 21000.00 | 3223.00 | 19338.00 | 2410.00 | 14460.00 | 2540.00 | 15240.00 | 2300.00 | 13800.00 | 2497.00 | 14982.00 | 2900.00 | 17400.00 | 3150.00 | 18900.00 | 13800.00 | Sacaya Technologies Pvt Ltd
7.00 | Supply, Installation, Testing & Commissioning of UL / EN listed (latest version) Repeater Panel shall provide pin point location of the fault or fire event and should Provide complete control of system at remote location. The panel shall have a 320 character graphics / LCD display with touch screen or other keypad. | 1.00 | Nos |  | 31312.00 | 31312.00 | 62100.00 | 62100.00 | 50000.00 | 50000.00 | 59000.00 | 59000.00 | 50000.00 | 50000.00 | 98500.00 | 98500.00 | 48100.00 | 48100.00 | 53000.00 | 53000.00 | 69000.00 | 69000.00 | 87012.00 | 87012.00 | 45000.00 | 45000.00 | 55050.00 | 55050.00 | 31312.00 | Ponmani International (India) Pvt Ltd
8.00 | Supply, installation, testing and commissioning of UL / EN listed (Latest Version) Response Indicators for getting fire indications of detectors i/c mounting boxes installed above false ceiling area interconnecting to loop cable etc. as per specification complete as required. | 6.00 | Nos |  | 195.00 | 1170.00 | 315.00 | 1890.00 | 350.00 | 2100.00 | 165.00 | 990.00 | 300.00 | 1800.00 | 141.00 | 846.00 | 210.00 | 1260.00 | 200.00 | 1200.00 | 450.00 | 2700.00 | 521.00 | 3126.00 | 550.00 | 3300.00 | 275.00 | 1650.00 | 846.00 | DOGRA AND DOGRA ENTERPRISES
9.00 | Supplying, installation, testing & commissioning of Auto Dialer | 1.00 | Nos |  | 3200.00 | 3200.00 | 9365.00 | 9365.00 | 25000.00 | 25000.00 | 6000.00 | 6000.00 | 10000.00 | 10000.00 | 18800.00 | 18800.00 | 9500.00 | 9500.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 24035.00 | 24035.00 | 15000.00 | 15000.00 | 6300.00 | 6300.00 | 3200.00 | Ponmani International (India) Pvt Ltd
10.00 | Supplying & laying of 2 x 1.5 sqmm FRLS armoured cable, 600 / 1000V rated with annealed copper conductor as per applicable IS standared complete as required. | 1000.00 | Nos |  | 94.00 | 94000.00 | 100.00 | 100000.00 | 100.00 | 100000.00 | 132.00 | 132000.00 | 120.00 | 120000.00 | 141.00 | 141000.00 | 142.00 | 142000.00 | 80.00 | 80000.00 | 76.00 | 76000.00 | 105.00 | 105000.00 | 95.00 | 95000.00 | 100.00 | 100000.00 | 76000.00 | Sacaya Technologies Pvt Ltd
| Total in Figures |  |  |  |  | 854000.00 |  | 1114900.00 |  | 855000.00 |  | 890390.00 |  | 844800.00 |  | 864368.00 |  | 775819.00 |  | 778880.00 |  | 799900.00 |  | 942402.00 |  | 918400.00 |  | 750000.00
Lowest Amount Quoted BY: Safe India Hi-Tech Systems(750000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Addressable Fire Alarm System at AAI Technical Block, HAL Airport , Bangalore. Tender ID: 2021_AAI_69147_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Safe India Hi-Tech Systems | 750000.00 | L1
| 2 | GLYPTIC | 775819.00 | L2
| 3 | SALIMAX SYSTEMS AND CONTROLS ENGG | 778880.00 | L3
| 4 | Sacaya Technologies Pvt Ltd | 799900.00 | L4
| 5 | CENTRE TAP ENGINEERING | 844800.00 | L5
| 6 | Ponmani International (India) Pvt Ltd | 854000.00 | L6
| 7 | SUPER INDIA BUILDPRO PRIVATE LIMITED | 855000.00 | L7
| 8 | DOGRA AND DOGRA ENTERPRISES | 864368.00 | L8
| 9 | Nexus Fire And Security Systems | 890390.00 | L9
| 10 | RPN Systems And Solutions | 918400.00 | L10
| 11 | PRIASHA ENTERPRISES | 942402.00 | L11
| 12 | OASIS ENGINEERS | 1114900.00 | L12