## BoQ1
Government eProcurement System Created By: md ansari Created Date/Time: 03-Mar-2021 12:34 PM Tender Title: Annual Comprehensive Maintenance and Operation of Window Split AC and Water Coolers RO Units at Pantnagar Airport for the year 2020 21 Tender ID: 2021_AAI_69191_1
Tender Inviting Authority: Airports Authority of India, Pantnagar Airport, Pantnagar.
Name of Work: Misc. Annual Comprehensive Maintenance & Operation of Window/Split AC & Water Coolers/RO Units at Pantnagar Airport for the year 2020-21.
Contract No: AAI/PNT/ELECT-3
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I:Maintenance of split/window/cassatte type Airconditioner
1.10 | Annual Comprehensive maintenance of capacity 1.5TR window Air Conditioners of different makes i/c providing reparing/replacement of defective compressor by same company compressor & replacement of other defective components like relay & switches, capacitor etc. with original components i/c repair & maintenance of stabilizer etc. complete as required | 9.00 | Each | 5050.00 | 3300.00 | 29700.00 | 5000.00 | 45000.00 | 29700.00 | M K ENTERPRISES
1.20 | Annual Comprehensive maintenance of capacity 1.5/2.0TR Split& cassette type Air Conditioners of different makes i/c providing reparing/replacement of defective compressor by same company compressor & replacement of other defective components like relay & switches, capacitor etc. with original components i/c repair & maintenance of stabilizer etc. complete as required | 42.00 | Each | 6060.00 | 3800.00 | 159600.00 | 6000.00 | 252000.00 | 159600.00 | M K ENTERPRISES
2.00 | SH II:Maintenance of Water cooler and RO System.
2.10 | Annual Comprehensive maintenance of different capacity 40/80 & 60/120 ltr capacity water cooler i/c providing reparing/replacement of defective compressor by same company compressor & replacement of other defective components with original components i/c repair & maintenance of voltage stabilizer etc. complete as required | 5.00 | Each | 4040.00 | 3500.00 | 17500.00 | 4500.00 | 22500.00 | 17500.00 | M K ENTERPRISES
2.20 | Annual Comprehensive maintenance Contract of Reverse Osmosis(RO) System of Acquafresh make having capacity 50 LPH i/c supply & replacement of all spares & part except pump & membranes as per EIC | 3.00 | Each | 3838.00 | 5900.00 | 17700.00 | 3500.00 | 10500.00 | 10500.00 | Manish Electricals
2.30 | Annual Comprehensive maintenance Contract of Reverse Osmosis System Model-Zero B commercial 25 LPH i/c supply & replacement of all spares & part except pump & membranes as per EIC | 2.00 | Each | 3535.00 | 5900.00 | 11800.00 | 2500.00 | 5000.00 | 5000.00 | Manish Electricals
2.40 | Supply of 01 no. memberane of reverse osmosis system of Acquafresh make of 50 LPH capacity as and when required | 12.00 | Nos | 1818.00 | 3000.00 | 36000.00 | 2300.00 | 27600.00 | 27600.00 | Manish Electricals
2.50 | Supply of 01 no. memberane of revrse osmosis system of Ion Exchange make of 25 LPH capacity as and when required | 8.00 | Nos | 1212.00 | 3000.00 | 24000.00 | 1200.00 | 9600.00 | 9600.00 | Manish Electricals
2.60 | Supply of pump for reverse osmosis system of Zero-B make of having 25 LPH capacity as and when required | 4.00 | Nos | 3030.00 | 3400.00 | 13600.00 | 5000.00 | 20000.00 | 13600.00 | M K ENTERPRISES
2.70 | Supply of pump for reverse osmosis system of Acquafresh make of having capacity of 50 LPH as and when required | 4.00 | Nos | 4040.00 | 3400.00 | 13600.00 | 700.00 | 2800.00 | 2800.00 | Manish Electricals
2.80 | Installation , testing and commissioning of capacity 1.5/2.0 TR all type make high wall split/cassette air conditoner unit including supply & fixing of refigerant pipe with insulation & suitable flexible copper condutor cable between evaporator and condensor units (upto4 mtr) topping up suitable refrigerant gas etc complete as required as per direction of EIC. | 5.00 | Job | 4545.00 | 2800.00 | 14000.00 | 3000.00 | 15000.00 | 14000.00 | M K ENTERPRISES
| Total in Figures |  |  |  |  | 337500.00 |  | 410000.00
Lowest Amount Quoted BY: M K ENTERPRISES(337500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Comprehensive Maintenance and Operation of Window Split AC and Water Coolers RO Units at Pantnagar Airport for the year 2020 21 Tender ID: 2021_AAI_69191_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M K ENTERPRISES | 337500.00 | L1
| 2 | Manish Electricals | 410000.00 | L2