## BoQ1
Government eProcurement System Created By: Nitin Sankhe Created Date/Time: 04-Mar-2021 11:55 AM Tender Title: Modification and Renovation of Staff and Visitors Gallery Toilets in Terminal Building at C.E. Bhuj. Tender ID: 2021_AAI_69471_1
Tender Inviting Authority: AGM (Engg-Civil), RHQ-WR, Mumbai.
Name of Work:Modification and Renovation of Staff and Visitors’ Gallery Toilets in Terminal Building at C.E. Bhuj.
Contract No: 2021_AAI_69471_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AP INTERIOR(GSTN-07BRFPS1740C1Z1) |  | AYODHYA CONSTRUCTION(GSTN-23APUPK7696F1Z8) |  | N. M. Sharma(GSTN-24ALYPS4776J1Z2) |  | M/S DEEPAK CONSTRUCTION(GSTN-24AFZPM6367A1Z4) |  | swastikconstruction(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 18.00 | Each |  | 35.00 | 630.00 | 10.00 | 180.00 | 450.00 | 8100.00 | 450.00 | 8100.00 | 540.00 | 9720.00 | 180.00 | AYODHYA CONSTRUCTION
2.00 | Dismantling of washbasin/urinal/ EWC/IWC etc. and connecting fittings including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 39.00 | Each |  | 30.00 | 1170.00 | 10.00 | 390.00 | 300.00 | 11700.00 | 400.00 | 15600.00 | 90.00 | 3510.00 | 390.00 | AYODHYA CONSTRUCTION
3.00 | Dismantling of pillar cock, bottle trap, stop cock, bib cock atc. and connecting fittings including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 95.00 | Each |  | 14.00 | 1330.00 | 10.00 | 950.00 | 45.00 | 4275.00 | 79.00 | 7505.00 | 63.00 | 5985.00 | 950.00 | AYODHYA CONSTRUCTION
4.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.(a) For thickness of tiles 10 mm to 25 mm | 340.00 | Sqm |  | 24.00 | 8160.00 | 150.00 | 51000.00 | 55.00 | 18700.00 | 40.00 | 13600.00 | 36.00 | 12240.00 | 8160.00 | AP INTERIOR
5.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. : Nominal concrete 1:3:6 or richer mix (i/c equivalent design | 1.00 | Cum |  | 800.00 | 800.00 | 1000.00 | 1000.00 | 1500.00 | 1500.00 | 950.00 | 950.00 | 1434.00 | 1434.00 | 800.00 | AP INTERIOR
6.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 1.00 | Cum |  | 750.00 | 750.00 | 1500.00 | 1500.00 | 2000.00 | 2000.00 | 1100.00 | 1100.00 | 2250.00 | 2250.00 | 750.00 | AP INTERIOR
7.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :(a)Of area 3 sq. metres and below each | 36.00 | Each |  | 175.00 | 6300.00 | 94.00 | 3384.00 | 200.00 | 7200.00 | 200.00 | 7200.00 | 232.00 | 8352.00 | 3384.00 | AYODHYA CONSTRUCTION
8.00 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : 15 mm to 40 mm nominal bore | 95.00 | Meter |  | 20.00 | 1900.00 | 94.00 | 8930.00 | 100.00 | 9500.00 | 75.00 | 7125.00 | 99.00 | 9405.00 | 1900.00 | AP INTERIOR
9.00 | Dismantling C.I. pipes including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means breaking lead caulked joints, melting of lead and making into blocks including stacking of pipes & lead at site within 50 metre lead as per direction of Engineer-in-charge:Up to 150 mm diameter | 74.00 | Meter |  | 28.00 | 2072.00 | 94.00 | 6956.00 | 250.00 | 18500.00 | 220.00 | 16280.00 | 245.00 | 18130.00 | 2072.00 | AP INTERIOR
10.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : In cement mortar | 4.00 | Cum |  | 400.00 | 1600.00 | 500.00 | 2000.00 | 1300.00 | 5200.00 | 1000.00 | 4000.00 | 1251.00 | 5004.00 | 1600.00 | AP INTERIOR
11.00 | Providing and fixing soil, waste and vent pipes upvc rigid pvc pipe including jointing,with seal ring single socket 110 mm pipe | 75.00 | Meter |  | 224.00 | 16800.00 | 1000.00 | 75000.00 | 300.00 | 22500.00 | 260.00 | 19500.00 | 550.00 | 41250.00 | 16800.00 | AP INTERIOR
12.00 | Providing and fixing soil, waste and vent pipes upvc rigid pvc pipe including jointing,with seal ring single socket 75 mm pipe | 93.00 | Meter |  | 208.00 | 19344.00 | 700.00 | 65100.00 | 200.00 | 18600.00 | 170.00 | 15810.00 | 325.00 | 30225.00 | 15810.00 | M/S DEEPAK CONSTRUCTION
13.00 | Providing and fixing soil, waste and vent pipes upvc rigid pvc pipe including jointing,with seal ring single socket 50 mm pipe | 27.00 | Meter |  | 180.00 | 4860.00 | 300.00 | 8100.00 | 85.00 | 2295.00 | 92.00 | 2484.00 | 160.00 | 4320.00 | 2295.00 | N. M. Sharma
14.00 | Providing and fixing PVC multi floor trap all complete complete as per direction & satisfaction of Engineer-in-charge. : 110 mm size | 14.00 | Each |  | 310.00 | 4340.00 | 600.00 | 8400.00 | 150.00 | 2100.00 | 150.00 | 2100.00 | 162.00 | 2268.00 | 2100.00 | N. M. Sharma, M/S DEEPAK CONSTRUCTION
15.00 | Providing and fixing soil, waste and vent pipes upvc rigid pvc pipe including jointing,with seal ring single socket 160 mm pipe | 14.00 | Meter |  | 305.00 | 4270.00 | 1800.00 | 25200.00 | 500.00 | 7000.00 | 520.00 | 7280.00 | 801.00 | 11214.00 | 4270.00 | AP INTERIOR
16.00 | Providing and fixing PVC floor trap of self cleansing design incuding cost of cutting and making good the wall and floors. 100 mm inlet and 100 mm outlet | 6.00 | Each |  | 280.00 | 1680.00 | 1000.00 | 6000.00 | 200.00 | 1200.00 | 205.00 | 1230.00 | 90.00 | 540.00 | 540.00 | swastikconstruction
17.00 | Providing and fixing PVC Nahni trap all complete complete as per direction & satisfaction of Engineer-in-charge. : 75 mm size | 25.00 | Each |  | 180.00 | 4500.00 | 100.00 | 2500.00 | 150.00 | 3750.00 | 110.00 | 2750.00 | 198.00 | 4950.00 | 2500.00 | AYODHYA CONSTRUCTION
18.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: -150 x 100 mm size P type - With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 11.00 | Each |  | 300.00 | 3300.00 | 2000.00 | 22000.00 | 2000.00 | 22000.00 | 1950.00 | 21450.00 | 2250.00 | 24750.00 | 3300.00 | AP INTERIOR
19.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone- III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone- III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 120x90 cm and 90 cm deep including C.I. cover with frame (medium duty) 500 mm internal diameter, total weight of cover and frame to be not less than 116 kg (weight of cover 58 kg and weight of frame 58 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | Each |  | 6500.00 | 6500.00 | 20000.00 | 20000.00 | 18000.00 | 18000.00 | 17900.00 | 17900.00 | 22500.00 | 22500.00 | 6500.00 | AP INTERIOR
20.00 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : For pipes 100 to 250 mm diameter | 11.00 | Each |  | 300.00 | 3300.00 | 450.00 | 4950.00 | 450.00 | 4950.00 | 380.00 | 4180.00 | 550.00 | 6050.00 | 3300.00 | AP INTERIOR
21.00 | Providing and fixing uplasticised PVC connection pipe with brass unions :45 cm length : 15 mm nominal bore | 25.00 | Each |  | 125.00 | 3125.00 | 80.00 | 2000.00 | 75.00 | 1875.00 | 70.00 | 1750.00 | 77.00 | 1925.00 | 1750.00 | M/S DEEPAK CONSTRUCTION
22.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain &brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing.This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testingof joints complete as per direction of Engineer in charge. -Concealed work, including cutting chases and making good the walls etc. 20 mm nominal outer dia Pipes | 55.00 | Meter |  | 164.00 | 9020.00 | 350.00 | 19250.00 | 500.00 | 27500.00 | 391.00 | 21505.00 | 270.00 | 14850.00 | 9020.00 | AP INTERIOR
23.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain &brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing.This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. -Concealed work, including cutting chases and making good the walls etc. 32 mm nominal outer dia Pipes | 85.00 | Meter |  | 190.00 | 16150.00 | 450.00 | 38250.00 | 700.00 | 59500.00 | 570.00 | 48450.00 | 441.00 | 37485.00 | 16150.00 | AP INTERIOR
24.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. -50 mm nominal outer dia Pipes | 65.00 | Meter |  | 215.00 | 13975.00 | 650.00 | 42250.00 | 850.00 | 55250.00 | 777.00 | 50505.00 | 800.00 | 52000.00 | 13975.00 | AP INTERIOR
25.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | 2.00 | Cum |  | 3800.00 | 7600.00 | 6000.00 | 12000.00 | 5500.00 | 11000.00 | 4999.00 | 9998.00 | 6300.00 | 12600.00 | 7600.00 | AP INTERIOR
26.00 | 12 mm cement plaster of mix 1:6 (1 cement: 6 fine sand) | 175.00 | Sqm |  | 259.00 | 45325.00 | 180.00 | 31500.00 | 250.00 | 43750.00 | 190.00 | 33250.00 | 225.00 | 39375.00 | 31500.00 | AYODHYA CONSTRUCTION
27.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 175.00 | Sqm |  | 790.00 | 138250.00 | 900.00 | 157500.00 | 900.00 | 157500.00 | 800.00 | 140000.00 | 950.00 | 166250.00 | 138250.00 | AP INTERIOR
28.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. - Size of Tile 600x600 mm | 85.00 | Sqm |  | 895.00 | 76075.00 | 1100.00 | 93500.00 | 1250.00 | 106250.00 | 1100.00 | 93500.00 | 1400.00 | 119000.00 | 76075.00 | AP INTERIOR
29.00 | Providing and fixing white colour wash basin including making all connections per direction/ satisfaction of Engineer in charge.Under counter basin rectangular size(mm)370X480X200 of JAQUAR (Code CNS-WHT-WB701) | 15.00 | Each |  | 5400.00 | 81000.00 | 2200.00 | 33000.00 | 2000.00 | 30000.00 | 2120.00 | 31800.00 | 2000.00 | 30000.00 | 30000.00 | swastikconstruction, N. M. Sharma
30.00 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge.Pillar Cock Auto Closing System of JAQUAR (Code PRS-031) for wash basin | 15.00 | Each |  | 2300.00 | 34500.00 | 2000.00 | 30000.00 | 2000.00 | 30000.00 | 2000.00 | 30000.00 | 2250.00 | 33750.00 | 30000.00 | AYODHYA CONSTRUCTION, N. M. Sharma, M/S DEEPAK CONSTRUCTION
31.00 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge. - Aquisense Sensor Faucet for Wash Basin With Base Flange of Jaquar make of code SNR-CHR-51027 | 15.00 | Each |  | 6400.00 | 96000.00 | 9500.00 | 142500.00 | 10000.00 | 150000.00 | 10000.00 | 150000.00 | 11250.00 | 168750.00 | 96000.00 | AP INTERIOR
32.00 | Providing and fixing water closet complete as per direction/ satisfaction of Engineer in charge.(a)Wall hung EWC with seat cover & Hinges, Accessories Set etc of JAQUAR (code- ARS-WHT-39951) in white shade of size 360 x 575 x 360mm | 7.00 | Each |  | 12800.00 | 89600.00 | 16000.00 | 112000.00 | 1550.00 | 10850.00 | 15500.00 | 108500.00 | 17000.00 | 119000.00 | 10850.00 | N. M. Sharma
33.00 | Providing and fixing ceramic urinal Size 375 x 315 x 620 mm with urinal fixing accessories set in white shade completed as per direction of Engineer-in-charge :-JAQUAR (CODE URS-WHT-13253O) | 12.00 | Each |  | 6800.00 | 81600.00 | 8000.00 | 96000.00 | 8000.00 | 96000.00 | 8300.00 | 99600.00 | 9000.00 | 108000.00 | 81600.00 | AP INTERIOR
34.00 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge. - Liquid Soap Dispenser with Glass Bottle of JAQUAR (Code ACN-1135N) | 15.00 | Each |  | 1250.00 | 18750.00 | 1300.00 | 19500.00 | 1400.00 | 21000.00 | 1200.00 | 18000.00 | 1350.00 | 20250.00 | 18000.00 | M/S DEEPAK CONSTRUCTION
35.00 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge.Bottle Trap (with internal partition) 32mm Size with 250mm & 190mm Long Wall Connection Pipes & wall flange of JAQUAR (Code ALD-769L) | 25.00 | Each |  | 1250.00 | 31250.00 | 1525.00 | 38125.00 | 1500.00 | 37500.00 | 1400.00 | 35000.00 | 1515.00 | 37875.00 | 31250.00 | AP INTERIOR
36.00 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge.Waste Coupling 32mm Size Full Thread with 80 mm height of JAQUAR (Code ALD-705) | 15.00 | Each |  | 400.00 | 6000.00 | 475.00 | 7125.00 | 500.00 | 7500.00 | 450.00 | 6750.00 | 574.00 | 8610.00 | 6000.00 | AP INTERIOR
37.00 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge.Angular Stop Cock with wall flange of JAQUAR (code FLR-5053N) | 50.00 | Each |  | 850.00 | 42500.00 | 1075.00 | 53750.00 | 1000.00 | 50000.00 | 1050.00 | 52500.00 | 1170.00 | 58500.00 | 42500.00 | AP INTERIOR
38.00 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge.- Towel rail 600 mm long of JAQUAR (Code AQN-7711) for wash basin area | 7.00 | Each |  | 2475.00 | 17325.00 | 1700.00 | 11900.00 | 1600.00 | 11200.00 | 1400.00 | 9800.00 | 1800.00 | 12600.00 | 9800.00 | M/S DEEPAK CONSTRUCTION
39.00 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge.2 Way Bib Cock with Wall Flange of JAQUAR (code FLR-5041N) | 12.00 | Each |  | 1875.00 | 22500.00 | 1900.00 | 22800.00 | 2000.00 | 24000.00 | 1650.00 | 19800.00 | 2025.00 | 24300.00 | 19800.00 | M/S DEEPAK CONSTRUCTION
40.00 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge.Hand Shower (health faucet) with 1 metre long easy flex tube in chrome finish & wall hook with N.R.V. of JAQUAR (Code ALD-573) | 12.00 | Each |  | 1250.00 | 15000.00 | 1300.00 | 15600.00 | 1500.00 | 18000.00 | 1300.00 | 15600.00 | 1515.00 | 18180.00 | 15000.00 | AP INTERIOR
41.00 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge.Metropole Flush Valve Regular 40mm Size (Concealed Body) with Exposed Shut Off Provision & 100 mm square plateof JAQUAR (Code FLV-1093NSQ) | 12.00 | Each |  | 5200.00 | 62400.00 | 4000.00 | 48000.00 | 3500.00 | 42000.00 | 3230.00 | 38760.00 | 3600.00 | 43200.00 | 38760.00 | M/S DEEPAK CONSTRUCTION
42.00 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge.Toilet Roll Holder with flap of JAQUAR (Code ACN-1153S) | 9.00 | Each |  | 1500.00 | 13500.00 | 1100.00 | 9900.00 | 1400.00 | 12600.00 | 1020.00 | 9180.00 | 1200.00 | 10800.00 | 9180.00 | M/S DEEPAK CONSTRUCTION
43.00 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge.Auto closing concealed urinal flush valve with wall flange of JAQUAR (code PRS-073) | 12.00 | Each |  | 2900.00 | 34800.00 | 2500.00 | 30000.00 | 2500.00 | 30000.00 | 2200.00 | 26400.00 | 2400.00 | 28800.00 | 26400.00 | M/S DEEPAK CONSTRUCTION
44.00 | Providing and fixing white Orissa pattern W.C. pan of size 580x440mm of CERA (code-CALINA S3010102) with vario bend of CERA (code-S9030101) | 4.00 | Each |  | 8500.00 | 34000.00 | 4000.00 | 16000.00 | 3500.00 | 14000.00 | 2650.00 | 10600.00 | 750.00 | 3000.00 | 3000.00 | swastikconstruction
45.00 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge.Overhead Shower ø105mm Round Shape Multi Flow with Air Effect (ABS Body & Face Plate Chrome Plated) with Rubit Cleaning System of JAQUAR (Code-OHS-1719) | 1.00 | Each |  | 2400.00 | 2400.00 | 4200.00 | 4200.00 | 4000.00 | 4000.00 | 4420.00 | 4420.00 | 4050.00 | 4050.00 | 2400.00 | AP INTERIOR
46.00 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge.Shower Arm Casted 190mm Long Light Body Round Shape for Wall Mounted Showers with Flange of JAQAR (code SHA-477) | 1.00 | Each |  | 1700.00 | 1700.00 | 600.00 | 600.00 | 600.00 | 600.00 | 590.00 | 590.00 | 810.00 | 810.00 | 590.00 | M/S DEEPAK CONSTRUCTION
47.00 | Providing and fixing SS Jali 150mm×150mm of approved make on existing floor trap complete as per direction/ satisfaction of Engineer in charge. | 25.00 | Each |  | 125.00 | 3125.00 | 200.00 | 5000.00 | 100.00 | 2500.00 | 99.00 | 2475.00 | 77.00 | 1925.00 | 1925.00 | swastikconstruction
48.00 | Providing and fixing 18mm thick gang saw cut mirror polished premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. (A)Area of slab upto 0.50 sqm | 31.00 | Sqm |  | 2550.00 | 79050.00 | 3000.00 | 93000.00 | 4000.00 | 124000.00 | 3900.00 | 120900.00 | 4400.00 | 136400.00 | 79050.00 | AP INTERIOR
49.00 | Providing and fixing 18mm thick gang saw cut mirror polished premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. (A)Area of slab above 0.50 sqm | 16.00 | Sqm |  | 2750.00 | 44000.00 | 3000.00 | 48000.00 | 4000.00 | 64000.00 | 3710.00 | 59360.00 | 4500.00 | 72000.00 | 44000.00 | AP INTERIOR
50.00 | Extra for providing opening of required size & shape for wash basin/kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 15.00 | Each |  | 190.00 | 2850.00 | 400.00 | 6000.00 | 650.00 | 9750.00 | 550.00 | 8250.00 | 655.00 | 9825.00 | 2850.00 | AP INTERIOR
51.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :(a)For fixed portion-Powder coated aluminium (minimum thickness of powder coating 50 micron) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 125.00 | Kg |  | 348.00 | 43500.00 | 350.00 | 43750.00 | 625.00 | 78125.00 | 430.00 | 53750.00 | 630.00 | 78750.00 | 43500.00 | AP INTERIOR
52.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : (a)For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 93.00 | Kg |  | 375.00 | 34875.00 | 300.00 | 27900.00 | 450.00 | 41850.00 | 429.00 | 39897.00 | 630.00 | 58590.00 | 27900.00 | AYODHYA CONSTRUCTION
53.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. (a)Pre-laminated particle board with decorative lamination on both sides | 6.00 | Sqm |  | 700.00 | 4200.00 | 800.00 | 4800.00 | 950.00 | 5700.00 | 850.00 | 5100.00 | 940.00 | 5640.00 | 4200.00 | AP INTERIOR
54.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): 8mm thick frosted glass (Ashi float or quivalent)(arae of opening will be measured) | 20.00 | Sqm |  | 1800.00 | 36000.00 | 1300.00 | 26000.00 | 1500.00 | 30000.00 | 1600.00 | 32000.00 | 4850.00 | 97000.00 | 26000.00 | AYODHYA CONSTRUCTION
55.00 | Providing and fixing 100mm brass locks (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 7.00 | Each |  | 650.00 | 4550.00 | 750.00 | 5250.00 | 500.00 | 3500.00 | 380.00 | 2660.00 | 400.00 | 2800.00 | 2660.00 | M/S DEEPAK CONSTRUCTION
56.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 6.00 | Each |  | 990.00 | 5940.00 | 1500.00 | 9000.00 | 800.00 | 4800.00 | 780.00 | 4680.00 | 770.00 | 4620.00 | 4620.00 | swastikconstruction
57.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 16.00 | Each |  | 250.00 | 4000.00 | 120.00 | 1920.00 | 50.00 | 800.00 | 47.00 | 752.00 | 54.00 | 864.00 | 752.00 | M/S DEEPAK CONSTRUCTION
58.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 8.00 | Each |  | 450.00 | 3600.00 | 150.00 | 1200.00 | 250.00 | 2000.00 | 180.00 | 1440.00 | 210.00 | 1680.00 | 1200.00 | AYODHYA CONSTRUCTION
59.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150x10 mm | 8.00 | Each |  | 125.00 | 1000.00 | 160.00 | 1280.00 | 75.00 | 600.00 | 65.00 | 520.00 | 70.00 | 560.00 | 520.00 | M/S DEEPAK CONSTRUCTION
60.00 | Providing and fixing Modular toilet cubicles of Titan SS Series of Merino Bosco or Equivqlent consisting of high pressure 12 mm thick compact laminate board as per IS 2046 and as per fire retardant BS - 476/97 standards with phenolic core panels for partitions of intermediate divider, doors and pilasters. The cubicle shall have dimensions of 1500mm length X 900mm width X 2100mm Height with on door size of minimum head rail on top of panels and panels shall be fixed on the floor with a clearance of maximum 150mm using stainless steel satin finish adjustable legs screwed to the floor included stainless steel (SS) lock set, SS door knob, SS gravity self closing hinge, SS coat hook with door stopper, SS U channel, SS head rail, SS adjustable foot, SS tabular holder, SS head rail wall bracket, SS head rail corner connection and SS noise reducing tape etc. as per direction of Engineer in Charge.Payment shall be made when each cubicle is complete in all aspects of specified dimension and its all fittings as per the specification are completed. | 9.00 | Each |  | 25000.00 | 225000.00 | 30000.00 | 270000.00 | 32000.00 | 288000.00 | 31177.00 | 280593.00 | 33300.00 | 299700.00 | 225000.00 | AP INTERIOR
61.00 | Providing and fixing Modesty Panel System for Urinal Partitions of Merino Bosco or Equivqlent consisting of high pressure 12 mm thick compact laminate board as per IS 2046 and as per fire retardant BS - 476/97 standards with phenolic core panels for partitions of intermediate divider of required colour and shade. The Partition shall have dimensions of 500mm width X 1200mm height with stainless steel (SS) 304Grade accessories such as right angle brackets SS Screws and PVC Wall Plugs etc. complete as per direction of Engineer in Charge. The area for purpose of payment shall be calculated as full width and height and no deductions shall be made for any design chamfers. | 11.00 | Each |  | 3200.00 | 35200.00 | 5500.00 | 60500.00 | 4000.00 | 44000.00 | 3950.00 | 43450.00 | 4500.00 | 49500.00 | 35200.00 | AP INTERIOR
62.00 | Providing and fixing 6 mm thick mirror of superior glass (of approved quality) and of required dimension fixed on wall by means of SS Stud etc. complete as per direction / satisfaction of Engineer - in- charge. | 17.00 | Sqm |  | 1700.00 | 28900.00 | 2000.00 | 34000.00 | 1500.00 | 25500.00 | 850.00 | 14450.00 | 2255.00 | 38335.00 | 14450.00 | M/S DEEPAK CONSTRUCTION
63.00 | Providing and fixing bronze ball valve (screwed Type) ISI of zoloto or approved make complete as per direction/ satisfaction of Engineer in charge. : 32mm | 13.00 | Each |  | 650.00 | 8450.00 | 1250.00 | 16250.00 | 1700.00 | 22100.00 | 1950.00 | 25350.00 | 1600.00 | 20800.00 | 8450.00 | AP INTERIOR
64.00 | Providing and fixing bronze ball valve (screwed Type) ISI of zoloto or approved make complete as per direction/ satisfaction of Engineer in charge. : 50 mm | 4.00 | Each |  | 750.00 | 3000.00 | 900.00 | 3600.00 | 4000.00 | 16000.00 | 4000.00 | 16000.00 | 3240.00 | 12960.00 | 3000.00 | AP INTERIOR
65.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 9000.00 | Liters |  | 4.50 | 40500.00 | 11.00 | 99000.00 | 9.00 | 81000.00 | 7.90 | 71100.00 | 9.00 | 81000.00 | 40500.00 | AP INTERIOR
66.00 | Providing and fixing PTMT Ball cock of approved quality, colour and make complete with Epoxy coated aluminium rod with L.P./ H.P.H.D. plastic ball. : 50 mm nominal bore, 242mm long, weighing not less than 1240 gms | 5.00 | Each |  | 500.00 | 2500.00 | 350.00 | 1750.00 | 1000.00 | 5000.00 | 1100.00 | 5500.00 | 1150.00 | 5750.00 | 1750.00 | AYODHYA CONSTRUCTION
67.00 | Lettering with polyvinyl computer cut lettering on information/ notice board made of acrylic sheet/ACP etc. complete as per direction/ satisfaction of Engineer - in- charge. | 3.00 | Sqm |  | 6500.00 | 19500.00 | 2000.00 | 6000.00 | 2000.00 | 6000.00 | 1800.00 | 5400.00 | 2250.00 | 6750.00 | 5400.00 | M/S DEEPAK CONSTRUCTION
68.00 | Providing and Fixing 3mm thick aluminium composite pannel to be used as background of sign/ informatory board etc. complete as per direction/ satisfaction of Engineer - in- charge. | 3.00 | Sqm |  | 3200.00 | 9600.00 | 2000.00 | 6000.00 | 1000.00 | 3000.00 | 1000.00 | 3000.00 | 2550.00 | 7650.00 | 3000.00 | N. M. Sharma, M/S DEEPAK CONSTRUCTION
69.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 155.00 | Sqm |  | 80.00 | 12400.00 | 94.00 | 14570.00 | 115.00 | 17825.00 | 95.00 | 14725.00 | 115.00 | 17825.00 | 12400.00 | AP INTERIOR
70.00 | Providing and fixing 37 mm thick factory made PVC door shutter, styles and rails made of PVC hollow section of size 100 mm x 37 mm with wall thickness 2 mm (± 0.2 mm), with inbuilt bead on one side, styles and rails mitered cut and joint at the corners by means of 2 nos of plastic brackets of size 75 mm x 220 mm at each corner and stainless steel screws, reinforcing the hinge side of style by inserting PVC profile of size 28 mm x 30 mm, with wall thickness 2 mm ( ± 0.2 mm). Lockrail of size 100 mm x 37 mm, wall thickness 2 mm (+ 0.2 mm) will be fixed to the vertical styles. Providing with PVC snapfit beads and panel of size 100 mm x 20 mm, and inserting 2 nos tie bar of 6 mm dia and fastening with nuts and washers complete, all as per manufacturer's specification and direction of Engineer-in-charge. | 3.10 | Sqm |  | 2700.00 | 8370.00 | 2500.00 | 7750.00 | 3400.00 | 10540.00 | 3150.00 | 9765.00 | 3150.00 | 9765.00 | 7750.00 | AYODHYA CONSTRUCTION
71.00 | Providing and Fixing factory made PVC door frame made of PVC extruded sections of size 75 mm x 53 mm, having wall thickness 2.0 mm (± 0.2 mm). Both verticalssides of the frame reinforced with PVC profile of cross section size 28 mm x 30 mm x 2 mm thickness (± 0.2 mm) and 75 mm x 200 mm long, including reinforcing both ends of the top frame with PVC profile. PVC Door Frame and PVC reinforcement profile to be mitred cut, jointed and fusion welded together, including providing and fixing 3 nos of 125 mm long stainless steel hinges to frame, fixing the frame with jamb with required nos & sizes of anchor dash fastener, all complete as per manufacturer's specification and direction of Engineer - in- charge. | 10.00 | Meter |  | 700.00 | 7000.00 | 600.00 | 6000.00 | 600.00 | 6000.00 | 400.00 | 4000.00 | 525.00 | 5250.00 | 4000.00 | M/S DEEPAK CONSTRUCTION
72.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | 3.00 | Sqm |  | 590.00 | 1770.00 | 850.00 | 2550.00 | 900.00 | 2700.00 | 680.00 | 2040.00 | 850.00 | 2550.00 | 1770.00 | AP INTERIOR
73.00 | Credit for taking away dismentaled doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete as per direction of Engineer in charge. Above area 0.5 sqm (Rates mentioned shall be fixed & no variation will be applicable on this item) | 40.00 | Each |  | 190.00 | 7600.00 | 500.00 | 20000.00 | 150.00 | 6000.00 | 220.00 | 8800.00 | 41.00 | 1640.00 | 1640.00 | swastikconstruction
74.00 | Credit for taking away dismentaled wash basin / urinal / EWC / IWC etc. complete as per direction of Engineer in charge. (Rates mentioned shall be fixed & no variation will be applicable on this item) | 40.00 | Each |  | 75.00 | 3000.00 | 10.00 | 400.00 | 20.00 | 800.00 | 25.00 | 1000.00 | 27.00 | 1080.00 | 400.00 | AYODHYA CONSTRUCTION
75.00 | Credit for taking away of C.P. brass/Brass bib cock, stop cock, long body bib cock, long nose bib cock, angle valve, ball valve, close hole basin mixer, C.P. waste in basin/ sink and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing fron the site in the presence of Engineer-in-charge or his authorised representative complete as per direction/ satisfaction of Engineer - in- charge. | 25.00 | Kg |  | 80.00 | 2000.00 | 100.00 | 2500.00 | 150.00 | 3750.00 | 185.00 | 4625.00 | 23.00 | 575.00 | 575.00 | swastikconstruction
76.00 | Credit for taking away of SCI pipe fitting, centrifugal cast (spun)/sand cast iron pipes and fittings, C.I. flushing cistern, G.I. pipes and fittings, steel doors, window, ventilators, grill, round or square bars, M.S. sections etc. and the like item received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative complete as per direction/ satisfaction of Engineer - in- charge. | 200.00 | Kg |  | 30.00 | 6000.00 | 10.00 | 2000.00 | 15.00 | 3000.00 | 19.00 | 3800.00 | 15.00 | 3000.00 | 2000.00 | AYODHYA CONSTRUCTION
77.00 | Credit for taking away of PVC connections, PVC flushing cisten with fittings, PVC over head tank, PVC bib cock, stop cock, ball valve, loft tank etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative complete as per direction/ satisfaction of Engineer - in- charge. | 30.00 | Kg |  | 25.00 | 750.00 | 10.00 | 300.00 | 10.00 | 300.00 | 15.00 | 450.00 | 9.00 | 270.00 | 270.00 | swastikconstruction
78.00 | Deduct for taking away of aluminium butt hinges, sliding door bolts, tower bolts, pull lock, handle, door stopper, casement stay, tee chanals, plates etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative complete as per direction/ satisfaction of Engineer - in- charge. | 84.00 | Kg |  | 80.00 | 6720.00 | 80.00 | 6720.00 | 60.00 | 5040.00 | 75.00 | 6300.00 | 16.00 | 1344.00 | 1344.00 | swastikconstruction
79.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 20.00 | cum |  | 300.00 | 6000.00 | 500.00 | 10000.00 | 125.00 | 2500.00 | 350.00 | 7000.00 | 170.00 | 3400.00 | 2500.00 | N. M. Sharma
| Total in Figures |  |  |  |  | 1788901.00 |  | 2243780.00 |  | 2157625.00 |  | 2101534.00 |  | 2437855.00
Lowest Amount Quoted BY: AP INTERIOR(1788901.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modification and Renovation of Staff and Visitors Gallery Toilets in Terminal Building at C.E. Bhuj. Tender ID: 2021_AAI_69471_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AP INTERIOR | 1788901.00 | L1
| 2 | M/S DEEPAK CONSTRUCTION | 2101534.00 | L2
| 3 | N. M. Sharma | 2157625.00 | L3
| 4 | AYODHYA CONSTRUCTION | 2243780.00 | L4
| 5 | swastikconstruction | 2437855.00 | L5