## BoQ1
Government eProcurement System Created By: BHAITHI DEVARAJU Created Date/Time: 06-Apr-2021 11:26 AM Tender Title: Connection of Power Supply to NDB Building from New Substation at V.S.S Airport, Jharsuguda. Tender ID: 2021_AAI_69693_1
Tender Inviting Authority: Asst. Gen. Manager (Engg-Elect), VSS Airport, Jharsuguda.
Name of Work: Connection of Power Supply to NDB Building from New Substation at V.S.S Airport, Jharsuguda.
Contract No: AAI/JH/AGMEE/eNIT7/CW3/2020-21 ( Tender Id : 2021_AAI_69693_1).
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | DOSHI ELECTRIC ENGG. CO.(GSTN-24AAEFD3355K1ZI) |  | ECS ENGINEERING PVT LTD(GSTN-09AABCE5944P1Z1) |  | ELECTRO ENGINEERS(GSTN-22AANPH2105E2ZE) |  | GIRI ENTERPRISES(GSTN-20ACEPG3920H1ZA) |  | Incotech Engineers Pvt Ltd(GSTN-19AAACI5242B1ZZ) |  | EASTERN ENGINEERING(GSTN-21AOHPS4038K1ZU) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Horizon Electric Corporation(GSTN-07ADAPA9890R2ZV) |  | VIJAYPOWER GENERATORS LIMITED(GSTN-07AAACV0191N1Z4) |  | Manoprabha Electricals(GSTN-33AGNPM4749D3Z9) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | GAYATRI AGENCY(GSTN-NA) |  | Aditya Techno Products Private Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following size XLPE insulated PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (PART-I) with upto date amendments as required. ( If the manufacturer does not have NABL accredited Laboratory, samples from site shall be collected jointly by AAI and the agency and it will be sent to NABL accredited Laboratories / Govt. Laboratories / IITS/IISc/ IISER/ Colleges/ Universities for acceptance Testing as per IS. The contractor will do all the Liasoning, transportation etc. and pay the testing charges. Nothing extra will be paid by AAI.If it is found that the cable supplied is not as per the requirement of IS, the supply will be rejected or recovery shall be made from the bill or any due pending with AAI from any airports)
1.10 | 3.5C X 185 Sq.mm | 2850.00 | Mtrs. | 3933950.00 | 675.00 | 1923750.00 | 620.00 | 1767000.00 | 600.00 | 1710000.00 | 654.00 | 1863900.00 | 668.00 | 1903800.00 | 565.00 | 1610250.00 | 700.00 | 1995000.00 | 662.16 | 1887156.00 | 685.00 | 1952250.00 | 790.00 | 2251500.00 | 654.00 | 1863900.00 | 757.00 | 2157450.00 | 647.00 | 1843950.00 | 650.00 | 1852500.00 | 740.71 | 2111023.50 | 1610250.00 | GIRI ENTERPRISES
1.20 | 3.5C X 120Sq.mm | 2800.00 | Mtrs. | 3933950.00 | 481.00 | 1346800.00 | 425.00 | 1190000.00 | 400.00 | 1120000.00 | 443.00 | 1240400.00 | 453.00 | 1268400.00 | 400.00 | 1120000.00 | 394.50 | 1104600.00 | 449.96 | 1259888.00 | 471.00 | 1318800.00 | 515.00 | 1442000.00 | 444.00 | 1243200.00 | 528.00 | 1478400.00 | 432.00 | 1209600.00 | 445.00 | 1246000.00 | 503.34 | 1409352.00 | 1104600.00 | Incotech Engineers Pvt Ltd
1.30 | 3.5C X 35 Sq.mm | 1000.00 | Mtrs. | 3933950.00 | 178.00 | 178000.00 | 155.00 | 155000.00 | 150.00 | 150000.00 | 163.00 | 163000.00 | 170.00 | 170000.00 | 147.00 | 147000.00 | 143.00 | 143000.00 | 165.54 | 165540.00 | 173.00 | 173000.00 | 199.00 | 199000.00 | 168.00 | 168000.00 | 189.00 | 189000.00 | 162.00 | 162000.00 | 165.00 | 165000.00 | 185.18 | 185180.00 | 143000.00 | Incotech Engineers Pvt Ltd
2.00 | Design, Supply, Installation, Testing and commissioning of weather proof, vermin proof, powder coated, free floor standing , fully compartmentalised , bottom entry single door type , indoor, MV cubicle electrical panel ( At New subsation), generally conforming to IP-54 and having SC capacity of 35 KA, fabricated from 2 mm. thick CRCA sheet , treated through seven tank process along with detachable gland plate; neutral link for TP SDF / MCCB, with ventillation louver covered with wiremesh, lifting hooks including swapping, recoiling and handling of all incoming and outgoing cables, minor civil work, cutting , fixing, grouting, paiting and sign writing etc. complete as required i) (Incomer) a) 400A, 35 KA (Ics), 415V, Four pole MCCB with microprocessor release, front operated rotary handle with extendable busbars/spraeder links - 02 nos. b) TPN SPD, type-1, Uc = 275 V, Imax = 25 KA ( 10/350µs) with isolating MCB & indicators= 02 nos. ii) (Bus Coupler) 400 A, 35 KA (Ics), 415V, Four pole MCCB with microprocessor release, front operated rotary handle - 01 no. ( Mechanically interlocked with Incomers and buscoupler). Continued to 2.1
2.10 | iii) (Out goings): a) 315 A, 35 KA (Ics), 415V, Four pole MCCB with microprocessor release, front operated rotary handle with spreader links - 02 nos. b) 250 A, 35 KA (Ics), 415V, Four pole MCCB with microprocessor release, front operated rotary handle with spreader links - 03 nos. c) 160 A, 35 KA (Ics), 415V, Four pole MCCB with microprocessor release, front operated rotary handle with spreader links - 03 nos. iv) 600 A, Al - Bus bar, Four pole with Fibre glass insulated support & pvc sleave etc. v) Metering / Indication a) LED indication Lamps ( RYB) with SP MCB protection = 10 sets. b) Digital Multifunction meter, 3 phase, 5A, class -1 with tape insulated CTs(400/5) = 02 set. b) Digital Multifunction meter, 3 phase, 5A, class -1 with tape insulated CTs( 300/5) = 02 set. b) Digital Multifunction meter, 3 phase, 5A, class -1 with tape insulated CTs( 250/5) = 03 set. c) ON-OFF indication lamps (LED type) -3 sets d) MV Power Digital Data logger for current, voltage and CTs etc. with at least 3 days record - 01 no . | 1.00 | Job | 3933950.00 | 725000.00 | 725000.00 | 750000.00 | 750000.00 | 600000.00 | 600000.00 | 558000.00 | 558000.00 | 692000.00 | 692000.00 | 585021.00 | 585021.00 | 507885.00 | 507885.00 | 440000.00 | 440000.00 | 582000.00 | 582000.00 | 595000.00 | 595000.00 | 755400.00 | 755400.00 | 885000.00 | 885000.00 | 610000.00 | 610000.00 | 675000.00 | 675000.00 | 450000.00 | 450000.00 | 440000.00 | EASTERN ENGINEERING
3.00 | Design, Supply, Installation, Testing and commissioning of weather proof, vermin proof, powder coated, free floor standing, fully compartmentalised , bottom entry double door type , outdoor canopy type , MV cubicle electrical panel (At residential Colony), generally conforming to IP-55 and having SC capacity of 35 KA, fabricated from 2 mm. thick CRCA sheet , treated through seven tank process along with detachable gland plate; neutral link for TP SDF / MCCB, with ventillation louver covered with wiremesh, lifting hooks including swapping, recoiling and handling of all incoming and outgoing cables, civil work of foundation, hard standiing all around to a reach of 1m , fixing, grouting, paiting and sign writing etc. complete as required. i) (Incomer) a) 250 A, 35 KA (Ics), 415V, Four pole MCCB with microprocessor release, front operated rotary handle - 02 nos. b) TPN SPD, type-2, Uc = 275 V, Imax = 40 KA ( 8/20µs) with isolating MCB & indicators = 02 nos ii) (Bus Coupler) 250 A, 35 KA (Ics), 415V, Four pole MCCB with microprocessor release, front operated rotary handle - 01 no. ( Mechanically interlocked with Incomers) . Continued to 3.1
3.10 | iii) (Out going): a) 200 A, 35 KA (Ics), 415V, Four pole MCCB with microprocessor release, front operated rotary handle - 02nos. b) 160 A, 35 KA (Ics), 415V, Four pole MCCB with microprocessor release, front operated rotary handle - 02nos. iv) 300 A, Al - Bus bar, Four pole with Fibre glass insulated support & pvc sleave etc. v) Metering / Indication a) LED indication Lamps ( RYB) with SP MCB protection = 6 sets. b) Digital Multifunction meter, 3 phase, 5A, class -1 with tape insulated CTs( 250/5) = 02 set. c) ON-OFF indication lamps (LED type) -4 sets d) MV Power Digital Data logger for current, voltage etc. with at least 3 days record - 01 no . | 1.00 | Job | 3933950.00 | 425000.00 | 425000.00 | 425000.00 | 425000.00 | 350000.00 | 350000.00 | 415000.00 | 415000.00 | 325000.00 | 325000.00 | 310000.00 | 310000.00 | 299171.50 | 299171.50 | 286000.00 | 286000.00 | 337000.00 | 337000.00 | 395000.00 | 395000.00 | 503400.00 | 503400.00 | 390000.00 | 390000.00 | 330000.00 | 330000.00 | 470000.00 | 470000.00 | 531000.00 | 531000.00 | 286000.00 | EASTERN ENGINEERING
4.00 | Supply ,Installation , Testing and Commissioning of 400 A , Four pole, 35 KA MCCB with thermal magnetic based release having adjustable over load and adjustable short circuit in the existing Essential panel with speader links, suitable size connecting busbars between main busbar and MCCB and rotary handle etc as required | 2.00 | Job | 3933950.00 | 26000.00 | 52000.00 | 20000.00 | 40000.00 | 30000.00 | 60000.00 | 31500.00 | 63000.00 | 35000.00 | 70000.00 | 40000.00 | 80000.00 | 19828.00 | 39656.00 | 13860.00 | 27720.00 | 25000.00 | 50000.00 | 45000.00 | 90000.00 | 38100.00 | 76200.00 | 30000.00 | 60000.00 | 21800.00 | 43600.00 | 55000.00 | 110000.00 | 30000.00 | 60000.00 | 27720.00 | EASTERN ENGINEERING
5.00 | Supply, Installation, testing and commissioning of 4 pole, 200A, Onload changeover switch panel , cubicle type, made out of 2mm thick CRCA sheet, totally enclosed, IP 42, free standing, floor mounting/wall mounting , dust and vermin proof, indoor, compartmentalised, suitable for operation on 3 phase and neutral, 415V, 50Hz AC system suitable to connect 3.5 C X 120 sqmm Al UG cable, duly powder coated painting etc., | 2.00 | Job | 3933950.00 | 22000.00 | 44000.00 | 25000.00 | 50000.00 | 30000.00 | 60000.00 | 14600.00 | 29200.00 | 23100.00 | 46200.00 | 30000.00 | 60000.00 | 20226.00 | 40452.00 | 27120.50 | 54241.00 | 16500.00 | 33000.00 | 35000.00 | 70000.00 | 50100.00 | 100200.00 | 25000.00 | 50000.00 | 12200.00 | 24400.00 | 35000.00 | 70000.00 | 15500.00 | 31000.00 | 24400.00 | Awasthi Electric Works
6.00 | Supply, installation, testing and commissioing of of double door, lockable poweder coated out door jnction boxes of size 600 X 600 X 400 mm made out of 2 mm thick MS sheet with detachable gland plate , Canopy, Cu stud type SMC / DMC connector of 300 A and shorting arrangement , MS angle iron frame, PCC foundation and hard standing all around to a reach of 1mtr etc. complete as required. | 6.00 | Job | 3933950.00 | 14500.00 | 87000.00 | 12000.00 | 72000.00 | 20000.00 | 120000.00 | 22000.00 | 132000.00 | 11600.00 | 69600.00 | 19500.00 | 117000.00 | 9336.00 | 56016.00 | 27370.20 | 164221.20 | 8500.00 | 51000.00 | 22000.00 | 132000.00 | 33000.00 | 198000.00 | 6000.00 | 36000.00 | 11800.00 | 70800.00 | 30000.00 | 180000.00 | 8950.00 | 53700.00 | 36000.00 | Manoprabha Electricals
7.00 | Supplying and making indoor end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required.
7.10 | 3.5C X 300 Sq.mm | 4.00 | Set | 3933950.00 | 1750.00 | 7000.00 | 300.00 | 1200.00 | 700.00 | 2800.00 | 1537.00 | 6148.00 | 3000.00 | 12000.00 | 1000.00 | 4000.00 | 1958.00 | 7832.00 | 786.50 | 3146.00 | 1400.00 | 5600.00 | 2500.00 | 10000.00 | 900.00 | 3600.00 | 600.00 | 2400.00 | 650.00 | 2600.00 | 2600.00 | 10400.00 | 2038.61 | 8154.44 | 1200.00 | Youngmen Traders
7.20 | 3.5C X 185 Sq.mm | 4.00 | Set | 3933950.00 | 1450.00 | 5800.00 | 250.00 | 1000.00 | 600.00 | 2400.00 | 1145.00 | 4580.00 | 2000.00 | 8000.00 | 700.00 | 2800.00 | 1340.00 | 5360.00 | 640.20 | 2560.80 | 1000.00 | 4000.00 | 2400.00 | 9600.00 | 750.00 | 3000.00 | 500.00 | 2000.00 | 450.00 | 1800.00 | 1600.00 | 6400.00 | 1269.21 | 5076.84 | 1000.00 | Youngmen Traders
7.30 | 3.5C X 120 Sq.mm | 13.00 | Set | 3933950.00 | 550.00 | 7150.00 | 225.00 | 2925.00 | 400.00 | 5200.00 | 717.00 | 9321.00 | 1500.00 | 19500.00 | 500.00 | 6500.00 | 1006.50 | 13084.50 | 381.15 | 4954.95 | 1000.00 | 13000.00 | 1800.00 | 23400.00 | 650.00 | 8450.00 | 450.00 | 5850.00 | 280.00 | 3640.00 | 950.00 | 12350.00 | 898.19 | 11676.47 | 2925.00 | Youngmen Traders
7.40 | 3.5C X 35 Sq.mm | 3.00 | Set | 3933950.00 | 160.00 | 480.00 | 215.00 | 645.00 | 300.00 | 900.00 | 318.00 | 954.00 | 800.00 | 2400.00 | 200.00 | 600.00 | 671.00 | 2013.00 | 266.20 | 798.60 | 600.00 | 1800.00 | 1200.00 | 3600.00 | 450.00 | 1350.00 | 200.00 | 600.00 | 200.00 | 600.00 | 330.00 | 990.00 | 280.04 | 840.12 | 480.00 | jaydeep agency corporation
8.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE /DWC HDPE pipe as required
8.10 | Upt o 35 sqmm | 800.00 | Mtrs. | 3933950.00 | 25.00 | 20000.00 | 40.00 | 32000.00 | 30.00 | 24000.00 | 50.00 | 40000.00 | 75.00 | 60000.00 | 70.00 | 56000.00 | 44.00 | 35200.00 | 165.00 | 132000.00 | 50.00 | 40000.00 | 45.00 | 36000.00 | 100.00 | 80000.00 | 20.00 | 16000.00 | 30.00 | 24000.00 | 30.00 | 24000.00 | 23.63 | 18904.00 | 16000.00 | Manoprabha Electricals
8.20 | above 95 sq.mm upto 185sq.mm | 4100.00 | Mtrs. | 3933950.00 | 35.00 | 143500.00 | 45.00 | 184500.00 | 40.00 | 164000.00 | 80.00 | 328000.00 | 110.00 | 451000.00 | 70.00 | 287000.00 | 71.50 | 293150.00 | 275.00 | 1127500.00 | 80.00 | 328000.00 | 110.00 | 451000.00 | 100.00 | 410000.00 | 25.00 | 102500.00 | 40.00 | 164000.00 | 55.00 | 225500.00 | 70.90 | 290690.00 | 102500.00 | Manoprabha Electricals
9.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
9.10 | above 95 sq.mm upto 185sq.mm | 100.00 | Mtrs. | 3933950.00 | 25.00 | 2500.00 | 15.00 | 1500.00 | 40.00 | 4000.00 | 75.00 | 7500.00 | 90.00 | 9000.00 | 60.00 | 6000.00 | 71.50 | 7150.00 | 110.00 | 11000.00 | 80.00 | 8000.00 | 110.00 | 11000.00 | 50.00 | 5000.00 | 10.00 | 1000.00 | 30.00 | 3000.00 | 60.00 | 6000.00 | 23.63 | 2363.00 | 1000.00 | Manoprabha Electricals
9.20 | above 185 sq.mm upto 400 sq.mm | 100.00 | Mtrs. | 3933950.00 | 35.00 | 3500.00 | 20.00 | 2000.00 | 50.00 | 5000.00 | 100.00 | 10000.00 | 150.00 | 15000.00 | 80.00 | 8000.00 | 99.00 | 9900.00 | 165.00 | 16500.00 | 100.00 | 10000.00 | 160.00 | 16000.00 | 75.00 | 7500.00 | 20.00 | 2000.00 | 50.00 | 5000.00 | 80.00 | 8000.00 | 88.63 | 8863.00 | 2000.00 | Youngmen Traders, Manoprabha Electricals
10.00 | Supply and making of straight through joint with heat shrinkable kit including ferrules and other insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required
10.10 | 3.5C X 185 Sq.mm | 4.00 | Set | 3933950.00 | 2500.00 | 10000.00 | 2200.00 | 8800.00 | 2000.00 | 8000.00 | 2500.00 | 10000.00 | 5500.00 | 22000.00 | 7000.00 | 28000.00 | 2790.00 | 11160.00 | 3003.00 | 12012.00 | 7300.00 | 29200.00 | 11000.00 | 44000.00 | 3000.00 | 12000.00 | 5000.00 | 20000.00 | 3000.00 | 12000.00 | 3200.00 | 12800.00 | 4732.86 | 18931.44 | 8000.00 | DOSHI ELECTRIC ENGG. CO.
10.20 | 3.5C X 120 Sq.mm | 3.00 | Set | 3933950.00 | 1800.00 | 5400.00 | 2000.00 | 6000.00 | 1500.00 | 4500.00 | 2200.00 | 6600.00 | 4500.00 | 13500.00 | 6000.00 | 18000.00 | 2756.00 | 8268.00 | 3003.00 | 9009.00 | 5940.90 | 17822.70 | 9000.00 | 27000.00 | 2800.00 | 8400.00 | 4500.00 | 13500.00 | 2500.00 | 7500.00 | 2900.00 | 8700.00 | 3564.42 | 10693.26 | 4500.00 | DOSHI ELECTRIC ENGG. CO.
10.30 | 3.5C X 35 Sq.mm | 1.00 | Set | 3933950.00 | 550.00 | 550.00 | 1500.00 | 1500.00 | 1000.00 | 1000.00 | 1600.00 | 1600.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 1680.00 | 1680.00 | 1529.00 | 1529.00 | 2500.00 | 2500.00 | 5500.00 | 5500.00 | 1800.00 | 1800.00 | 2500.00 | 2500.00 | 1500.00 | 1500.00 | 2205.00 | 2205.00 | 2144.36 | 2144.36 | 550.00 | jaydeep agency corporation
11.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand :4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50cm at the top with a thickness of 10cm including inscription duly engraved as required. | 20.00 | EA | 3933950.00 | 280.00 | 5600.00 | 200.00 | 4000.00 | 300.00 | 6000.00 | 600.00 | 12000.00 | 1500.00 | 30000.00 | 1000.00 | 20000.00 | 451.00 | 9020.00 | 1100.00 | 22000.00 | 800.00 | 16000.00 | 1200.00 | 24000.00 | 500.00 | 10000.00 | 700.00 | 14000.00 | 450.00 | 9000.00 | 700.00 | 14000.00 | 739.57 | 14791.40 | 4000.00 | Youngmen Traders
12.00 | Supplying and laying of 110 mm nominal dia ( OD) DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930 Part II /IS 16205 PART-24 with upto date ammendment, complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. (Only required quantities are to be supplied and laid. Contractor shall take detailed measurements at site before Supply of DWC HDPE pipe, If any balance of pipe is availalable after laying and same shall be taken back by agency, Nothing will be paid extra). | 2500.00 | Mtrs. | 3933950.00 | 185.00 | 462500.00 | 425.00 | 1062500.00 | 200.00 | 500000.00 | 200.00 | 500000.00 | 320.00 | 800000.00 | 230.00 | 575000.00 | 331.00 | 827500.00 | 377.30 | 943250.00 | 190.00 | 475000.00 | 350.00 | 875000.00 | 180.00 | 450000.00 | 150.00 | 375000.00 | 280.00 | 700000.00 | 570.00 | 1425000.00 | 207.31 | 518275.00 | 375000.00 | Manoprabha Electricals
13.00 | Supplying of 90 mm nominal dia ( OD) HDPE pipe (PE- 63, PN-6) as per IS - 4984 and IS marked with upto date ammendment along with accessories like socket, bend, couplers etc. complete with fitting, cuttings, jointing and laying the same by horizontal directional drilling ( micro tunnelling) method that is without cutting open trench etc. complete as required. (Only required quantities are to be supplied and laid. Contractor shall take detailed measurements at site before Supply of HDPE pipe , If any balance of pipe is availalable after laying and same shall be taken back by agency, Nothing will be paid extra). | 2400.00 | Mtrs. | 3933950.00 | 276.00 | 662400.00 | 555.00 | 1332000.00 | 700.00 | 1680000.00 | 996.00 | 2390400.00 | 860.00 | 2064000.00 | 400.00 | 960000.00 | 270.00 | 648000.00 | 273.90 | 657360.00 | 357.00 | 856800.00 | 310.00 | 744000.00 | 171.00 | 410400.00 | 500.00 | 1200000.00 | 570.00 | 1368000.00 | 470.00 | 1128000.00 | 318.02 | 763248.00 | 410400.00 | VIJAYPOWER GENERATORS LIMITED
14.00 | Supplying of 63 mm nominal dia ( OD) HDPE pipe (PE- 63, PN-6) as per IS - 4984 and IS marked with uptodate ammendment along with accessories like socket, bend, couplers etc. complete with fitting, cuttings, jointing and laying the same by horizontal directional drilling ( micro tunnelling) method that is without cutting open trench etc. complete as required. (Only required quantities are to be supplied and installed. Contractor shall take detailed measurements at site before Supply of HDPE pipe, If any balance of pipe is availalable after laying and same shall be taken back by agency, Nothing will be paid extra). | 800.00 | Mtrs. | 3933950.00 | 197.00 | 157600.00 | 425.00 | 340000.00 | 550.00 | 440000.00 | 850.00 | 680000.00 | 790.00 | 632000.00 | 370.00 | 296000.00 | 139.00 | 111200.00 | 124.30 | 99440.00 | 193.00 | 154400.00 | 225.00 | 180000.00 | 171.00 | 136800.00 | 500.00 | 400000.00 | 475.00 | 380000.00 | 370.00 | 296000.00 | 279.49 | 223592.00 | 99440.00 | EASTERN ENGINEERING
15.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt ) as required | 2.00 | Set | 3933950.00 | 3850.00 | 7700.00 | 4500.00 | 9000.00 | 3500.00 | 7000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 7000.00 | 14000.00 | 8722.00 | 17444.00 | 5500.00 | 11000.00 | 3800.00 | 7600.00 | 7500.00 | 15000.00 | 4500.00 | 9000.00 | 5000.00 | 10000.00 | 4500.00 | 9000.00 | 10150.00 | 20300.00 | 3667.31 | 7334.62 | 7000.00 | DOSHI ELECTRIC ENGG. CO.
16.00 | Supplying of earth enhancing compound ( UL Listed) and CPRI tested etc. complete as required. | 80.00 | Kgs. | 3933950.00 | 20.00 | 1600.00 | 250.00 | 20000.00 | 200.00 | 16000.00 | 50.00 | 4000.00 | 200.00 | 16000.00 | 200.00 | 16000.00 | 45.00 | 3600.00 | 132.00 | 10560.00 | 250.00 | 20000.00 | 100.00 | 8000.00 | 27.00 | 2160.00 | 50.00 | 4000.00 | 30.00 | 2400.00 | 35.00 | 2800.00 | 30.46 | 2436.80 | 1600.00 | jaydeep agency corporation
17.00 | Providing and fixing of 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/HDPE Pipe/ cable as required | 30.00 | Mtrs. | 3933950.00 | 28.00 | 840.00 | 22.00 | 660.00 | 30.00 | 900.00 | 40.00 | 1200.00 | 100.00 | 3000.00 | 30.00 | 900.00 | 29.00 | 870.00 | 29.70 | 891.00 | 34.00 | 1020.00 | 26.00 | 780.00 | 10.00 | 300.00 | 20.00 | 600.00 | 25.00 | 750.00 | 15.00 | 450.00 | 29.71 | 891.30 | 300.00 | VIJAYPOWER GENERATORS LIMITED
18.00 | Cutting bitumenous/cement concrete road etc. to a depth upto 1.0 m. and width upto 75 mm. and refilling the same and making good the same to the original finish along with mobile DG for power supply and water bowser etc. complete as required | 20.00 | Cum. | 3933950.00 | 780.00 | 15600.00 | 750.00 | 15000.00 | 600.00 | 12000.00 | 1500.00 | 30000.00 | 1000.00 | 20000.00 | 4200.00 | 84000.00 | 2750.00 | 55000.00 | 330.00 | 6600.00 | 80.00 | 1600.00 | 1200.00 | 24000.00 | 360.00 | 7200.00 | 1000.00 | 20000.00 | 800.00 | 16000.00 | 10000.00 | 200000.00 | 1506.67 | 30133.40 | 1600.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
19.00 | Excavation of the trench in hard rock not exceeding 1.5 mtr in width, and lift upto 1.5mtr, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50mtrs. | 15.00 | Cum. | 3933950.00 | 450.00 | 6750.00 | 600.00 | 9000.00 | 500.00 | 7500.00 | 1500.00 | 22500.00 | 1000.00 | 15000.00 | 2800.00 | 42000.00 | 1540.00 | 23100.00 | 275.00 | 4125.00 | 200.00 | 3000.00 | 1200.00 | 18000.00 | 150.00 | 2250.00 | 500.00 | 7500.00 | 700.00 | 10500.00 | 1000.00 | 15000.00 | 1831.64 | 27474.60 | 2250.00 | VIJAYPOWER GENERATORS LIMITED
20.00 | Excavation for foundation in soft soil including dressing of sides and ramming of bottoms, lift upto 1.5 m including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 metres | 45.00 | Cum. | 3933950.00 | 320.00 | 14400.00 | 200.00 | 9000.00 | 150.00 | 6750.00 | 1000.00 | 45000.00 | 1000.00 | 45000.00 | 2000.00 | 90000.00 | 220.00 | 9900.00 | 165.00 | 7425.00 | 70.00 | 3150.00 | 450.00 | 20250.00 | 150.00 | 6750.00 | 200.00 | 9000.00 | 400.00 | 18000.00 | 250.00 | 11250.00 | 590.85 | 26588.25 | 3150.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
21.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in foundation for LT panel /road crossing/foundation for cable chamber etc as required. | 17.00 | Cum. | 3933950.00 | 3800.00 | 64600.00 | 4800.00 | 81600.00 | 4000.00 | 68000.00 | 8000.00 | 136000.00 | 6000.00 | 102000.00 | 4800.00 | 81600.00 | 7893.00 | 134181.00 | 4950.00 | 84150.00 | 400.00 | 6800.00 | 6500.00 | 110500.00 | 5400.00 | 91800.00 | 4000.00 | 68000.00 | 6300.00 | 107100.00 | 6000.00 | 102000.00 | 9015.51 | 153263.67 | 6800.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.00 | Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete. | 600.00 | Kgs. | 3933950.00 | 110.00 | 66000.00 | 70.00 | 42000.00 | 90.00 | 54000.00 | 100.00 | 60000.00 | 70.00 | 42000.00 | 90.00 | 54000.00 | 80.00 | 48000.00 | 1650.00 | 990000.00 | 99.00 | 59400.00 | 110.00 | 66000.00 | 84.00 | 50400.00 | 100.00 | 60000.00 | 90.00 | 54000.00 | 70.00 | 42000.00 | 104.72 | 62832.00 | 42000.00 | Youngmen Traders, ELECTRO ENGINEERS, GAYATRI AGENCY
23.00 | Brick work with bricks of class designation 60 in foundation and plinth in 1:6 (1 cement: 6 coarse sand) | 35.00 | Cum. | 3933950.00 | 480.00 | 16800.00 | 5500.00 | 192500.00 | 5000.00 | 175000.00 | 6000.00 | 210000.00 | 5500.00 | 192500.00 | 5500.00 | 192500.00 | 6878.00 | 240730.00 | 3300.00 | 115500.00 | 5240.00 | 183400.00 | 5800.00 | 203000.00 | 4500.00 | 157500.00 | 2500.00 | 87500.00 | 5000.00 | 175000.00 | 3500.00 | 122500.00 | 4461.93 | 156167.55 | 16800.00 | jaydeep agency corporation
24.00 | Cement plaster 12mm thick of mixture 1:6 | 116.00 | Sq. Mtrs. | 3933950.00 | 230.00 | 26680.00 | 200.00 | 23200.00 | 300.00 | 34800.00 | 250.00 | 29000.00 | 100.00 | 11600.00 | 300.00 | 34800.00 | 282.00 | 32712.00 | 154.00 | 17864.00 | 170.00 | 19720.00 | 390.00 | 45240.00 | 120.00 | 13920.00 | 500.00 | 58000.00 | 250.00 | 29000.00 | 350.00 | 40600.00 | 786.44 | 91227.04 | 11600.00 | ELECTRO ENGINEERS
| Total in Figures |  |  |  |  | 6496500.00 |  | 7831530.00 |  | 7399750.00 |  | 9019303.00 |  | 9143500.00 |  | 6911971.00 |  | 6741835.00 |  | 8575941.55 |  | 6764862.70 |  | 8145370.00 |  | 6797880.00 |  | 7727800.00 |  | 7398740.00 |  | 8505745.00 |  | 7287848.06
Lowest Amount Quoted BY: jaydeep agency corporation(6496500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Connection of Power Supply to NDB Building from New Substation at V.S.S Airport, Jharsuguda. Tender ID: 2021_AAI_69693_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | jaydeep agency corporation | 6496500.00 | L1
| 2 | Incotech Engineers Pvt Ltd | 6741835.00 | L2
| 3 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 6764862.70 | L3
| 4 | VIJAYPOWER GENERATORS LIMITED | 6797880.00 | L4
| 5 | GIRI ENTERPRISES | 6911971.00 | L5
| 6 | Aditya Techno Products Private Limited | 7287848.06 | L6
| 7 | Awasthi Electric Works | 7398740.00 | L7
| 8 | DOSHI ELECTRIC ENGG. CO. | 7399750.00 | L8
| 9 | Manoprabha Electricals | 7727800.00 | L9
| 10 | Youngmen Traders | 7831530.00 | L10
| 11 | Horizon Electric Corporation | 8145370.00 | L11
| 12 | GAYATRI AGENCY | 8505745.00 | L12
| 13 | EASTERN ENGINEERING | 8575941.55 | L13
| 14 | ECS ENGINEERING PVT LTD | 9019303.00 | L14
| 15 | ELECTRO ENGINEERS | 9143500.00 | L15