## BoQ1
Government eProcurement System Created By: PALLIPPATTU RAVI HARI Created Date/Time: 26-Feb-2021 05:26 PM Tender Title: Replacement of Old Split AC units at various locations and provision of new split AC units for Arrival Baggage Claim area at Agatti Airport Tender ID: 2021_AAI_69719_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work: Replacment of Old Split AC Units at Various Locations and Provision of New Split AC Units for Arrival Baggage Claim Area at Agatti Airport, Agatti
Contract No: 2021_AAI_69719_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DEEPAKELECTRICALS(GSTN-33ALUPD3531C1ZI) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | Mohammed Shafi C.K(GSTN-31ANRPM9306P1ZC) |  | COOL STAR(GSTN-29AFJPP1758A1ZE) |  | Ganga Enterprises(GSTN-23EHHPS2413F1ZL)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation , testing and commissioning of Hi-Wall mounted 2.0 TR Split AC of 3 star rating with rotary compressor complete with initial charging with proper environment friendly refrigerant suitable to work on voltage 230 V +/- 10 % AC, 50 Hz, single phase, interconnecting power and control cable, refrigerant piping and drain pipe between indoor and outdoor unit(upto a length of 10 ft), pipe and cable covered with white tape complete as required. | 15.00 | Each |  | 68000.00 | 1020000.00 | 56550.00 | 848250.00 | 67380.00 | 1010700.00 | 50000.00 | 750000.00 | 55000.00 | 825000.00 | 750000.00 | COOL STAR
2.00 | Supply, installation , testing and commissioning of 5 KVA capacity suitable for operation on 230V, 50 Hz (Nominal rating) AC supply. | 15.00 | Each |  | 5800.00 | 87000.00 | 2000.00 | 30000.00 | 2800.00 | 42000.00 | 4000.00 | 60000.00 | 6000.00 | 90000.00 | 30000.00 | VOLKS ENERGIE PVT LTD
3.00 | Extra for additional refrigerant piping between indoor unit and outdoor unit beyond 3.5 Mtr length alongwith power and control cable, copper pipe insulation, covering with white tape etc complete as required | 35.00 | Mtr |  | 700.00 | 24500.00 | 700.00 | 24500.00 | 1025.00 | 35875.00 | 800.00 | 28000.00 | 1000.00 | 35000.00 | 24500.00 | DEEPAKELECTRICALS, VOLKS ENERGIE PVT LTD
4.00 | Supply and laying of PVC Drain pipe of 25mm dia insulated with 6 mm thick nitrile rubber insulation(for indoor area portion to prevent condensation) s complete with necessary elbow, tees, reducer, connector complete as required. | 35.00 | Mtr |  | 35.00 | 1225.00 | 120.00 | 4200.00 | 150.00 | 5250.00 | 250.00 | 8750.00 | 150.00 | 5250.00 | 1225.00 | DEEPAKELECTRICALS
5.00 | Providing and fixing MS bracket/stand duly painted suitable for mounting of outdoor unit of 2 Ton AC as required | 9.00 | Each |  | 750.00 | 6750.00 | 430.00 | 3870.00 | 820.00 | 7380.00 | 1000.00 | 9000.00 | 1000.00 | 9000.00 | 3870.00 | VOLKS ENERGIE PVT LTD
6.00 | Providing and fixing the following on surface / angle iron frame / recess including connections, earthing the body, testing, commissioning etc. as required(But without MCB/RCCB/Isolator): TPN 4 Way MCB DB double door | 1.00 | Job |  | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 2990.00 | 2990.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 2500.00 | COOL STAR
7.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of single pole in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 12.00 | Each |  | 165.00 | 1980.00 | 150.00 | 1800.00 | 315.00 | 3780.00 | 400.00 | 4800.00 | 1500.00 | 18000.00 | 1800.00 | VOLKS ENERGIE PVT LTD
8.00 | Supplying and fixing 63 Amps amps rating, 240/415 volts, 10 kA, “C” curve, three pole miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 1.00 | Each |  | 450.00 | 450.00 | 500.00 | 500.00 | 1708.00 | 1708.00 | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 450.00 | DEEPAKELECTRICALS
9.00 | Supplying and fixing 63 Amps amps rating, 240/415 volts, 10 kA, “C” curve, four pole miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 1.00 | Each |  | 1831.00 | 1831.00 | 700.00 | 700.00 | 1903.00 | 1903.00 | 1100.00 | 1100.00 | 4000.00 | 4000.00 | 700.00 | VOLKS ENERGIE PVT LTD
10.00 | Supply, laying,termination of 3C X 4 sqmm copper conducter insulated flexible unarmoured cable on surface /recess /above false ceiling /concealed space/ wall/ pipe /trunking etc.complete in all respects as required | 75.00 | Mtr |  | 85.00 | 6375.00 | 110.00 | 8250.00 | 194.00 | 14550.00 | 250.00 | 18750.00 | 250.00 | 18750.00 | 6375.00 | DEEPAKELECTRICALS
11.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal/plastic enclosed plug top alongwith 20 amps “C” curve, SP, MCB, in sheet steel/plastic enclosure, on surface or in recess, with cover for the socket out let and complete with connections, testing and commissioning etc. as required. (Havells Cat No. DHDCUSN020 or equivalent) | 5.00 | Each |  | 1200.00 | 6000.00 | 1000.00 | 5000.00 | 1665.00 | 8325.00 | 1500.00 | 7500.00 | 1500.00 | 7500.00 | 5000.00 | VOLKS ENERGIE PVT LTD
12.00 | Supply and fixing of PVC / Plastic trunking (openable / type) for covering refrigerant copper pipe, drain pipe , cable etc between indoor unit and outdoor unit as required | 30.00 | Mtr |  | 300.00 | 9000.00 | 500.00 | 15000.00 | 905.00 | 27150.00 | 1200.00 | 36000.00 | 1500.00 | 45000.00 | 9000.00 | DEEPAKELECTRICALS
13.00 | Construction of pedestal/platform of suitable size for installation of split AC outdoor unit made out of cement concrete/ bricks block , PCC base finished with cement plastering and painted with approved shade of paint as required | 3.00 | Job |  | 1000.00 | 3000.00 | 3000.00 | 9000.00 | 5930.00 | 17790.00 | 3000.00 | 9000.00 | 2000.00 | 6000.00 | 3000.00 | DEEPAKELECTRICALS
14.00 | Dismantling the existing Split AC unit comprising of indoor and outdoor unit and its accessories and shifting to a single point etc as required. | 12.00 | job |  | 500.00 | 6000.00 | 500.00 | 6000.00 | 426.00 | 5112.00 | 1000.00 | 12000.00 | 2000.00 | 24000.00 | 5112.00 | Mohammed Shafi C.K
15.00 | Buy back of old split of 1.5 TR rating | 7.00 | Job |  | 2500.00 | 17500.00 | 1000.00 | 7000.00 | 2500.00 | 17500.00 | 1000.00 | 7000.00 | 1000.00 | 7000.00 | 7000.00 | VOLKS ENERGIE PVT LTD, COOL STAR, Ganga Enterprises
16.00 | Buy back of old split of 2.0 TR rating | 2.00 | Job |  | 4000.00 | 8000.00 | 1000.00 | 2000.00 | 3100.00 | 6200.00 | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 2000.00 | VOLKS ENERGIE PVT LTD, Ganga Enterprises
17.00 | Buy back of old split of 3.0 TR rating | 3.00 | Job |  | 4500.00 | 13500.00 | 2000.00 | 6000.00 | 3195.00 | 9585.00 | 2000.00 | 6000.00 | 1000.00 | 3000.00 | 3000.00 | Ganga Enterprises
| Total in Figures |  |  |  |  | 1216111.00 |  | 977070.00 |  | 1217798.00 |  | 964400.00 |  | 1106500.00
Lowest Amount Quoted BY: COOL STAR(964400.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Old Split AC units at various locations and provision of new split AC units for Arrival Baggage Claim area at Agatti Airport Tender ID: 2021_AAI_69719_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | COOL STAR | 964400.00 | L1
| 2 | VOLKS ENERGIE PVT LTD | 977070.00 | L2
| 3 | Ganga Enterprises | 1106500.00 | L3
| 4 | DEEPAKELECTRICALS | 1216111.00 | L4
| 5 | Mohammed Shafi C.K | 1217798.00 | L5