## BoQ1
Government eProcurement System Created By: B. NAGESWARA RAO Created Date/Time: 09-Mar-2021 05:34 PM Tender Title: SITC OF LED LIGHTING FOR REST ROOM GATE 1 GATE2 CANOPY AT VISAKHAPATNAM AIRPORT Tender ID: 2021_AAI_69777_1
Tender Inviting Authority: Jt. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, VISAKHAPATNAM AIRPORT, VISAKHAPATNAM.
Name of Work: Miscellaneous electrical works. - SH : Supply and Installation of LED lighting for Rest rooms, Gate No. 1 & Gate No. 2 Canopy at Visakhapatnam Airport.
Contract No: 2020 _AAI_69777
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Shantha ELectricals and Engineers Pvt Ltd(GSTN-29AARCS2866G1ZP) |  | INDUSTRIAL ELECTRICALS AND CONTROLS(GSTN-36BCHPM7899H1ZT) |  | switchgearcontrols(GSTN-37AHSPG9876H2ZF) |  | MEPF INFRA(GSTN-37ABHFM5143Q1ZN) |  | BHAGYASRI ELECTRICAL WORKS(GSTN-37AIUPP2209A1ZB) |  | SA Enterprises(GSTN-37ACNFS8051L2ZD) |  | SKYLINE ENGINEERS(GSTN-27APZPD0679L1Z4) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | QUALITY ENGINEERING SERVICES(GSTN-NA) |  | ANIL KESAV CONTRACTORS(GSTN-NA) |  | SREE KRISHNA ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of LED HIGH BAY LUMINAIRE, 120watt (min), suitable to operate on 230 V AC supply, complete with all accessories equivalent to [Make : Philips, Model : BY415P LED145S CW WB], Techical details should be as per spcecial conditions and particular specification of contract. | 30.00 | Each |  | 6000.00 | 180000.00 | 8000.00 | 240000.00 | 9250.00 | 277500.00 | 11600.00 | 348000.00 | 6848.00 | 205440.00 | 6069.00 | 182070.00 | 4825.00 | 144750.00 | 1200.00 | 36000.00 | 4466.00 | 133980.00 | 9800.00 | 294000.00 | 14575.00 | 437250.00 | 11000.00 | 330000.00 | 36000.00 | Awasthi Electric Works
2.00 | Supply of LED HIGH BAY LUMINAIRE, 80watt (min), suitable to operate on 230 V AC supply, complete with all accessories equivalent to [Make : Bajaj, Model : BGHBM 100W]. Techical details should be as per spcecial conditions and particular specification of contract. | 60.00 | Each |  | 4250.00 | 255000.00 | 6000.00 | 360000.00 | 4785.00 | 287100.00 | 6451.00 | 387060.00 | 5989.00 | 359340.00 | 4165.00 | 249900.00 | 3400.00 | 204000.00 | 5600.00 | 336000.00 | 3291.00 | 197460.00 | 5800.00 | 348000.00 | 6990.00 | 419400.00 | 5297.00 | 317820.00 | 197460.00 | Yash Energy Pvt. Ltd
3.00 | Supply of 2' x 2' LED PANEL, 34watt (min.), suitable to operate on 230 V AC supply, complete with fixing arragngement to existing false ceiling with all accessories. [Make : Bajaj, Model : BZRSQL 36W GZI WH]. Techical details should be as per spcecial conditions and particular specification of contract. | 20.00 | Each |  | 1400.00 | 28000.00 | 2200.00 | 44000.00 | 1900.00 | 38000.00 | 2500.00 | 50000.00 | 1777.00 | 35540.00 | 1666.00 | 33320.00 | 1380.00 | 27600.00 | 1650.00 | 33000.00 | 1352.00 | 27040.00 | 1900.00 | 38000.00 | 320.00 | 6400.00 | 1900.00 | 38000.00 | 6400.00 | ANIL KESAV CONTRACTORS
4.00 | Supply of LED LUMINAIRE, 80watt (Approx.) warm white, outdoor rectangular fixture, suitable for hording board of size 8m width & 4m height, suitable to operate on 230 V AC supply, complete with all accessories equivalent to [Make : Bajaj, Model : BJFL 80W LED WW]. Techical details should be as per spcecial conditions and particular specification of contract. | 12.00 | Each |  | 3500.00 | 42000.00 | 3125.00 | 37500.00 | 3950.00 | 47400.00 | 4200.00 | 50400.00 | 4378.00 | 52536.00 | 3689.00 | 44268.00 | 3600.00 | 43200.00 | 5600.00 | 67200.00 | 2703.00 | 32436.00 | 5600.00 | 67200.00 | 5650.00 | 67800.00 | 4750.00 | 57000.00 | 32436.00 | Yash Energy Pvt. Ltd
5.00 | Supply of PVC insulated and PVC round sheated copper conductor flexible industrial cable of size 3.5C x 10 sqmm, 1.1 KV confirming to IS 694 complete as required. 4C x 10 Sqmm | 120.00 | Meter |  | 250.00 | 30000.00 | 338.00 | 40560.00 | 380.00 | 45600.00 | 470.00 | 56400.00 | 382.80 | 45936.00 | 321.30 | 38556.00 | 400.00 | 48000.00 | 380.00 | 45600.00 | 425.00 | 51000.00 | 380.00 | 45600.00 | 604.00 | 72480.00 | 370.00 | 44400.00 | 30000.00 | Shantha ELectricals and Engineers Pvt Ltd
6.00 | Installation, testing and commissioning of LED light fixtures of Sl . No. 2 & 4 as mentioned above on existing truss / hoarding board including all accesories wall plug / PVC fastener, screws, G.I clamps, nails, nuts & bolts etc., complete as required as per site condition. | 62.00 | Job |  | 150.00 | 9300.00 | 600.00 | 37200.00 | 200.00 | 12400.00 | 850.00 | 52700.00 | 220.00 | 13640.00 | 357.00 | 22134.00 | 150.00 | 9300.00 | 150.00 | 9300.00 | 718.00 | 44516.00 | 200.00 | 12400.00 | 425.00 | 26350.00 | 220.00 | 13640.00 | 9300.00 | Shantha ELectricals and Engineers Pvt Ltd, SKYLINE ENGINEERS, Awasthi Electric Works
7.00 | Supply & fixing of IP 65 Thermoplastic Junction Box of nominal size 139mm x 119mm x 70mm (equivalent to Hensel make model K 9060), with 3nos M20 x 1.5Sq.mm PVC Glands & Checknuts, din mounted elemex type terminal connectors, suitable din channel, stoppers on both side of connectors, suitable for 5C x 2.5Sq.mm copper cable including supply of aluminum clamp & suitable screws and connectors complete as per site condition. | 16.00 | Each |  | 950.00 | 15200.00 | 500.00 | 8000.00 | 595.00 | 9520.00 | 1700.00 | 27200.00 | 611.00 | 9776.00 | 454.10 | 7265.60 | 1300.00 | 20800.00 | 1200.00 | 19200.00 | 1317.00 | 21072.00 | 1000.00 | 16000.00 | 1850.00 | 29600.00 | 610.00 | 9760.00 | 7265.60 | SA Enterprises
8.00 | Supply & fixing of IP 66/69 Thermoplastic Junction Box of nominal size 255mm x 205mm x 112mm [Equivalent to Hensel make model KF2525G], with 4C x 25Sqmm aluminum cable terminal connector, Glands including supply of aluminum clamp & suitable screws and connectors complete as per site condition. | 60.00 | Each |  | 2900.00 | 174000.00 | 2500.00 | 150000.00 | 3000.00 | 180000.00 | 3500.00 | 210000.00 | 2685.00 | 161100.00 | 2598.96 | 155937.60 | 2900.00 | 174000.00 | 3500.00 | 210000.00 | 3473.00 | 208380.00 | 3300.00 | 198000.00 | 3974.00 | 238440.00 | 1942.00 | 116520.00 | 116520.00 | SREE KRISHNA ENTERPRISES
9.00 | Supply and fixing following rating, four pole, (three phase and neutral), 415 volts, molded case circuit breaker (MCCB), having a sensitivity current 30 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63A, 4P, MCCB | 2.00 | Each |  | 5200.00 | 10400.00 | 6500.00 | 13000.00 | 2250.00 | 4500.00 | 8500.00 | 17000.00 | 2303.00 | 4606.00 | 1163.82 | 2327.64 | 4500.00 | 9000.00 | 5700.00 | 11400.00 | 5834.00 | 11668.00 | 4150.00 | 8300.00 | 10050.00 | 20100.00 | 1750.00 | 3500.00 | 2327.64 | SA Enterprises
10.00 | Supply and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve,miniature circuit breaker suitable for inductive load of following poles in the existingMCB DB complete with connections, testing and commissioning etc. as required. 6 A to 32 A Single Pole | 12.00 | Each |  | 150.00 | 1800.00 | 151.00 | 1812.00 | 160.00 | 1920.00 | 238.00 | 2856.00 | 175.00 | 2100.00 | 119.00 | 1428.00 | 130.00 | 1560.00 | 190.00 | 2280.00 | 253.00 | 3036.00 | 250.00 | 3000.00 | 215.00 | 2580.00 | 174.87 | 2098.44 | 1428.00 | SA Enterprises
11.00 | Supply and fixing following way, horizontal type three pole and neutral, sheetsteel, MCB distribution board, 415 volts, on surface/ recess, complete with tinnedcopper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/IsolatorMCB/RCCB/Isolator) 4 way (4 + 12),Double door | 2.00 | Each |  | 2100.00 | 4200.00 | 6000.00 | 12000.00 | 2250.00 | 4500.00 | 3450.00 | 6900.00 | 2690.00 | 5380.00 | 1625.54 | 3251.08 | 2500.00 | 5000.00 | 3500.00 | 7000.00 | 4878.00 | 9756.00 | 5500.00 | 11000.00 | 5000.00 | 10000.00 | 2690.13 | 5380.26 | 3251.08 | SA Enterprises
12.00 | Supply of 15W LED recess mounted suitable to operate on 230V, 50Hz AC supply [Equivalent to make Philips, Model : Ultra Slim plus] Techical details should be as per spcecial conditions and particular specification of contract. | 60.00 | Each |  | 800.00 | 48000.00 | 860.00 | 51600.00 | 900.00 | 54000.00 | 970.00 | 58200.00 | 840.00 | 50400.00 | 684.25 | 41055.00 | 590.00 | 35400.00 | 700.00 | 42000.00 | 529.00 | 31740.00 | 1200.00 | 72000.00 | 1500.00 | 90000.00 | 800.00 | 48000.00 | 31740.00 | Yash Energy Pvt. Ltd
13.00 | Supply of 10W LED recess mounted suitable to operate on 230V, 50Hz AC supply [Equivalent to make Philips, Model : Astra Max] Techical details should be as per spcecial conditions and particular specification of contract.. | 30.00 | Each |  | 650.00 | 19500.00 | 570.00 | 17100.00 | 525.00 | 15750.00 | 733.00 | 21990.00 | 616.00 | 18480.00 | 476.00 | 14280.00 | 540.00 | 16200.00 | 725.00 | 21750.00 | 4466.00 | 133980.00 | 775.00 | 23250.00 | 1500.00 | 45000.00 | 570.00 | 17100.00 | 14280.00 | SA Enterprises
14.00 | Supply of 3W LED light / striker cabinet suitable to operate on 230V, 50Hz AC supply [Equivalent to make Philips & model] Techical details should be as per spcecial conditions and particular specification of contract. | 15.00 | Each |  | 275.00 | 4125.00 | 160.00 | 2400.00 | 180.00 | 2700.00 | 215.00 | 3225.00 | 90.00 | 1350.00 | 213.01 | 3195.15 | 430.00 | 6450.00 | 250.00 | 3750.00 | 940.00 | 14100.00 | 250.00 | 3750.00 | 1500.00 | 22500.00 | 145.00 | 2175.00 | 1350.00 | BHAGYASRI ELECTRICAL WORKS
15.00 | Supply of 15W LED wall light fixtures suitable to operate on 230V, 50Hz AC supply [Equivalent to make Philips, Model : 58157 Aquila]. Techical details should be as per spcecial conditions and particular specification of contract. | 10.00 | Each |  | 1600.00 | 16000.00 | 2810.00 | 28100.00 | 75.00 | 750.00 | 3500.00 | 35000.00 | 56.00 | 560.00 | 4165.00 | 41650.00 | 740.00 | 7400.00 | 1350.00 | 13500.00 | 1528.00 | 15280.00 | 4000.00 | 40000.00 | 655.00 | 6550.00 | 70.00 | 700.00 | 560.00 | BHAGYASRI ELECTRICAL WORKS
16.00 | Supply of LED strip [5 meters strip 25W, Warm white and blue] suitable to operate on 230V, 50Hz AC supply [Equivalent to make Philips & model] Techical details should be as per spcecial conditions and particular specification of contract. | 110.00 | Meter |  | 280.00 | 30800.00 | 115.00 | 12650.00 | 120.00 | 13200.00 | 1500.00 | 165000.00 | 45.00 | 4950.00 | 138.04 | 15184.40 | 190.00 | 20900.00 | 650.00 | 71500.00 | 176.00 | 19360.00 | 1100.00 | 121000.00 | 275.00 | 30250.00 | 116.00 | 12760.00 | 4950.00 | BHAGYASRI ELECTRICAL WORKS
17.00 | Supply of LED drivers suitable for 5 meters strip 25W, Warm white and blue [Sl. No. 16]. | 15.00 | Each |  | 300.00 | 4500.00 | 459.00 | 6885.00 | 170.00 | 2550.00 | 627.00 | 9405.00 | 90.00 | 1350.00 | 182.07 | 2731.05 | 450.00 | 6750.00 | 425.00 | 6375.00 | 235.00 | 3525.00 | 550.00 | 8250.00 | 1500.00 | 22500.00 | 153.00 | 2295.00 | 1350.00 | BHAGYASRI ELECTRICAL WORKS
18.00 | Installation, testing and commissioning of LED light fixtures of Sl . No. 12 to 17 as mentioned above on existing false ceiling including all accesories wall plug / PVC fastener, screws, G.I clamps, nails, nuts & bolts etc., complete as required as per site condition. | 100.00 | Each |  | 250.00 | 25000.00 | 250.00 | 25000.00 | 80.00 | 8000.00 | 175.00 | 17500.00 | 56.00 | 5600.00 | 700.00 | 70000.00 | 100.00 | 10000.00 | 80.00 | 8000.00 | 217.00 | 21700.00 | 200.00 | 20000.00 | 475.00 | 47500.00 | 58.00 | 5800.00 | 5600.00 | BHAGYASRI ELECTRICAL WORKS
19.00 | Supply of 12 V, 180 AH lead-acid Battery for required output voltage sealed and complete with intercell connectors, filter vent plugs, etc., complete as required, consider the buyback rate of old batteries of same capacity. | 12.00 | Each |  | 15500.00 | 186000.00 | 12900.00 | 154800.00 | 14400.00 | 172800.00 | 17950.00 | 215400.00 | 14340.00 | 172080.00 | 10281.60 | 123379.20 | 13000.00 | 156000.00 | 13500.00 | 162000.00 | 12927.00 | 155124.00 | 11000.00 | 132000.00 | 21200.00 | 254400.00 | 14340.00 | 172080.00 | 123379.20 | SA Enterprises
20.00 | Supply of 12 V, 88 AH lead-acid Battery for required output voltage sealed and complete with intercell connectors, filter vent plugs, etc., complete as required. | 1.00 | Each |  | 8000.00 | 8000.00 | 7392.00 | 7392.00 | 6451.00 | 6451.00 | 9090.00 | 9090.00 | 6929.00 | 6929.00 | 8330.00 | 8330.00 | 6000.00 | 6000.00 | 6500.00 | 6500.00 | 6699.00 | 6699.00 | 7990.00 | 7990.00 | 12500.00 | 12500.00 | 6930.00 | 6930.00 | 6000.00 | SKYLINE ENGINEERS
| Total in Figures |  |  |  |  | 1091825.00 |  | 1249999.00 |  | 1184641.00 |  | 1743326.00 |  | 1157093.00 |  | 1060262.72 |  | 952310.00 |  | 1112355.00 |  | 1141852.00 |  | 1469740.00 |  | 1861600.00 |  | 1205958.70
Lowest Amount Quoted BY: SKYLINE ENGINEERS(952310.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC OF LED LIGHTING FOR REST ROOM GATE 1 GATE2 CANOPY AT VISAKHAPATNAM AIRPORT Tender ID: 2021_AAI_69777_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SKYLINE ENGINEERS | 952310.00 | L1
| 2 | SA Enterprises | 1060262.72 | L2
| 3 | Shantha ELectricals and Engineers Pvt Ltd | 1091825.00 | L3
| 4 | Awasthi Electric Works | 1112355.00 | L4
| 5 | Yash Energy Pvt. Ltd | 1141852.00 | L5
| 6 | BHAGYASRI ELECTRICAL WORKS | 1157093.00 | L6
| 7 | switchgearcontrols | 1184641.00 | L7
| 8 | SREE KRISHNA ENTERPRISES | 1205958.70 | L8
| 9 | INDUSTRIAL ELECTRICALS AND CONTROLS | 1249999.00 | L9
| 10 | QUALITY ENGINEERING SERVICES | 1469740.00 | L10
| 11 | MEPF INFRA | 1743326.00 | L11
| 12 | ANIL KESAV CONTRACTORS | 1861600.00 | L12