## BoQ1
Government eProcurement System Created By: DEEPAK GARG Created Date/Time: 26-Feb-2021 06:41 PM Tender Title: Replacement of existing PAPI and wind direction indicator at Lilabari Airport Tender ID: 2021_AAI_69797_1
Tender Inviting Authority: Airport Authority of India
Name of Work: Replacement of existing PAPI & wind direction indicator at Lilabari Airport.
Contract No: 2021_AAI_69797 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMA Private Limited(GSTN-27AAACA1016F1ZE) |  | Vardhman Airport Solutions Pvt Ltd(GSTN-07AAECN5914F1ZK) |  | DEEPAKELECTRICALS(GSTN-33ALUPD3531C1ZI) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of 3 Lamp PAPI fitting unit (01 Set = 4 units) ready for installation suitable for 200W/6.6A halogen lamp including lamps, clear lenses, red filters, breakable coupling, legs, secondary leads, base plates with all standard accessories etc complete as required. The photometrics of the fitting arrangement shall confirm to ICAO annex 14 vol 1 and relevant DGCA CAR standards, specifications as per the requirements with suitable concreate pedestal, levelling the surface as required, interconnection, testing and commissioning i/c ground calibration etc. complete as required & as per the direction of EIC.
1.10 | PAPI fitting unit (01 Set = 4 units) | 2.00 | SET | 0.00 | 575000.00 | 1150000.00 | 536250.00 | 1072500.00 | 595000.00 | 1190000.00 | 701964.00 | 1403928.00 | 1072500.00 | Vardhman Airport Solutions Pvt Ltd
2.00 | SITC of LED illuminated Wind Direction Indicator (WDI) assembly complete with frangible lattice structure made of fibre glass material as per IS 875 (Part III), of 5 meter height, Light Assembly with 4 X 20W outdoor type LED light fixture and 1 No. of LED aviation obstruction light suitable for operation on 230V, 50Hz, single phase AC supply, drum, windsock, hinged arrangement provided at the middle or bottom of the lattice structure which can be tilted down for maintenance, suitable foundation with foundation bolts, outdoor junction box with 6A DP MCB, interconnection using PVC insulated copper wires, etc. complete as per specifications and as required including Earthing with G.I. earth pipe 2.75 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required and Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe with suitable concreate pedestal, interconnection testing and commissioning etc. & confirming to ICAO annex- 14 vol 1 and relevant DGCA CAR standards, complete as required as per the direction of EIC.
2.10 | Wind direction indicator | 1.00 | SET | 0.00 | 285000.00 | 285000.00 | 208565.00 | 208565.00 | 600000.00 | 600000.00 | 240000.00 | 240000.00 | 208565.00 | Vardhman Airport Solutions Pvt Ltd
3.00 | Dismantling the existing/PAPI units & submitting the dismantled materials to AAI store as per direction & satisfaction of EIC complete in all respect.
3.10 | PAPI fitting unit (01 Set = 4 units) | 2.00 | SET | 0.00 | 60000.00 | 120000.00 | 500.00 | 1000.00 | 3500.00 | 7000.00 | 20000.00 | 40000.00 | 1000.00 | Vardhman Airport Solutions Pvt Ltd
4.00 | Dismantling the existing/Wind Direction indicator & submitting the dismantled materials to AAI store as per direction & satisfaction of EIC complete in all respect.
4.10 | Wind direction indicator | 1.00 | SET | 0.00 | 9000.00 | 9000.00 | 500.00 | 500.00 | 4000.00 | 4000.00 | 10000.00 | 10000.00 | 500.00 | Vardhman Airport Solutions Pvt Ltd
5.00 | Supply of Checking stick base for PAPI. | 4.00 | SET | 0.00 | 2200.00 | 8800.00 | 5000.00 | 20000.00 | 6000.00 | 24000.00 | 3000.00 | 12000.00 | 8800.00 | AMA Private Limited
6.00 | Supply of Clino meter for PAPI with Third party calibration certificate from OEM. | 1.00 | SET | 0.00 | 50000.00 | 50000.00 | 142485.00 | 142485.00 | 49000.00 | 49000.00 | 60000.00 | 60000.00 | 49000.00 | DEEPAKELECTRICALS
| Total in Figures |  |  |  |  | 1622800.00 |  | 1445050.00 |  | 1874000.00 |  | 1765928.00
Lowest Amount Quoted BY: Vardhman Airport Solutions Pvt Ltd(1445050.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of existing PAPI and wind direction indicator at Lilabari Airport Tender ID: 2021_AAI_69797_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Vardhman Airport Solutions Pvt Ltd | 1445050.00 | L1
| 2 | AMA Private Limited | 1622800.00 | L2
| 3 | Manish Electricals | 1765928.00 | L3
| 4 | DEEPAKELECTRICALS | 1874000.00 | L4