## BoQ1
Government eProcurement System Created By: Duja Nayak Jatothu Created Date/Time: 08-Mar-2021 04:24 PM Tender Title: Renovation of Fire Station Building at Begumpet Airport Hyderabad. Sub Head- Rewiring and Air-conditioning works Tender ID: 2021_AAI_69962_1
Tender Inviting Authority: Jt.General Manager(E-E), AAI, Begumpet Airport.
Name of Work: Renovation of Fire Station Building at Begumpet Airport, Hyderabad. Sub Head: Rewiring and Air-conditioning works.
Contract No: 2021_AAI_69962_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED(GSTN-36AACCJ7269H1Z9) |  | Fedin Engineering Pvt. Ltd.(GSTN-07AADCF0896P1Z1) |  | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | Standard Airconditioning and Refrigeration Engineers(GSTN-36ACIPM4401B1Z5) |  | General Electricals and Refrigeration(GSTN-36AAGFG4251M1Z7) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLSH PVC insulated copper conductor single core cable etc as required. Group C. | 106.00 | Points |  | 945.00 | 100170.00 | 1105.00 | 117130.00 | 750.00 | 79500.00 | 1200.00 | 127200.00 | 1048.00 | 111088.00 | 900.00 | 95400.00 | 120.00 | 12720.00 | 12720.00 | VOLKS ENERGIE PVT LTD
2.00 | Wiring for twin control light point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, 2 way modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLSH PVC insulated copper conductor single core cable etc as required. (Stair case) | 2.00 | Points |  | 960.00 | 1920.00 | 1110.00 | 2220.00 | 700.00 | 1400.00 | 1500.00 | 3000.00 | 1075.00 | 2150.00 | 950.00 | 1900.00 | 150.00 | 300.00 | 300.00 | VOLKS ENERGIE PVT LTD
3.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. a). 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 820.00 | Mtrs |  | 155.00 | 127100.00 | 190.00 | 155800.00 | 120.00 | 98400.00 | 145.00 | 118900.00 | 159.00 | 130380.00 | 100.00 | 82000.00 | 210.00 | 172200.00 | 82000.00 | General Electricals and Refrigeration
4.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. a) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 1100.00 | Mtrs |  | 170.00 | 187000.00 | 210.00 | 231000.00 | 150.00 | 165000.00 | 170.00 | 187000.00 | 191.00 | 210100.00 | 150.00 | 165000.00 | 270.00 | 297000.00 | 165000.00 | General Electricals and Refrigeration, M/s LEESHA ELECTRICALS
5.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. a) 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 1000.00 | Mtrs |  | 205.00 | 205000.00 | 240.00 | 240000.00 | 200.00 | 200000.00 | 225.00 | 225000.00 | 231.00 | 231000.00 | 170.00 | 170000.00 | 280.00 | 280000.00 | 170000.00 | General Electricals and Refrigeration
6.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. a) 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | 80.00 | Mtrs |  | 450.00 | 36000.00 | 490.00 | 39200.00 | 600.00 | 48000.00 | 400.00 | 32000.00 | 521.00 | 41680.00 | 230.00 | 18400.00 | 440.00 | 35200.00 | 18400.00 | General Electricals and Refrigeration
7.00 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable and 1.5 sq.mm FRLSH PVC Insulated copper conductor single core cable as earth wire in existing surface/ recessed steel conduit including dismantling as required. Group C | 25.00 | Points |  | 595.00 | 14875.00 | 595.00 | 14875.00 | 400.00 | 10000.00 | 700.00 | 17500.00 | 658.00 | 16450.00 | 900.00 | 22500.00 | 120.00 | 3000.00 | 3000.00 | VOLKS ENERGIE PVT LTD
8.00 | Supplying and drawing following sizes of FRLSH PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. a). 3 x 1.5 sq. mm | 250.00 | Mtrs |  | 61.00 | 15250.00 | 50.00 | 12500.00 | 50.00 | 12500.00 | 55.00 | 13750.00 | 67.00 | 16750.00 | 100.00 | 25000.00 | 90.00 | 22500.00 | 12500.00 | Fedin Engineering Pvt. Ltd., M/s LEESHA ELECTRICALS
9.00 | Supplying and drawing following sizes of FRLSH PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. a). 3 x 2.5 sq. mm | 200.00 | Mtrs |  | 96.00 | 19200.00 | 65.00 | 13000.00 | 80.00 | 16000.00 | 80.00 | 16000.00 | 99.00 | 19800.00 | 160.00 | 32000.00 | 130.00 | 26000.00 | 13000.00 | Fedin Engineering Pvt. Ltd.
10.00 | Supplying and drawing following sizes of FRLSH PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. a). 3 x 4 sq. mm | 200.00 | Mtrs |  | 138.00 | 27600.00 | 105.00 | 21000.00 | 110.00 | 22000.00 | 110.00 | 22000.00 | 146.00 | 29200.00 | 180.00 | 36000.00 | 160.00 | 32000.00 | 21000.00 | Fedin Engineering Pvt. Ltd.
11.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 108.00 | Each |  | 399.00 | 43092.00 | 370.00 | 39960.00 | 350.00 | 37800.00 | 260.00 | 28080.00 | 437.00 | 47196.00 | 350.00 | 37800.00 | 275.00 | 29700.00 | 28080.00 | Awasthi Electric Works
12.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 42.00 | Each |  | 500.00 | 21000.00 | 460.00 | 19320.00 | 450.00 | 18900.00 | 325.00 | 13650.00 | 546.00 | 22932.00 | 700.00 | 29400.00 | 335.00 | 14070.00 | 13650.00 | Awasthi Electric Works
13.00 | Supply of 20W LED fixture is suitable for Efficacy of 100 lm/w,Protected with IP 20, surface/ wall mounting Extruded aluminium/CRCA/Standard Alloy housing provided with efficient Electronic driver. LED luminaire shall be suitable for 230 V ±10%, 50Hz. 1-Phase AC supply as required. | 32.00 | Each |  | 800.00 | 25600.00 | 1485.00 | 47520.00 | 350.00 | 11200.00 | 380.00 | 12160.00 | 645.00 | 20640.00 | 800.00 | 25600.00 | 450.00 | 14400.00 | 11200.00 | M/s LEESHA ELECTRICALS
14.00 | Supply of 25W LED fixture is suitable for Efficacy of 100 lm/w, Protected with IP20, ceiling mounting ,Extruded aluminium/CRCA/Standard Alloy housing provided with efficient Electronic driver. LED luminaire shall be suitable for 230 V ±10%, 50Hz. 1-Phase AC supply as required. | 25.00 | Each |  | 3998.00 | 99950.00 | 1860.00 | 46500.00 | 1500.00 | 37500.00 | 4450.00 | 111250.00 | 3100.00 | 77500.00 | 1600.00 | 40000.00 | 1350.00 | 33750.00 | 33750.00 | VOLKS ENERGIE PVT LTD
15.00 | Supply of 36W LED fixture Suitable for Efficacy 100 lm/w, Protected with IP20, Ceiling suspended type,Extruded aluminium/CRCA/Standard Alloy housing provided with efficient Electronic driver. LED luminaire shall be suitable for 230 V ± 10%, 50Hz. 1-Phase AC supply as required. | 8.00 | Each |  | 5300.00 | 42400.00 | 2675.00 | 21400.00 | 3000.00 | 24000.00 | 5400.00 | 43200.00 | 3600.00 | 28800.00 | 2500.00 | 20000.00 | 4500.00 | 36000.00 | 20000.00 | General Electricals and Refrigeration
16.00 | Supply of 36W LED fixture is Suitable for efficacy of 100 lm/w, protected with IP 20, Armstrong/grid ceiling mounting Extruded aluminium/CRCA/Standard Alloy housing provided with efficient Electronic driver. LED luminaire shall be suitable for 230 V ± 10%, 50Hz. 1-Phase AC supply as required. | 10.00 | Each |  | 1950.00 | 19500.00 | 2675.00 | 26750.00 | 3000.00 | 30000.00 | 5400.00 | 54000.00 | 1975.00 | 19750.00 | 2500.00 | 25000.00 | 4500.00 | 45000.00 | 19500.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
17.00 | Supply & fixing of 100W LED flood light, Efficacy of 110 lm/w , IP65 protection , High pressured die-cast aluminum/standerd Alloy housing provided with efficient Electronic driver. LED luminaire shall be suitable for 230 V ±10%, 50Hz. 1-Phase AC supply as required.Including suitable Anchor fastener, wiring (upto 2.0mtrs) with 3x2.5 Sq.mm copper conductor and complete as required. | 5.00 | Each |  | 6650.00 | 33250.00 | 5580.00 | 27900.00 | 4000.00 | 20000.00 | 6000.00 | 30000.00 | 6500.00 | 32500.00 | 11000.00 | 55000.00 | 4750.00 | 23750.00 | 20000.00 | M/s LEESHA ELECTRICALS
18.00 | Supply & fixing of 120W LED Efficacy of 110 lm/w , IP65 protection ,Surface/ Suspended mounting, High pressured die-cast aluminum/standerd Alloy housing provided with efficient Electronic driver. LED luminaire shall be suitable for 230 V ±10%, 50Hz. 1-Phase AC supply as required.Including suitable Anchor fastener, wiring (upto 2.0mtrs) with 3x2.5 Sq.mm copper conductor and complete as required. | 14.00 | Each |  | 8900.00 | 124600.00 | 6695.00 | 93730.00 | 5500.00 | 77000.00 | 6305.00 | 88270.00 | 8286.00 | 116004.00 | 11650.00 | 163100.00 | 5200.00 | 72800.00 | 72800.00 | VOLKS ENERGIE PVT LTD
19.00 | Supply & fixing of 300W LED flood light, Efficacy of 110 lm/w , IP65 protection , High pressured die-cast aluminum/standerd Alloy housing provided with efficient Electronic driver. LED luminaire shall be suitable for 230 V ±10%, 50Hz. 1-Phase AC supply as required.Including suitable Anchor fastener, wiring (upto 2.0mtrs) with 3x2.5 Sq.mm copper conductor and complete as required. | 12.00 | Each |  | 10150.00 | 121800.00 | 13955.00 | 167460.00 | 12000.00 | 144000.00 | 13000.00 | 156000.00 | 12900.00 | 154800.00 | 26000.00 | 312000.00 | 16500.00 | 198000.00 | 121800.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
20.00 | Supply of wall fan of 400mm swing, 1350 RPM with control ON-OFF, variable speed modes, oscillation control, hight adjustable, balanced 3 leaf suitable for operation on 230volts, 50hz, AC power supply etc as required. | 20.00 | Each |  | 1990.00 | 39800.00 | 18605.00 | 372100.00 | 3500.00 | 70000.00 | 2300.00 | 46000.00 | 2200.00 | 44000.00 | 2400.00 | 48000.00 | 1800.00 | 36000.00 | 36000.00 | VOLKS ENERGIE PVT LTD
21.00 | Supply of 300mm , 1400RPM Heavy Duty Exhaust fan with 4 blades, bird protective guard and all other required accessories suitable for working at 230Volts, 50HZ, single phase, AC supply etc. as required. | 3.00 | Each |  | 2750.00 | 8250.00 | 1950.00 | 5850.00 | 3500.00 | 10500.00 | 2330.00 | 6990.00 | 2800.00 | 8400.00 | 2800.00 | 8400.00 | 2400.00 | 7200.00 | 5850.00 | Fedin Engineering Pvt. Ltd.
22.00 | Supply of 48" (1200mm) , 5 star rated ceiling fan with double ball bearing suitable for operation on 230V,50Hz, AC Supply complete with motor,canopy,blades,stadardlength of down rod and other required accessories etc.as required. (Without fan regulator). | 15.00 | Each |  | 1900.00 | 28500.00 | 2790.00 | 41850.00 | 2500.00 | 37500.00 | 2400.00 | 36000.00 | 2600.00 | 39000.00 | 2800.00 | 42000.00 | 2100.00 | 31500.00 | 28500.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
23.00 | Supplying and fixing 3 pin, 5 amp ceiling rose on the existing junction box/ wooden block including connection etc as required. | 106.00 | Each |  | 75.00 | 7950.00 | 60.00 | 6360.00 | 60.00 | 6360.00 | 35.00 | 3710.00 | 35.00 | 3710.00 | 45.00 | 4770.00 | 45.00 | 4770.00 | 3710.00 | Awasthi Electric Works, Standard Airconditioning and Refrigeration Engineers
24.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLSH PVC insulated, copper conductor, single core cable etc. as required. | 11.00 | Each |  | 145.00 | 1595.00 | 135.00 | 1485.00 | 100.00 | 1100.00 | 80.00 | 880.00 | 160.00 | 1760.00 | 150.00 | 1650.00 | 240.00 | 2640.00 | 880.00 | Awasthi Electric Works
25.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 11.00 | Each |  | 41.00 | 451.00 | 315.00 | 3465.00 | 350.00 | 3850.00 | 320.00 | 3520.00 | 307.00 | 3377.00 | 400.00 | 4400.00 | 75.00 | 825.00 | 451.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
26.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. a) Upto 450 mm sweep | 3.00 | Each |  | 295.00 | 885.00 | 230.00 | 690.00 | 200.00 | 600.00 | 100.00 | 300.00 | 250.00 | 750.00 | 350.00 | 1050.00 | 300.00 | 900.00 | 300.00 | Awasthi Electric Works
27.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting/LED fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLSH PVC insulated, copper conductor, single core cable and earthing etc. as required. | 94.00 | Each |  | 140.00 | 13160.00 | 230.00 | 21620.00 | 150.00 | 14100.00 | 50.00 | 4700.00 | 140.00 | 13160.00 | 100.00 | 9400.00 | 220.00 | 20680.00 | 4700.00 | Awasthi Electric Works
28.00 | Dismantling of existing wires/Ceiling fan/ exhaust Fan/switch board including shifting of materials to AAI store as per the EIC instructions etc., as required | 4.00 | Job |  | 1900.00 | 7600.00 | 135.00 | 540.00 | 1000.00 | 4000.00 | 500.00 | 2000.00 | 2100.00 | 8400.00 | 2000.00 | 8000.00 | 350.00 | 1400.00 | 540.00 | Fedin Engineering Pvt. Ltd.
29.00 | Supplying and fixing 8 way (4+24), Double Door, three pole and neutral, Vertical Loadline, prewired, sheet steel, MCB distribution board, 415 volts, on surface/recess, complete with loose wire box, terminal blocks, duly prewired with suitable size FRLSH PVC insulated copper busbar, neutral link, earth bar, din bar, detachable gland plate, interconnections and powder painted including earthing etc. as required.(But without MCB/RCCB/Isolator) | 4.00 | Each |  | 8558.00 | 34232.00 | 5145.00 | 20580.00 | 9000.00 | 36000.00 | 9000.00 | 36000.00 | 8067.00 | 32268.00 | 14000.00 | 56000.00 | 5000.00 | 20000.00 | 20000.00 | VOLKS ENERGIE PVT LTD
30.00 | Supplying and fixing 4 way (4+12), Double Door, three pole and neutral, Vertical Loadline, prewired, sheet steel, MCB distribution board, 415 volts, on surface/recess, complete with loose wire box, terminal blocks, duly prewired with suitable size FRLSH PVC insulated copper busbar, neutral link, earth bar, din bar, detachable gland plate, interconnections and powder painted including earthing etc. as required.(But without MCB/RCCB/Isolator) | 3.00 | Each |  | 6400.00 | 19200.00 | 3675.00 | 11025.00 | 8000.00 | 24000.00 | 7500.00 | 22500.00 | 6720.00 | 20160.00 | 12000.00 | 36000.00 | 3000.00 | 9000.00 | 9000.00 | VOLKS ENERGIE PVT LTD
31.00 | Supplying and fixing 6 A to 32 A rating, single pole, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 144.00 | Each |  | 437.00 | 62928.00 | 185.00 | 26640.00 | 250.00 | 36000.00 | 180.00 | 25920.00 | 260.00 | 37440.00 | 180.00 | 25920.00 | 150.00 | 21600.00 | 21600.00 | VOLKS ENERGIE PVT LTD
32.00 | Supplying and fixing of 63A rating, four pole, 415 volts, MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 7.00 | Each |  | 1365.00 | 9555.00 | 1015.00 | 7105.00 | 1700.00 | 11900.00 | 1200.00 | 8400.00 | 1550.00 | 10850.00 | 1900.00 | 13300.00 | 1350.00 | 9450.00 | 7105.00 | Fedin Engineering Pvt. Ltd.
33.00 | Supply of 4 Core x 16 mm2 XLPE insulated and PVC sheathed Aluminium conductor armoured power cable of 1.1KV grade confirming to relevant IS 1554 / IS 7098 with upto date amendments etc, as required. | 300.00 | Mtrs |  | 120.00 | 36000.00 | 185.00 | 55500.00 | 140.00 | 42000.00 | 110.00 | 33000.00 | 128.00 | 38400.00 | 600.00 | 180000.00 | 150.00 | 45000.00 | 33000.00 | Awasthi Electric Works
34.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. A). Upto 35 sq. mm (clamped with 1mm thick saddle) | 280.00 | Mtrs |  | 40.00 | 11200.00 | 55.00 | 15400.00 | 30.00 | 8400.00 | 80.00 | 22400.00 | 48.00 | 13440.00 | 50.00 | 14000.00 | 85.00 | 23800.00 | 8400.00 | M/s LEESHA ELECTRICALS
35.00 | Supplying and Making end termination with brass compression gland and aluminium lugs for following PVC insulated and PVC sheathed / XLPE insulated 1.1KV grade cables as required. a ) 4 Core x 16 Sq. mm | 24.00 | Set |  | 230.00 | 5520.00 | 275.00 | 6600.00 | 250.00 | 6000.00 | 180.00 | 4320.00 | 280.00 | 6720.00 | 300.00 | 7200.00 | 250.00 | 6000.00 | 4320.00 | Awasthi Electric Works
36.00 | Supply and fixing of SMC Junction Box (size:240X130X95mm) out door type on wall including suitable 4 Way connector and 6A MCB etc., as required. | 12.00 | Each |  | 1270.00 | 15240.00 | 3255.00 | 39060.00 | 1200.00 | 14400.00 | 2000.00 | 24000.00 | 1600.00 | 19200.00 | 1400.00 | 16800.00 | 500.00 | 6000.00 | 6000.00 | VOLKS ENERGIE PVT LTD
37.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, SP MCB in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 6.00 | Each |  | 1100.00 | 6600.00 | 1145.00 | 6870.00 | 1500.00 | 9000.00 | 1000.00 | 6000.00 | 1206.00 | 7236.00 | 850.00 | 5100.00 | 1700.00 | 10200.00 | 5100.00 | General Electricals and Refrigeration
38.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but with charcoal/ coke and salt ) as required. | 4.00 | Set |  | 4900.00 | 19600.00 | 4935.00 | 19740.00 | 6000.00 | 24000.00 | 5500.00 | 22000.00 | 6100.00 | 24400.00 | 6500.00 | 26000.00 | 18500.00 | 74000.00 | 19600.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
39.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. himble excavation and re-filling as required. | 40.00 | Mtrs |  | 179.00 | 7160.00 | 170.00 | 6800.00 | 200.00 | 8000.00 | 120.00 | 4800.00 | 220.00 | 8800.00 | 160.00 | 6400.00 | 400.00 | 16000.00 | 4800.00 | Awasthi Electric Works
40.00 | Supply, Installing, Testing and Commissioning of 1.5 TR 5 star rated inverter type Split Air conditioner fitted with hermetically sealed compressor operating on refrigerant R-32/R-410A suitable for wall mounting as per manufacturer recommendation, suitable for operation on 230 V ,50Hz, 1- Ph AC Supply capable of performing following function complete etc. as required at site a) cooling b) Dehumidifying c) Air circulating d)Filtering e) Remote controlling including providing standard length of refrigerant pipe, drainage pipe and cable including fixing the outdoor unit on a fabricated MS stand/wall Bracket/Brick foundation as per the site requirement . | 6.00 | Each |  | 44800.00 | 268800.00 | 37215.00 | 223290.00 | 42000.00 | 252000.00 | 42300.00 | 253800.00 | 42900.00 | 257400.00 | 40000.00 | 240000.00 | 45000.00 | 270000.00 | 223290.00 | Fedin Engineering Pvt. Ltd.
41.00 | Supply and Installation of following copper pipe for suction and delivery line with all accessories suitable for 1-phase, 1.5TR Split AC's i/c Insulation, power & Control cabling etc. as required. a) Insulated copper pipe - Liquid line b) Insulated copper pipe - Suction c) 3C X 2.5 sqmm copper conductor cable d) Insulation Foam tubing for covering the refrigerant lines in (a) & (b) e) Suitable size of casing and capping/PVC pipe for covering the refrigerant line of above (a),(b) & (c) | 20.00 | Mtrs |  | 1000.00 | 20000.00 | 930.00 | 18600.00 | 800.00 | 16000.00 | 1100.00 | 22000.00 | 1150.00 | 23000.00 | 800.00 | 16000.00 | 1100.00 | 22000.00 | 16000.00 | General Electricals and Refrigeration, M/s LEESHA ELECTRICALS
42.00 | Supply, installation, testing and commissioning of wall mounting type, 4 KVA Capacity, single phase, automatic line voltage stabilzer, suitable operation on 170 volts to 270 volts AC input ,200 volts to 240 volts AC output, single phase, 50Hz AC power supply with built in time delay, high voltage cut off, and low voltage cut off at 145 volts and input/output/trip indications and suitable for application of 1.5 Ton Air conditioning unit etc. as required. | 6.00 | Each |  | 1300.00 | 7800.00 | 3720.00 | 22320.00 | 2500.00 | 15000.00 | 3000.00 | 18000.00 | 1420.00 | 8520.00 | 2700.00 | 16200.00 | 2200.00 | 13200.00 | 7800.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
43.00 | Supply and Installation of following size CPVC pipe for drain line with all accessories, etc. as required. a) 20 mm dia (for 1.5TR AC) | 18.00 | Mtrs |  | 100.00 | 1800.00 | 135.00 | 2430.00 | 100.00 | 1800.00 | 60.00 | 1080.00 | 120.00 | 2160.00 | 130.00 | 2340.00 | 160.00 | 2880.00 | 1080.00 | Awasthi Electric Works
44.00 | SITC of Water Cooler with inbuilt RO based 7 stage water purification system with capacity 80 Ltrs (cooler storage capacity) and 50 LPH (purification capacity) having two faucets, gas as refrigerant and compressor complete with all accessories and standard manufacture design suitable for operation on 230 +/- 10 V, 50 Hz, AC supply etc. complete as required. | 2.00 | Each |  | 72500.00 | 145000.00 | 102340.00 | 204680.00 | 72000.00 | 144000.00 | 85000.00 | 170000.00 | 68700.00 | 137400.00 | 75000.00 | 150000.00 | 98300.00 | 196600.00 | 137400.00 | Standard Airconditioning and Refrigeration Engineers
| Total in Figures |  |  |  |  | 2044133.00 |  | 2477865.00 |  | 1849710.00 |  | 2077280.00 |  | 2098671.00 |  | 2295030.00 |  | 2200035.00
Lowest Amount Quoted BY: M/s LEESHA ELECTRICALS(1849710.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Fire Station Building at Begumpet Airport Hyderabad. Sub Head- Rewiring and Air-conditioning works Tender ID: 2021_AAI_69962_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s LEESHA ELECTRICALS | 1849710.00 | L1
| 2 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED | 2044133.00 | L2
| 3 | Awasthi Electric Works | 2077280.00 | L3
| 4 | Standard Airconditioning and Refrigeration Engineers | 2098671.00 | L4
| 5 | VOLKS ENERGIE PVT LTD | 2200035.00 | L5
| 6 | General Electricals and Refrigeration | 2295030.00 | L6
| 7 | Fedin Engineering Pvt. Ltd. | 2477865.00 | L7