## BoQ1
Government eProcurement System Created By: BALAKRISHNAN ARUMUKHOM Created Date/Time: 12-Apr-2021 12:41 PM Tender Title: Development of Belagavi Airport SH Construction of Localizer Platform over pile foundation and Extension of DVOR building including internal electrification work at Belagavi Airport Tender ID: 2021_AAI_70034_1
Tender Inviting Authority: Asstt. General Manager (Engg-Civil), AAI, Belagavi Airport, Belagavi-591124
Name of Work: Development of Belagavi Airport.S.H.: Construction of Localizer Platform over pile foundation and Extension of DVOR building including internal electrification work at Belagavi Airport
Contract No: 2021_AAI_70034_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | KVR CONSTRUCTIONS(GSTN-29AVPPK2429M1ZX) |  | M/S ANIL ANNASAHEB PATIL(GSTN-29AARFA7062P1ZK) |  | VEL ASSOCIATES(GSTN-33AKIPM3992K1ZP) |  | Aruljothi Infrastructure Private Limited(GSTN-33AAMCA6510A2Z9) |  | VISHVESHWARA ENTERPRISE(GSTN-27AGFPP8886J1ZI) |  | M/S SAI VISHNU CONSTRUCTIONS(GSTN-37ADCFS4391P1ZC) |  | prime constructions(GSTN-27AABFP2480L1Z1) |  | Fermium Constructions LLP(GSTN-06AADFF1864C1ZU) |  | V B PILE & CONSTRUCTIONS(GSTN-NA) |  | THANDON INFRASTRUCTURE PVT LTD(GSTN-NA) |  | S.B. CONSTRUCTION(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SUB HEAD-I : CIVIL WORKS
1.01 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 116.00 | cum |  | 1800.00 | 208800.00 | 1500.00 | 174000.00 | 2000.00 | 232000.00 | 2350.00 | 272600.00 | 2000.00 | 232000.00 | 2534.70 | 294025.20 | 850.00 | 98600.00 | 1500.00 | 174000.00 | 2200.00 | 255200.00 | 680.00 | 78880.00 | 1685.00 | 195460.00 | 78880.00 | THANDON INFRASTRUCTURE PVT LTD
2.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge: Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 122.00 | cum |  | 1800.00 | 219600.00 | 1000.00 | 122000.00 | 1100.00 | 134200.00 | 950.00 | 115900.00 | 1800.00 | 219600.00 | 1072.80 | 130881.60 | 850.00 | 103700.00 | 1500.00 | 183000.00 | 1100.00 | 134200.00 | 374.00 | 45628.00 | 1685.00 | 205570.00 | 45628.00 | THANDON INFRASTRUCTURE PVT LTD
3.00 | Boring, providing and installation bored cast-in-situ reinforced cement concrete piles of grade M-25 of specified diameter and length below the pile cap, to carry a safe working load not less than specified, excluding the cost of steel reinforcement but including the cost of boring with bentonite solution and temporary casing of appropriate length for setting out and removal of same and the length of the pile to be embedded in the pile cap etc. by percussion drilling using Direct mud circulation (DMC) or Bailer and chisel technique by tripod and mechanical Winch Machine all complete, including removal of excavated earth with all its lifts and leads (length of pile for payment shall be measured up to bottom of pile cap): 750mm dia. Note: Truck Mounted rotary/TMR/Tubewell boring machine shall not be used. | 780.00 | M |  | 7199.00 | 5615220.00 | 6000.00 | 4680000.00 | 5500.00 | 4290000.00 | 5550.00 | 4329000.00 | 6620.00 | 5163600.00 | 4500.00 | 3510000.00 | 6000.00 | 4680000.00 | 6500.00 | 5070000.00 | 7800.00 | 6084000.00 | 4680.00 | 3650400.00 | 9856.00 | 7687680.00 | 3510000.00 | M/S SAI VISHNU CONSTRUCTIONS
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level.1:5:10 (1 cement : 5 coarse sand (zone-III): 10 graded stone aggregate 40 mm nominal size). | 44.00 | cum |  | 4599.00 | 202356.00 | 5400.00 | 237600.00 | 5600.00 | 246400.00 | 5200.00 | 228800.00 | 5000.00 | 220000.00 | 5520.30 | 242893.20 | 4000.00 | 176000.00 | 4700.00 | 206800.00 | 5000.00 | 220000.00 | 5669.00 | 249436.00 | 5400.00 | 237600.00 | 176000.00 | prime constructions
5.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge.“(Note :- Cement content considered in this item is @ 330 kg/cum.“Excess/ less cement used as per design mix is payable/recoverable separately):All works upto plinth level | 52.00 | cum |  | 8199.00 | 426348.00 | 6400.00 | 332800.00 | 8500.00 | 442000.00 | 7500.00 | 390000.00 | 7200.00 | 374400.00 | 7997.30 | 415859.60 | 6200.00 | 322400.00 | 6500.00 | 338000.00 | 6500.00 | 338000.00 | 8521.00 | 443092.00 | 8450.00 | 439400.00 | 322400.00 | prime constructions
6.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 50544.00 | Kg |  | 72.00 | 3639168.00 | 83.00 | 4195152.00 | 95.00 | 4801680.00 | 84.00 | 4245696.00 | 63.00 | 3184272.00 | 70.00 | 3538080.00 | 84.00 | 4245696.00 | 70.00 | 3538080.00 | 76.00 | 3841344.00 | 80.00 | 4043520.00 | 71.00 | 3588624.00 | 3184272.00 | VISHVESHWARA ENTERPRISE
7.01 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : a) Foundations, footings, bases of columns, etc. for mass concrete | 292.00 | Sqm |  | 459.00 | 134028.00 | 284.85 | 83176.20 | 300.00 | 87600.00 | 300.00 | 87600.00 | 500.00 | 146000.00 | 284.85 | 83176.20 | 450.00 | 131400.00 | 400.00 | 116800.00 | 210.00 | 61320.00 | 415.00 | 121180.00 | 750.00 | 219000.00 | 61320.00 | V B PILE & CONSTRUCTIONS
7.02 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : b) Lintels, beams, plinth beams, girders, bressumers and cantilevers | 20.00 | Sqm |  | 459.00 | 9180.00 | 552.05 | 11041.00 | 600.00 | 12000.00 | 550.00 | 11000.00 | 525.00 | 10500.00 | 552.05 | 11041.00 | 450.00 | 9000.00 | 400.00 | 8000.00 | 210.00 | 4200.00 | 415.00 | 8300.00 | 810.00 | 16200.00 | 4200.00 | V B PILE & CONSTRUCTIONS
7.03 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : c) Weather shade, Chajjas, corbels etc., including edges | 2.00 | Sqm |  | 639.00 | 1278.00 | 766.75 | 1533.50 | 800.00 | 1600.00 | 800.00 | 1600.00 | 550.00 | 1100.00 | 766.75 | 1533.50 | 450.00 | 900.00 | 400.00 | 800.00 | 210.00 | 420.00 | 415.00 | 830.00 | 910.00 | 1820.00 | 420.00 | V B PILE & CONSTRUCTIONS
7.04 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : d) Suspended floors, roofs, landings, balconies and access platform | 52.00 | Sqm |  | 639.00 | 33228.00 | 693.05 | 36038.60 | 650.00 | 33800.00 | 720.00 | 37440.00 | 575.00 | 29900.00 | 693.05 | 36038.60 | 450.00 | 23400.00 | 400.00 | 20800.00 | 210.00 | 10920.00 | 415.00 | 21580.00 | 910.00 | 47320.00 | 10920.00 | V B PILE & CONSTRUCTIONS
8.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.: Hot finished welded type tubes. | 40764.00 | Kg |  | 126.00 | 5136264.00 | 124.00 | 5054736.00 | 110.00 | 4484040.00 | 145.00 | 5910780.00 | 115.00 | 4687860.00 | 120.00 | 4891680.00 | 99.00 | 4035636.00 | 100.00 | 4076400.00 | 125.00 | 5095500.00 | 83.00 | 3383412.00 | 95.00 | 3872580.00 | 3383412.00 | THANDON INFRASTRUCTURE PVT LTD
9.00 | Providing and operating the J.C.B. for levelling, cutting etc. at the operational area including transportation to and from the site of operation fuel charges, driver charges and any other incidental expenses on this account all etc. as directed by EIC (Only working hour will be counted for payment). | 50.00 | Hour |  | 999.00 | 49950.00 | 1150.00 | 57500.00 | 1200.00 | 60000.00 | 900.00 | 45000.00 | 1000.00 | 50000.00 | 1200.00 | 60000.00 | 1000.00 | 50000.00 | 800.00 | 40000.00 | 750.00 | 37500.00 | 1170.00 | 58500.00 | 1200.00 | 60000.00 | 37500.00 | V B PILE & CONSTRUCTIONS
10.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 22.00 | Sqm |  | 180.00 | 3960.00 | 350.00 | 7700.00 | 150.00 | 3300.00 | 100.00 | 2200.00 | 200.00 | 4400.00 | 94.05 | 2069.10 | 60.00 | 1320.00 | 100.00 | 2200.00 | 1100.00 | 24200.00 | 74.00 | 1628.00 | 1845.00 | 40590.00 | 1320.00 | prime constructions
11.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 1.00 | Each |  | 500.00 | 500.00 | 1000.00 | 1000.00 | 300.00 | 300.00 | 290.00 | 290.00 | 1000.00 | 1000.00 | 274.50 | 274.50 | 100.00 | 100.00 | 200.00 | 200.00 | 100.00 | 100.00 | 59.00 | 59.00 | 1000.00 | 1000.00 | 59.00 | THANDON INFRASTRUCTURE PVT LTD
12.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 1.00 | Cum |  | 1000.00 | 1000.00 | 500.00 | 500.00 | 1500.00 | 1500.00 | 1200.00 | 1200.00 | 1000.00 | 1000.00 | 1469.90 | 1469.90 | 850.00 | 850.00 | 1000.00 | 1000.00 | 200.00 | 200.00 | 351.00 | 351.00 | 1450.00 | 1450.00 | 200.00 | V B PILE & CONSTRUCTIONS
13.00 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 28.00 | Cum |  | 279.00 | 7812.00 | 360.00 | 10080.00 | 280.00 | 7840.00 | 240.00 | 6720.00 | 250.00 | 7000.00 | 200.00 | 5600.00 | 180.00 | 5040.00 | 200.00 | 5600.00 | 130.00 | 3640.00 | 146.00 | 4088.00 | 180.00 | 5040.00 | 3640.00 | V B PILE & CONSTRUCTIONS
14.00 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : Cement mortar 1:6 (1 cement : 6 coarse sand) | 12.00 | Cum |  | 6300.00 | 75600.00 | 6400.00 | 76800.00 | 6200.00 | 74400.00 | 6400.00 | 76800.00 | 6000.00 | 72000.00 | 6120.80 | 73449.60 | 5000.00 | 60000.00 | 3500.00 | 42000.00 | 6000.00 | 72000.00 | 5161.00 | 61932.00 | 6542.00 | 78504.00 | 42000.00 | Fermium Constructions LLP
15.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 18.00 | Cum |  | 200.00 | 3600.00 | 80.00 | 1440.00 | 200.00 | 3600.00 | 200.00 | 3600.00 | 165.00 | 2970.00 | 200.00 | 3600.00 | 60.00 | 1080.00 | 200.00 | 3600.00 | 60.00 | 1080.00 | 156.00 | 2808.00 | 250.00 | 4500.00 | 1080.00 | V B PILE & CONSTRUCTIONS, prime constructions
16.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 2.00 | Cum |  | 1800.00 | 3600.00 | 1915.05 | 3830.10 | 2000.00 | 4000.00 | 2200.00 | 4400.00 | 600.00 | 1200.00 | 2000.00 | 4000.00 | 1800.00 | 3600.00 | 600.00 | 1200.00 | 600.00 | 1200.00 | 7886.00 | 15772.00 | 850.00 | 1700.00 | 1200.00 | V B PILE & CONSTRUCTIONS, VISHVESHWARA ENTERPRISE, Fermium Constructions LLP
17.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | 1.00 | Cum |  | 8199.00 | 8199.00 | 7000.00 | 7000.00 | 7500.00 | 7500.00 | 7900.00 | 7900.00 | 6500.00 | 6500.00 | 8500.00 | 8500.00 | 6200.00 | 6200.00 | 7000.00 | 7000.00 | 6000.00 | 6000.00 | 9559.00 | 9559.00 | 8956.00 | 8956.00 | 6000.00 | V B PILE & CONSTRUCTIONS
18.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 5.00 | Cum |  | 9999.00 | 49995.00 | 7500.00 | 37500.00 | 9000.00 | 45000.00 | 9500.00 | 47500.00 | 10000.00 | 50000.00 | 9700.00 | 48500.00 | 6200.00 | 31000.00 | 7000.00 | 35000.00 | 6000.00 | 30000.00 | 8600.00 | 43000.00 | 8956.00 | 44780.00 | 30000.00 | V B PILE & CONSTRUCTIONS
19.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 465.00 | Kg |  | 72.00 | 33480.00 | 84.00 | 39060.00 | 95.00 | 44175.00 | 84.00 | 39060.00 | 63.00 | 29295.00 | 70.00 | 32550.00 | 84.00 | 39060.00 | 75.00 | 34875.00 | 76.00 | 35340.00 | 78.00 | 36270.00 | 71.00 | 33015.00 | 29295.00 | VISHVESHWARA ENTERPRISE
20.00 | Providing and laying fly ash cement brick (compressive strength not less than 50Kg/sqcm) in foundation and plinth as per specification and direction of engineer in charge: Cement mortar 1:6 (1 cement : 6 coarse sand) | 5.00 | Cum |  | 9999.00 | 49995.00 | 7500.00 | 37500.00 | 7000.00 | 35000.00 | 6100.00 | 30500.00 | 6000.00 | 30000.00 | 7500.00 | 37500.00 | 7000.00 | 35000.00 | 5000.00 | 25000.00 | 5100.00 | 25500.00 | 5382.00 | 26910.00 | 7852.00 | 39260.00 | 25000.00 | Fermium Constructions LLP
21.00 | Providing and laying fly ash cement brick (compressive strength not less than 50Kg/sqcm) in superstructure above plinth level up to floor five level all as per specification and direction of engineer in charge: Cement mortar 1:6 (1 cement : 6 coarse sand) | 10.00 | Cum |  | 9999.00 | 99990.00 | 9000.00 | 90000.00 | 7500.00 | 75000.00 | 7200.00 | 72000.00 | 7000.00 | 70000.00 | 7500.00 | 75000.00 | 7000.00 | 70000.00 | 5500.00 | 55000.00 | 5100.00 | 51000.00 | 7523.00 | 75230.00 | 8120.00 | 81200.00 | 51000.00 | V B PILE & CONSTRUCTIONS
22.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 66.00 | Sqm |  | 369.00 | 24354.00 | 255.00 | 16830.00 | 300.00 | 19800.00 | 280.00 | 18480.00 | 380.00 | 25080.00 | 1600.00 | 105600.00 | 260.00 | 17160.00 | 200.00 | 13200.00 | 250.00 | 16500.00 | 277.00 | 18282.00 | 450.00 | 29700.00 | 13200.00 | Fermium Constructions LLP
23.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:6 (1 cement: 6 coarse sand) | 54.00 | Sqm |  | 369.00 | 19926.00 | 290.00 | 15660.00 | 350.00 | 18900.00 | 340.00 | 18360.00 | 400.00 | 21600.00 | 1700.00 | 91800.00 | 260.00 | 14040.00 | 300.00 | 16200.00 | 300.00 | 16200.00 | 277.00 | 14958.00 | 485.00 | 26190.00 | 14040.00 | prime constructions
24.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 48.00 | Sqm |  | 369.00 | 17712.00 | 225.00 | 10800.00 | 300.00 | 14400.00 | 260.00 | 12480.00 | 250.00 | 12000.00 | 1500.00 | 72000.00 | 260.00 | 12480.00 | 200.00 | 9600.00 | 210.00 | 10080.00 | 235.00 | 11280.00 | 385.00 | 18480.00 | 9600.00 | Fermium Constructions LLP
25.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 84.00 | Sqm |  | 181.00 | 15204.00 | 15.00 | 1260.00 | 20.00 | 1680.00 | 330.00 | 27720.00 | 50.00 | 4200.00 | 18.00 | 1512.00 | 60.00 | 5040.00 | 40.00 | 3360.00 | 150.00 | 12600.00 | 16.00 | 1344.00 | 85.00 | 7140.00 | 1260.00 | M/S ANIL ANNASAHEB PATIL
26.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : Water thinnable cement primer | 142.00 | Sqm |  | 181.00 | 25702.00 | 85.00 | 12070.00 | 80.00 | 11360.00 | 65.00 | 9230.00 | 60.00 | 8520.00 | 60.00 | 8520.00 | 40.00 | 5680.00 | 70.00 | 9940.00 | 75.00 | 10650.00 | 44.00 | 6248.00 | 160.00 | 22720.00 | 5680.00 | prime constructions
27.00 | Finishing walls with Asian Paints-Smart care damp proof or equivalent : New work (Two or more coat applied @ 4.30 ltr/10 sqm) | 142.00 | Sqm |  | 181.00 | 25702.00 | 125.00 | 17750.00 | 220.00 | 31240.00 | 160.00 | 22720.00 | 200.00 | 28400.00 | 350.00 | 49700.00 | 100.00 | 14200.00 | 80.00 | 11360.00 | 150.00 | 21300.00 | 133.00 | 18886.00 | 289.00 | 41038.00 | 11360.00 | Fermium Constructions LLP
28.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface | 142.00 | Sqm |  | 181.00 | 25702.00 | 100.00 | 14200.00 | 150.00 | 21300.00 | 110.00 | 15620.00 | 175.00 | 24850.00 | 100.00 | 14200.00 | 100.00 | 14200.00 | 120.00 | 17040.00 | 160.00 | 22720.00 | 102.00 | 14484.00 | 345.00 | 48990.00 | 14200.00 | M/S ANIL ANNASAHEB PATIL, M/S SAI VISHNU CONSTRUCTIONS, prime constructions
29.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water thinnable priming coat with cement primer | 54.00 | Sqm |  | 181.00 | 9774.00 | 95.00 | 5130.00 | 130.00 | 7020.00 | 160.00 | 8640.00 | 100.00 | 5400.00 | 150.00 | 8100.00 | 60.00 | 3240.00 | 120.00 | 6480.00 | 160.00 | 8640.00 | 257.00 | 13878.00 | 160.00 | 8640.00 | 3240.00 | prime constructions
30.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work | 1036.00 | Sqm |  | 181.00 | 187516.00 | 80.00 | 82880.00 | 90.00 | 93240.00 | 85.00 | 88060.00 | 125.00 | 129500.00 | 75.00 | 77700.00 | 100.00 | 103600.00 | 90.00 | 93240.00 | 125.00 | 129500.00 | 47.00 | 48692.00 | 345.00 | 357420.00 | 48692.00 | THANDON INFRASTRUCTURE PVT LTD
31.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 14.00 | Sqm |  | 1800.00 | 25200.00 | 1265.00 | 17710.00 | 1600.00 | 22400.00 | 1660.00 | 23240.00 | 1250.00 | 17500.00 | 1500.00 | 21000.00 | 1200.00 | 16800.00 | 1200.00 | 16800.00 | 2200.00 | 30800.00 | 1054.00 | 14756.00 | 2150.00 | 30100.00 | 14756.00 | THANDON INFRASTRUCTURE PVT LTD
32.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 22.00 | Kg |  | 423.00 | 9306.00 | 460.00 | 10120.00 | 500.00 | 11000.00 | 480.00 | 10560.00 | 665.00 | 14630.00 | 400.00 | 8800.00 | 450.00 | 9900.00 | 500.00 | 11000.00 | 700.00 | 15400.00 | 234.00 | 5148.00 | 450.00 | 9900.00 | 5148.00 | THANDON INFRASTRUCTURE PVT LTD
33.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 30.00 | Kg |  | 513.00 | 15390.00 | 500.00 | 15000.00 | 600.00 | 18000.00 | 550.00 | 16500.00 | 660.00 | 19800.00 | 400.00 | 12000.00 | 450.00 | 13500.00 | 500.00 | 15000.00 | 700.00 | 21000.00 | 234.00 | 7020.00 | 450.00 | 13500.00 | 7020.00 | THANDON INFRASTRUCTURE PVT LTD
34.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 4.00 | Kg |  | 519.00 | 2076.00 | 515.00 | 2060.00 | 900.00 | 3600.00 | 560.00 | 2240.00 | 880.00 | 3520.00 | 500.00 | 2000.00 | 450.00 | 1800.00 | 550.00 | 2200.00 | 800.00 | 3200.00 | 234.00 | 936.00 | 450.00 | 1800.00 | 936.00 | THANDON INFRASTRUCTURE PVT LTD
35.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 2.00 | Sqm |  | 1296.00 | 2592.00 | 1300.00 | 2600.00 | 1500.00 | 3000.00 | 1400.00 | 2800.00 | 1200.00 | 2400.00 | 1200.00 | 2400.00 | 900.00 | 1800.00 | 1200.00 | 2400.00 | 4000.00 | 8000.00 | 566.00 | 1132.00 | 6500.00 | 13000.00 | 1132.00 | THANDON INFRASTRUCTURE PVT LTD
36.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin- charge. Pre-laminated particle board with decorative lamination on both sides | 2.00 | Sqm |  | 1046.00 | 2092.00 | 1045.00 | 2090.00 | 1300.00 | 2600.00 | 1200.00 | 2400.00 | 850.00 | 1700.00 | 1000.00 | 2000.00 | 900.00 | 1800.00 | 1900.00 | 3800.00 | 3800.00 | 7600.00 | 503.00 | 1006.00 | 5000.00 | 10000.00 | 1006.00 | THANDON INFRASTRUCTURE PVT LTD
37.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | 2.00 | Each |  | 183.00 | 366.00 | 600.00 | 1200.00 | 400.00 | 800.00 | 280.00 | 560.00 | 4000.00 | 8000.00 | 250.00 | 500.00 | 200.00 | 400.00 | 100.00 | 200.00 | 600.00 | 1200.00 | 468.00 | 936.00 | 1000.00 | 2000.00 | 200.00 | Fermium Constructions LLP
38.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 2.00 | Each |  | 279.00 | 558.00 | 300.00 | 600.00 | 120.00 | 240.00 | 63.00 | 126.00 | 1000.00 | 2000.00 | 60.00 | 120.00 | 60.00 | 120.00 | 100.00 | 200.00 | 500.00 | 1000.00 | 702.00 | 1404.00 | 500.00 | 1000.00 | 120.00 | M/S SAI VISHNU CONSTRUCTIONS, prime constructions
39.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 16.00 | Mtr |  | 369.00 | 5904.00 | 80.00 | 1280.00 | 300.00 | 4800.00 | 85.00 | 1360.00 | 300.00 | 4800.00 | 80.00 | 1280.00 | 60.00 | 960.00 | 30.00 | 480.00 | 100.00 | 1600.00 | 336.00 | 5376.00 | 500.00 | 8000.00 | 480.00 | Fermium Constructions LLP
40.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 2.00 | Each |  | 458.00 | 916.00 | 450.00 | 900.00 | 500.00 | 1000.00 | 490.00 | 980.00 | 1500.00 | 3000.00 | 450.00 | 900.00 | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 500.00 | 1000.00 | 1287.00 | 2574.00 | 5000.00 | 10000.00 | 900.00 | M/S ANIL ANNASAHEB PATIL, M/S SAI VISHNU CONSTRUCTIONS
40.10 | SUB HEAD-II : ELECTRICAL WORKS
41.00 | Design, Fabrication, supply, installation, testing and commissioning of Indoor type electrical panel (Sub feeder Pillar), weather proof, vermin proof of suitable size, cubicle type, made out of 2 mm thick CRCA sheet steel, totally enclosed double door type IP-55 rated panel mounted on M.S. angle iron stand of suitable height, compartmentalised, suitable for operation on 3 phase and neutral, 415V, 50 Hz AC system with bus bars, wiring, interconnections, locking arrangements, terminal block for termination of cables with bottom entry, making connections and interconnections including supply and installation of following accessories as per technical Specification & drawings as approved by the Engineer In-Charge. (a) Incoming - FP 125Amps, 25 KA MCCB with spreader links suitable for termination of 3.5x35 sqmm aluminium armoured cable --- 02 no with interlocking facility. (b) Suitable Busbar - 01 set. (d) Outgoing - FP 40 Amps MCB, C series -02nos. (e) Outgoing - FP 63 Amps MCB, C series -02nos. (f) Volt meter & Ammeter - 01 set each (g) RYB, LED type Indication Lamps - 01 set | 1.00 | Each |  | 64592.00 | 64592.00 | 80000.00 | 80000.00 | 125000.00 | 125000.00 | 280000.00 | 280000.00 | 290000.00 | 290000.00 | 13000.00 | 13000.00 | 125000.00 | 125000.00 | 150000.00 | 150000.00 | 10000.00 | 10000.00 | 175500.00 | 175500.00 | 220000.00 | 220000.00 | 10000.00 | V B PILE & CONSTRUCTIONS
42.00 | Supply of following size 1.1 KV grade XLPE insulated, PVC sheathed, armoured Aluminium conductor cable conforming to IS 7098 (Part 1) amended upto date. 3.5Cx 35 Sq.mm | 50.00 | Meters |  | 999.00 | 49950.00 | 350.00 | 17500.00 | 270.00 | 13500.00 | 225.00 | 11250.00 | 245.00 | 12250.00 | 5000.00 | 250000.00 | 300.00 | 15000.00 | 200.00 | 10000.00 | 250.00 | 12500.00 | 181.00 | 9050.00 | 345.00 | 17250.00 | 9050.00 | THANDON INFRASTRUCTURE PVT LTD
43.00 | Supply of following size 1.1 KV grade XLPE insulated, PVC sheathed, armoured Aluminium conductor cable conforming to IS 7098 (Part 1) amended upto date. 4Cx 10 Sq.mm | 10.00 | Meters |  | 999.00 | 9990.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 168.00 | 1680.00 | 95.00 | 950.00 | 1500.00 | 15000.00 | 200.00 | 2000.00 | 120.00 | 1200.00 | 160.00 | 1600.00 | 102.00 | 1020.00 | 245.00 | 2450.00 | 950.00 | VISHVESHWARA ENTERPRISE
44.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Upto 35 sq. mm | 50.00 | Meters |  | 999.00 | 49950.00 | 32.00 | 1600.00 | 60.00 | 3000.00 | 35.00 | 1750.00 | 20.00 | 1000.00 | 200.00 | 10000.00 | 60.00 | 3000.00 | 50.00 | 2500.00 | 25.00 | 1250.00 | 59.00 | 2950.00 | 310.00 | 15500.00 | 1000.00 | VISHVESHWARA ENTERPRISE
45.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm | 10.00 | Meters |  | 234.00 | 2340.00 | 39.00 | 390.00 | 60.00 | 600.00 | 45.00 | 450.00 | 25.00 | 250.00 | 200.00 | 2000.00 | 60.00 | 600.00 | 50.00 | 500.00 | 25.00 | 250.00 | 59.00 | 590.00 | 210.00 | 2100.00 | 250.00 | V B PILE & CONSTRUCTIONS, VISHVESHWARA ENTERPRISE
46.00 | Supplying and making end termination with brass double compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 35 sq. mm (32mm) | 4.00 | Meters |  | 283.00 | 1132.00 | 300.00 | 1200.00 | 750.00 | 3000.00 | 1100.00 | 4400.00 | 250.00 | 1000.00 | 1000.00 | 4000.00 | 325.00 | 1300.00 | 200.00 | 800.00 | 30.00 | 120.00 | 585.00 | 2340.00 | 420.00 | 1680.00 | 120.00 | V B PILE & CONSTRUCTIONS
47.00 | Supplying and making end termination with brass double compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 10 sq. mm (25mm) | 2.00 | Each |  | 1800.00 | 3600.00 | 219.00 | 438.00 | 600.00 | 1200.00 | 570.00 | 1140.00 | 220.00 | 440.00 | 300.00 | 600.00 | 300.00 | 600.00 | 250.00 | 500.00 | 2000.00 | 4000.00 | 878.00 | 1756.00 | 220.00 | 440.00 | 438.00 | M/S ANIL ANNASAHEB PATIL
48.00 | Supplying and laying of following size HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 50.00 | Meters |  | 279.00 | 13950.00 | 109.00 | 5450.00 | 350.00 | 17500.00 | 260.00 | 13000.00 | 210.00 | 10500.00 | 5000.00 | 250000.00 | 225.00 | 11250.00 | 400.00 | 20000.00 | 120.00 | 6000.00 | 105.00 | 5250.00 | 310.00 | 15500.00 | 5250.00 | THANDON INFRASTRUCTURE PVT LTD
49.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheetsteel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 4 way (4 + 12), Double door | 1.00 | Each |  | 4599.00 | 4599.00 | 3068.00 | 3068.00 | 9000.00 | 9000.00 | 2700.00 | 2700.00 | 6500.00 | 6500.00 | 3000.00 | 3000.00 | 6000.00 | 6000.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 5265.00 | 5265.00 | 3500.00 | 3500.00 | 2000.00 | V B PILE & CONSTRUCTIONS
50.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 A | 1.00 | Each |  | 3699.00 | 3699.00 | 2777.00 | 2777.00 | 2000.00 | 2000.00 | 3040.00 | 3040.00 | 1400.00 | 1400.00 | 3000.00 | 3000.00 | 6000.00 | 6000.00 | 9000.00 | 9000.00 | 4000.00 | 4000.00 | 5265.00 | 5265.00 | 3000.00 | 3000.00 | 1400.00 | VISHVESHWARA ENTERPRISE
51.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve,miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 4.00 | Each |  | 999.00 | 3996.00 | 199.00 | 796.00 | 200.00 | 800.00 | 290.00 | 1160.00 | 180.00 | 720.00 | 800.00 | 3200.00 | 300.00 | 1200.00 | 300.00 | 1200.00 | 1500.00 | 6000.00 | 410.00 | 1640.00 | 320.00 | 1280.00 | 720.00 | VISHVESHWARA ENTERPRISE
52.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve,miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole | 2.00 | Each |  | 999.00 | 1998.00 | 556.00 | 1112.00 | 900.00 | 1800.00 | 790.00 | 1580.00 | 450.00 | 900.00 | 400.00 | 800.00 | 1200.00 | 2400.00 | 500.00 | 1000.00 | 300.00 | 600.00 | 644.00 | 1288.00 | 510.00 | 1020.00 | 600.00 | V B PILE & CONSTRUCTIONS
53.00 | Supplying and fixing following rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40 A | 2.00 | Each |  | 832.00 | 1664.00 | 832.00 | 1664.00 | 1200.00 | 2400.00 | 1150.00 | 2300.00 | 1200.00 | 2400.00 | 1800.00 | 3600.00 | 2500.00 | 5000.00 | 1100.00 | 2200.00 | 1800.00 | 3600.00 | 878.00 | 1756.00 | 2100.00 | 4200.00 | 1664.00 | KVR CONSTRUCTIONS, M/S ANIL ANNASAHEB PATIL
54.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 4.00 | Each |  | 369.00 | 1476.00 | 8.00 | 32.00 | 30.00 | 120.00 | 48.00 | 192.00 | 20.00 | 80.00 | 300.00 | 1200.00 | 25.00 | 100.00 | 20.00 | 80.00 | 30.00 | 120.00 | 176.00 | 704.00 | 253.00 | 1012.00 | 32.00 | M/S ANIL ANNASAHEB PATIL
55.00 | Supplying and fixing FP sheet steel enclosure on surface/ recess with connections as required. | 2.00 | Each |  | 1146.00 | 2292.00 | 848.00 | 1696.00 | 750.00 | 1500.00 | 400.00 | 800.00 | 100.00 | 200.00 | 300.00 | 600.00 | 700.00 | 1400.00 | 3000.00 | 6000.00 | 500.00 | 1000.00 | 644.00 | 1288.00 | 350.00 | 700.00 | 200.00 | VISHVESHWARA ENTERPRISE
56.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with piano type switch, phenolic laminated sheet, suitable size M.S. box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 6.00 | Meters |  | 1189.00 | 7134.00 | 1189.00 | 7134.00 | 1200.00 | 7200.00 | 1100.00 | 6600.00 | 900.00 | 5400.00 | 300.00 | 1800.00 | 1500.00 | 9000.00 | 1500.00 | 9000.00 | 15.00 | 90.00 | 41.00 | 246.00 | 850.00 | 5100.00 | 90.00 | V B PILE & CONSTRUCTIONS
57.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 10.00 | Meters |  | 459.00 | 4590.00 | 229.00 | 2290.00 | 90.00 | 900.00 | 220.00 | 2200.00 | 150.00 | 1500.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 400.00 | 4000.00 | 20.00 | 200.00 | 53.00 | 530.00 | 525.00 | 5250.00 | 200.00 | V B PILE & CONSTRUCTIONS
58.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 10.00 | Meters |  | 549.00 | 5490.00 | 263.00 | 2630.00 | 150.00 | 1500.00 | 260.00 | 2600.00 | 180.00 | 1800.00 | 500.00 | 5000.00 | 600.00 | 6000.00 | 600.00 | 6000.00 | 20.00 | 200.00 | 70.00 | 700.00 | 589.00 | 5890.00 | 200.00 | V B PILE & CONSTRUCTIONS
59.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | 14.00 | Meters |  | 639.00 | 8946.00 | 529.00 | 7406.00 | 210.00 | 2940.00 | 610.00 | 8540.00 | 380.00 | 5320.00 | 840.00 | 11760.00 | 1200.00 | 16800.00 | 700.00 | 9800.00 | 60.00 | 840.00 | 117.00 | 1638.00 | 350.00 | 4900.00 | 840.00 | V B PILE & CONSTRUCTIONS
60.00 | Supplying and fixing suitable size GI box with modular plate and cover in front onsurface or in recess, including providing and fixing 3 pin 5/6 amps modular socketoutlet and 5/6 amps modular switch, connection etc. as required. | 2.00 | Each |  | 1899.00 | 3798.00 | 401.00 | 802.00 | 450.00 | 900.00 | 460.00 | 920.00 | 600.00 | 1200.00 | 200.00 | 400.00 | 600.00 | 1200.00 | 300.00 | 600.00 | 200.00 | 400.00 | 176.00 | 352.00 | 545.00 | 1090.00 | 352.00 | THANDON INFRASTRUCTURE PVT LTD
61.00 | Supplying and fixing suitable size GI box with modular plate and cover in Front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch with indicator, connection etc. as required. | 2.00 | Each |  | 1800.00 | 3600.00 | 495.00 | 990.00 | 600.00 | 1200.00 | 620.00 | 1240.00 | 800.00 | 1600.00 | 200.00 | 400.00 | 800.00 | 1600.00 | 300.00 | 600.00 | 200.00 | 400.00 | 293.00 | 586.00 | 850.00 | 1700.00 | 400.00 | V B PILE & CONSTRUCTIONS, M/S SAI VISHNU CONSTRUCTIONS
62.00 | Supply with all accessories of lx20 W LED tube light fitting, surface mounted Luminary complete with I No. LED tube etc complete as required | 3.00 | Each |  | 5800.00 | 17400.00 | 1100.00 | 3300.00 | 450.00 | 1350.00 | 635.00 | 1905.00 | 840.00 | 2520.00 | 900.00 | 2700.00 | 800.00 | 2400.00 | 700.00 | 2100.00 | 600.00 | 1800.00 | 878.00 | 2634.00 | 1200.00 | 3600.00 | 1350.00 | VEL ASSOCIATES
63.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 3.00 | Each |  | 1899.00 | 5697.00 | 168.00 | 504.00 | 200.00 | 600.00 | 180.00 | 540.00 | 100.00 | 300.00 | 900.00 | 2700.00 | 120.00 | 360.00 | 200.00 | 600.00 | 100.00 | 300.00 | 585.00 | 1755.00 | 320.00 | 960.00 | 300.00 | V B PILE & CONSTRUCTIONS, VISHVESHWARA ENTERPRISE
64.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 1.00 | Each |  | 999.00 | 999.00 | 171.00 | 171.00 | 150.00 | 150.00 | 220.00 | 220.00 | 100.00 | 100.00 | 2500.00 | 2500.00 | 180.00 | 180.00 | 200.00 | 200.00 | 150.00 | 150.00 | 585.00 | 585.00 | 510.00 | 510.00 | 100.00 | VISHVESHWARA ENTERPRISE
65.00 | Supply of following sizes of 1200 mm sweep. ceiling fan, with double ball bearing, Aluminium pressure die cast body with Aluminium blades, canopies, hanging shackle, 30 cm down rod and without speed regulator suitable for 240V 50 HZ, AC supply confirms to IS 374/1979 as required complete. | 1.00 | Each |  | 1899.00 | 1899.00 | 2500.00 | 2500.00 | 1800.00 | 1800.00 | 1480.00 | 1480.00 | 1800.00 | 1800.00 | 1500.00 | 1500.00 | 2800.00 | 2800.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 4095.00 | 4095.00 | 3420.00 | 3420.00 | 1480.00 | Aruljothi Infrastructure Private Limited
66.00 | Installation of 250 mm sweep exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 1.00 | Each |  | 363.00 | 363.00 | 1400.00 | 1400.00 | 250.00 | 250.00 | 295.00 | 295.00 | 3000.00 | 3000.00 | 1500.00 | 1500.00 | 360.00 | 360.00 | 1500.00 | 1500.00 | 1500.00 | 1500.00 | 585.00 | 585.00 | 5100.00 | 5100.00 | 250.00 | VEL ASSOCIATES
67.00 | Supply of 250 mm sweep,1400 rpm exhaust fan in plastic body with self opening louvers working on 230 V AC supply complete with all accessories as required | 1.00 | Each |  | 463.00 | 463.00 | 1700.00 | 1700.00 | 1350.00 | 1350.00 | 1250.00 | 1250.00 | 2100.00 | 2100.00 | 2000.00 | 2000.00 | 3600.00 | 3600.00 | 2000.00 | 2000.00 | 1500.00 | 1500.00 | 1755.00 | 1755.00 | 2800.00 | 2800.00 | 463.00 | KVR CONSTRUCTIONS
68.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 1.00 | Each |  | 10724.00 | 10724.00 | 11794.00 | 11794.00 | 18000.00 | 18000.00 | 12600.00 | 12600.00 | 18000.00 | 18000.00 | 1000.00 | 1000.00 | 20000.00 | 20000.00 | 25000.00 | 25000.00 | 7000.00 | 7000.00 | 35100.00 | 35100.00 | 8450.00 | 8450.00 | 1000.00 | M/S SAI VISHNU CONSTRUCTIONS
69.00 | Providing and laying earth connection from earth electrode with 4.00 mm dia copper wire in 20 mm dia G.I. pipe from earth electrode including connection with copper thimble excavation and re-filling as required. | 40.00 | Meters |  | 257.00 | 10280.00 | 280.00 | 11200.00 | 200.00 | 8000.00 | 380.00 | 15200.00 | 225.00 | 9000.00 | 8000.00 | 320000.00 | 360.00 | 14400.00 | 500.00 | 20000.00 | 100.00 | 4000.00 | 527.00 | 21080.00 | 510.00 | 20400.00 | 4000.00 | V B PILE & CONSTRUCTIONS
70.00 | Providing and fixing 4.00 mm dia copper wire on surface or in recess for loop earthing as required. | 20.00 | Meters |  | 128.00 | 2560.00 | 128.00 | 2560.00 | 120.00 | 2400.00 | 280.00 | 5600.00 | 100.00 | 2000.00 | 800.00 | 16000.00 | 180.00 | 3600.00 | 250.00 | 5000.00 | 20.00 | 400.00 | 410.00 | 8200.00 | 380.00 | 7600.00 | 400.00 | V B PILE & CONSTRUCTIONS
71.00 | Supply, installation, testing and commissioning of sounder with strobe complete for both audio and visual indication with all fixing accessories, etc. under false ceiling, roof, wall, etc, along with an addressable control module. The product must be UL listed and meeting technical specification. | 1.00 | Each |  | 1999.00 | 1999.00 | 3800.00 | 3800.00 | 9000.00 | 9000.00 | 12950.00 | 12950.00 | 60000.00 | 60000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 1000.00 | 1000.00 | 5850.00 | 5850.00 | 8450.00 | 8450.00 | 1000.00 | V B PILE & CONSTRUCTIONS
72.00 | Supply and making suitable terminations of approved make 2C x 1.5sq.mm PVC insulated copper armored FRLSZH cable as per IS 1554,Part1 for connecting the various field devices to the fire alarm panels. | 50.00 | Meter |  | 1899.00 | 94950.00 | 141.00 | 7050.00 | 250.00 | 12500.00 | 235.00 | 11750.00 | 160.00 | 8000.00 | 500.00 | 25000.00 | 150.00 | 7500.00 | 200.00 | 10000.00 | 40.00 | 2000.00 | 146.00 | 7300.00 | 320.00 | 16000.00 | 2000.00 | V B PILE & CONSTRUCTIONS
73.00 | Supply, installation, testing and commissioning of Analogue Addressable type Multi sense detector (photoelectric and fixed temperature type) complete with all accessories like standard base, junction box etc. to be installed under/above false ceiling, roof and concealed space, etc. interconnecting to loop cable complete as required. The detector shall be with Visible color LED and shall blink every time the detector is addressed and illuminate steady on alarm. The product must be UL listed and meeting technical specification. | 3.00 | Each |  | 6999.00 | 20997.00 | 2200.00 | 6600.00 | 3000.00 | 9000.00 | 6800.00 | 20400.00 | 1500.00 | 4500.00 | 250.00 | 750.00 | 4500.00 | 13500.00 | 2000.00 | 6000.00 | 1500.00 | 4500.00 | 4095.00 | 12285.00 | 6450.00 | 19350.00 | 750.00 | M/S SAI VISHNU CONSTRUCTIONS
74.00 | Supply, installation, testing and commissioning of manual call point complete with all accessories etc as required. | 1.00 | Each |  | 3859.00 | 3859.00 | 462.00 | 462.00 | 3000.00 | 3000.00 | 1800.00 | 1800.00 | 1200.00 | 1200.00 | 250.00 | 250.00 | 1500.00 | 1500.00 | 1200.00 | 1200.00 | 1000.00 | 1000.00 | 3510.00 | 3510.00 | 12000.00 | 12000.00 | 250.00 | M/S SAI VISHNU CONSTRUCTIONS
75.00 | Supply, installation, testing and commissioning 5Kg Modular Halotron (Clean Agent) Type Fire Extinguisher. pressurized with Argon gas at 15 bar. Design, construction and testing as per IS 15683 with Fire rating 1A 21B, Body Hydrotested at 35 bar, Operating temperature -30°C to +55°C, external epoxy powder coating with PO Red Shade No. 538 of IS 5, Supplied with standard accessories. | 1.00 | Each |  | 14500.00 | 14500.00 | 6500.00 | 6500.00 | 15000.00 | 15000.00 | 38500.00 | 38500.00 | 12000.00 | 12000.00 | 1000.00 | 1000.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 2000.00 | 2000.00 | 35100.00 | 35100.00 | 7500.00 | 7500.00 | 1000.00 | M/S SAI VISHNU CONSTRUCTIONS
76.00 | Installation, testing and commissioning of system for the extented portion in the existing Fire Alarm Detection system(Existing Fire Alarm Panel-Morley fire system-Connexion(by honeywell) | 1.00 | Job |  | 25000.00 | 25000.00 | 1000.00 | 1000.00 | 45000.00 | 45000.00 | 29800.00 | 29800.00 | 15000.00 | 15000.00 | 5000.00 | 5000.00 | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 5850.00 | 5850.00 | 4000.00 | 4000.00 | 1000.00 | M/S ANIL ANNASAHEB PATIL
77.00 | Supply Installation testing and commissioning (SITC) of 1.5TR aircooled ductable split air conditioner of suitable static pressure as required along mounted outside on a pole mounted structure with suitable capacity drive motor, IDU SS drain pan and Outdoor Ductable Unit (ODU) with air cooled condenser with all accessories including fixing of both ODU and IDU with fully copper coils of suitable size with hydrophilic coating, providing copper piping inter connection with 19mm thick round closed cell elastomeric nitrile rubber class 'o' insulation etc as per OEM recommendation, hermetically sealed scroll compressor having R32 as refrigerant ,all standard fittings complete with electronic microprocessor pendant controller with digital display, first charge refrigerant gas, vibration isolator pads, structural supports for fixing IDU/ ODU safety devices including thermal protector, pressure relief valve, over load relays single phase preventor etc, power wiring, control cabling(indoor to outdoor),thermostat wiring, high-low pressure cut out with minimum 3 star BEE rating.Indoor unit shall be placed by fixing 4" angle frame at a height as per site requirement above ground level outside building duly placed in an enclosed boxing of thermal 13mm thick insulation at inside and outside of the box on GI coated sheet panels with access door for split unit ,making return air boxing, openable at all sides, with necessary angles, sealant etc.- for an ambient temperature of 35 degree celsius and Outdoor unit shall be placed on PCC platform. IDU unit mounting structure shall be placed on GI/MS pipe poles as per site requirement. | 2.00 | Each |  | 45000.00 | 90000.00 | 94000.00 | 188000.00 | 40000.00 | 80000.00 | 84000.00 | 168000.00 | 65000.00 | 130000.00 | 36000.00 | 72000.00 | 60000.00 | 120000.00 | 45000.00 | 90000.00 | 45000.00 | 90000.00 | 175500.00 | 351000.00 | 45000.00 | 90000.00 | 72000.00 | M/S SAI VISHNU CONSTRUCTIONS
78.00 | Supply and fixing of 3/8" copper tubing with insulation between the indoor and outdoor units. | 20.00 | Mtr |  | 600.00 | 12000.00 | 950.00 | 19000.00 | 750.00 | 15000.00 | 650.00 | 13000.00 | 810.00 | 16200.00 | 250.00 | 5000.00 | 1500.00 | 30000.00 | 900.00 | 18000.00 | 50.00 | 1000.00 | 1170.00 | 23400.00 | 950.00 | 19000.00 | 1000.00 | V B PILE & CONSTRUCTIONS
79.00 | Supply and fixing of 1/2" copper tubing with insulation between the indoor and outdoor units. | 20.00 | Mtr |  | 480.00 | 9600.00 | 600.00 | 12000.00 | 900.00 | 18000.00 | 950.00 | 19000.00 | 800.00 | 16000.00 | 250.00 | 5000.00 | 1000.00 | 20000.00 | 600.00 | 12000.00 | 40.00 | 800.00 | 1150.00 | 23000.00 | 750.00 | 15000.00 | 800.00 | V B PILE & CONSTRUCTIONS
80.00 | SITC of 0.63 MM (24 Gauge) G.I. ducting along with transverse duct flanges,supports, splitter dampers, vanes neoprene gaskets etc. complete in all respects duly insulated 13 mm thick nitrile rubber thermal insulation for supply / return air duct connecting indoor unit to air terminal devices as required. | 20.00 | Sqm |  | 3035.50 | 60710.00 | 1200.00 | 24000.00 | 4500.00 | 90000.00 | 2200.00 | 44000.00 | 600.00 | 12000.00 | 250.00 | 5000.00 | 700.00 | 14000.00 | 1500.00 | 30000.00 | 500.00 | 10000.00 | 2300.00 | 46000.00 | 945.00 | 18900.00 | 5000.00 | M/S SAI VISHNU CONSTRUCTIONS
81.00 | Supply and installation of supply/return air grilles of extruded aluminium duly powder coated with suitable aluminium volume control damper etc. complete in all respects as required | 1.00 | Sqm |  | 8480.00 | 8480.00 | 600.00 | 600.00 | 9000.00 | 9000.00 | 9200.00 | 9200.00 | 3500.00 | 3500.00 | 1500.00 | 1500.00 | 2000.00 | 2000.00 | 600.00 | 600.00 | 2000.00 | 2000.00 | 17250.00 | 17250.00 | 845.00 | 845.00 | 600.00 | M/S ANIL ANNASAHEB PATIL, Fermium Constructions LLP
82.00 | SITC of automatic change over with timer adjustable from 0 to 24 hrs for 2 nos of 1.5 TR split AC units as required. | 1.00 | Nos |  | 22756.00 | 22756.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 2600.00 | 2600.00 | 3650.00 | 3650.00 | 2500.00 | 2500.00 | 6000.00 | 6000.00 | 6000.00 | 6000.00 | 2000.00 | 2000.00 | 7475.00 | 7475.00 | 75000.00 | 75000.00 | 2000.00 | V B PILE & CONSTRUCTIONS
| Total in Figures |  |  |  |  | 17093165.00 |  | 15976243.40 |  | 15955775.00 |  | 17007294.00 |  | 15597777.00 |  | 15050114.00 |  | 14868352.00 |  | 14708035.00 |  | 16864974.00 |  | 13404228.00 |  | 18223314.00
Lowest Amount Quoted BY: THANDON INFRASTRUCTURE PVT LTD(13404228.00)

## BOQ Summary
BOQ Summary Details Tender Title: Development of Belagavi Airport SH Construction of Localizer Platform over pile foundation and Extension of DVOR building including internal electrification work at Belagavi Airport Tender ID: 2021_AAI_70034_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | THANDON INFRASTRUCTURE PVT LTD | 13404228.00 | L1
| 2 | Fermium Constructions LLP | 14708035.00 | L2
| 3 | prime constructions | 14868352.00 | L3
| 4 | M/S SAI VISHNU CONSTRUCTIONS | 15050114.00 | L4
| 5 | VISHVESHWARA ENTERPRISE | 15597777.00 | L5
| 6 | VEL ASSOCIATES | 15955775.00 | L6
| 7 | M/S ANIL ANNASAHEB PATIL | 15976243.40 | L7
| 8 | V B PILE & CONSTRUCTIONS | 16864974.00 | L8
| 9 | Aruljothi Infrastructure Private Limited | 17007294.00 | L9
| 10 | KVR CONSTRUCTIONS | 17093165.00 | L10
| 11 | S.B. CONSTRUCTION | 18223314.00 | L11