## BoQ1
Government eProcurement System Created By: rakesh kumar yadav Created Date/Time: 10-Mar-2021 04:55 PM Tender Title: Construction of ASR MSSR Building at Jaipur Airport, Jaipur. SH Provision of passenger elevator Tender ID: 2021_AAI_70575_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-E), Jaipur Airport, Airport - 302029
Name of Work: Construction of ASR MSSR Building at Jaipur Airport, Jaipur. SH: Provision of passenger elevator.
Contract No: 2021_AAI_70575_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | OMEGA ELEVATORS(GSTN-24ADFPD4986L1Z9) |  | ORBIS ELEVATOR CO LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Part A- SITC of Lift Supply, installation, testing & commissioning of Machine Room Less electric traction type Lifts atleast 8 Passengers ,(minimum 544 KG capacity) (G+2) level , 3 Stops, 3 Opening and entrance at front side on all the serving floors,automatic centre opening Stainless Steel 304 Hairline finish door,car enclosure provided with Stainless Steel 304 Hairline Finish panel on sides and with travel height of 7.2 mtrs(approx) suitable for operation on 415 V, 3 phase, 50 Hz AC supply, having AC Variable Voltage and Variable Frequency type traction control, minimum speed of 1 Mtr/sec, electromagnetic brake system, simplex mode operations, operating panel with luminous buttons, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI’s EPABX, infrared ray sensing door protection for full height, reverse phase relay on controller, fireman’s switch at ground floor, digital car positions indicator in car and at all positions indicator in car and at all floors with UP/DOWN direction, light fixtures, ventilation fan, etc complete with all accessories including Automatic Rescue Device (ARD) and Manual Rescue Devie (MRD) in the event of power failure etc., complete as required. The traction motor of machine room less Lift shall be of gearless type and placed inside the Lift hoist way. | 1.00 | Job | 100.00 | 1098000.00 | 1098000.00 | 925000.00 | 925000.00 | 925000.00 | ORBIS ELEVATOR CO LTD
1.10 | Total amount for SITC
2.00 | Part B- AICMC of Lift Annual Comprehensive Maintenance Contract for complete 8 passanger capacity machine room less traction type passanger elevators including all electrical/mechanical equipment, safety control installed under this contract above item no. 1 i/c carrying out monthly servicing and complete maintenance of all components as per OEM standards by providing trained service engineer with all tools and plant i/c attending all breakdown repairs complete as per instructions of Engineer-in-Charge as required (During DLP quote for maintenance to be included in SITC cost).
2.10 | For 1st year (After DLP) (Amount pre-fixed @ 4.50% of SITC cost) | 1.00 | Job | 100.00 | 49410.00 | 49410.00 | 41625.00 | 41625.00 | 41625.00 | ORBIS ELEVATOR CO LTD
2.20 | For 2nd year (Amount pre-fixed @ 4.77% of SITC cost) | 1.00 | Job | 100.00 | 52375.00 | 52375.00 | 44123.00 | 44123.00 | 44123.00 | ORBIS ELEVATOR CO LTD
2.30 | For 3rd year (Amount pre-fixed @ 5.06% of SITC cost) | 1.00 | Job | 100.00 | 55559.00 | 55559.00 | 46805.00 | 46805.00 | 46805.00 | ORBIS ELEVATOR CO LTD
| Total in Figures |  |  |  |  | 1255344.00 |  | 1057553.00
Lowest Amount Quoted BY: ORBIS ELEVATOR CO LTD(1057553.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of ASR MSSR Building at Jaipur Airport, Jaipur. SH Provision of passenger elevator Tender ID: 2021_AAI_70575_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ORBIS ELEVATOR CO LTD | 1057553.00 | L1
| 2 | OMEGA ELEVATORS | 1255344.00 | L2