## BoQ1
Government eProcurement System Created By: PRIYANKA SHARMA Created Date/Time: 01-Apr-2021 01:24 PM Tender Title: Provision of prefab fire station at Bokaro Tender ID: 2021_AAI_70576_1
Tender Inviting Authority: AAI
Name of Work: Development of Civil Airport at Bokaro.SH:Provision of Pre-Fab Fire Station Building and other allied works at Bokaro Airport under RCS.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | creative prefab const. co. pvt. ltd.(GSTN-07AADCC3983C1ZT) |  | TINNY CRAFT(GSTN-07ACKPN0993P1ZT) |  | Anzen Projects Private Limited(GSTN-06AANCA5052C1ZZ) |  | CACTUS PROFILES PVT LTD(GSTN-09AACCC1011G1ZB)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30cm in depth. 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead upto 50m and lift upto 1.5m,disposed earth to be levelled and neatly dressed.a) All kinds of soil | 262.00 | Cum | 100.00 | 180.00 | 47160.00 | 550.00 | 144100.00 | 350.00 | 91700.00 | 250.00 | 65500.00 | 47160.00 | creative prefab const. co. pvt. ltd.
2.00 | Supplying and filling with fine sand (yellow) over subgrade including watering, ramming consolidating and dressing complete. | 280.00 | Cum | 100.00 | 900.00 | 252000.00 | 750.00 | 210000.00 | 1000.00 | 280000.00 | 890.00 | 249200.00 | 210000.00 | TINNY CRAFT
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) | 265.00 | Cum | 10.00 | 5850.00 | 1550250.00 | 12500.00 | 3312500.00 | 5500.00 | 1457500.00 | 5500.00 | 1457500.00 | 1457500.00 | Anzen Projects Private Limited, CACTUS PROFILES PVT LTD
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) | 35.00 | Cum | 10.00 | 6300.00 | 220500.00 | 14500.00 | 507500.00 | 5700.00 | 199500.00 | 5900.00 | 206500.00 | 199500.00 | Anzen Projects Private Limited
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | 9.00 | Cum | 10.00 | 6570.00 | 59130.00 | 13500.00 | 121500.00 | 6900.00 | 62100.00 | 6200.00 | 55800.00 | 55800.00 | CACTUS PROFILES PVT LTD
6.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 60.00 | Cum | 10.00 | 6840.00 | 410400.00 | 14000.00 | 840000.00 | 7000.00 | 420000.00 | 5900.00 | 354000.00 | 354000.00 | CACTUS PROFILES PVT LTD
7.00 | 12 mm cement plaster of mix: 1:6 (1 cement : 6 coarse sand) | 250.00 | sqm | 10.00 | 207.00 | 51750.00 | 650.00 | 162500.00 | 300.00 | 75000.00 | 220.00 | 55000.00 | 51750.00 | creative prefab const. co. pvt. ltd.
8.00 | Providing and laying in position specified grade of Reinforced cement concrete excluding the cost of centering and shuttering - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) | 51.00 | Cum | 10.00 | 9270.00 | 472770.00 | 16500.00 | 841500.00 | 6900.00 | 351900.00 | 8300.00 | 423300.00 | 351900.00 | Anzen Projects Private Limited
9.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 770.00 | cum | 10.00 | 6570.00 | 5058900.00 | 13500.00 | 10395000.00 | 6900.00 | 5313000.00 | 6200.00 | 4774000.00 | 4774000.00 | CACTUS PROFILES PVT LTD
10.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : Foundations, footings, bases for columns | 200.00 | sqm | 10.00 | 360.00 | 72000.00 | 650.00 | 130000.00 | 450.00 | 90000.00 | 400.00 | 80000.00 | 72000.00 | creative prefab const. co. pvt. ltd.
11.00 | Centering and shuttering including strutting, propping etc. and removal of form work for :Columns, piers, abutments, pillars, posts and struts | 92.00 | sqm | 10.00 | 360.00 | 33120.00 | 650.00 | 59800.00 | 450.00 | 41400.00 | 400.00 | 36800.00 | 33120.00 | creative prefab const. co. pvt. ltd.
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending,placing in position and binding all complete upto plinth level- Thermo-Mechanically Treated bars | 7650.00 | kg | 10.00 | 72.00 | 550800.00 | 110.00 | 841500.00 | 65.00 | 497250.00 | 76.00 | 581400.00 | 497250.00 | Anzen Projects Private Limited
13.00 | Fabricating, Supplying and Erecting at Site Prefabricated, Portable, Double Layer, Insulated Fire station building of size 19.2 mt*14.25 mt*5.50 mt , with provision of internal electrification ,as per approved drawing paid seprately , with Main pillars of twin ISMC 125 with MS standard bracing of 50mm x 50mm with vertical grid @2ft c/c & horizontal grid--------------------------- | 352.00 | sqm | 10.00 | 12600.00 | 4435200.00 | 25000.00 | 8800000.00 | 16900.00 | 5948800.00 | 24700.00 | 8694400.00 | 4435200.00 | creative prefab const. co. pvt. ltd.
14.00 | Providing & fixing 8mm thick Calcium Sillicate Board False ceiling of 1200 x 1200 ( having min. density of 650 Kg/m3, Moisture Content of 8-10%, Glue Sheer Strength ( in dry state)> 1300 N/mm2, Tensile Strength Parallel to face grain > 40 N / mm2 and Perpendicular to face grain > 25 N/mm2 MOR > 45 N mm2, MOE > 4000 N / mm2 ( across the grain) and MOE > 7500 N/mm2 ( along the grain) vertical & SFB confirming to ISO 8336:1993 (E) having density > 1200 kg/m class (I) surface spread of flame & fire propagation index < 3 as per BS – 476 part 6 & 7. The ignitability, heat evolved, flame spread & smoke evolved index class should be zero index and fire resistance for ½ hour fire rating as per ISO 809 – 1979. | 352.00 | sqm | 10.00 | 1260.00 | 443520.00 | 2550.00 | 897600.00 | 2000.00 | 704000.00 | 1490.00 | 524480.00 | 443520.00 | creative prefab const. co. pvt. ltd.
15.00 | Internal Electrification I/C Tube lights, Concealed Copper Wiring, Fan & Plug points as per following specifications and directions of Engineer-in-charge: Electrification work shall be done as per requirement considering 300 LUX level & as per drawing with 2 x 28w twin reflective luminary / LED fittings and ceiling Fans & powder coated matt finish concealed LED light fixtures with concealed copper wiring in walls & roof with concealed multi stand copper wiring of 2 x 2.5 mm Sq mm for ( 5 Amp ), 2 x 4 Sq mm for power ( 15 Amp ) points and 2 x 6.00 Sq mm for A/C points with metacolate / industrial sockets for AC's in concealed PVC conduiting with proper earthing with 1.5 Sq mm copper wiring . The internal electrification should be terminated to 4 nos main distribution board having double door of required capacity separately for AC'c , Powers , Light points with emergency lighting complete as per direction of engineer-in-charge. | 352.00 | sqm | 10.00 | 2520.00 | 887040.00 | 2500.00 | 880000.00 | 1000.00 | 352000.00 | 2750.00 | 968000.00 | 352000.00 | Anzen Projects Private Limited
16.00 | Provision of interconnected 5000 litres x 5 water storage tanks with 6mtr high staging of size 6.5mt*1.5mt made of ISMC 125 with MS tubular bracing of 60 x 30mm / 38x38mm with ISMC 75 supports allaround under tanks to be placed over 5mm thick MS chequered plate platform complete with single stair case and 3' high MS tubular railing with 25mm dia inlet pipe & 40mm dia outlet pipe (up to foundation level) of UPVC / CPVC , gate valve and other accessories etc.. | 1.00 | Job | 10.00 | 2070000.00 | 2070000.00 | 1125000.00 | 1125000.00 | 1375000.00 | 1375000.00 | 550000.00 | 550000.00 | 550000.00 | CACTUS PROFILES PVT LTD
17.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades,laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 80.00 | sqm | 10.00 | 900.00 | 72000.00 | 1650.00 | 132000.00 | 1500.00 | 120000.00 | 1430.00 | 114400.00 | 72000.00 | creative prefab const. co. pvt. ltd.
18.00 | Providing Toilet Fixtures for Gents , Ladies & Physical handicapped toilet including internal drainage & Sewerage piping complete with provision of 300 x 800 or as ---------------------- | 1.00 | each | 10.00 | 54000.00 | 54000.00 | 812000.00 | 812000.00 | 200000.00 | 200000.00 | 400000.00 | 400000.00 | 54000.00 | creative prefab const. co. pvt. ltd.
19.00 | Provision of fire fighting SITC of addressable and analog fire alarm and detection system with fire alarm control panel,smoke detectors,heat detectors,response indicator,hooter,manual call point and fire extinguishers with battery charges for 24 hours for stand by power(make :-HONEYWELL MORLAY) complete as per fire norms/relevant IS Code and as per directions of engineer-in-charge. . | 1.00 | Job | 10.00 | 360000.00 | 360000.00 | 1450000.00 | 1450000.00 | 1000000.00 | 1000000.00 | 400000.00 | 400000.00 | 360000.00 | creative prefab const. co. pvt. ltd.
| Total in Figures |  |  |  |  | 17100540.00 |  | 31662500.00 |  | 18579150.00 |  | 19990280.00
Lowest Amount Quoted BY: creative prefab const. co. pvt. ltd.(17100540.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of prefab fire station at Bokaro Tender ID: 2021_AAI_70576_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | creative prefab const. co. pvt. ltd. | 17100540.00 | L1
| 2 | Anzen Projects Private Limited | 18579150.00 | L2
| 3 | CACTUS PROFILES PVT LTD | 19990280.00 | L3
| 4 | TINNY CRAFT | 31662500.00 | L4