## BoQ1
Government eProcurement System Created By: Mansing Mane Created Date/Time: 18-Mar-2021 10:58 AM Tender Title: Bi-Annual Maintenance of Contract of GLF, electrical and Mechanical installations at Kolhapur Airport 2021 - 23 Tender ID: 2021_AAI_71059_1
Tender Inviting Authority: ASST. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, KOLHAPUR AIRPORT, KOLHAPUR.
Name of Work:Bi-Annual Maintenance of Contract of GLF, electrical & Mechanical installations at Kolhapur Airport 2021-23
Contract No: 2021_AAI_71059_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S TURBO POWER AND INFRASTRUCTURE(GSTN-09AAMFT5683N1Z5) |  | INDUSTRIAL ELECTRICALS AND CONTROLS(GSTN-36BCHPM7899H1ZT) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for operation & maintenance of Electrical & Mechanical Installations, involving operation, maintence , repair attending of compliants/faults/breakdown and rectification, ensuring serviciability satisfactory working condition of the system at Kolhapur Airport and to Carry out operation / routine / preventive / breakdown maintenance of all Internal & External Electrical Installations,Terminal builidng, GLF(Ground lighting facility)/runway lights, CCR's, Power house,Fire station,NDB, and office work such as data entry/SAP/E-tender,documentation etc. as required, as per the detailed specifications, terms and conditions coverd under this contract on all days including sundays and holidays as per special conditions of contract and directions of Engineer-in-charge as required.The minimum manppower should be deployed as follows: (a) 01 No. Highly skilled (Supervisor) (b) 02 No. Skilled (Electrical) (c) 01 Nos. Semi-Skilled (Electrical) (d) 03 Nos. Unskilled (Helper) (e) 03 No. Highly skilled (Computer operator) | 24.00 | Month |  | 190000.00 | 4560000.00 | 165500.00 | 3972000.00 | 190639.00 | 4575336.00 | 194000.00 | 4656000.00 | 195000.00 | 4680000.00 | 3972000.00 | INDUSTRIAL ELECTRICALS AND CONTROLS
2.00 | Comprehensive maintenance contract for following Air Conditioners which involves comprehensive maintenance of Air Conditioners of different makes at different locations including supply of spares and consumables as per the contract terms & conditions and instructions of Engineer-in-charge as required.. i) 1.5 TR /2.0 TR Split /casette type AC units | 19.00 | Rate / Unit for 24 months |  | 6000.00 | 114000.00 | 9000.00 | 171000.00 | 12000.00 | 228000.00 | 500.00 | 9500.00 | 4000.00 | 76000.00 | 9500.00 | Manish Electricals
3.00 | Comprehensive maintenance contract for R.O. Water Purifier and cooler which involves comprehensive maintenance of R.O. Water Purifier at different locations including supply of spares and consumables and providing output water test report from government approved lab or equivalent quaterly as per the contract terms & conditions and instructions of Engineer-in-charge as required (make: blue star with built in aquguard capacity 80ltrs) | 5.00 | Rate / Unit for 24 months |  | 5000.00 | 25000.00 | 6000.00 | 30000.00 | 24000.00 | 120000.00 | 4500.00 | 22500.00 | 4000.00 | 20000.00 | 20000.00 | M/s BHARAT ELECTRIC, NAGPUR
4.00 | Supply of Bi-pin lamp holder for 200 W & 45 W, 6.6 A HIRL/MIRL fittings of makes as per list of approved makes suitable for AMA make Runway light fittings. | 100.00 | Nos. |  | 150.00 | 15000.00 | 350.00 | 35000.00 | 430.00 | 43000.00 | 250.00 | 25000.00 | 200.00 | 20000.00 | 15000.00 | M/S TURBO POWER AND INFRASTRUCTURE
5.00 | Supply of 45 watts 6.6 Amps, 2 pin Halogen lamp suitable for the MIRL fitting as per list of approved makes suitable for AMA make Taxi way light fittings. | 50.00 | Nos. |  | 450.00 | 22500.00 | 275.00 | 13750.00 | 325.00 | 16250.00 | 450.00 | 22500.00 | 250.00 | 12500.00 | 12500.00 | M/s BHARAT ELECTRIC, NAGPUR
6.00 | Supply of 200 watts 6.6 Amps, 2 pin Halogen lamp suitable for the HIRL fitting as per list of approved makes suitable for AMA make Runway light fittings. | 150.00 | Nos. |  | 500.00 | 75000.00 | 300.00 | 45000.00 | 395.00 | 59250.00 | 450.00 | 67500.00 | 400.00 | 60000.00 | 45000.00 | INDUSTRIAL ELECTRICALS AND CONTROLS
7.00 | Supply of Clear lenses for PAPI Unit suitable for AMA make aviation ground lighting system generally conforming to relevant IS. | 3.00 | Nos. |  | 1000.00 | 3000.00 | 3000.00 | 9000.00 | 5000.00 | 15000.00 | 4000.00 | 12000.00 | 2000.00 | 6000.00 | 3000.00 | M/S TURBO POWER AND INFRASTRUCTURE
8.00 | Supply of Red filter for PAPI Unit suitable for AMA make aviation ground lighting system generally conforming to relevant IS. | 12.00 | Nos. |  | 600.00 | 7200.00 | 3000.00 | 36000.00 | 4500.00 | 54000.00 | 7500.00 | 90000.00 | 1000.00 | 12000.00 | 7200.00 | M/S TURBO POWER AND INFRASTRUCTURE
9.00 | Supply of following filters suitable for aviation ground lighting system for its elevated high intensity AMA make runway fittings generally conforming to relevant IS. a)180 deg. Yellow/Amber filter suitable for elevated type runway fittings | 10.00 | Nos. |  | 500.00 | 5000.00 | 2150.00 | 21500.00 | 2150.00 | 21500.00 | 2000.00 | 20000.00 | 1000.00 | 10000.00 | 5000.00 | M/S TURBO POWER AND INFRASTRUCTURE
10.00 | Supply of following filters suitable for aviation ground lighting system for its elevated high intensity AMA make runway fittings generally conforming to relevant IS. b) 180˚ prismatic inner clear lens suitable for elevated type runway fittings | 10.00 | Nos. |  | 600.00 | 6000.00 | 2150.00 | 21500.00 | 2150.00 | 21500.00 | 2000.00 | 20000.00 | 1000.00 | 10000.00 | 6000.00 | M/S TURBO POWER AND INFRASTRUCTURE
11.00 | Supply of following filters suitable for aviation ground lighting system for its elevated high intensity AMA make runway fittings generally conforming to relevant IS. c) 180˚ Green Lens suitable for runway elevated type threshold light | 10.00 | Nos. |  | 800.00 | 8000.00 | 2150.00 | 21500.00 | 2150.00 | 21500.00 | 2000.00 | 20000.00 | 1000.00 | 10000.00 | 8000.00 | M/S TURBO POWER AND INFRASTRUCTURE
12.00 | Supply of following filters suitable for aviation ground lighting system for its elevated high intensity AMA make runway fittings generally conforming to relevant IS. d) 180˚ Red Lens for suitable for elevated type runway end light | 10.00 | Nos. |  | 1000.00 | 10000.00 | 2150.00 | 21500.00 | 2150.00 | 21500.00 | 2000.00 | 20000.00 | 1000.00 | 10000.00 | 10000.00 | M/S TURBO POWER AND INFRASTRUCTURE, M/s BHARAT ELECTRIC, NAGPUR
13.00 | Supply of 360˚ outer clear DOME suitable for Halogen type Aviation ground lighting system for its HIRL elevated type fittings | 10.00 | each |  | 600.00 | 6000.00 | 3900.00 | 39000.00 | 2150.00 | 21500.00 | 4000.00 | 40000.00 | 2000.00 | 20000.00 | 6000.00 | M/S TURBO POWER AND INFRASTRUCTURE
14.00 | Supply of 200 Watts 20/6.6 Amps 5KV grade 50 Hz series type isolating transformer conforming to relevant IS, encapsulated in polyster resin finally moulded with neoprene type rubber with primary & secondary connections as specified in particular specifications complete as required. | 25.00 | each |  | 4500.00 | 112500.00 | 4050.00 | 101250.00 | 4050.00 | 101250.00 | 4500.00 | 112500.00 | 2000.00 | 50000.00 | 50000.00 | M/s BHARAT ELECTRIC, NAGPUR
15.00 | Supply of 45 Watts 6.6/6.6 Amps 5KV grade 50 Hz series type isolating transformer conforming to relevant IS, encapsulated in polyster resin finally moulded with neoprene type rubber with primary & secondary connections as specified in particular specifications complete as required. | 10.00 | each |  | 5000.00 | 50000.00 | 3750.00 | 37500.00 | 3750.00 | 37500.00 | 3500.00 | 35000.00 | 1500.00 | 15000.00 | 15000.00 | M/s BHARAT ELECTRIC, NAGPUR
16.00 | Supply of 5 KV, Cu grade plug and receptacle of type I class "B" connector suitable for field attachment with 5 KV grade PVC insulated PVC sheathed single core 6 Sq.mm AFL(airfield lighting cable) copper conductor cable conforming to the relevant IS specification etc. complete as required. | 100.00 | Nos. |  | 350.00 | 35000.00 | 425.00 | 42500.00 | 425.00 | 42500.00 | 450.00 | 45000.00 | 250.00 | 25000.00 | 25000.00 | M/s BHARAT ELECTRIC, NAGPUR
17.00 | Supply of FRLSH PVC insulated single core unsheated industrial (multistard)cables-conforming to IS-694:1990 with brightt annealed electrolytic bare copper conductor for voltage grade 1100 volts etc.. of following sizes complete as required. (90 meters per bundle)- 1.5 sqmm | 2.00 | Nos. |  | 200.00 | 400.00 | 1500.00 | 3000.00 | 1171.00 | 2342.00 | 2100.00 | 4200.00 | 1200.00 | 2400.00 | 400.00 | M/S TURBO POWER AND INFRASTRUCTURE
18.00 | Supply of FRLSH PVC insulated single core unsheated industrial (multistard)cables-conforming to IS-694:1990 with brightt annealed electrolytic bare copper conductor for voltage grade 1100 volts etc.. of following sizes complete as required. (90 meters per bundle)- 2.5 sqmm | 2.00 | Nos. |  | 40.00 | 80.00 | 1800.00 | 3600.00 | 1845.00 | 3690.00 | 2700.00 | 5400.00 | 1800.00 | 3600.00 | 80.00 | M/S TURBO POWER AND INFRASTRUCTURE
19.00 | Supply of FRLSH PVC insulated single core unsheated industrial (multistard)cables-conforming to IS-694:1990 with brightt annealed electrolytic bare copper conductor for voltage grade 1100 volts etc.. of following sizes complete as required. (90 meters per bundle)- 4 sqmm | 2.00 | Nos. |  | 400.00 | 800.00 | 2500.00 | 5000.00 | 2700.00 | 5400.00 | 4500.00 | 9000.00 | 3000.00 | 6000.00 | 800.00 | M/S TURBO POWER AND INFRASTRUCTURE
20.00 | Supply of 7 watts LED bulbs, suitable for operation at 230V, 50Hz AC supply. | 20.00 | Nos. |  | 400.00 | 8000.00 | 150.00 | 3000.00 | 85.00 | 1700.00 | 100.00 | 2000.00 | 200.00 | 4000.00 | 1700.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
21.00 | Supply of 20 watts LED tubelight fixture, suitable for operation at 230V, 50Hz AC supply as per list of approved makes etc complete as required.(Philips 20w stellar bright TLED or equivalent) | 25.00 | Nos. |  | 400.00 | 10000.00 | 350.00 | 8750.00 | 280.00 | 7000.00 | 350.00 | 8750.00 | 550.00 | 13750.00 | 7000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.00 | Supply of Modular type Stepped Fan Regulator (electronic)complete as required as per list of approved makes etc complete as required. | 10.00 | Nos. |  | 180.00 | 1800.00 | 300.00 | 3000.00 | 325.00 | 3250.00 | 250.00 | 2500.00 | 345.00 | 3450.00 | 1800.00 | M/S TURBO POWER AND INFRASTRUCTURE
23.00 | Supply of self adhensive PVC Electrical Insulation Tape -ISI marked(IS-7809 amended upto date) of size 1.80 cm x 9.00 mtr complete as required and as per list of approved makes(Make: STEEL GRIP or equivalent as per approved makes list) | 60.00 | Nos. |  | 10.00 | 600.00 | 300.00 | 18000.00 | 4.50 | 270.00 | 25.00 | 1500.00 | 20.00 | 1200.00 | 270.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
24.00 | Supply of luminaireof 12 watt LED recces mounted type or equivalent downlighter suitable for operation at 230V, 50Hz AC supply etc. supply complete as required.. (Bajaj -BGSLO SLEEK 12W WH RD or equivalent as per approved makes) | 2.00 | Nos. |  | 600.00 | 1200.00 | 670.00 | 1340.00 | 425.00 | 850.00 | 3100.00 | 6200.00 | 1500.00 | 3000.00 | 850.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
25.00 | Supply of 2ftx2ft luminair 36 watt LED type recess mounted fitting suitable for operation at 230V, 50Hz AC etc. supply complete as required..(Bajaj -BCTBLR 36W or equivalent as per approved makes) | 2.00 | Nos. |  | 600.00 | 1200.00 | 2400.00 | 4800.00 | 2150.00 | 4300.00 | 1200.00 | 2400.00 | 4500.00 | 9000.00 | 1200.00 | M/S TURBO POWER AND INFRASTRUCTURE
26.00 | Supply of minimum 12W rechargable LED type inverter Bulb (Make:WIPRO Standard B 22 inveter bulb or equivalent) | 4.00 | Nos. |  | 500.00 | 2000.00 | 570.00 | 2280.00 | 425.00 | 1700.00 | 4500.00 | 18000.00 | 500.00 | 2000.00 | 1700.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
27.00 | Laying of one number LT 1.1 KV grade upto 35 sq.mm / Airfeild lighting cable 5 KV grade of following size upto 16sq.mm direct in ground(upto 0.8 meters) including excavation and refilling the trench etc as required, but excluding sand cushioning and protective covering | 700.00 | meter |  | 350.00 | 245000.00 | 50.00 | 35000.00 | 285.00 | 199500.00 | 300.00 | 210000.00 | 190.00 | 133000.00 | 35000.00 | INDUSTRIAL ELECTRICALS AND CONTROLS
28.00 | Supply of 5A to 32A rating, 240/415 V, 10 kA, "C" curve, Miniature Circuit Breaker suitable for inductive load etc complete as required. a)Single pole | 20.00 | Nos. |  | 350.00 | 7000.00 | 150.00 | 3000.00 | 120.00 | 2400.00 | 210.00 | 4200.00 | 150.00 | 3000.00 | 2400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
29.00 | Supply of 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load. b)Double pole | 10.00 | Nos. |  | 600.00 | 6000.00 | 500.00 | 5000.00 | 390.00 | 3900.00 | 610.00 | 6100.00 | 600.00 | 6000.00 | 3900.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
30.00 | Supply of 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load. c)Triple pole | 10.00 | Nos. |  | 700.00 | 7000.00 | 750.00 | 7500.00 | 630.00 | 6300.00 | 910.00 | 9100.00 | 700.00 | 7000.00 | 6300.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
31.00 | Supply of 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load. d)Triple pole and neutral | 10.00 | Nos. |  | 600.00 | 6000.00 | 800.00 | 8000.00 | 850.00 | 8500.00 | 1000.00 | 10000.00 | 1100.00 | 11000.00 | 6000.00 | M/S TURBO POWER AND INFRASTRUCTURE
32.00 | Supply of 500 ml CTC Carbon Terminal Cleaner Spray can suitable for removal of rust and corrosion for metal / electrical parts complete as required. | 3.00 | Nos. |  | 400.00 | 1200.00 | 700.00 | 2100.00 | 320.00 | 960.00 | 400.00 | 1200.00 | 500.00 | 1500.00 | 960.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
33.00 | Supply of Reflectors for AMA make MK-III PAPI . | 12.00 | Nos. |  | 1200.00 | 14400.00 | 2500.00 | 30000.00 | 350.00 | 4200.00 | 3000.00 | 36000.00 | 300.00 | 3600.00 | 3600.00 | M/s BHARAT ELECTRIC, NAGPUR
34.00 | Supply of Beacon lamp for EMA make Rotating Aerodrome Beacon suitable for operation at 230V, 50Hz AC etc. supply complete as required. | 2.00 | Nos. |  | 90000.00 | 180000.00 | 12000.00 | 24000.00 | 4500.00 | 9000.00 | 6400.00 | 12800.00 | 500.00 | 1000.00 | 1000.00 | M/s BHARAT ELECTRIC, NAGPUR
35.00 | Supply of HRC fuses of following capacity: 63A 660V.AC ( make: SEIMENS 3NM CM63F or equivalent ) | 2.00 | Nos. |  | 600.00 | 1200.00 | 650.00 | 1300.00 | 15.00 | 30.00 | 1000.00 | 2000.00 | 175.00 | 350.00 | 30.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
36.00 | Supply of HRC fuses of following capacity: 100A 660V.AC ( make: SEIMENS 3NM CM100F or equivalent) | 3.00 | Nos. |  | 600.00 | 1800.00 | 780.00 | 2340.00 | 35.00 | 105.00 | 1200.00 | 3600.00 | 250.00 | 750.00 | 105.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
37.00 | Supply of HRC fuses of following capacity: 100A 500V./120kA ( make: SEIMENS 3NA3NH00 or equivalent) | 2.00 | Nos. |  | 500.00 | 1000.00 | 650.00 | 1300.00 | 65.00 | 130.00 | 1200.00 | 2400.00 | 250.00 | 500.00 | 130.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
38.00 | Supply of HRC fuses of following capacity: 32A 500V/120kA ( make: SEIMENS 3NA3NH00 or equivalent) | 2.00 | Nos. |  | 500.00 | 1000.00 | 480.00 | 960.00 | 45.00 | 90.00 | 600.00 | 1200.00 | 200.00 | 400.00 | 90.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
39.00 | Lifting of following submersible pumps upto 200 feet from the existing bore well / open well along with UPVC pipe lines, cable and reinstallation of the same after repair / rectification of the defects as and when required. (Charges for repair / rectification of the pump or motor is not included). i) above 5.0 HP and upto 7.5 HP | 1.00 | Job |  | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 7000.00 | 7000.00 | 5000.00 | 5000.00 | 2000.00 | INDUSTRIAL ELECTRICALS AND CONTROLS
40.00 | Rewinding of following capacity motors by dismantling, cutting of burnt out wire, rewinding with new suitable guage enamelled fine copper wire, varnishing, baking, re-assembling,complete overhauling of the motor including To & fro transportation to the site etc., complete job as on when required. i) 7.5 HP Submersible | 1.00 | Job |  | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 6000.00 | 6000.00 | 7500.00 | 7500.00 | 2000.00 | INDUSTRIAL ELECTRICALS AND CONTROLS
41.00 | Rewinding of following capacity motors by dismantling, cutting of burnt out wire, rewinding with new suitable guage enamelled fine copper wire, varnishing, baking, re-assembling,complete overhauling of the motor including To & fro transportation to the site etc., complete job as on when required. ii) 1 HP Monoblock | 1.00 | Job |  | 500.00 | 500.00 | 1400.00 | 1400.00 | 1200.00 | 1200.00 | 3000.00 | 3000.00 | 2500.00 | 2500.00 | 500.00 | M/S TURBO POWER AND INFRASTRUCTURE
42.00 | Transportation(rate of HSD oil not included.) of HSD oil from petrol pump to Kolhapur Airport power house Approx. quantity of oil to be transported (to and fro) upto 600 ltrs in a single trip. Approx. distance from petrol bunk to Kolhapur Airport power house is 5 Km. Including loading and unloading complete as required. | 24.00 | Job |  | 1500.00 | 36000.00 | 2000.00 | 48000.00 | 1500.00 | 36000.00 | 700.00 | 16800.00 | 1500.00 | 36000.00 | 16800.00 | Manish Electricals
43.00 | Rental charges for providing and arranging decorative lighting for occasions like Independence Day, Republic Day etc., to cover facade of entire terminal building complete as required with minimum of following i) LED focus Light of minimum 60 watts x 30 nos. of colours as per EIC ii) LED strips of length 25 feet x 25 nos. of colours as per EIC iii) LED pixel strips/rope 20 feet x 25 nos. of colours as per EIC and other miscellaneous items etc., complete as required to cover facade of terminal building of dimensions of 60(L) x 40(B) x 20(H) (Approx.) as per directions of EIC (per job 3 days of decorative lighting) | 4.00 | Job |  | 20000.00 | 80000.00 | 41950.00 | 167800.00 | 18000.00 | 72000.00 | 25000.00 | 100000.00 | 25000.00 | 100000.00 | 72000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
44.00 | Supply of Rechargable LED emergency light with minimum backup lighting of 4 hours of power consumption; minimum of 4 watt (Make and model: Philips Ujjwal Plus Rechargable LED Lantern or equivalent) | 2.00 | Nos. |  | 15000.00 | 30000.00 | 3000.00 | 6000.00 | 1250.00 | 2500.00 | 6800.00 | 13600.00 | 2500.00 | 5000.00 | 2500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
45.00 | Supply of XLPE insulated & PVC sheathed armoured aluminium conductor power cable of grade 1.1 kV of following size as per IS 7098 (part 1) amended upto date etc complete as required. 3.5 x 95 sq. mm | 100.00 | meter |  | 800.00 | 80000.00 | 580.00 | 58000.00 | 378.00 | 37800.00 | 450.00 | 45000.00 | 400.00 | 40000.00 | 37800.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
46.00 | Supply of XLPE insulated & PVC sheathed armoured aluminium conductor power cable of grade 1.1 kV of following size as per IS 7098 (part 1) amended upto date etc complete as required. 3.5 x 35 sq. mm | 200.00 | meter |  | 500.00 | 100000.00 | 400.00 | 80000.00 | 173.00 | 34600.00 | 230.00 | 46000.00 | 300.00 | 60000.00 | 34600.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
47.00 | Supply of XLPE insulated & PVC sheathed armoured aluminium conductor power cable of grade 1.1 kV of following size as per IS 7098 (part 1) amended upto date etc complete as required. 2 x 16 sq. mm | 150.00 | meter |  | 350.00 | 52500.00 | 350.00 | 52500.00 | 85.00 | 12750.00 | 90.00 | 13500.00 | 200.00 | 30000.00 | 12750.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
48.00 | Dismantling and Re-Installation, testing and commissioning of existing PAPI (AMA make) System (04 units) along with all its accessories i/e., transformer housing boxes, bases for checking stick , taking level & setting right angles (minimum 03 times) by Total Station / Theodolite, excavation, RCC foundation (1:2:4) upto required level, plastering, refilling, providing foundation bolts and nuts, fitting, fixing, cleaning, marking, earthing, connecting, providing pipe for secondary leads, painting and ground calibration of the system etc. complete as required. (By specialized agency as approved by EIC , the result should be consistent for three operational days) | 2.00 | Job |  | 8000.00 | 16000.00 | 45030.00 | 90060.00 | 25000.00 | 50000.00 | 125000.00 | 250000.00 | 15000.00 | 30000.00 | 16000.00 | M/S TURBO POWER AND INFRASTRUCTURE
49.00 | Supply of ceiling fan 1200mm sweep double ball bearing cu wound suitable for operation at 230V, 50Hz AC etc. supply complete as required.(Make: BAJAJ -Edge or equivalent as per approved makes list) | 6.00 | Nos. |  | 2200.00 | 13200.00 | 1300.00 | 7800.00 | 2150.00 | 12900.00 | 2100.00 | 12600.00 | 2000.00 | 12000.00 | 7800.00 | INDUSTRIAL ELECTRICALS AND CONTROLS
50.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level - 1:3:6 (1 Cement: 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size) | 10.00 | cum |  | 6000.00 | 60000.00 | 5000.00 | 50000.00 | 4500.00 | 45000.00 | 7500.00 | 75000.00 | 3000.00 | 30000.00 | 30000.00 | M/s BHARAT ELECTRIC, NAGPUR
51.00 | Installation of Transformer Housing Box with a base concrete of 1:3:6 of size 630x630x100mm thick all round concrete of 1:2:4, 150mm thick, the top sloppedd with 1:2:4 cement concrete including providing and fixing 250mm long 15mm dia. "B" class GI pipe with check nut for drainage of water including excavation of side shoulder and refilling etc. complete as required. | 10.00 | each |  | 1200.00 | 12000.00 | 1500.00 | 15000.00 | 1500.00 | 15000.00 | 3000.00 | 30000.00 | 5000.00 | 50000.00 | 12000.00 | M/S TURBO POWER AND INFRASTRUCTURE
52.00 | Supply of water tight MS housing boxes of outer size 330mm X 330mm X 150 mm (height) made out of top 15mm thick plat & bottom 10 mm thick plat and side surface with 6mm thick plates and having three holes to receive DWC/GI pipes as per site requirement, clear opening of 225mm dia. on top surface, 06 nos. M10 holes on top surface to match base plates of light fitiings, drain hole on bottom surface to receive 15 mm dia. GI pipe, earth studs etc. as required as per drawing attached. | 12.00 | each |  | 4500.00 | 54000.00 | 2350.00 | 28200.00 | 3800.00 | 45600.00 | 5100.00 | 61200.00 | 3000.00 | 36000.00 | 28200.00 | INDUSTRIAL ELECTRICALS AND CONTROLS
53.00 | DSR 2018 item for Rs. 3,00,000/- (excluding GST) [Note : The rate may be quoted in the following manner - (i) If quoted rate is Rs. 2,70,000/- then the percentage will considered as 10% below DSR 2018. (Rs. 3,00,000 - 10%) (ii) If quoted rate is Rs. 3,30,000/- then the percentage will considered as 10% above DSR 2018. (Rs. 3,00,000 + 10%) Note: DSR 2018 is inclusive of GST, however the contractor has to quote the rates above or below excluding | 1.00 | Job |  | 250000.00 | 250000.00 | 299969.00 | 299969.00 | 250000.00 | 250000.00 | 270000.00 | 270000.00 | 255000.00 | 255000.00 | 250000.00 | M/S TURBO POWER AND INFRASTRUCTURE, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
| Total in Figures |  |  |  |  | 6343580.00 |  | 5699999.00 |  | 6290553.00 |  | 6525750.00 |  | 5952000.00
Lowest Amount Quoted BY: INDUSTRIAL ELECTRICALS AND CONTROLS(5699999.00)

## BOQ Summary
BOQ Summary Details Tender Title: Bi-Annual Maintenance of Contract of GLF, electrical and Mechanical installations at Kolhapur Airport 2021 - 23 Tender ID: 2021_AAI_71059_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | INDUSTRIAL ELECTRICALS AND CONTROLS | 5699999.00 | L1
| 2 | M/s BHARAT ELECTRIC, NAGPUR | 5952000.00 | L2
| 3 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 6290553.00 | L3
| 4 | M/S TURBO POWER AND INFRASTRUCTURE | 6343580.00 | L4
| 5 | Manish Electricals | 6525750.00 | L5