## BoQ1
Government eProcurement System Created By: Pradeep kr sagar Created Date/Time: 17-Mar-2021 02:54 PM Tender Title: Annual Operation and Maintenance Contract for E M Installations at New Terminal Building, Prayagraj Airport for Two Years. Year 2021- 2023 Tender ID: 2021_AAI_71085_1
Tender Inviting Authority: <Senior Manager, Airports Authority of India, Prayagraj Airport, Prayagraj,UP.>
Name of Work: <Annual Operation & Maintenance Contract for E&M Installations at New Terminal Building, Prayagraj Airport for Two Years. (Year 2021-2023).>
Contract No: AAI/PRG/SMEE/e-NIT-10/2020-21 Tender ID: 2021_AAI_71085_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ALLIED REFRIGERATION AND ELECTRICAL WORKS(GSTN-09AEFPP8688C1ZZ) |  | Elbe Engineering Services(GSTN-07ACVPR5041D2ZD) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Sew Engineering Works Pvt Ltd(GSTN-09AAACS2845N1ZY) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Periodical Maintenance, Operation and Repair of electrical installation of 11 KV / 415 V sub station, HT and LT distribution panels, AMF Panels, UPS System, Battery Charger, battery maintenance ,operation of DG sets at various locations by attending complaints, Electrical Installation of New teriminal building and operational area NAVAIDS, complete GLF System(CCR,Taxiway Lighting and Approach lighting System), Street light/parking lights/high mast/flag high mast, maintenance of earth pits, Apron light and perimeter lighting, operations and maintenance of Hydro Pneumatic Water Supply System, maintenance of rooftop 50 KWp solar plant etc. and attending the day to day complaints on all days i/c Sunday and Holiday by following minimum man power per day (on all days i/c sunday / Weekly offs & other holidays), tools & tackles and attending the break-down and preventive maintenance as per Special Conditions of Contract. (a) Supervisor - Highly Skilled - 02 No. - (General Shift- 313 days in Year ) (b) Wireman/opeartor - Skilled - 11 Nos. (Reliever Shall be Provided on Weekly Off/Holiday ) (c) Helper - Unskilled - 04 Nos. (Reliever Shall be Provided on Weekly Off / Holiday) (d) Wireman - Skilled - 02 Nos. (General Shift- 313 days in Year ) (e) Helper - Unskilled - 02 Nos. (General Shift- 313 days in Year ) ( Note: Contractor has to provide Reliever on Weekly Offs / Holidays of above required staffs except general shift manpower ( 02Nos skilled wireman, 02 Nos Unskilled Helper, 02Nos Supervisor Highly Skilled)) | 24.00 | Months |  | 487586.00 | 11702064.00 | 492000.00 | 11808000.00 | 460000.00 | 11040000.00 | 419100.00 | 10058400.00 | 452070.00 | 10849680.00 | 425000.00 | 10200000.00 | 10058400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.00 | Testing the BDV value and PH value by applying minimum 40 KV for 1 minute of transformer oil of two samples (top and bottom) and submission of report as required.(02 no.of 01MVA & 400 KVA Transformers: Total Qty:03)
2.01 | For First Year (Rate per Transformer per Year) | 3.00 | Each |  | 2000.00 | 6000.00 | 2500.00 | 7500.00 | 2900.00 | 8700.00 | 15000.00 | 45000.00 | 1500.00 | 4500.00 | 3800.00 | 11400.00 | 4500.00 | Sew Engineering Works Pvt Ltd
2.02 | For Second Year (Rate per Transformer per Year) | 3.00 | Each |  | 2500.00 | 7500.00 | 2500.00 | 7500.00 | 3000.00 | 9000.00 | 15000.00 | 45000.00 | 2000.00 | 6000.00 | 3800.00 | 11400.00 | 6000.00 | Sew Engineering Works Pvt Ltd
3.00 | Filteration & Dehydration of transformer oil at site up to a level of relavent IS Dielectric strength for transformers i/c replacement of gasket if required complete as required installed at Prayagraj Airport including submission of test reports before & after dehydration of oil. (Item is to be executed if the BDV value of transformer oil is found below the stipulated value). | 4500.00 | Lts |  | 10.00 | 45000.00 | 8.00 | 36000.00 | 10.00 | 45000.00 | 7.50 | 33750.00 | 12.00 | 54000.00 | 8.00 | 36000.00 | 33750.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
4.00 | Inspection servicing and testing of one number of 400KVA distribution transformer 11 kv/ 433 V installed at old teriminal building i/c carring out the following tests and submitting test reports: a) General inspection b) IR value test primary to secondary, primary to earth , secondary to earth c) Votage ratio check at all tap position, d) Bucholtz relay operation e) OTI operation f) WTI operation g) Tap changer operation Check h) Cleaning of transformer and replacement of silica gel | 1.00 | Job |  | 17500.00 | 17500.00 | 6000.00 | 6000.00 | 17500.00 | 17500.00 | 2500.00 | 2500.00 | 17500.00 | 17500.00 | 12500.00 | 12500.00 | 2500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
5.00 | Inspection servicing and testing of Two number of 01MVA distribution transformer 11 kv/ 433 V i/c carring out the following tests and submitting test reports: a) General inspection b) IR value test primary to secondary, primary to earth , secondary to earth c) Votage ratio check at all tap position, d) Bucholtz relay operation e) OTI operation f) WTI operation g) Tap changer operation Check h) Cleaning of transformer and replacement of silica gel
5.01 | For First Year (Rate per Two no.of 01 MVA Transformer per Year) | 1.00 | Job |  | 22500.00 | 22500.00 | 10000.00 | 10000.00 | 35000.00 | 35000.00 | 2500.00 | 2500.00 | 35000.00 | 35000.00 | 12500.00 | 12500.00 | 2500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
5.02 | For Second Year (Rate per Two no.of 01 MVA Transformer per Year) | 1.00 | Job |  | 28500.00 | 28500.00 | 10000.00 | 10000.00 | 40000.00 | 40000.00 | 2500.00 | 2500.00 | 40000.00 | 40000.00 | 12500.00 | 12500.00 | 2500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
6.00 | Supply and Toping up the transformer oil in conservator tank upto a required level with new treated transformer oil (As per IS and approved make) as and when required. | 500.00 | Lts |  | 120.00 | 60000.00 | 120.00 | 60000.00 | 160.00 | 80000.00 | 125.00 | 62500.00 | 125.00 | 62500.00 | 150.00 | 75000.00 | 60000.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS, Elbe Engineering Services
7.00 | Inspection ,servicing, setting, testing & calibration of NUMERICAL IDMT+INST. O/C & E/F RELAY model REJ 601 of ABB make for exisiting 11 KV HT panel & checking the following parameters & submitting test reports to Engineer-in-charge. A) General Inspection. B) Wiring Check. C) Continuity of plug shifting trips & plug bridge shorting contacts. D) Primary injection test i/c pick up current of IDMT element etc.
7.01 | For First Year | 5.00 | Each |  | 3500.00 | 17500.00 | 600.00 | 3000.00 | 2650.00 | 13250.00 | 5500.00 | 27500.00 | 4000.00 | 20000.00 | 2000.00 | 10000.00 | 3000.00 | Elbe Engineering Services
7.02 | For Second Year | 5.00 | Each |  | 4000.00 | 20000.00 | 600.00 | 3000.00 | 2950.00 | 14750.00 | 5500.00 | 27500.00 | 4000.00 | 20000.00 | 2200.00 | 11000.00 | 3000.00 | Elbe Engineering Services
8.00 | Inspection, servicing, setting, testing & calibration of U/V O/V relay(Qty: 02 no.s) L&T make for exisiting 11 KV HT panel & checking the following parameters & submitting test reports to Engineer-in-charge. A) General Inspection. B) Wiring Check. C) Continuity of plug shifting trips & plug bridge shorting contacts. D) Primary injection test.
8.01 | For First Year (Rate per U/V O/V relay per Year) | 2.00 | Each |  | 2000.00 | 4000.00 | 600.00 | 1200.00 | 2450.00 | 4900.00 | 3500.00 | 7000.00 | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 1200.00 | Elbe Engineering Services
8.02 | For Second Year (Rate per U/V O/V relay per Year) | 2.00 | Each |  | 2500.00 | 5000.00 | 600.00 | 1200.00 | 2800.00 | 5600.00 | 3500.00 | 7000.00 | 2500.00 | 5000.00 | 2200.00 | 4400.00 | 1200.00 | Elbe Engineering Services
9.00 | Inspection ,servicing, setting, testing & calibration of IDMT+INST. O/C & E/F RELAY model UW MTX 3.5 , UW MTX 1G of L&T make for exisiting LT panel & checking the following parameters & submitting test reports to Engineer-in-charge. A) General Inspection. B) Wiring Check. C) Continuity of plug shifting trips & plug bridge shorting contacts. D) Primary injection test i/c pick up current of IDMT element etc.
9.01 | For First Year | 6.00 | Each |  | 3000.00 | 18000.00 | 500.00 | 3000.00 | 3350.00 | 20100.00 | 5500.00 | 33000.00 | 2500.00 | 15000.00 | 1000.00 | 6000.00 | 3000.00 | Elbe Engineering Services
9.02 | For Second Year | 6.00 | Each |  | 3500.00 | 21000.00 | 500.00 | 3000.00 | 3650.00 | 21900.00 | 5500.00 | 33000.00 | 2500.00 | 15000.00 | 1000.00 | 6000.00 | 3000.00 | Elbe Engineering Services
10.00 | Servicing, Checking and Testing of the following Make & Capacity LT circuit breakers(ACB) through OEM/ authorised service agency of OEM as per recommended standards and submission of test report to AAI complete as required. (Job includes checking of internal wiring of ACB and Panel and taking corrective action for proper operation of breaker/panel including minor repairing works and supply of the consumables.)
10.01 | 800A, Make: L& T , 3 pole , Model: UW1-08N ( For First Year) | 3.00 | Each |  | 2500.00 | 7500.00 | 1500.00 | 4500.00 | 2650.00 | 7950.00 | 1500.00 | 4500.00 | 4500.00 | 13500.00 | 3000.00 | 9000.00 | 4500.00 | Elbe Engineering Services, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
10.02 | 800A, Make: L& T , 3 pole , Model: UW1-08N ( For Second Year) | 3.00 | Each |  | 3000.00 | 9000.00 | 1500.00 | 4500.00 | 2650.00 | 7950.00 | 1500.00 | 4500.00 | 4500.00 | 13500.00 | 3500.00 | 10500.00 | 4500.00 | Elbe Engineering Services, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
10.03 | 1600A, Make: L& T , 4 pole , Model: UW1-16N ( For First Year) | 3.00 | Each |  | 3500.00 | 10500.00 | 1500.00 | 4500.00 | 3150.00 | 9450.00 | 2000.00 | 6000.00 | 4500.00 | 13500.00 | 3000.00 | 9000.00 | 4500.00 | Elbe Engineering Services
10.04 | 1600A, Make: L& T , 4 pole , Model: UW1-16N ( For Second Year) | 3.00 | Each |  | 3800.00 | 11400.00 | 1500.00 | 4500.00 | 3150.00 | 9450.00 | 2000.00 | 6000.00 | 4500.00 | 13500.00 | 3500.00 | 10500.00 | 4500.00 | Elbe Engineering Services
11.00 | Servicing, Checking,Inspection, Repairing, overhauing and testing of ABB Make & Capacity 12KV,800A HT Vacuum Circuit Breaker (VCB) through OEM/ authorised service agency of OEM as per recommended standards and submission of test report to AAI complete as required. (Job includes checking of internal wiring of VCB and Panel and taking corrective action for proper operation of breaker/panel including minor repairing works and supply of the consumables.)
11.01 | 1st Year (Rate per VCB per Year) | 5.00 | Each |  | 9500.00 | 47500.00 | 1500.00 | 7500.00 | 10000.00 | 50000.00 | 5000.00 | 25000.00 | 10000.00 | 50000.00 | 6500.00 | 32500.00 | 7500.00 | Elbe Engineering Services
11.02 | 2nd Year (Rate per VCB per Year) | 5.00 | Each |  | 10000.00 | 50000.00 | 1500.00 | 7500.00 | 11000.00 | 55000.00 | 5000.00 | 25000.00 | 10000.00 | 50000.00 | 7500.00 | 37500.00 | 7500.00 | Elbe Engineering Services
12.00 | Rewinding, servicing, repairing of ceiling fan / wall fan / Exhaust fan including replacement of wornout / defective parts like bearings, capacitors etc., i/c transportation from site to workshop & back to site. (Dismantled Material belongs to contractor). | 20.00 | Job |  | 100.00 | 2000.00 | 800.00 | 16000.00 | 850.00 | 17000.00 | 150.00 | 3000.00 | 650.00 | 13000.00 | 700.00 | 14000.00 | 2000.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
13.00 | Servicing, repairing of fully automatic sensor type hand dryers (Make: Euronics/d line) including replacement of wornout / defective parts like sensors, i/c transportation from site to workshop & back to site. (Dismantled Material belongs to contractor). | 10.00 | Job |  | 500.00 | 5000.00 | 1000.00 | 10000.00 | 3500.00 | 35000.00 | 150.00 | 1500.00 | 1500.00 | 15000.00 | 4000.00 | 40000.00 | 1500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
14.00 | Repair and rewinding of submersible pump motor set of above 2 HP and upto 10 HP Job include transportation of motor dismantling and rewinding with the same gage insulated copper wire including replacement of all the internal worn out / defective parts i.e bushes, impellers, sleeves, upper and lower bush sets, thrust bearing, oil seals, rotor grinding and balancing, assembling, testing, transportation etc. complete as required. | 6.00 | Job |  | 500.00 | 3000.00 | 4000.00 | 24000.00 | 5500.00 | 33000.00 | 1500.00 | 9000.00 | 8500.00 | 51000.00 | 6000.00 | 36000.00 | 3000.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
15.00 | Lifting ,lowering, Repair of submersible pumps upto 10 HP from existing borewell/open well & installation, testing and commissioning at site by using tripod and other tools, including its connected pipe & cable, packings, nut bolts etc and making water proof joint in submersible cable complete as required. | 4.00 | Job |  | 800.00 | 3200.00 | 10000.00 | 40000.00 | 10500.00 | 42000.00 | 2000.00 | 8000.00 | 15000.00 | 60000.00 | 6000.00 | 24000.00 | 3200.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
16.00 | Repair and servicing of Hydro pneumatic & monoblock pump system (Make: Wilo) including the cost of spares for trouble shooting and breakdown maintenance etc. as required as per good engineering practice, recommendation of the original equipment manufacturer (OEM) and instructions of Engineer-in-charge for maintaining the system in acceptable, functional, operational and serviceable state of the following system. Hydro pneumatic pump system model: Switch Box WMP PC System + 1.5/2.2 kW / IE2/00 ( 02 working + 01 standby) 01 set consisting of suction and discharge manifold, NRV, DRP, VFD, Control panel, isolating valves, Pressure Gauge, pressure Transmitter, base Frame, GWS make Pressure tank etc. | 3.00 | Job |  | 5500.00 | 16500.00 | 7000.00 | 21000.00 | 12000.00 | 36000.00 | 5000.00 | 15000.00 | 10000.00 | 30000.00 | 6000.00 | 18000.00 | 15000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
17.00 | Repair,Rewinding of following capacity 415Volt 50 Hz AC supply hydro pneumatic monoblock pump motors Job include transportation of motor dismantling and rewinding with the same gage insulated copper wire including replacement of all the internal worn out / defective parts i.e bushes, impellers, sleeves, upper and lower bush sets, thrust bearing, oil seals, rotor grinding and balancing, assembling, testing, transportation etc. complete as required.
17.01 | 2HP | 3.00 | Job |  | 2000.00 | 6000.00 | 4000.00 | 12000.00 | 2950.00 | 8850.00 | 1000.00 | 3000.00 | 2500.00 | 7500.00 | 3500.00 | 10500.00 | 3000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
17.02 | 3HP | 3.00 | Job |  | 3000.00 | 9000.00 | 4000.00 | 12000.00 | 3500.00 | 10500.00 | 1500.00 | 4500.00 | 3500.00 | 10500.00 | 3500.00 | 10500.00 | 4500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
18.00 | All inclusive comprehensive maintenance contract and including attending preventive & breakdown maintenance of following wall mounted Split type Single phase Air conditioning units at different locations(GP, DVOR, ILS, Admin building and Anciliary Building etc.) including providing all necessary consumable items & spares, compressor, motor etc. complete as required along with their stabilizers of different make and capacities including interconnecting wiring etc. as required - for period of two Years.
18.01 | 1.5 TR capacity split air conditioner (Rate per Split AC per Two Years) | 21.00 | Nos |  | 2950.00 | 61950.00 | 7000.00 | 147000.00 | 5600.00 | 117600.00 | 450.00 | 9450.00 | 4500.00 | 94500.00 | 4500.00 | 94500.00 | 9450.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
18.02 | 3.0 TR capacity Spilt Air conditioner (Rate per Split AC per Two Years) | 2.00 | Nos |  | 4800.00 | 9600.00 | 10000.00 | 20000.00 | 8400.00 | 16800.00 | 800.00 | 1600.00 | 7500.00 | 15000.00 | 6500.00 | 13000.00 | 1600.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
19.00 | Annual Comprehensive maintenance contract (ACMC) of RO water coolers for Products listed below:- 1.) Haws Drinking Water Fountain, Model A4A1400P 2.) Danfrost RO system, Model RO-50L with HPT tank Comprehensive maintenance contract CMC for Products (as above) shall include monthly visit, servicing of all the said products on comprehensive basis as per Special Conditions of Contract. The CMC shall include consumables like RO Filters,pumps etc & spare parts. The job includes visit charges of Service personnel from the Manufacturer or Authorised Service Dealer or Specialised Agency for carrying out Minimum 01(One) Monthly Preventive Maintenance visit for satisfactory working condition of the system (OR) Breakdown maintenance visit as and when required basis till the complete rectification of the breakdown irrespective of number of visits to attend the same breakdown, complete as required.
19.01 | For First Year (Rate per RO water cooler per Year) | 5.00 | Each |  | 21500.00 | 107500.00 | 30000.00 | 150000.00 | 18900.00 | 94500.00 | 8500.00 | 42500.00 | 44840.00 | 224200.00 | 15000.00 | 75000.00 | 42500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
19.02 | For Second Year (Rate per RO water cooler per Year) | 5.00 | Each |  | 22500.00 | 112500.00 | 35000.00 | 175000.00 | 22400.00 | 112000.00 | 8500.00 | 42500.00 | 55000.00 | 275000.00 | 15000.00 | 75000.00 | 42500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
20.00 | Annual Comprehensive maintenance contract (ACMC) of RO water coolers for Products listed below:- 1) Livpure RO system Model: I-25 LPH 2) Water cooler Make: Voltas, Storage capacity: 40/80Ltrs Comprehensive maintenance contract CMC for Products (as above) shall include monthly visit, servicing of all the said products on comprehensive basis as per Special Conditions of Contract. The CMC shall include consumables like RO Filters,pumps etc & spare parts. The job includes visit charges of Service personnel from the Manufacturer or Authorised Service Dealer or Specialised Agency for carrying out Minimum 01(One) Monthly Preventive Maintenance visit for satisfactory working condition of the system (OR) Breakdown maintenance visit as and when required basis till the complete rectification of the breakdown irrespective of number of visits to attend the same breakdown, complete as required.
20.01 | For First Year (Rate per RO water cooler per Year) | 3.00 | Each |  | 12000.00 | 36000.00 | 30000.00 | 90000.00 | 19250.00 | 57750.00 | 5500.00 | 16500.00 | 12500.00 | 37500.00 | 15000.00 | 45000.00 | 16500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
20.02 | For Second Year (Rate per RO water cooler per Year) | 3.00 | Each |  | 13000.00 | 39000.00 | 35000.00 | 105000.00 | 23450.00 | 70350.00 | 5500.00 | 16500.00 | 15500.00 | 46500.00 | 18000.00 | 54000.00 | 16500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
21.00 | Annual Comprehensive Maintenance contract of 110V 25A Float cum Boost Battery Charger (Make: Live Line Electronics ) installed at Power house, Prayagraj Airport. Job include quarterly visit of engineer, performing periodincal maintenance as per OEM's recommendations, attending unlimited complaints / breakdown calls, taking rectification action, supply and replacement of all spare parts as and when required except batteries, ensuring serviceability/ satisfactory working condition of the system, preparing records/ documents etc. as per terms and conditions complete as requied.
21.01 | 1st Year (Rate per battery charger per Year) | 1.00 | Each |  | 46000.00 | 46000.00 | 10000.00 | 10000.00 | 19600.00 | 19600.00 | 10000.00 | 10000.00 | 14500.00 | 14500.00 | 22000.00 | 22000.00 | 10000.00 | Elbe Engineering Services, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
21.02 | 2nd Year (Rate per battery charger per Year) | 1.00 | Each |  | 48000.00 | 48000.00 | 10000.00 | 10000.00 | 22400.00 | 22400.00 | 10000.00 | 10000.00 | 15500.00 | 15500.00 | 25000.00 | 25000.00 | 10000.00 | Elbe Engineering Services, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.00 | Decorating City side of New Terminal Building of prayagraj Airport with LED / Decorative Lights on the occasion of national holidays and festivals etc., as required. on rental basis with different type of Parcan Lights/ LED Series with provision for operation as per National Flag theme (Tri colour) for Outdoor Use, including Supply & Installation of Lights with suitable mounting arrangements, wiring/cabling, loading, unloading, transportation, dismantling etc. (The rate shall be quoted for hiring charges of the assorted decorative lights on per day basis including installation and dismantalling). | 15.00 | Days |  | 11000.00 | 165000.00 | 45000.00 | 675000.00 | 7000.00 | 105000.00 | 4500.00 | 67500.00 | 9000.00 | 135000.00 | 32000.00 | 480000.00 | 67500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
23.00 | Annual Comprehensive maintenance contract of existing one number of 54 meter long electrically operated trolley gate including Servicing, repairing, supply and replacement of minor/ major spares as per requirement and to attend breakdown/ maintenance calls as and when required and ensure safe functioning of trolley gate to the satisfaction of Engineer-in-charge including technical support and spares from OEM or equivalent manufacturer approved by Engineer-in-charge. The double track Trolley gate consists of automation system make CAME BY - 3500 T, motor drive (750 W, 400 V), PCB card/ Electronic components, power transmitting device, chain, control panel, cable winder, cables, all safety devices, MS Structure of gate, track, roller, bearings, shafts, stoppers, radio remote, obstruction flash lights etc and i/c all accessories.as per SCC and technical specifications of the contract. a) Size: 54 mtr long (approx.), Qty: 01. The work involves unlimited breakdown calls , quarterly maintenance visit and as and when required by Authorised service engineer for trolley gate, carrying out preventive and scheduled maintenance and as per OEM recommendation.
23.01 | For First Year (Rate per gate per Year) | 1.00 | Each |  | 40000.00 | 40000.00 | 35000.00 | 35000.00 | 22400.00 | 22400.00 | 25000.00 | 25000.00 | 25000.00 | 25000.00 | 35000.00 | 35000.00 | 22400.00 | CENTRE TAP ENGINEERING
23.02 | For Second Year (Rate per gate per Year) | 1.00 | Each |  | 50000.00 | 50000.00 | 35000.00 | 35000.00 | 28000.00 | 28000.00 | 25000.00 | 25000.00 | 30000.00 | 30000.00 | 35000.00 | 35000.00 | 25000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
24.00 | Annual Comprehensive maintenance contract of existing 12 number of automatic sliding doors including Servicing, repairing, supply and replacement of spares as per requirement and to attend breakdown/ maintenance calls as and when required and ensure safe functioning of automatic sliding door to the satisfaction of Engineer-in-charge including technical support and spares from OEM or equivalent manufacturer approved by Engineer-in-charge. The Automatic Sliding Door consists of automation system make Geze BY - Motor, Controller, Electronic components, power transmitting device, belt,clamp, rollars, cable winder, cables, all safety devices, stoppers, etc and i/c all accessories. a) Frameless Biparting glass door set with side panel to provide clear sliding opening of WD 2 x HT 2.4 M (approx.) : Qty: 12 no.s The work involves unlimited breakdown calls, quarterly maintenance visit and as and when required by Authorised service engineer for Doors , carrying out preventive and scheduled maintenance as per OEM recommendation and as per SCC and technical specifications of the contract.
24.01 | For First Year (Rate per sliding door per Year) | 12.00 | Each |  | 21000.00 | 252000.00 | 15000.00 | 180000.00 | 17500.00 | 210000.00 | 2000.00 | 24000.00 | 15000.00 | 180000.00 | 35000.00 | 420000.00 | 24000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
24.02 | For Second Year (Rate per sliding door per Year) | 12.00 | Each |  | 25000.00 | 300000.00 | 15000.00 | 180000.00 | 21000.00 | 252000.00 | 2000.00 | 24000.00 | 25000.00 | 300000.00 | 35000.00 | 420000.00 | 24000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
25.00 | Annual Comprehensive maintenance contract of existing 04 number of boom barrier( LENGTH - 4meter Model: ASN 400) including servicing and major/minor repairs, supply and replacement of all spares/Electrical, electronic components, motor, PCB card etc. and to attend breakdown/maintenance calls as and when required to ensure safe functioning of equipments to the satisfaction of Engineer-In -Charge including technical support and spares from OEM or equivalent manufacturer approved by Engineer-In -Charge as per SCC and technical specifications of the contract.
25.01 | For First Year (Rate per boom barrier per Year) | 4.00 | Each |  | 22000.00 | 88000.00 | 15000.00 | 60000.00 | 17500.00 | 70000.00 | 8000.00 | 32000.00 | 50000.00 | 200000.00 | 35000.00 | 140000.00 | 32000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
25.02 | For Second Year (Rate per boom barrier per Year) | 4.00 | Each |  | 26000.00 | 104000.00 | 15000.00 | 60000.00 | 21000.00 | 84000.00 | 8000.00 | 32000.00 | 55000.00 | 220000.00 | 35000.00 | 140000.00 | 32000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
26.00 | Execution of Complete items of CPWD Delhi scheduleof rates (E&M) 2018.[Up to a Ceiling limit of Rs.400,000.00 without GST]. The materials used for executing the DSR items shall be as per the approved make list of AAI, as enclosed with the tender document. (Note: the firm has to quote / upload the percentage above / below (+/-) % on the quantity mentioned against this item directly in the form of multiplying factor in the rate coloumn as clarified below. The rate provided in DSR 2018 is inclusive of GST, however the contractor has to quote the percentage rate excluding GST). | 400000.00 | INR |  | .40 | 160000.00 | 1.00 | 400000.00 | 1.00 | 400000.00 | .75 | 300000.00 | .90 | 360000.00 | 1.00 | 400000.00 | 160000.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
| Total in Figures |  |  |  |  | 13774714.00 |  | 14459400.00 |  | 13360250.00 |  | 11180700.00 |  | 13662880.00 |  | 13148200.00
Lowest Amount Quoted BY: S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(11180700.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance Contract for E M Installations at New Terminal Building, Prayagraj Airport for Two Years. Year 2021- 2023 Tender ID: 2021_AAI_71085_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 11180700.00 | L1
| 2 | DElite System Engineering (India) Pvt. Ltd. | 13148200.00 | L2
| 3 | CENTRE TAP ENGINEERING | 13360250.00 | L3
| 4 | Sew Engineering Works Pvt Ltd | 13662880.00 | L4
| 5 | ALLIED REFRIGERATION AND ELECTRICAL WORKS | 13774714.00 | L5
| 6 | Elbe Engineering Services | 14459400.00 | L6