## BoQ1
Government eProcurement System Created By: Kamal Kishore Created Date/Time: 30-Apr-2021 11:55 AM Tender Title: Procurement of AC, Water Cooler and RO for Various location at CA Khajuraho Tender ID: 2021_AAI_71267_1
Tender Inviting Authority: Senior Manager (Engg-Elect.), Airports Authority of India, CA, Khajuraho.
Name of Work: "Procurement of AC, Water Cooler and RO for Various location at CA Khajuraho."
Contract No: 2021_AAI_71267_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ALFA COMMUNICATIONS(GSTN-23AGAPG9111C1Z7) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | SAURABH ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following capacity wall mounted type Split AC unit (5 star rating invertor type) working on Refregerent R- 410A, fitted with hermetically sealed compressor operating on 230 V, 50 Hz Single phase AC supply with evaporator and condensing unit made of copper tubes with aluminium fins i/c cordless remote control, including mounting stand for outdoor units,refrigerant piping,drain piping,control cabling upto standard length as per OEM complete etc as required.
1.10 | 1.5 TR | 13.00 | Nos. |  | 33200.00 | 431600.00 | 37500.00 | 487500.00 | 36000.00 | 468000.00 | 33000.00 | 429000.00 | 32345.00 | 420485.00 | 420485.00 | SAURABH ENTERPRISES
1.20 | 2.0 TR | 3.00 | Nos. |  | 44000.00 | 132000.00 | 49000.00 | 147000.00 | 51500.00 | 154500.00 | 40000.00 | 120000.00 | 40430.00 | 121290.00 | 120000.00 | VOLKS ENERGIE PVT LTD
2.00 | Supply of 3 Ton vertical tower type split AC unit, 3 phase complete with copper condenser coil of outdoor unit, cordless remote fitted with scroll compressor, Non CFC refrigerant suitable for operation on 415V,50 HZ Ac Supply etc complete as required and capable of performing cooling, dehumidifying, air circulating, filtering and ventilation etc. as required. | 4.00 | Each |  | 71000.00 | 284000.00 | 68500.00 | 274000.00 | 132000.00 | 528000.00 | 70000.00 | 280000.00 | 67383.00 | 269532.00 | 269532.00 | SAURABH ENTERPRISES
3.00 | SITC of following capacity voltage stabilisers with copper wound coil having range of 200 to 275 voltage single phase, 50 Hz AC supply i/c necessary fixing arrangements, clamps, screws, metal clad top, connecting 3 core cable of standered length, complete, etc as required. ( Make- V-GAURD/VOLTAS/DAIKIN/MICROTECH or equivalent as approved by engineer In-charge) (a) 5 KVA | 16.00 | Job |  | 5500.00 | 88000.00 | 3550.00 | 56800.00 | 5400.00 | 86400.00 | 1800.00 | 28800.00 | 1500.00 | 24000.00 | 24000.00 | SAURABH ENTERPRISES
4.00 | Supply, Installation, testing and Commissioning of 120 ltr capacity floor mounted type water cooler having SS 304 Grade body, Non-CFC refrigerant, Refrigerent 134, fitted with hermetically sealed compressor operating on 230 V, 50 Hz Single phase AC supply with evaporator and condenser made of copper tubes, HOT/ COLD/ NORMAL water taps, necessary piping / hose connections with nearby water source,power cable connections complete etc. as required. | 2.00 | Nos. |  | 47400.00 | 94800.00 | 35000.00 | 70000.00 | 59000.00 | 118000.00 | 38500.00 | 77000.00 | 37000.00 | 74000.00 | 70000.00 | Awasthi Electric Works
5.00 | Supply, Installation, Testing and Commissioning of 80 Ltrs/hr RO system having filter cartridge with activated carbon, UF, memberance, auto flush system, Min/Max Operating PH shall be 2-11, suitable to operate on single phase supply of 230 V, 50 Hz AC with all accessories completed as required. | 4.00 | Job |  | 74000.00 | 296000.00 | 62000.00 | 248000.00 | 42000.00 | 168000.00 | 71200.00 | 284800.00 | 58500.00 | 234000.00 | 168000.00 | Manish Electricals
6.00 | Supply of Desert Air Cooler of sump tank capacity of 60 ltrs, made of Galvanized steel sheet with zinc coating of thickness 0.8 mm, with Aluminimum blade of ISI marked to IS: 996 fan motor, having minimum 3 steps fan speed control suitable to operate on single phase 230 V, 50 Hz Ac Supply with all accessories completed etc as required. | 5.00 | Each |  | 17700.00 | 88500.00 | 8900.00 | 44500.00 | 10500.00 | 52500.00 | 10500.00 | 52500.00 | 10900.00 | 54500.00 | 44500.00 | Awasthi Electric Works
7.00 | Supply of Desert Air Cooler of sump tank capacity of 120 ltrs, made of Galvanized steel sheet with zinc coating of thickness 0.8 mm, with Aluminimum blade of ISI marked to IS: 996 fan motor, having minimum 3 steps fan speed control suitable to operate on single phase 230 V, 50 Hz Ac Supply with all accessories completed etc as required. | 5.00 | Each |  | 20300.00 | 101500.00 | 9650.00 | 48250.00 | 12500.00 | 62500.00 | 11000.00 | 55000.00 | 13225.00 | 66125.00 | 48250.00 | Awasthi Electric Works
8.00 | Supplying and Installation of required MS angle frame for mounting condensing units of upto 3.0 TR capacity with all accessories inculding painting with black paint complet etc as required. | 16.00 | Job |  | 635.00 | 10160.00 | 1500.00 | 24000.00 | 500.00 | 8000.00 | 450.00 | 7200.00 | 1500.00 | 24000.00 | 7200.00 | VOLKS ENERGIE PVT LTD
9.00 | Supply and Installation of required size copper pipe (beyond the standered size by OEM) for suction and delivery line with all accessories suitable for following capacity ACs i/c Insulation, gas refiling, power & Control cabling etc completed as required.
9.10 | 1.5 TR Split type AC unit | 20.00 | Meter |  | 783.00 | 15660.00 | 1150.00 | 23000.00 | 450.00 | 9000.00 | 500.00 | 10000.00 | 900.00 | 18000.00 | 9000.00 | Manish Electricals
9.20 | 2.0 TR Split type AC unit | 10.00 | Meter |  | 808.00 | 8080.00 | 1250.00 | 12500.00 | 600.00 | 6000.00 | 500.00 | 5000.00 | 1000.00 | 10000.00 | 5000.00 | VOLKS ENERGIE PVT LTD
9.30 | 3.0 TR Tower AC | 4.00 | Meter |  | 1221.00 | 4884.00 | 1500.00 | 6000.00 | 600.00 | 2400.00 | 650.00 | 2600.00 | 1200.00 | 4800.00 | 2400.00 | Manish Electricals
10.00 | Supplying & laying of condensate water drain pipe made of PVC having size of 20 mm , for additional requirement for AC units i/c necessary clamps, screws, supports, etc completed as required. | 30.00 | Meter |  | 45.00 | 1350.00 | 50.00 | 1500.00 | 90.00 | 2700.00 | 90.00 | 2700.00 | 150.00 | 4500.00 | 1350.00 | ALFA COMMUNICATIONS
11.00 | Supply and fixing of 20 amps, 240 volts, SPN modular type, socket outlet, enclosed plug top along with 20 amps "C" curve, SP, MCB, in sheet steel enclosure on surface or in recess etc complete with connections, testing and commissioning etc. as required. | 14.00 | Each |  | 1355.00 | 18970.00 | 850.00 | 11900.00 | 900.00 | 12600.00 | 1200.00 | 16800.00 | 550.00 | 7700.00 | 7700.00 | SAURABH ENTERPRISES
12.00 | Supplying and fixing 20 amps, 415 volts, TPN industrial Modular type, socket outlet, with 3 pole and earth, metal enclosed plug top along with 20 amps “C” curve, TPMCB, in sheet steel enclosure, on surface or in recess, with metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 4.00 | Each |  | 1865.00 | 7460.00 | 2500.00 | 10000.00 | 1250.00 | 5000.00 | 1525.00 | 6100.00 | 1200.00 | 4800.00 | 4800.00 | SAURABH ENTERPRISES
13.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ casing and capping/recessed steel conduit as required
13.10 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 50.00 | Meter |  | 42.00 | 2100.00 | 190.00 | 9500.00 | 150.00 | 7500.00 | 180.00 | 9000.00 | 230.00 | 11500.00 | 2100.00 | ALFA COMMUNICATIONS
13.20 | 4 X 6 sq. mm + 1 X 6 sq. mm earth wire | 60.00 | Meter |  | 68.00 | 4080.00 | 360.00 | 21600.00 | 210.00 | 12600.00 | 280.00 | 16800.00 | 280.00 | 16800.00 | 4080.00 | ALFA COMMUNICATIONS
14.00 | Dismantelling the following Split AC with Indoor/outdoor Unit with all accessories completed as required.
14.10 | 1.5 TR Split type AC unit | 10.00 | Each |  | 550.00 | 5500.00 | 250.00 | 2500.00 | 500.00 | 5000.00 | 600.00 | 6000.00 | 1000.00 | 10000.00 | 2500.00 | Awasthi Electric Works
14.20 | 2.0 TR Split type AC unit | 2.00 | Each |  | 620.00 | 1240.00 | 300.00 | 600.00 | 600.00 | 1200.00 | 600.00 | 1200.00 | 1200.00 | 2400.00 | 600.00 | Awasthi Electric Works
15.00 | ITC of 3.0 Ton vertical tower type/Cassette type/ split AC unit,3 phase complete with outdoor unit including supply and fixing of MS angle structure base frame (including painting) for Indoor & outdoor units, top up refrigerant i/c necessary Civil works complete as required. | 4.00 | Each |  | 2100.00 | 8400.00 | 3000.00 | 12000.00 | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 1500.00 | 6000.00 | 6000.00 | SAURABH ENTERPRISES
16.00 | ITC of 1.5 / 2.0 Ton Split inverter A/C i/c supply & fixing of Iron Angle structure stand suitable for outdoor unit, makeup interconnection, top up refrigerent, painting i/c necessary Civil works complete as required. | 17.00 | Each |  | 1270.00 | 21590.00 | 1400.00 | 23800.00 | 1500.00 | 25500.00 | 1500.00 | 25500.00 | 1200.00 | 20400.00 | 20400.00 | SAURABH ENTERPRISES
| Total in Figures |  |  |  |  | 1625874.00 |  | 1534950.00 |  | 1745400.00 |  | 1448000.00 |  | 1404832.00
Lowest Amount Quoted BY: SAURABH ENTERPRISES(1404832.00)

## BOQ Summary
BOQ Summary Details Tender Title: Procurement of AC, Water Cooler and RO for Various location at CA Khajuraho Tender ID: 2021_AAI_71267_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAURABH ENTERPRISES | 1404832.00 | L1
| 2 | VOLKS ENERGIE PVT LTD | 1448000.00 | L2
| 3 | Awasthi Electric Works | 1534950.00 | L3
| 4 | ALFA COMMUNICATIONS | 1625874.00 | L4
| 5 | Manish Electricals | 1745400.00 | L5