## BoQ1
Government eProcurement System Created By: ARUN BABU R Created Date/Time: 19-Mar-2021 02:38 PM Tender Title: Rate contract for HVAC Installations at Terminal Buildings at Chennai International Airport for a period of TWO years. Tender ID: 2021_AAI_71599_1
Tender Inviting Authority: JGM Engg(Elect)-II,AMED-VIII,Operational Offices,Chennai Airport.
Name of Work: Facility Management of HVAC installations at Terminal buildings at CIA. SH: Rate contract for HVAC Installations at Terminal buildings at Chennai International airport for a period of TWO years.
Contract No: 2021/AAI/CIA/AMED-8/CPP-1/RC Tender Id: 2021_AAI_71599_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | tejal engineers pvt ltd(GSTN-07AAECT8132F1ZE) |  | YUDEK ENGINEERING P LTD(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Replacement of existing damaged M S Class 'C' / MS ERW, insulated chilled water pipe lines of following sizes (nominal Dia) along with all necessary accessories such as vibration isolators bends, reducers, tees, supports, flow indicators and fixing clamps of suitable size and thermally insulated with specified insulation materials etc., inside the Terminal building / masonary ducts including dismantling of damaged pipe lines and replacing with new insulated pipe lines, testing and commissioning etc., as per technical specfication complete as required
1.01 | 100 mm dia | 50.00 | Metre | 100.00 | 1150.00 | 57500.00 | 2950.00 | 147500.00 | 3268.00 | 163400.00 | 2000.00 | 100000.00 | 57500.00 | tejal engineers pvt ltd
1.02 | 65 mm dia | 10.00 | Metre | 100.00 | 1050.00 | 10500.00 | 2100.00 | 21000.00 | 2678.00 | 26780.00 | 950.00 | 9500.00 | 9500.00 | DElite System Engineering (India) Pvt. Ltd.
1.03 | 50 mm dia | 10.00 | Metre | 100.00 | 850.00 | 8500.00 | 1650.00 | 16500.00 | 1896.00 | 18960.00 | 950.00 | 9500.00 | 8500.00 | tejal engineers pvt ltd
2.00 | Replacement existing faulty / damaged Butterfly valves of following sizes having cast iron body, cast bronze/ stainless steel disc, duly insulated with same specifications as that of connected piping complete with companion flanges with new bolt nuts, new gaskets, including dismantling of faulty / damaged butterfly valves and replacing with new one, reinsulation, testing and commissioning etc. as per technical specification complete as required.
2.01 | 80 mm dia | 5.00 | Jobs | 100.00 | 4000.00 | 20000.00 | 8500.00 | 42500.00 | 9135.00 | 45675.00 | 5099.00 | 25495.00 | 20000.00 | tejal engineers pvt ltd
2.02 | 100 mm dia | 12.00 | Jobs | 100.00 | 4800.00 | 57600.00 | 10500.00 | 126000.00 | 12997.00 | 155964.00 | 5999.00 | 71988.00 | 57600.00 | tejal engineers pvt ltd
2.03 | 125 mm dia | 4.00 | Jobs | 100.00 | 5000.00 | 20000.00 | 12400.00 | 49600.00 | 14789.00 | 59156.00 | 5999.00 | 23996.00 | 20000.00 | tejal engineers pvt ltd
2.04 | 150 mm dia | 2.00 | Jobs | 100.00 | 5000.00 | 10000.00 | 16500.00 | 33000.00 | 17888.00 | 35776.00 | 7999.00 | 15998.00 | 10000.00 | tejal engineers pvt ltd
3.00 | Replacement of existing damaged M S Class 'C' / MS ERW, condenser water pipe lines of following sizes (nominal Dia) with necessary clamps, vibration isolators bends, reducers, tees, supports, flow indicators etc as per specification including dismantling of damaged pipe lines and replacing with new pipe lines, testing and commissioning etc., as per technical specification complete as required
3.01 | 350 mm dia | 20.00 | Metre | 100.00 | 3150.00 | 63000.00 | 6420.00 | 128400.00 | 6789.00 | 135780.00 | 7999.00 | 159980.00 | 63000.00 | tejal engineers pvt ltd
3.02 | 150 mm dia | 25.00 | Metre | 100.00 | 1250.00 | 31250.00 | 3450.00 | 86250.00 | 4673.00 | 116825.00 | 5999.00 | 149975.00 | 31250.00 | tejal engineers pvt ltd
4.00 | Replacement of existing faulty / damaged butterfly valves of Motorized type 350mm size complete with cast iron body, cast bronze/ stainless steel disc, companion flanges, new bolt nuts, new gaskets, including dismantling of faulty / damaged butterfly valves and replacing with new one, testing and commissioning etc. as per technical specification complete as required. | 3.00 | Jobs | 100.00 | 115000.00 | 345000.00 | 26500.00 | 79500.00 | 96000.00 | 288000.00 | 122175.00 | 366525.00 | 79500.00 | YUDEK ENGINEERING P LTD
5.00 | Replacement of existing damaged G.S.S square / rectangular ducting of following thickness, to be fabricated at site complete with gaskets, elbows, splitters, vanes, supports including dismantling of damaged duct and replacing with new one, etc as per technical specification complete as required.
5.01 | 18 gauge | 10.00 | Sq.Metre | 100.00 | 1300.00 | 13000.00 | 2100.00 | 21000.00 | 1690.00 | 16900.00 | 1350.00 | 13500.00 | 13000.00 | tejal engineers pvt ltd
5.02 | 20 gauge | 100.00 | Sq.Metre | 100.00 | 1150.00 | 115000.00 | 1900.00 | 190000.00 | 14678.00 | 1467800.00 | 1150.00 | 115000.00 | 115000.00 | DElite System Engineering (India) Pvt. Ltd., tejal engineers pvt ltd
5.03 | 22 gauge | 200.00 | Sq.Metre | 100.00 | 1050.00 | 210000.00 | 1800.00 | 360000.00 | 1136.00 | 227200.00 | 1150.00 | 230000.00 | 210000.00 | tejal engineers pvt ltd
5.04 | 24 gauge | 150.00 | Sq.Metre | 100.00 | 950.00 | 142500.00 | 1700.00 | 255000.00 | 930.00 | 139500.00 | 1150.00 | 172500.00 | 139500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
6.00 | Replacement of existing damaged Thermal insulation, aluminium foil faced resin bonded fibre glass insulation of following thickness (on duct) of density 24kg/cu.m after applying two coats of cold setting adhesive (CPRX compound) sealing all joints with self adhesive aluminium tape, covered with G.I. wire mesh netting on the outside, including dismantling of damaged insulation and replacing with new insulation, complete etc. as per techincal specification as required.
6.01 | 25 mm thick | 150.00 | Sq.Metre | 100.00 | 600.00 | 90000.00 | 750.00 | 112500.00 | 697.00 | 104550.00 | 899.00 | 134850.00 | 90000.00 | tejal engineers pvt ltd
6.02 | 50 mm thick | 200.00 | Sq.Metre | 100.00 | 1200.00 | 240000.00 | 1050.00 | 210000.00 | 1167.00 | 233400.00 | 999.00 | 199800.00 | 199800.00 | DElite System Engineering (India) Pvt. Ltd.
7.00 | Replacement of existing damaged XLPE insulation of following thickness (on duct) of density 24 kg/cu.m, Class'O' after applying suitable adhesive sealing all joints with self adhesive aluminium tape, including dismantling of damaged insulation, necessary cleaning of duct surface and replacing with new insulation, complete etc. as per technical specification complete as required
7.01 | 13 mm thick | 200.00 | Sq.Metre | 100.00 | 500.00 | 100000.00 | 750.00 | 150000.00 | 750.00 | 150000.00 | 899.00 | 179800.00 | 100000.00 | tejal engineers pvt ltd
7.02 | 25 mm thick | 400.00 | Sq.Metre | 100.00 | 850.00 | 340000.00 | 1100.00 | 440000.00 | 830.00 | 332000.00 | 1099.00 | 439600.00 | 332000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
8.00 | Replacement of existing damaged Nitrile rubber insulation of following thickness (on duct) of density 24 kg/cu.m, Class'O' after applying suitable adhesive, sealing all joints with self adhesive aluminium tape, including dismantling of damaged insulation, necessary cleaning of duct surface and replacing with new insulation, complete etc. as per technical specification complete as required
8.01 | 13 mm thick | 200.00 | Sq.Metre | 100.00 | 500.00 | 100000.00 | 710.00 | 142000.00 | 810.00 | 162000.00 | 899.00 | 179800.00 | 100000.00 | tejal engineers pvt ltd
8.02 | 25 mm thick | 400.00 | Sq.Metre | 100.00 | 850.00 | 340000.00 | 910.00 | 364000.00 | 945.00 | 378000.00 | 1100.00 | 440000.00 | 340000.00 | tejal engineers pvt ltd
9.00 | Replacement of existing blocked / damaged AHU Cooling coils of the following specifications i/c necessary modification of Chilled water pipe connection, insulation, including dismantling of blocked/ damaged cooling coil and replacing with new cooling coil, testing, commissioning etc., as per technical specification complete as reqd. No. of Rows = 6, Size of Copper Header = Minimum 2 inch dia Size of Copper pipe = 1/2 inch dia Thickness of copper pipe = 0.42mm Thickness of Aluminium fin = 0.15mm No. of Fins = 4.7 Nos/cm | 15.00 | Sq.Metre | 100.00 | 70000.00 | 1050000.00 | 56000.00 | 840000.00 | 14300.00 | 214500.00 | 11699.00 | 175485.00 | 175485.00 | DElite System Engineering (India) Pvt. Ltd.
10.00 | Replacement of following size existing rusted Volume control dampers made of 16 SWG thick GI sheet, box type, low leakage, opposed blades, suitable links, levers and quadrants as required for their proper operation, control or setting devices, position indicating device, including dismantling of rusted Volume Control dampers and replaced with new one, testing and balancing, etc. as per technical specification complete as required
10.01 | Upto 0.50 Sqm | 5.00 | Jobs | 100.00 | 3000.00 | 15000.00 | 7800.00 | 39000.00 | 6200.00 | 31000.00 | 3400.00 | 17000.00 | 15000.00 | tejal engineers pvt ltd
10.02 | From 0.51 to 1.00 Sqm | 3.00 | Jobs | 100.00 | 5500.00 | 16500.00 | 9200.00 | 27600.00 | 9888.00 | 29664.00 | 6000.00 | 18000.00 | 16500.00 | tejal engineers pvt ltd
10.03 | From 1.01 to 1.50 Sqm | 3.00 | Jobs | 100.00 | 7500.00 | 22500.00 | 10200.00 | 30600.00 | 12450.00 | 37350.00 | 8400.00 | 25200.00 | 22500.00 | tejal engineers pvt ltd
10.04 | From 1.51 to 2.25 Sqm | 3.00 | Jobs | 100.00 | 9000.00 | 27000.00 | 11200.00 | 33600.00 | 14089.00 | 42267.00 | 8800.00 | 26400.00 | 26400.00 | DElite System Engineering (India) Pvt. Ltd.
11.00 | Buffing / Polishing for the column diffusers made of perforated stainless steel having approximate surface area of 11 Square meter, installed in Check-in & Security hold area at Domestic & International terminal buildings using suitable buffing compound as per technical specification complete as required. | 15.00 | Jobs | 100.00 | 3000.00 | 45000.00 | 6500.00 | 97500.00 | 1300.00 | 19500.00 | 6200.00 | 93000.00 | 19500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
12.00 | Dismantling, Rewinding & Refixing of following motors of Smoke extractor fans installed at roof of terminal buildings and Air curtains i/c replacement of old bearings with new bearings, Painting of motor and as per technical specification complete as required.
12.01 | 3 Phase 5 HP Motor (for smoke extractor fan) | 10.00 | Jobs | 100.00 | 5500.00 | 55000.00 | 16500.00 | 165000.00 | 10235.00 | 102350.00 | 20000.00 | 200000.00 | 55000.00 | tejal engineers pvt ltd
12.02 | Single Phase upto 0.75 HP Motor | 2.00 | Jobs | 100.00 | 5500.00 | 11000.00 | 7500.00 | 15000.00 | 2435.00 | 4870.00 | 4200.00 | 8400.00 | 4870.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
12.03 | Single Phase upto 0.50 HP Motor | 4.00 | Jobs | 100.00 | 5000.00 | 20000.00 | 6500.00 | 26000.00 | 1850.00 | 7400.00 | 4200.00 | 16800.00 | 7400.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
12.04 | Single Phase upto 0.33 HP Motor | 4.00 | Jobs | 100.00 | 4500.00 | 18000.00 | 3500.00 | 14000.00 | 1440.00 | 5760.00 | 4200.00 | 16800.00 | 5760.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
13.00 | Replacement of existing worn out bearings of following capacity 3 Phase Motors of Smoke Extractor fans installed at roof of terminal buildings and Single Phase motors of Air curtains at terminal buildings with necessary cleaning, lubricating, alignment, including dismatling the worn out bearing and replace with new one, etc. as per technical specification complete as required.
13.01 | 3 Phase 5 HP Motor (for smoke extractor fan) | 5.00 | Jobs | 100.00 | 2500.00 | 12500.00 | 4200.00 | 21000.00 | 4500.00 | 22500.00 | 18000.00 | 90000.00 | 12500.00 | tejal engineers pvt ltd
13.02 | Single Phase upto 0.75 HP Motor | 2.00 | Jobs | 100.00 | 2500.00 | 5000.00 | 3500.00 | 7000.00 | 1440.00 | 2880.00 | 3680.00 | 7360.00 | 2880.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
13.03 | Single Phase upto 0.50 HP Motor | 6.00 | Jobs | 100.00 | 2500.00 | 15000.00 | 2100.00 | 12600.00 | 1250.00 | 7500.00 | 3680.00 | 22080.00 | 7500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
13.04 | Single Phase upto 0.33 HP Motor | 6.00 | Jobs | 100.00 | 2500.00 | 15000.00 | 1800.00 | 10800.00 | 1100.00 | 6600.00 | 3680.00 | 22080.00 | 6600.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
14.00 | Fabrication, Supply and fixing of MS supports, frames for chilled water pipelines, Condenser water pipelines, Cooling towers and ducts from floor and ceiling with 'L' angle, 'C' section, 'I' section, MS Plates, threaded rod, etc as required including necessary welding, anchor fastener (wherever required), one coat of primer painting & two coat of enamel painting of approved color etc, as per specifications. | 1000.00 | kg | 100.00 | 100.00 | 100000.00 | 110.00 | 110000.00 | 92.00 | 92000.00 | 145.00 | 145000.00 | 92000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
| Total in Figures |  |  |  |  | 3741350.00 |  | 4424450.00 |  | 4883807.00 |  | 3921412.00
Lowest Amount Quoted BY: tejal engineers pvt ltd(3741350.00)

## BOQ Summary
BOQ Summary Details Tender Title: Rate contract for HVAC Installations at Terminal Buildings at Chennai International Airport for a period of TWO years. Tender ID: 2021_AAI_71599_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | tejal engineers pvt ltd | 3741350.00 | L1
| 2 | DElite System Engineering (India) Pvt. Ltd. | 3921412.00 | L2
| 3 | YUDEK ENGINEERING P LTD | 4424450.00 | L3
| 4 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 4883807.00 | L4