## BoQ1
Government eProcurement System Created By: K SANTHOSH KUMAR Created Date/Time: 24-Mar-2021 01:20 PM Tender Title: SITC of Inverter Split ACs Tender ID: 2021_AAI_71633_1
Tender Inviting Authority: Asstt. Gen. Mgr. (E-E), NATS Complex, IGI Airport, New Delhi
Name of Work : SITC of Inverter Split AC at NATS Complex, IGI Airport, New Delhi
Contract No/Tender ID : 2021_AAI_71633_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AQUATICS ENIGINEERS(GSTN-07AEMPM9860Q1ZE) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | R S ELECTRICALS(GSTN-09AALFR7080G1ZS) |  | Pacific Depths(GSTN-07AAEPC7210N1ZU) |  | HONEY COLLECTION(GSTN-07ADPPT9971M1ZA) |  | NAQVI BROTHERS(GSTN-09ADHPN6210D1ZT) |  | RefAir Technical Services(GSTN-07AAAPV0731D1Z4) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | COOLREFENGINEERS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH- I
2.00 | 1. Supply of wall mounted invertor type 5 star Split Air conditioners, of following capacities with compressor operating on Refrigerant R -410a / R-134a, suitable for operation on 230 + 10 % Volts, 50 Hz, Single Phase AC supply with Cordless remote control capable of performing different functions such as cooling, dehumidifying, air circulation filtering etc. alongwith standard lenght of copper pipe & electrical cable, Make : As per AAI appoved makes.
2.01 | (a) 1.5 TR Split A/C | 9.00 | Nos. | 100.00 | 35000.00 | 315000.00 | 34200.00 | 307800.00 | 34500.00 | 310500.00 | 32340.00 | 291060.00 | 41900.00 | 377100.00 | 35000.00 | 315000.00 | 33900.00 | 305100.00 | 45000.00 | 405000.00 | 40300.00 | 362700.00 | 291060.00 | Pacific Depths
2.02 | (b) 2.0 TR Split A/C | 10.00 | Nos. | 10.00 | 38800.00 | 388000.00 | 40500.00 | 405000.00 | 45000.00 | 450000.00 | 41800.00 | 418000.00 | 50000.00 | 500000.00 | 45000.00 | 450000.00 | 40900.00 | 409000.00 | 55000.00 | 550000.00 | 48300.00 | 483000.00 | 388000.00 | AQUATICS ENIGINEERS
3.00 | SH- II
4.00 | 1. Installation, testing, commissioning of hi-wall AC units etc. and making of necessary hole on concrete/brick wall and making good the damages.
4.01 | (a) 1.5/2.0 TR AC | 19.00 | Nos. | 10.00 | 1500.00 | 28500.00 | 2000.00 | 38000.00 | 3000.00 | 57000.00 | 1250.00 | 23750.00 | 1000.00 | 19000.00 | 2500.00 | 47500.00 | 2000.00 | 38000.00 | 3000.00 | 57000.00 | 1500.00 | 28500.00 | 19000.00 | HONEY COLLECTION
5.00 | 2. Supply & fixing of extra copper refrigerant pipings beyond 3 mtr of standard length as per site requirement. | 50.00 | Meter | 10.00 | 702.00 | 35100.00 | 645.00 | 32250.00 | 900.00 | 45000.00 | 900.00 | 45000.00 | 250.00 | 12500.00 | 750.00 | 37500.00 | 650.00 | 32500.00 | 700.00 | 35000.00 | 700.00 | 35000.00 | 12500.00 | HONEY COLLECTION
6.00 | 3. Supply & fixing of hard PVC drain piping of proper dia as required at site upto the satisfaction of E-I-C. | 50.00 | Meter | 10.00 | 150.00 | 7500.00 | 100.00 | 5000.00 | 125.00 | 6250.00 | 120.00 | 6000.00 | 30.00 | 1500.00 | 200.00 | 10000.00 | 100.00 | 5000.00 | 125.00 | 6250.00 | 60.00 | 3000.00 | 1500.00 | HONEY COLLECTION
7.00 | 4. Supply & fixing of 3 x 2.5 mtr. Sq. extra copper conductor cable for outdoor & outdoor unit. | 50.00 | Meter | 10.00 | 172.00 | 8600.00 | 100.00 | 5000.00 | 125.00 | 6250.00 | 120.00 | 6000.00 | 70.00 | 3500.00 | 150.00 | 7500.00 | 100.00 | 5000.00 | 150.00 | 7500.00 | 100.00 | 5000.00 | 3500.00 | HONEY COLLECTION
8.00 | 5. Supply and fixing outdoor unit MS stand of suitable size & thickness 5 mm. | 19.00 | Nos. | 10.00 | 800.00 | 15200.00 | 450.00 | 8550.00 | 1000.00 | 19000.00 | 500.00 | 9500.00 | 200.00 | 3800.00 | 2500.00 | 47500.00 | 1300.00 | 24700.00 | 500.00 | 9500.00 | 1000.00 | 19000.00 | 3800.00 | HONEY COLLECTION
| Total in Figures |  |  |  |  | 797900.00 |  | 801600.00 |  | 894000.00 |  | 799310.00 |  | 917400.00 |  | 915000.00 |  | 819300.00 |  | 1070250.00 |  | 936200.00
Lowest Amount Quoted BY: AQUATICS ENIGINEERS(797900.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Inverter Split ACs Tender ID: 2021_AAI_71633_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AQUATICS ENIGINEERS | 797900.00 | L1
| 2 | Pacific Depths | 799310.00 | L2
| 3 | VOLKS ENERGIE PVT LTD | 801600.00 | L3
| 4 | RefAir Technical Services | 819300.00 | L4
| 5 | R S ELECTRICALS | 894000.00 | L5
| 6 | NAQVI BROTHERS | 915000.00 | L6
| 7 | HONEY COLLECTION | 917400.00 | L7
| 8 | COOLREFENGINEERS | 936200.00 | L8
| 9 | Manish Electricals | 1070250.00 | L9